## Slide 1
Recommendations to improve TMG capability (J. Grames 4/11/24)
Automated remote health check of TMG extinction ratios (VL, TM, BS)
SRM HCO with visual inspection, s/n, power measurements & scope traces
Replace TMG shutter adjustable post base/receive with magnetic goes-in/goes-out base
Add fast (<1 msec) FSD shutter independent of TMG
Add shutter status to FSD (requires usefully fast difference circuit)
Define required beam extinction ratio threshold for RTP crystal replacement
Add upstream clean-up polarizers