CIS INTERLOCK RACK BYPASS

CIS has three relays that need to be in an active state to release beam: Dipole 15°, “Global” (vacuum) and a “SPARE”.  You can see in the schematics below that +24V and a switch leg is provided for all three relays.  The bypass simply connects the three switch legs to +24V.

Instructions posted in cabinet:

STORE THE BYPASS IN THE PLASTIC SLEEVE OF THE INSTRUCTION!

PLUG IN THE BYPASS, VERIFY ACC-CIS INTERLOCKS ARE SHOWING HEALTHY:

ALL GOOD!