## Slide 1
Run I (15 shifts) : Commission Mott, Target Thickness and Systematics
  Tested 62 MHz
  Calibrated BCM0L02
  Set timing
  Calibrated E/dE
  Find correct target ladder offset
  Calibrate PITA in/out
  Mott disk full
  Set spin angle
  Dump fraction study
  Threshold measurement
  Momentum measurement
Asymmetry vs.
  target thickness
  time/stability
  deadtime/rate
  position (change corrector)
  spot size (change quadrupole)
  energy spread (change RF phase)

## Slide 2
Sensitivity to beam energy

## Slide 3
Run II (7 shifts) : Focus on beam energy, quantifiable systematics and plots for paper
  Setup (1 shift)
    Use 31 MHz, HI threshold
    Set Spin Angle
    Set PMT E/DE, TIMING
    Calibrated BCM, PITA
    Set / measure momentum
  Asymmetry vs.
    repeat target thickness KE=5.0 MeV, get same result twice (2 shifts)
    energy dependence (2 shifts)
    spot size – measure with OTR + beaminizer, may need camera (1 shift)
    energy spread – change w/o E shift and measure (1 shift)