## Thicknesses
Up-to-date as of 2016-1-12
| foil number (measured) | foil number (Mott) | target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm)
| 5385B | 5385A | 15 | 1000 | 100 | 943.71 | 78.19
| 3057C | 3057A | 3 | 870 | 87 | 836.76 | 48.76
| 5134B | 5134A | 4 | 750 | 75 | 774.57 | 44.33
| 7028B | 7028A | 2 | 625 | 62.5 | 561.18 | 37.24
| 5275C | 5275A | 5 | 500 | 50 | 482.02 | 28.71
| 5613D | 5613C | 14 | 350 | 35 | 389.44 | 22.21
| 5613D | 5613B | 8 | 350 | 35 | 389.44 | 22.21
| 7029B | 7029A | 1 | 225 | 22.5 | 215.17 | 12.57
| No sibling | 6845A | 12 | 50 | 5 | 50 | 5
| 6809B | 6809A | 13 | 50 | 5 | 52.03 | 5.99

## Run 1
Up-to-date as of 2016-1-14
Run 1 Data
Time-of-Flight Cut – -2 sigma to +2 sigma about peak
*********** GOLD STANDARD ********** Energy Cut – -0.5 sigma to +2 sigma, with Background Subtraction
| PMT Threshold | target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| Low | 15 | 1000 | 100 | 943.71 | 78.19 | 33.8791 | 0.089672 | 196.4793 | 0.43093 | 193.9233 | 0.84704 | 193.9454 | 0.84709 | 202.5937 | 0.88486 | 195.9374 | 0.8702
| Low | 3 | 870 | 87 | 836.76 | 48.76 | 34.7748 | 0.087178 | 167.7242 | 0.37009 | 166.8461 | 0.73437 | 162.1148 | 0.71362 | 172.974 | 0.76135 | 169.7647 | 0.75426
| Low | 4 | 750 | 75 | 774.57 | 44.33 | 35.6498 | 0.091352 | 142.1281 | 0.31139 | 140.2624 | 0.61248 | 139.1738 | 0.60772 | 146.6814 | 0.64051 | 142.8769 | 0.63215
| Low | 2 | 625 | 62.5 | 561.18 | 37.24 | 37.3305 | 0.093896 | 101.9392 | 0.22163 | 99.8615 | 0.43289 | 99.744 | 0.43221 | 105.6338 | 0.45772 | 103.0021 | 0.45198
| Low | 5 | 500 | 50 | 482.02 | 28.71 | 38.7606 | 0.09253 | 77.6247 | 0.16784 | 76.9895 | 0.33185 | 76.6382 | 0.33033 | 79.496 | 0.34266 | 77.4953 | 0.33832
| Low | 14 | 350 | 35 | 389.44 | 22.21 | 39.2211 | 0.10058 | 64.4859 | 0.13854 | 64.2339 | 0.27506 | 63.6898 | 0.27272 | 65.922 | 0.28229 | 64.1764 | 0.27852
| High | 8 | 350 | 35 | 389.44 | 22.21 | 39.1871 | 0.09106 | 67.9534 | 0.17622 | 67.7994 | 0.35128 | 66.3713 | 0.34388 | 69.1461 | 0.35826 | 68.6329 | 0.35692
| High | 1 | 225 | 22.5 | 215.17 | 12.57 | 41.0208 | 0.07943 | 38.1712 | 0.080715 | 38.0485 | 0.16079 | 37.3223 | 0.15772 | 38.7952 | 0.16394 | 38.5896 | 0.16351
| High | 12 | 50 | 5 | 50 | 5 | 43.2876 | 0.097666 | 7.9464 | 0.014546 | 7.8991 | 0.028913 | 7.7982 | 0.028544 | 8.0518 | 0.029473 | 8.0482 | 0.029466
| High | 13 | 50 | 5 | 52.03 | 5.99 | 43.5571 | 0.095911 | 8.1447 | 0.014895 | 8.0923 | 0.029614 | 7.9901 | 0.02924 | 8.2334 | 0.03013 | 8.2751 | 0.030206
| Low | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.7637 | 0.068689 | 197.697 | 0.33534 | 193.5195 | 0.65405 | 194.9352 | 0.6587 | 204.5285 | 0.69113 | 198.5449 | 0.68094
| High | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.8205 | 0.057083 | 207.8662 | 0.35139 | 205.102 | 0.6919 | 205.8135 | 0.69429 | 212.2436 | 0.71598 | 208.6186 | 0.70984
Energy Cut – -1 to +3 sigma, with Background Subtraction
| PMT Threshold | target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| Low | 15 | 1000 | 100 | 943.71 | 78.19 | 33.7891 | 0.081219 | 240.8954 | 0.52857 | 235.5319 | 1.0287 | 242.4485 | 1.0589 | 247.5902 | 1.0814 | 238.5941 | 1.0616
| Low | 3 | 870 | 87 | 836.76 | 48.76 | 34.6532 | 0.079071 | 205.715 | 0.45419 | 202.3662 | 0.89071 | 203.8822 | 0.8974 | 211.1218 | 0.92925 | 205.9134 | 0.91772
| Low | 4 | 750 | 75 | 774.57 | 44.33 | 35.6291 | 0.082781 | 174.2901 | 0.38209 | 170.3632 | 0.74391 | 174.5031 | 0.76198 | 179.1631 | 0.78234 | 173.5591 | 0.77001
| Low | 2 | 625 | 62.5 | 561.18 | 37.24 | 37.2573 | 0.08516 | 125.1648 | 0.27227 | 122.0684 | 0.529 | 125.1075 | 0.5421 | 128.8912 | 0.55848 | 124.9569 | 0.54989
| Low | 5 | 500 | 50 | 482.02 | 28.71 | 38.6471 | 0.083806 | 95.0993 | 0.20572 | 93.3409 | 0.40232 | 95.6706 | 0.41236 | 97.18 | 0.41887 | 94.3571 | 0.41274
| Low | 14 | 350 | 35 | 389.44 | 22.21 | 39.2214 | 0.091085 | 78.9344 | 0.16967 | 77.7216 | 0.33282 | 79.4442 | 0.34019 | 80.5627 | 0.34498 | 78.1105 | 0.33969
| High | 8 | 350 | 35 | 389.44 | 22.21 | 39.1825 | 0.083018 | 82.1658 | 0.21331 | 80.9926 | 0.41963 | 81.9732 | 0.42472 | 83.5728 | 0.433 | 82.2075 | 0.42945
| High | 1 | 225 | 22.5 | 215.17 | 12.57 | 40.972 | 0.072389 | 46.2021 | 0.097813 | 45.5925 | 0.19267 | 46.0402 | 0.19456 | 46.9672 | 0.19848 | 46.2515 | 0.19696
| High | 12 | 50 | 5 | 50 | 5 | 43.2269 | 0.088968 | 9.6268 | 0.017639 | 9.461 | 0.034631 | 9.6403 | 0.035287 | 9.7509 | 0.035692 | 9.6645 | 0.035533
| High | 13 | 50 | 5 | 52.03 | 5.99 | 43.5105 | 0.087321 | 9.8715 | 0.018075 | 9.6986 | 0.035492 | 9.8721 | 0.036126 | 9.9883 | 0.036552 | 9.9374 | 0.036459
| Low | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.6776 | 0.062264 | 242.6249 | 0.41172 | 236.1149 | 0.79789 | 244.1394 | 0.82495 | 249.635 | 0.84352 | 241.3509 | 0.82941
| High | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.734 | 0.051994 | 251.7152 | 0.42587 | 245.5434 | 0.82832 | 254.2064 | 0.85754 | 256.8185 | 0.86635 | 250.8417 | 0.85621
Energy Cut – -0.5 sigma to +2 sigma, NO Background Subtraction
| PMT Threshold | target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| Low | 15 | 1000 | 100 | 943.71 | 78.19 | 33.8763 | 0.08792 | 204.8684 | 0.44901 | 203.7295 | 0.88982 | 201.564 | 0.88036 | 210.2045 | 0.9181 | 204.3531 | 0.90523
| Low | 3 | 870 | 87 | 836.76 | 48.76 | 34.8013 | 0.08579 | 174.6786 | 0.38568 | 174.6987 | 0.76893 | 170.6164 | 0.75096 | 179.1346 | 0.78845 | 174.6793 | 0.77858
| Low | 4 | 750 | 75 | 774.57 | 44.33 | 35.6647 | 0.089637 | 148.5046 | 0.32533 | 148.1935 | 0.64709 | 145.4224 | 0.635 | 152.335 | 0.66518 | 148.3883 | 0.6565
| Low | 2 | 625 | 62.5 | 561.18 | 37.24 | 37.3234 | 0.092151 | 106.9818 | 0.23249 | 107.1808 | 0.4644 | 104.3402 | 0.4521 | 109.6183 | 0.47496 | 107.0512 | 0.46937
| Low | 5 | 500 | 50 | 482.02 | 28.71 | 38.7533 | 0.090394 | 81.2525 | 0.17549 | 81.2447 | 0.35018 | 79.5393 | 0.34283 | 82.8628 | 0.35716 | 81.5054 | 0.35422
| Low | 14 | 350 | 35 | 389.44 | 22.21 | 39.2472 | 0.098325 | 67.2951 | 0.14437 | 67.2006 | 0.28776 | 65.9033 | 0.2822 | 68.6175 | 0.29383 | 67.5756 | 0.29159
| High | 8 | 350 | 35 | 389.44 | 22.21 | 39.1857 | 0.090867 | 68.2296 | 0.17689 | 68.1368 | 0.35303 | 66.5576 | 0.34484 | 69.3591 | 0.35936 | 69.0082 | 0.35845
| High | 1 | 225 | 22.5 | 215.17 | 12.57 | 41.0149 | 0.079213 | 38.364 | 0.08109 | 38.2956 | 0.16183 | 37.4255 | 0.15815 | 38.9444 | 0.16457 | 38.8696 | 0.16441
| High | 12 | 50 | 5 | 50 | 5 | 43.292 | 0.097299 | 7.9954 | 0.014623 | 7.9481 | 0.029093 | 7.8258 | 0.028645 | 8.0859 | 0.029597 | 8.1357 | 0.029688
| High | 13 | 50 | 5 | 52.03 | 5.99 | 43.5428 | 0.095681 | 8.1812 | 0.01496 | 8.1328 | 0.029762 | 8.0147 | 0.02933 | 8.2709 | 0.030267 | 8.3195 | 0.030356
| Low | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.7602 | 0.067371 | 207.0872 | 0.35097 | 206.0317 | 0.69618 | 203.5795 | 0.6879 | 212.1219 | 0.71675 | 206.9819 | 0.70801
| High | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.8161 | 0.057024 | 208.2858 | 0.35216 | 205.4838 | 0.69318 | 206.2231 | 0.69567 | 212.8385 | 0.71799 | 208.9245 | 0.71136
Energy Cut – -1 sigma to +3 sigma, NO Background Subtraction
I would like to revisit these rate numbers if we are to use them, something tells me the error analysis for them is from an old version of the code
| PMT Threshold | target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| Low | 15 | 1000 | 100 | 943.71 | 78.19 | 33.7739 | 0.080116 | 245.9986 | 2.5325 | 241.5759 | 4.9536 | 247.0346 | 5.0655 | 251.9045 | 5.1654 | 243.8934 | 5.0825
| Low | 3 | 870 | 87 | 836.76 | 48.76 | 34.6218 | 0.078214 | 209.3024 | 2.1543 | 206.7547 | 4.2407 | 208.7168 | 4.2809 | 214.0171 | 4.3897 | 207.9721 | 4.3272
| Low | 4 | 750 | 75 | 774.57 | 44.33 | 35.6177 | 0.081709 | 178.2976 | 1.8352 | 175.6704 | 3.6015 | 178.4816 | 3.6592 | 182.5279 | 3.7422 | 176.7614 | 3.6826
| Low | 2 | 625 | 62.5 | 561.18 | 37.24 | 37.2456 | 0.08404 | 128.6576 | 1.3231 | 127.2746 | 2.608 | 128.2537 | 2.6281 | 131.5401 | 2.6954 | 127.7057 | 2.6558
| Low | 5 | 500 | 50 | 482.02 | 28.71 | 38.6084 | 0.082496 | 97.7384 | 1.0041 | 96.5187 | 1.977 | 97.7404 | 2.002 | 99.5773 | 2.0397 | 97.2085 | 2.0153
| Low | 14 | 350 | 35 | 389.44 | 22.21 | 39.1848 | 0.089675 | 81.1807 | 0.83361 | 80.0947 | 1.6401 | 81.228 | 1.6632 | 82.6952 | 1.6933 | 80.7843 | 1.6736
| High | 8 | 350 | 35 | 389.44 | 22.21 | 39.182 | 0.08289 | 82.5809 | 1.0366 | 81.4716 | 2.0415 | 82.3102 | 2.0625 | 83.9277 | 2.103 | 82.6909 | 2.0875
| High | 1 | 225 | 22.5 | 215.17 | 12.57 | 40.9586 | 0.072244 | 46.4978 | 0.47636 | 45.9263 | 0.93945 | 46.264 | 0.94636 | 47.2226 | 0.96597 | 46.6192 | 0.95978
| High | 12 | 50 | 5 | 50 | 5 | 43.2215 | 0.088721 | 9.6959 | 0.085918 | 9.5307 | 0.16881 | 9.6886 | 0.17161 | 9.8075 | 0.17371 | 9.7663 | 0.17335
| High | 13 | 50 | 5 | 52.03 | 5.99 | 43.5056 | 0.087158 | 9.9304 | 0.088002 | 9.7596 | 0.17286 | 9.9205 | 0.17571 | 10.049 | 0.17799 | 10.0028 | 0.17758
| Low | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.6433 | 0.06144 | 248.5523 | 1.9814 | 244.3512 | 3.8809 | 249.6448 | 3.965 | 254.0558 | 4.035 | 246.5209 | 3.9747
| High | 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.7296 | 0.05195 | 250.3155 | 1.9936 | 244.118 | 3.8761 | 252.8092 | 4.0141 | 255.5355 | 4.0574 | 249.362 | 4.0081

## Run 2
Up-to-date as of 2016-1-14
Run 2 Data
Time-of-Flight Cut – -2 sigma to +2 sigma about peak
*********** GOLD STANDARD ********** Energy Cut – -0.5 sigma to +2 sigma, with Background Subtraction
| target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| 15 | 1000 | 100 | 943.71 | 78.19 | 33.9069 | 0.081757 | 165.625 | 0.24553 | 158.4252 | 0.44356 | 170.8783 | 0.51597 | 171.2916 | 0.5185 | 164.5785 | 0.49818
| 3 | 870 | 87 | 836.76 | 48.76 | 34.9106 | 0.10091 | 146.1317 | 0.28393 | 141.1332 | 0.52524 | 147.2126 | 0.5715 | 150.7503 | 0.59944 | 146.7979 | 0.58372
| 4 | 750 | 75 | 774.57 | 44.33 | 35.9097 | 0.10299 | 123.9963 | 0.20536 | 119.5175 | 0.37684 | 125.5359 | 0.41571 | 128.863 | 0.43804 | 123.5146 | 0.41986
| 2 | 625 | 62.5 | 561.18 | 37.24 | 37.1449 | 0.085179 | 86.7217 | 0.099028 | 82.7938 | 0.17927 | 88.3896 | 0.20432 | 89.2431 | 0.20828 | 87.7336 | 0.20475
| 5 | 500 | 50 | 482.02 | 28.71 | 38.693 | 0.10371 | 67.6438 | 0.060952 | 65.7324 | 0.11385 | 68.7526 | 0.12455 | 69.6289 | 0.12774 | 66.955 | 0.12284
| 14 | 350 | 35 | 389.44 | 22.21 | 39.1726 | 0.10605 | 55.6377 | 0.041299 | 53.9811 | 0.076759 | 56.3463 | 0.083642 | 57.636 | 0.087507 | 55.0709 | 0.083613
| 8 | 350 | 35 | 389.44 | 22.21 | 39.3197 | 0.10537 | 57.4445 | 0.044005 | 56.4259 | 0.083855 | 58.4722 | 0.090049 | 58.9162 | 0.091435 | 56.2412 | 0.087283
| 1 | 225 | 22.5 | 215.17 | 12.57 | 40.92 | 0.1048 | 32.4806 | 0.014048 | 31.244 | 0.025686 | 32.8716 | 0.028425 | 33.7774 | 0.030012 | 32.4398 | 0.028824
| 12 | 50 | 5 | 50 | 5 | 43.4223 | 0.11607 | 6.9481 | 0.00062855 | 6.7997 | 0.0011969 | 7.0295 | 0.0012791 | 7.0676 | 0.0012931 | 6.9201 | 0.0012661
| 13 | 50 | 5 | 52.03 | 5.99 | 43.4714 | 0.11513 | 6.9369 | 0.0004385 | 6.6385 | 0.00080116 | 7.0412 | 0.0009015 | 7.0796 | 0.00091098 | 7.0732 | 0.00091016
| 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.9719 | 0.050011 | 171.3043 | 0.086506 | 165.1005 | 0.16014 | 174.3342 | 0.17854 | 176.5592 | 0.17854 | 170.7404 | 0.17706
Energy Cut – -1 to +3 sigma, with Background Subtraction
| target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| 15 | 1000 | 100 | 943.71 | 78.19 | 33.8462 | 0.074051 | 202.4501 | 0.36565 | 193.6249 | 0.66249 | 207.8429 | 0.76334 | 208.5389 | 0.76847 | 202.7529 | 0.74715
| 3 | 870 | 87 | 836.76 | 48.76 | 34.8575 | 0.091169 | 179.014 | 0.42582 | 173.1094 | 0.79018 | 180.2978 | 0.85722 | 184.3782 | 0.89651 | 179.8054 | 0.87428
| 4 | 750 | 75 | 774.57 | 44.33 | 35.7262 | 0.093078 | 152.0041 | 0.30813 | 146.6952 | 0.56768 | 153.7402 | 0.62349 | 157.442 | 0.65388 | 151.722 | 0.63012
| 2 | 625 | 62.5 | 561.18 | 37.24 | 37.1052 | 0.077085 | 105.9655 | 0.14767 | 101.3198 | 0.26847 | 107.7471 | 0.30361 | 108.8168 | 0.30966 | 107.4032 | 0.30563
| 5 | 500 | 50 | 482.02 | 28.71 | 38.5954 | 0.093848 | 82.8227 | 0.091285 | 80.4025 | 0.17034 | 83.9872 | 0.18586 | 85.2282 | 0.19139 | 82.2775 | 0.18476
| 14 | 350 | 35 | 389.44 | 22.21 | 39.081 | 0.095887 | 68.1772 | 0.06193 | 66.0377 | 0.11488 | 69.0412 | 0.12557 | 70.5024 | 0.13094 | 67.7295 | 0.12579
| 8 | 350 | 35 | 389.44 | 22.21 | 39.2836 | 0.095302 | 70.4913 | 0.066177 | 69.0419 | 0.12554 | 71.4487 | 0.13445 | 72.3813 | 0.13799 | 69.4354 | 0.13238
| 1 | 225 | 22.5 | 215.17 | 12.57 | 40.9378 | 0.094684 | 39.7487 | 0.020994 | 38.3701 | 0.038732 | 40.1587 | 0.042425 | 41.1171 | 0.044472 | 39.7472 | 0.042991
| 12 | 50 | 5 | 50 | 5 | 43.3111 | 0.10532 | 8.4634 | 0.0009321 | 8.2526 | 0.001763 | 8.5638 | 0.0018984 | 8.6156 | 0.0019215 | 8.459 | 0.0018866
| 13 | 50 | 5 | 52.03 | 5.99 | 43.3446 | 0.10441 | 8.4384 | 0.00064854 | 8.0948 | 0.0011912 | 8.5622 | 0.001333 | 8.594 | 0.0013423 | 8.5934 | 0.0013422
| 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.8839 | 0.045201 | 209.9986 | 0.1298 | 202.6293 | 0.2412 | 213.2041 | 0.26701 | 216.0543 | 0.26701 | 209.7695 | 0.26619
Energy Cut – -0.5 sigma to +2 sigma, NO Background Subtraction
| target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| 15 | 1000 | 100 | 943.71 | 78.19 | 33.9471 | 0.080002 | 173.0053 | 0.26676 | 165.9508 | 0.48663 | 177.6031 | 0.55737 | 177.5852 | 0.55726 | 173.0767 | 0.54311
| 3 | 870 | 87 | 836.76 | 48.76 | 37.1541 | 0.083251 | 152.7752 | 0.31108 | 148.4555 | 0.58112 | 154.6234 | 0.63042 | 157.5467 | 0.65447 | 151.5862 | 0.62971
| 4 | 750 | 75 | 774.57 | 44.33 | 43.4501 | 0.11305 | 129.3405 | 0.22317 | 125.7697 | 0.41727 | 131.2008 | 0.45409 | 133.3046 | 0.46876 | 128.0123 | 0.45015
| 2 | 625 | 62.5 | 561.18 | 37.24 | 39.1783 | 0.10385 | 90.456 | 0.1079 | 87.0126 | 0.198 | 92.1441 | 0.22204 | 93.0204 | 0.22628 | 90.6268 | 0.22046
| 5 | 500 | 50 | 482.02 | 28.71 | 34.9043 | 0.098433 | 70.345 | 0.065945 | 68.3581 | 0.12313 | 71.5228 | 0.13479 | 72.4595 | 0.13834 | 69.5643 | 0.13281
| 14 | 350 | 35 | 389.44 | 22.21 | 40.9547 | 0.1025 | 57.9961 | 0.044835 | 56.0736 | 0.082824 | 59.0087 | 0.091722 | 59.9454 | 0.094657 | 57.5206 | 0.090828
| 8 | 350 | 35 | 389.44 | 22.21 | 35.9145 | 0.10055 | 59.7578 | 0.047648 | 58.2406 | 0.089335 | 60.6169 | 0.096774 | 61.7385 | 0.10039 | 58.8589 | 0.095708
| 1 | 225 | 22.5 | 215.17 | 12.57 | 38.681 | 0.1017 | 33.7439 | 0.015139 | 32.8555 | 0.028396 | 34.1455 | 0.03067 | 34.7601 | 0.031784 | 33.4344 | 0.030572
| 12 | 50 | 5 | 50 | 5 | 43.4049 | 0.11455 | 7.1504 | 0.00066555 | 6.9832 | 0.0012623 | 7.2171 | 0.0013483 | 7.2876 | 0.0013748 | 7.1425 | 0.0013474
| 13 | 50 | 5 | 52.03 | 5.99 | 39.336 | 0.10359 | 7.1548 | 0.00046645 | 6.9355 | 0.00087462 | 7.2291 | 0.00095014 | 7.269 | 0.00096025 | 7.2283 | 0.00095488
| 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.9856 | 0.048897 | 178.6468 | 0.094293 | 173.038 | 0.17587 | 182.0795 | 0.19471 | 184.0757 | 0.19471 | 176.7333 | 0.19108
Energy Cut – -1 sigma to +3 sigma, NO Background Subtraction
| target ladder position | Lebow thickness (nm) | Lebow uncertainty (10%) (nm) | FESEM Thickness (nm) | FESEM uncertainty (nm) | Physics Asymmetry (%) | Physics Asymmetry Uncertainty (%) | Rate Average | dR | Left Rate | dR_L | Right Rate | dR_R | Up Rate | dR_U | Down Rate | dR_D
| 15 | 1000 | 100 | 943.71 | 78.19 | 33.8166 | 0.072927 | 208.8178 | 0.38783 | 199.9538 | 0.70648 | 213.8068 | 0.80776 | 213.924 | 0.80865 | 210.2739 | 0.79485
| 3 | 870 | 87 | 836.76 | 48.76 | 34.8283 | 0.08957 | 184.8449 | 0.45449 | 179.4526 | 0.84913 | 186.786 | 0.91996 | 190.1044 | 0.95293 | 184.3267 | 0.92396
| 4 | 750 | 75 | 774.57 | 44.33 | 35.7034 | 0.091539 | 156.5966 | 0.32665 | 151.9608 | 0.60917 | 158.656 | 0.66401 | 161.1849 | 0.68534 | 155.743 | 0.6622
| 2 | 625 | 62.5 | 561.18 | 37.24 | 37.0746 | 0.075838 | 109.2404 | 0.15707 | 104.945 | 0.28802 | 111.0932 | 0.32275 | 112.0784 | 0.3285 | 110.0409 | 0.32253
| 5 | 500 | 50 | 482.02 | 28.71 | 38.6023 | 0.09253 | 85.1795 | 0.096561 | 82.6713 | 0.18009 | 86.4288 | 0.19682 | 87.6517 | 0.20243 | 84.5976 | 0.19538
| 14 | 350 | 35 | 389.44 | 22.21 | 39.0827 | 0.09443 | 70.2612 | 0.065696 | 67.9249 | 0.12153 | 71.3785 | 0.13421 | 72.4408 | 0.13823 | 69.9419 | 0.13346
| 8 | 350 | 35 | 389.44 | 22.21 | 39.2641 | 0.094123 | 72.5413 | 0.070095 | 70.6469 | 0.13145 | 73.4228 | 0.14198 | 74.8032 | 0.14737 | 71.7765 | 0.14141
| 1 | 225 | 22.5 | 215.17 | 12.57 | 40.9276 | 0.093231 | 40.8543 | 0.022159 | 39.7049 | 0.04147 | 41.2953 | 0.04486 | 42.0251 | 0.046458 | 40.6658 | 0.044956
| 12 | 50 | 5 | 50 | 5 | 43.311 | 0.1043 | 8.6461 | 0.00097275 | 8.4164 | 0.0018336 | 8.7321 | 0.0019738 | 8.8179 | 0.0020128 | 8.661 | 0.001977
| 13 | 50 | 5 | 52.03 | 5.99 | 43.3097 | 0.103 | 8.6353 | 0.00067906 | 8.3606 | 0.001271 | 8.7315 | 0.0013861 | 8.7648 | 0.0013961 | 8.7388 | 0.001392
| 15 – stability | 1000 | 100 | 943.71 | 78.19 | 33.8586 | 0.04448 | 216.3757 | 0.1381 | 209.4277 | 0.25763 | 220.1057 | 0.28454 | 222.3935 | 0.28454 | 215.1344 | 0.28102