## Slide 1
First day of tests (09/10/2015)
Filled bubble chamber with N2O. Reached stability in operating temperature
Measured a very low cosmic ray background.
Tested sensitivity with neutron source.
Produced 7.7 MeV electron beam on 6mm Cu radiator
Claudio Ugalde

## Slide 2: Filling with N2O

## Slide 3
Neutron source (AmBe)
3 distances(source on thermal insulator, 17.3 in, 59 in).
Obtained expected drop in count rate

## Slide 4
Event trigger at 0.4 mA
* Solution: Shield camera

## Slide 5: Radiation hitting camera

## Slide 6: First photodisintegration event in bubble chamber with Bremsstrahlung
Sep 10, 2015 19:40