## Slide 1
COMTRA DAQ to-do list…
Chris
  confirm with Nick Falls power requirements for Kepco PS
  finish populating rack, deliver to UITF
Brad
  make sure UITF network jack in mechanical room is ‘on’
Bryan
  confirm required “NIC” configuration in rack
  work with Gary on communicating via a soft ioc
Riad
  finalize list of cables/types from DAQ to Detector (we’ll double)
Joe
  Coordinate space, cables, pulls, electrical work (next slides)

## Slide 2
Bench gets moved and rack goes here
We use this penetration
We use this network jack
FML extend 20A circuit to mech room through trench
We use this penetration into cave
Mechanical Room
Control Room

## Slide 3
Cave (west wall)
Cave (beamline)
Trench from control room
Ground wire from DAQ connects here
Cables up to tray with others

## Slide 4
Riad’s Cables/Connectors – From DAQ to Cave
(1) Ground wire to beam line ground (see previous page)
(4) Terminated TRIAX signal cable to detector box (2 + 2 spare)
(8) Connectors – TRIAX to BNC (4 + 4 spare)
(2) get connected at detector box
(4) space for 1 U patch panel at RACK?
(2) Terminated 5kV SHV cables to detector box (1 + 1 spare)
(1) get connected at detector box
(2) space for 1 U patch panel at RACK?
(2) Two 10A current leads from Kepco PS to magnet terminal block
TRIAX cable
MALE TRIAX CABLE
FEMALE TRIAX to MALE BNC