## main log
				Mott UP/DOWN On-Line Full Analysis Result					Mott UP/DOWN On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	target ladder position	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry	uncer	target ladder position	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer
7900	BCM – no good data?
7901	first run looking for aperture	Mott	15	-103000	1	0.5	in	15186	222.3	26.1	-103000	33.5332	0.469106	-5.14372	0.52714	-0.659227	0.528516
7902	aperture check	Mott	15	-103000	1	0.5	out	15186	61.83	32.87	-103000	-33.8812	0.47091	-6.0948	0.530001	0.532765	0.531962
7903	Remove 5 ns delay	Mott	15	-103000	1	0.5	out	15186	-159.9	72.7	-103000	-31.6844	0.888468	-6.01501	0.984041	0.332215	0.987603
7904	Remove 1 more ns	Mott	15	-103000	1	0.5	out	15186	101	78.7	-103000	-33.3494	0.905724	-6.04827	1.01534	-2.3232	1.01851
7905	Remove 1 more ns	Mott	15	-103000	1	0.5	out	15186	-110.6	140.3	-103000	-32.8564	0.74989	-5.03859	0.838506	0.486074	0.840621
7906	adjust PMT HV (E->83000	Mott	15	-103000	1	0.5	out	15186	231.7	100.6	-103000	-34.2341	0.908745	-5.70225	1.02604	-0.257787	1.02938
7907	finishing adjusting E HV	Mott	15	-103000	1	0.5	out	15186	70.64	75.84	-103000	-32.7649	0.788298	-5.45748	0.880472	-0.460799	0.883083
7908	working on dE HV for PMT	Mott	15	-103000	1	0.5	out	15186	141.1	83.6	-103000	-35.038	0.903341	-7.40154	1.02412	0.799092	1.02969
7909	working on dE HV for PMT	Mott	15	-103000	1	0.5	out	15186	458.4	107.4	-103000	-33.4239	0.911762	-6.38412	1.02225	-0.923631	1.02634
7910	working on dE HV for PMT	Mott	15	-103000	1	0.5	out	15186	40.22	81.62	-103000	-34.1657	0.93112	-6.33524	1.04994	0.316922	1.05416
7911	working on dE HV for PMT	Mott	15	-103000	1	0.5	out	15186	42.33	171.42	-103000	-34.1233	0.865111	-5.00544	0.976666	-1.7477	0.97882
7912	moving on target ladder offset = 0	Mott	15	-103000	1	0.5	out	15188	-292	33.2	-103000	-33.2931	0.420824	-5.59094	0.471805	-0.143978	0.473284			-1.58587	0.439443	-0.31422	0.439549	for steering runs only
7913	correction = 0 again, slight steer	Mott	15	-103000	1	0.5	out	15188	59.16	27.92	-103000	-34.0445	0.415989	-5.00296	0.469346	-1.57496	0.470407	2.27284	0.439942	0.0782002	0.440169	-0.648856	0.440151
7914	Nominal + correction – sigma	Mott	15	-102690	1	0.5	out	15188	-441.5	101.7	-102690	-33.0552	0.400259	-1.69311	0.449229	0.0795786	0.449357	2.56714	0.427748	-0.719057	0.428008	-0.840426	0.428
7915	Nominal + correction	Mott	15	-102457	1	0.5	out	15188	331.5	31.4	-102457	-34.0061	0.368395	1.17155	0.41651	-0.0700363	0.416567	2.68461	0.400803	0.464373	0.401084	0.351657	0.401087
7916	Nominal + correction + sigma	Mott	15	-102224	1	0.5	out	15188	-133.2	183.1	-102224	-33.7303	0.396627	2.77249	0.447202	0.30469	0.447542	2.00766	0.43028	1.79002	0.430316	2.04403	0.430274
7917	fixed nominal	Mott	15	-102526	1	0.5	out	15188	557.8	90.2	-102526	-33.7852	0.360064	1.00605	0.406418	-0.461353	0.406451	2.77193	0.391822	0.545405	0.392112	0.0550642	0.392123
7918	fixed nominal	Mott	15	-102526	1	0.5	in				-102526	-33.8765	0.362464	-0.0141109	0.409453	0.0634892	0.409453	-2.0011	0.393049	0.438592	0.393199	-0.29314	0.393203

## target ladder position fixing
				foil	old ladder	new positions
				1	-10372	-9898
				2	-16988	-16514
				3	-23604	-23130
				4	-30220	-29746
				5	-36837	-36363
				6	-43453	-42979
				7	-50069	-49595
				8	-56686	-56212
				9	-63302	-62828
				10	-69918	-69444
				11	-76534	-76060
				12	-83151	-82677
				13	-89767	-89293
				14	-96383	-95909
				15	-103000	-102526
				16	-109616	-109142

m	b
0.0102619128	1052.1098450845
-102525.705060025

-103000
-474.2949399745