## B vs I
! begin File Header |  |  |  | Index | Current (A) | Field (G)
MFX005001.stp | ! data file |  |  | 0 | 0.00086 | 5.47
2021-09-30 | ! date |  |  | 16 | 0.50168 | 62.49
9:14 | ! start time |  |  | 32 | 1.0019 | 120.22
5.1 | ! stepper code version |  |  | 48 | 1.5021 | 178.31
1 | ! number Z of currents |  |  | 64 | 2.0025 | 236.68
1 | ! X number of points |  |  | 80 | 2.5022 | 295.19
1 | ! Z number of points |  |  | 96 | 3.0032 | 353.95
2 | ! number of devices |  |  | 112 | 3.5034 | 412.72
44.82 | ! position [z] |  |  | 128 | 4.0034 | 471.61
5.2 | ! position [x] |  |  | 144 | 4.5036 | 530.51
0 | ! hall probe 1 offset |  |  | 160 | 5.0036 | 589.38
Note: FX005-B v I, 0-8A (.5A increments) |  |  |  | 176 | 5.5047 | 648.45
! end File Header |  |  |  | 192 | 6.0049 | 707.45
! set curr | actual curr | Hall Probe #1 | Voltmeter | 208 | 6.505 | 766.43
0 | 0 | -5.47 | 8.6e-05 | 224 | 7.0052 | 825.37
! begin File Header |  |  |  | 240 | 7.5053 | 884.41
MFX005001.stp | ! data file |  |  | 256 | 8.0065 | 943.57
2021-09-30 | ! date
9:15 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -62.49 | 0.050168
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:15 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -120.22 | 0.10019
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:16 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -178.31 | 0.15021
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:16 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -236.68 | 0.20025
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -295.19 | 0.25022
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -353.95 | 0.30032
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -412.72 | 0.35034
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -471.61 | 0.40034
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:18 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -530.51 | 0.45036
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:18 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -589.38 | 0.50036
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:18 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -648.45 | 0.55047
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:19 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -707.45 | 0.60049
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:19 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -766.43 | 0.6505
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:19 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -825.37 | 0.70052
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:20 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -884.41 | 0.75053
! begin File Header
MFX005001.stp | ! data file
2021-09-30 | ! date
9:20 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
44.82 | ! position [z]
5.2 | ! position [x]
0 | ! hall probe 1 offset
Note: FX005-B v I, 0-8A (.5A increments)
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | -943.57 | 0.80065
No field saturation found at 8A!

## FX Temperatures 8A max w LCW
FX #005 SOLENOID THERMAL DATA at 8A MAX WITH LCW
Staff: Mike Beck
Date: Sept. 30/2021
Flow: 2.6 gpm @ 110PSI
**WITH LCW**House LCW Pressure: Supply=110PSI / Return=50PSI
Date-Time | Elapsed Time (hrs) | RTD 102 (UP) | RTD 103 (DOWN) | RTD 104 (BORE) | I (A) | Voltage
2021-09-27 10:05 | 0 | 32.8 | 31.6 | 29.8 | 4 | 16.03
2021-09-27 10:35 | 0.5 | 34.3 | 33.1 | 29.8 | 4.5 | 18.72
2021-09-27 11:05 | 1 | 34.6 | 33.2 | 29.9 | 4.5 | 18.775
2021-09-27 11:35 | 1.5 | 36.3 | 34.9 | 30.8 | 5 | 21.143
2021-09-27 13:35 | 3.5 | 36.5 | 34.9 | 30.4 | 5 | 21.207
2021-09-27 14:05 | 4 | 37.6 | 36.2 | 31.1 | 5.5 | 23.608
2021-09-27 15:05 | 5 | 38.6 | 37.1 | 31.5 | 5.5 | 23.748
2021-09-28 08:30 | 22.4167 | 38 | 36.5 | 30.7 | 5.5 | 23.726
2021-09-28 10:00 | 23.9167 | 39.6 | 37.6 | 31 | 6 | 26.319
2021-09-28 12:00 | 25.9167 | 39.8 | 37.7 | 31.4 | 6 | 26.33 |  | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8
2021-09-28 13:00 | 26.9167 | 42 | 40 | 32.5 | 6.5 | 29.077 | 0 | 0.5 | 1.5 | 4 | 23.9 | 26.9 | 29.4 | 47.4 | 49.4
2021-09-28 14:00 | 27.9167 | 42.6 | 40.6 | 33.1 | 6.5 | 29.138 | 60 | 0.5 | 1.5 | 4 | 23.9 | 26.9 | 29.4 | 47.4 | 49.4
2021-09-28 15:00 | 28.9167 | 43 | 40.8 | 33.3 | 6.5 | 29.17
2021-09-28 15:30 | 29.4167 | 44.8 | 42.5 | 34.2 | 7 | 31.942
2021-09-28 16:00 | 29.9167 | 45.4 | 43.5 | 34.7 | 7 | 32.09
2021-09-29 08:30 | 46.4167 | 44.7 | 41.9 | 33.2 | 7 | 32.01
2021-09-29 09:30 | 47.4167 | 46.2 | 43.6 | 32.9 | 7.5 | 34.99
2021-09-29 10:30 | 48.4167 | 46.4 | 43.6 | 32.9 | 7.5 | 35.03
2021-09-29 11:30 | 49.4167 | 49.1 | 45.8 | 33.5 | 8 | 38.225
2021-09-29 13:30 | 51.4167 | 49.9 | 46.7 | 34.2 | 8 | 38.3
2021-09-29 14:30 | 52.4167 | 50 | 46.7 | 34.5 | 8 | 38.37
2021-09-29 15:30 | 53.4167 | 50.5 | 47.2 | 35.1 | 8 | 38.402
2021-09-30 08:30 | 70.4167 | 48.7 | 45.7 | 33.9 | 8 | 38.24
8A
7A
5.5A
RTD 104 (BORE)
RTD 103 (DOWN)
RTD 102 (UP)

## FX Temperatures 4A
FX #005 SOLENOID THERMAL DATA WITH AND WITHOUT LCW
Staff: Mike Beck
Date: Sept. 23/2021
Flow: 2.6 gpm @ 110PSI
**NO LCW**
Date-Time | Elapsed Time (hrs) | RTD 102 (UP) | RTD 103 (DOWN) | RTD 104 (BORE) | I (A) | Voltage
2021-09-16 09:08 | 0 | 23.2 | 22.8 | 22.8 | 4 | 15.4
2021-09-16 09:38 | 0.5 | 24.7 | 24.2 | 24.2 | 4 | 16.096
2021-09-16 10:38 | 1.5 | 36.1 | 34.9 | 34.2 | 4 | 16.579
2021-09-16 11:08 | 2 | 40.6 | 38.9 | 38.2 | 4 | 16.925
2021-09-16 14:08 | 5 | 50 | 47.2 | 46.5 | 4 | 17.634
2021-09-16 16:38 | 7.5 | 50.2 | 47 | 46.3 | 4 | 17.689
**WITH LCW**House LCW Pressure: Supply=110PSI / Return=50PSI
Date-Time | Elapsed Time (hrs) | RTD 102 (UP) | RTD 103 (DOWN) | RTD 104 (BORE) | I (A) | Voltage
2021-09-17 10:00 | 0 | 31.3 | 30.1 | 30 | 4 | 15.888
2021-09-17 13:30 | 3.5 | 35.2 | 33.6 | 31.7 | 4 | 16.583
2021-09-17 15:30 | 5.5 | 35.5 | 33.9 | 31.9 | 4 | 16.602
2021-09-20 08:30 | 70.5 | 34.4 | 33 | 30.7 | 4 | 16.544
*Note: Left magnet powered over a weekend.
RTD 104 (BORE)
RTD 103 (DOWN)
RTD 102 (UP)

## data
FX-005 SOLENOID THERMAL DATA WITH AND WITHOUT LCW
**NO LCW**
RTD 102 (UP) | RTD 103 (DOWN) | RTD 104 (BORE) | IR GUN (UP) | IR GUN (DOWN) | IR GUN (BORE) | Date-Time | I (A) | Voltage
23.2 | 22.8 | 22.8 | 22.4 | 23 | 22.9 | 2021-09-16 09:08 | 4 | 15.4
24.7 | 24.2 | 24.2 | 24.2 | 24.7 | 24 | 2021-09-16 09:38 | 4 | 16.096
36.1 | 34.9 | 34.2 | 36.5 | 36.2 | 32.6 | 2021-09-16 10:38 | 4 | 16.579
40.6 | 38.9 | 38.2 | 41.5 | 41.1 | 37.9 | 2021-09-16 11:08 | 4 | 16.925
50 | 47.2 | 46.5 | 51 | 51.2 | 42.5 | 2021-09-16 14:08 | 4 | 17.634
**WITH LCW**House LCW Pressure-Return=110PSI/Supply=50PSI
RTD 102 (UP) | RTD 103 (DOWN) | RTD 104 (BORE) | IR GUN (UP) | IR GUN (DOWN) | IR GUN (BORE) | Date-Time | I (A) | Voltage
31.3 | 30.1 | 30 | 30.7 | 30.6 | 30.3 | 2021-09-17 10:00 | 4 | 15.888
35.2 | 33.6 | 31.7 | 35.4 | 34.9 | 30.8 | 2021-09-17 13:30 | 4 | 16.583
35.5 | 33.9 | 31.9 | 35.9 | 35.6 | 33.1 | 2021-09-17 15:30 | 4 | 16.602
34.4 | 33 | 30.7 | 34.6 | 33.5 | 32.1 | 2021-09-20 08:30 | 4 | 16.544