## Slide 1: Cooler e-source Magnetized Beam LDRD Progress Report
June 29, 2017

## Slide 2
Magnetized Electron Source at GTS
Beamline
Gun Solenoid
Photocathode
Preparation
Chamber
Gun HV Chamber
Slit
Viewer Screen
Shield Tube
Viewer 3 Screen
Beam Dump

## Slide 3
Measuring Beam Magnetization
Use slit and viewscreens to measure mechanical angular momentum:
: solenoid field at photocathode
: laser rms size
Φ: rotation (sheering) angle

## Slide 4
0 G
at photocathode
1088 G
at photocathode

## Slide 5
Chart: B, Gauss
| 0 | 3.6259999999999999 | 7.2519999999999998 | 10.878 | 14.504 | 18.13 | 21.756 | 25.381999999999998 | 29.007999999999999 | 32.634 | 36.26 | 54.39 | 72.52 | 90.649999999999991 | 108.78 | 126.91 | 145.04 | 163.16999999999999 | 181.29999999999998 | 217.56 | 253.82 | 271.95 | 290.08 | 326.33999999999997 | 362.59999999999997 | 398.86 | 435.12 | 453.25 | 471.38 | 580.16 | 616.41999999999996 | 634.54999999999995 | 652.67999999999995 | 688.93999999999994 | 725.19999999999993 | 743.32999999999993 | 761.45999999999992 | 779.59 | 797.72 | 815.85 | 833.98 | 852.11 | 870.24 | 888.37 | 906.5 | 942.76 | 979.02 | 997.15 | 1015.28 | 1051.54 | 1087.8 | 1178.45 | 1269.0999999999999 | 1450.3999999999999
S1-V2 | 0 | 0 | -0.2 | -0.1 | 0 | -0.1 | 0.1 | -0.1 | -0.4 | -0.2 | 0 | -0.1 | -1.4 | 4.9 | 1 | -0.4 | -1 | -1.7 | -1.3 | -1.4 | 4.1 | 5.7 | 0 | -1.7 | -2.8 | 3.2 | 9.1 | 0.7 | -0.3 | 4.3 | -0.2 | -2.1 | -3.3 | -3.8 | 5.8 | 4.6 | 3.3 | 0.6 | -0.9 | -2.1 | -2.9 | -2.8 | -3.4 | -4 | -4.2 | -5.2 | -6.5 | -7.2 | -7.2 | -7.5 | -7.7 | -8.6 | -8.8 | -10.5
S1-V3 | 0 | -0.3 | 0 | 0.4 | 0 | 0.3 | 0.2 | 0.5 | 0.1 | 0.4 | 0.5 | 0.8 | 0.3 | 16.2 | 4.4 | 1.1 | -0.9 | -2.5 | -1.8 | -0.8 | 10.7 | 13 | 1.8 | -2.8 | -3.4 | 7.4 | 12.7 | 6.8 | 3.6 | 9 | -0.7 | -4.1 | -5.3 | -4.9 | 12.1 | 12.7 | 10.9 | 1.8 | -1.1 | -3.2 | -5.3 | -4.9 | -4.9 | -7.6 | -4.3 | -9.2 | -12.2 | -12.9 | -13.9 | -14.4 | -14.1 | -16.9 | -19.8 | -27.7
S2-V3 | 0 | -1.3 | -0.9 | -0.7 | -1 | -1 | -0.6 | -0.5 | -0.8 | -0.4 | -0.6 | -1.2 | -0.7 | 15.4 | 1.6 | 0 | -1.2 | -1.3 | -0.6 | 0 | 6.3 | 6.2 | 0.6 | -2.4 | -1.2 | -0.1 | 9.1 | 5 | 1.6 | 4.1 | -1 | -1.4 | -1.7 | -1.4 | 4.1 | 5.3 | 7.4 | 0.8 | -1 | -1.9 | -3.2 | -2.3 | -2.2 | -3.6 | -4.3 | -4.2 | -5.6 | -6.2 | -6.5 | -6.3 | -7.6 | -9.5 | -10.9 | -13.1
S1(V3-V2) | 0 | -0.3 | 0.2 | 0.5 | 0 | 0.4 | 0.1 | 0.6 | 0.5 | 0.6 | 0.5 | 0.9 | 1.7 | 11.3 | 3.4 | 1.5 | 0.1 | -0.8 | -0.5 | 0.6 | 6.6 | 7.3 | 1.8 | -1.1 | -0.6 | 4.2 | 3.6 | 6.1 | 3.9 | 4.7 | -0.5 | -2 | -2 | -1.1 | 6.3 | 8.1 | 7.6 | 1.2 | -0.2 | -1.1 | -2.4 | -2.1 | -1.5 | -3.6 | -0.1 | -4 | -5.7 | -5.7 | -6.7 | -6.9 | -6.4 | -8.3 | -11 | -17.2 | 11.3 | -49.8
Work of M. Mamun

## Slide 6
Outlook: July – September
Simulation of magnetized beam sizes and rotation angles
Run 5 mA magnetized beam
Design TE011 cavity