## EESICS
EESICS
Tasks |  | Labor - Hours
| Total Hrs | SR STAFF | ADMIN | SCIENTIST | COMP SCI | ENG | ELEC DES | MECH DES | ELEC TECH | MECH TECH | SKLLD TRADE
Beam Position Monitors | 360 |  |  |  |  | 120 |  |  |  | 240
Vacuum Valve Controls | 120 |  |  |  |  | 40 |  |  |  | 80
Convectron Gauge | 140 |  |  |  |  | 40 |  |  |  | 100 |  | what is convectron gauge used for?
Cold Cathode Gauge | 96 |  |  |  |  | 32 |  |  |  | 64 |  | What is cold cathode gauge used for?
Viewers | 248 |  |  |  |  | 40 |  |  |  | 208
ION Pumps | 320 |  |  |  |  | 120 |  |  |  | 200
Insertable cups | 8 |  |  |  |  | 0 |  |  |  | 8
Apertures | 56 |  |  |  |  | 16 |  |  |  | 40
1/4 cryo | 0 |  |  |  |  | 0 |  |  |  | 0 |  |  | I removed the nA cavity BPMs and fast valve
DP cans | 48 |  |  |  |  | 8 |  |  |  | 40
Harp | 8 |  |  |  |  | 0 |  |  |  | 8 |  |  | I added the BCM and YAO cavity
BCM cavity
YAO cavity | [12 empty] | John Hansknecht will make his ion pump power supplies, but maybe he asks your guys for help stuffing boards?
VME crates, other crates?
I to Vs? |  | what about the yellow hilighted stuff?
IOCs, appropriate computer control
communications stuff, network?
switcher for viewers?
switcher for reading ammeters?
60 Hz timing system (SCAM?)
BLMs (is this SSGs territory?)
[6 empty] | 40 |  |  |  | 40
Total Hrs | 1404
[8 empty] | In house |  | Need to buy or manufacture |  |  | TOTAL parts count
[8 empty] | 5 |  | 5 |  |  |  | 10 | valves
[8 empty] | 8 |  | 6 |  |  |  | 14 | viewers
[8 empty] | 20 |  | might need to buy 5 specialty pumps |  |  |  | 20 | ion pumps
[8 empty] | ? |  | ? |  |  |  | 20 | ion pump supplies
[8 empty] | 2 |  | might need to make 1 narrow style |  |  |  | 2 | differential pumps (these will have ion pumps too, epics readable)
[8 empty] | 2 |  | 1 |  |  |  | 3 | dumps
[8 empty] | 2 |  | 1 |  |  |  | 3 | insertable cups
[8 empty] | 5 |  | 0 |  |  |  | 5 | apertures
[8 empty] | 4 |  | 2 |  |  |  | 6 | picommeters (reading 4 apertures plus default cup or dump, switch to go between cups and dumps)
[8 empty] | 0 |  | 17 |  |  |  | 17 | stripline BPMs
[8 empty] | 1 |  | 1 |  |  |  | 2 | harps
[8 empty] | ? |  | ? |  |  |  | 1 | yao cavity
[8 empty] | ? |  | ? |  |  |  | 1 | BCM cavity