|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Qty** | **Unit** | **Total** |  |
| photodiode FGA01FC for laser phase pickoff | 4 | 144 | 576 |  |
| 90:10 splitters for phase pickoff | 4 | 122 | 488 |  |
| 2U drawers for splitting seeds to separate chassis | 4 | 200 | 800 |  |
| Machine shop work for thermal enclosure boxes | 4 | 600 | 2400 |  |
| Rack mount chiller | 1 | 2820 | 2820 |  |
| associated piping and fittings | 1 | 250 | 250 |  |
| spare Rfbay amplifier for seed | 1 | 250 | 250 |  |
| new printed circuit boards for seed/ preamp | 1 | 250 | 250 |  |
| new chassis and pcb for PSS shutters | 1 | 400 | 400 |  |
| system power supplies | 4 | 300 | 1200 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  | Total | 9434 |  |