## main log
				columns for special tasks
				Mott UP/DOWN On-Line Full Analysis Result					Mott UP/DOWN On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry	uncer	PITA	Delay	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	target ladder position
7900	BCM – no good data?
7901	first run looking for aperture	Mott	15	1	0.5	in	15186	222.3	26.1			33.5332	0.469106	-5.14372	0.52714	-0.659227	0.528516					-103000
7902	aperture check	Mott	15	1	0.5	out	15186	61.83	32.87			-33.8812	0.47091	-6.0948	0.530001	0.532765	0.531962					-103000
7903	Remove 5 ns delay	Mott	15	1	0.5	out	15186	-159.9	72.7			-31.6844	0.888468	-6.01501	0.984041	0.332215	0.987603					-103000
7904	Remove 1 more ns	Mott	15	1	0.5	out	15186	101	78.7			-33.3494	0.905724	-6.04827	1.01534	-2.3232	1.01851					-103000
7905	Remove 1 more ns	Mott	15	1	0.5	out	15186	-110.6	140.3			-32.8564	0.74989	-5.03859	0.838506	0.486074	0.840621					-103000
7906	adjust PMT HV (E->83000	Mott	15	1	0.5	out	15186	231.7	100.6			-34.2341	0.908745	-5.70225	1.02604	-0.257787	1.02938					-103000
7907	finishing adjusting E HV	Mott	15	1	0.5	out	15186	70.64	75.84			-32.7649	0.788298	-5.45748	0.880472	-0.460799	0.883083					-103000
7908	working on dE HV for PMT	Mott	15	1	0.5	out	15186	141.1	83.6			-35.038	0.903341	-7.40154	1.02412	0.799092	1.02969					-103000
7909	working on dE HV for PMT	Mott	15	1	0.5	out	15186	458.4	107.4			-33.4239	0.911762	-6.38412	1.02225	-0.923631	1.02634					-103000
7910	working on dE HV for PMT	Mott	15	1	0.5	out	15186	40.22	81.62			-34.1657	0.93112	-6.33524	1.04994	0.316922	1.05416					-103000
7911	working on dE HV for PMT	Mott	15	1	0.5	out	15186	42.33	171.42			-34.1233	0.865111	-5.00544	0.976666	-1.7477	0.97882					-103000
7912	moving on target ladder offset = 0	Mott	15	1	0.5	out	15188	-292	33.2			-33.2931	0.420824	-5.59094	0.471805	-0.143978	0.473284			-1.58587	0.439443	-0.31422	0.439549	-103000
7913	correction = 0 again, slight steer	Mott	15	1	0.5	out	15188	59.16	27.92			-34.0445	0.415989	-5.00296	0.469346	-1.57496	0.470407	2.27284	0.439942	0.0782002	0.440169	-0.648856	0.440151	-103000
7914	Nominal + correction – sigma	Mott	15	1	0.5	out	15188	-441.5	101.7			-33.0552	0.400259	-1.69311	0.449229	0.0795786	0.449357	2.56714	0.427748	-0.719057	0.428008	-0.840426	0.428	-102690
7915	Nominal + correction	Mott	15	1	0.5	out	15188	331.5	31.4			-34.0061	0.368395	1.17155	0.41651	-0.0700363	0.416567	2.68461	0.400803	0.464373	0.401084	0.351657	0.401087	-102457
7916	Nominal + correction + sigma	Mott	15	1	0.5	out	15188					-33.7303	0.396627	2.77249	0.30469			2.00766					-102224
new target ladder positions determined
7917	fixed nominal ladder pos	Mott	15	1	0.5	out	15188	557.8	90.2			-33.7852	0.360064	1.00605	0.406418	-0.461353	0.406451	2.77193	0.391822	0.545405	0.392112	0.0550642	0.392123	-102526
7918	fixed nominal ladder pos	Mott	15	1	0.5	in	15189	-172	25.9			33.8765	0.362464	-0.0141109	0.409453	0.0634892	0.409453	-2.0011	0.393049	0.438592	0.393199	-0.29314	0.393203	-102526
shift end
7919	pita scanning – no mott	BCM			3	IN	15190	-215.9	5.4	0	0
7920	pita scanning – no mott	BCM			3	OUT	15190	81.66	2.95	0	0
7921	pita scanning – no mott	BCM			3	OUT	15190	81.18	2.81	0	8
7922	pita scanning – no mott	BCM			3	IN	15190	-226.1	5.4	0	8
7923	pita scanning – no mott, PC = Off	BCM			3	IN	15190	5.285	2.45	0	0
7924	pita scanning – no mott, PC = On	BCM			3	IN	15190	-192	13.7	0	0
7925	pita scanning – no mott	BCM			3	IN	15190	154.4	8.4	1000	0
7926	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	IN	15190	-565.68	21.46	-1000	0
7927	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	468.42	19.44	-1000	0
7928	pita scanning – no mott	BCM			3	OUT	15190	87.12	5.1	0	0
7929	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	-258.8	11.1	1000	0
7930	pita scanning – no mott	BCM			3	OUT	15190	-61.75	2.71	400	0
7931	pita scanning – no mott	BCM			3	IN	15190	-63.69	2.75	400	0
7932	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			0.5	IN	15190	-69.4	3.19	400	0
7933	pita scanning – no mott	BCM			0.5	OUT	15190	-65.1	3.21	400	0
7934	Mott Run	BCM	15	1	0.5	OUT	15190	24.2	29.1	400	0	-33.3503	0.317122	-0.6603	0.356792	0.317516	0.356804	2.41091	0.342773	-0.0595601	0.342973	0.406497	0.342967
7935	Mott Run	BCM	15	1	0.5	IN	15190	-54.1	28.4	400	0	33.5692	0.302533	0.0531791	0.340955	-0.0935505	0.340955	-2.70394	0.326866	0.618073	0.327093	-0.359907	0.327101
7936	Mott Run, lowered dE Hvs	BCM	15	1	0.5	IN	15190	-20.53	40.09	400	0	33.6047	0.445185	-0.30901	0.501854	0.423417	0.50185	-2.61237	0.48167	1.06055	0.481944	-0.522145	0.481985
7937	Mott Run, lowered dE Hvs and scalers	BCM	15	1	0.5	IN	15190	-154.3	37	400	0	33.1338	0.37495	-1.05589	0.421144	-0.389334	0.421184	-3.05532	0.399057	1.50467	0.39934	-1.11195	0.399381
7938	Mott Run	BCM	15	1	0.5	IN	15190	46.15	47.49	400	0	34.0771	0.494784	-1.20028	0.559708	-0.320403	0.559783	-3.36471	0.529044	-0.105237	0.529643	-0.453183	0.529632
7939	Mott Run	BCM	15	1	0.5	IN	15190	118.7	28.8	400	0	34.1876	0.334155	-0.658923	0.378363	-0.363078	0.378375	-1.78361	0.358291	1.34334	0.358341	0.2662	0.358403
7940	Mott Run, Right Fit Fail	BCM	15	1	0.05	IN	15190	-67.6	8	400	0	42.5459	0.750775	-1.11586	0.9166	-0.584851	0.916683	-2.82613	1.07956	-37.745	0.926498	-2.4728	1.07976
	SHIFT CHANGE DAY
7941	check before spin dance	Mott	15	1	0.5	OUT	15190	-25.7	32.8	400	0	-33.5422	0.361573	-0.210976	0.407408	0.383053	0.407404	2.50433	0.387029	1.74103	0.387154	0.115524	0.387271
7942	check before spin dance	Mott	15	1	0.5	IN	15190	-35.56	30.7			34.1763	0.354226	-0.0246773	0.401072	-0.12209	0.401071	-2.23918	0.38044	0.627479	0.380616	-0.0864512	0.380631
7943	solenoids to vertical pol.	Mott	15	1	0.5	OUT	15190					1.2712	0.38459	0.369969	0.384647	0.127486	0.384652	33.3426	0.366159	1.63773	0.411847	0.497807	0.411947
7944	solenoids vertical, IHWP IN	Mott	15	1	0.5	IN	15190					-1.03967	0.326813	-0.329239	0.326844	0.434955	0.326842	-33.4919	0.310333	-0.241539	0.34954	0.792435	0.34952
7945	sols vert, V Wien to 75 deg	Mott	15	1	0.5	OUT	15190					1.50965	0.37826	-0.208976	0.378345	0.0927307	0.378346	32.3334	0.358322	1.0734	0.40011	0.473225	0.400147
7946	same as 7945, IHWP in	Mott	15	1	0.5	IN	15190					-1.46523	0.382807	0.710318	0.38287	-0.565873	0.382877	-32.4097	0.361806	0.858278	0.40424	-0.0894945	0.40427
7947	sols vert, V Wien to 60 deg	Mott	15	1	0.5	OUT	15190					1.78662	0.384291	0.202389	0.384412	-0.412965	0.384407	28.8157	0.36912	1.27713	0.402479	0.467547	0.402536
7948	same as 7947, IHWP in	Mott	15	1	0.5	iN	15190					-0.495366	0.383465	0.0827049	0.383474	0.224574	0.383472	-28.6157	0.368215	0.985781	0.401017	-0.0650278	0.401056
7949	sols vert, V Wien to 93 deg	Mott	15	1	0.5	OUT	15190					0.968376	0.380886	0.685518	0.380904	0.527464	0.380911	33.5089	0.358873	1.28451	0.404199	-0.0410072	0.404265
7950	same as 7949, IHWP in	Mott	15	1	0.5	IN	15190					-1.2194	0.362865	-0.0238043	0.362919	-0.20778	0.362917	-33.6457	0.342234	0.272353	0.385918	0.105156	0.385921
7951	Restore V Wien to 90, sols vert	Mott	15	1	0.5	OUT	15190					1.76711	0.378946	1.16191	0.379013	-1.29056	0.379002	33.1082	0.361098	0.250908	0.40555	0.156292	0.405552
7952	same as 7951, IHWP in	Mott	15	1	0.5	IN	15190					-1.47479	0.36922	-0.322093	0.369296	-0.164325	0.369299	-33.4381	0.351039	0.768066	0.395207	0.105267	0.395229
7953	V Wien 90 deg, sols horiz	Mott	15	1	0.5	OUT	15190					-33.277	0.34738	-0.301241	0.390634	-0.0856626	0.390637	2.70717	0.370985	0.395391	0.371251	0.207655	0.371255
7954	Same as 7953, IHWP IN	Mott	15	1	0.5	IN	15190					33.3973	0.339089	-0.439963	0.381651	-0.247877	0.381656	-2.14545	0.360801	1.09127	0.360924	-0.792973	0.360944
7955	Both Sols at -878	Mott	15	1	0.5	OUT	15190					-32.2981	0.34993	-0.70652	0.390665	0.0204009	0.390685	8.1545	0.369459	0.679268	0.371915	0.32608	0.371928
7956	Same as 7955, IHWP IN	Mott	15	1	0.5	IN	15190					32.7059	0.360368	0.307739	0.403529	-0.437394	0.403526	-8.09561	0.38079	1.27986	0.383239	-0.288946	0.383298
7957	Both Sols at -1078	Mott	15	1	0.5	OUT	15190					-34.0528	0.355917	-0.646475	0.402585	0.526764	0.402591	-2.39909	0.380555	1.15983	0.380722	0.390888	0.380768
7958	Same as 7957, IHWP IN	Mott	15	1	0.5	IN	15190					33.3354	0.355439	0.0767554	0.399874	0.196143	0.399873	2.29252	0.378906	0.785871	0.379082	-1.05339	0.379063
7959	Both Sols at -1028	Mott	15	1	0.5	OUT	15190					-34.1396	0.314529	-0.759543	0.356004	0.906445	0.355995	0.725746	0.335478	0.573539	0.335485	0.560131	0.335485
7960	Same as 7959, IHWP IN	Mott	15	1	0.5	IN	15190					33.1626	0.344865	-0.636235	0.387462	-0.375344	0.387473	-0.57851	0.367424	0.337988	0.367432	-1.02247	0.367398
7961	Both Sols at -928	Mott	15	1	0.5	OUT	15190					-33.2128	0.354316	-0.32525	0.398242	-0.375955	0.39824	5.40682	0.378437	1.07421	0.379503	0.371163	0.379542
7962	Same as 7960m IHWP IN	Mott	15	1	0.5	IN	15190					33.612	0.344687	-0.170293	0.388587	0.529407	0.388577	-5.80864	0.365788	1.06821	0.366985	-0.804336	0.367003
7963	“Perfect” V Wien, Sols	Mott	15	1	0.5	OUT	15190					-32.8173	0.359609	-0.235114	0.40301	0.424973	0.403005	-0.195615	0.380952	1.23523	0.380895	-0.212814	0.380952
7964	As 7963, IHWP IN	Mott	15	1	0.5	IN	15190					33.7087	0.364544	0.328764	0.411272	0.526106	0.411265	0.242936	0.388139	0.523738	0.38813	-0.212648	0.388139
7965	INVALID	Mott	13	0.05	0.5	OUT	15190
7966	Dump fraction on 0.05u	Mott	13	0.05	1	OUT	15190
7967	Dump fraction on 0.5u	Mott	5	0.5	0.75	OUT	15190	-76.86	21.97
7968	Asy. vs. Dead Time Study	Mott	15	1	0.245	OUT	15190	53.13	166.06			-33.7726	0.279346	-0.264095	0.315308	-0.250795	0.315308	-0.715518	0.297722	0.898601	0.297713	0.270112	0.297735
7969	Same as 7968, IHWP IN	Mott	15	1	0.245	IN	15190	112.3	19.1			33.3384	0.276428	0.277911	0.310991	0.421037	0.310988	0.632009	0.293963	1.17472	0.293935	-0.33474	0.293972
7970	Same as 7969, IHWP OUT	Mott	15	1	0.245	OUT	15190	0.8842	11.089			-33.2134	0.279828	-0.413122	0.314519	-0.0704947	0.314524	-0.469651	0.297888	1.3648	0.297839	0.690918	0.297881
7971	Same as 7970, IHWP IN	Mott	15	1	0.245	IN	15190	581.7	34			33.3643	0.276122	-0.558778	0.3107	-0.713157	0.310694	0.163427	0.2953	1.41825	0.295241	-0.648052	0.295288
7972	same as 7971, IHWP OUT	Mott	15	1	0.245	OUT	15190	-51.9	11.5			-33.8103	0.278465	-0.0597733	0.314405	0.228579	0.314404	-0.160923	0.297266	0.90202	0.297243	0.0860251	0.297267
7973	same as 7972, IHWP IN: L dE getting buggy	Mott	15	1	0.245	IN	15190	-223.3	151.8			33.68	0.309776	-0.398581	0.349406	-0.283608	0.349409	-0.190696	0.32989	1.57732	0.329809	-0.432762	0.329885
shift change to swing
7974	short run, diagnosing left dE	Mott	15	1	0.245	IN	15190					33.6829	1.02472	1.13924	1.15571	0.217934	1.15585	1.04331	1.09371	3.29565	1.09264	-0.252423	1.09382
7975	asym vs dead time, IHWP OUT	Mott	15	1	0.245	OUT	15190