## Slide 1: CEBAF New Wien Control
How to set Wien Voltage and Magnetic Field
Use accelerator convention:
Positive current makes positive B-field
Positive B-field bends up (V Wien) or right (H Wien)
Positive B-field makes positive Wien angle rotation up (V Wien) or right (H Wien)
Riad Suleiman

## Slide 2: BMT Spin Equation
In a Wien Filter with electric and magnetic fields transverse to electron beam velocity, spin precession relative to momentum in lab frame is given by following form of generalized Thomas-BMT equation:
In plane
Spin Precession Angle:
Time-of-Flight of electron beam in Wien determined by E-Field:
Vertical Wien
Right
Left
Down
Up

## Slide 3: Electromagnetic Forces
Electron Charge, | 
Magnetic Force, | 
Electrostatic Force, | 
c = 299792458.0 Speed of Light (m/s)
e = 1.602176e-19 Electron Charge (C)
mc2 = 510998.950 Electron Mass (eV)
GM = 0.00115965218091 Electron Anomalous Magnetic Moment
e/m = 1.758820088e+11 Electron Cyclotron Frequency/Field (rad/(s T))
LE = 3.120e-01 Electric Field Effective Length (m)
LB = 3.107e-01 Vertical Magnetic Field Effective Length (m)
g = 1.5e-02 Wien Gap (m)
E Electric Field Strength (V/m or N/C)
B Magnetic Field (T or N⋅s/(C m))
V Plate Voltage on Beam Down

## Slide 4: Electric Field Effective Length
CST model based on actual CEBAF drawings (faceted)

## Slide 5: Vertical Magnetic Field Effective Length

## Slide 6: Electric and Magnetic Fields

## Slide 7: Wien Equations (Gun HV = 130 kV)
Wien Angle: [deg] [V]
Plate Voltage: [V] [deg]
Magnetic Field: [G cm] [V]

## Slide 8: Wien Equations (Gun HV = 200 kV)
Wien Angle: [deg] [V]
Plate Voltage: [V] [deg]
Magnetic Field: [G cm] [V]

## Slide 9: Vertical Wien Angle: Set and Readback (given here at 200 kV, as an example)
Set Wien Angle to (angle rotation to beam Up is positive):
  Beam Down Plate Voltage: [V] [deg]
  Sign of voltage is same as sign of angle
  Magnetic Field: [G cm] [V]
  Sign of voltage at beam Up plate is opposite, ()
Read Wien Angle:
  Wien Angle: [deg] [V]
  , , : are determined by fitting Mott Asymmetry vs Plate Voltage
  Ideally, , , , otherwise we will have to change
  “Set Wien Angle” procedure

## Slide 10: Horizontal Wien
In plane
Right
Left
Down
Horizontal Wien
Gun HV 130 kV:
Wien Angle: [deg] [V]
Plate Voltage: [V] [deg]
Magnetic Field: [G cm] [V]
Gun HV 200 kV:
Wien Angle: [deg] [V]
Plate Voltage: [V] [deg]
Magnetic Field: [G cm] [V]

## Slide 11: Horizontal Magnetic Field Effective Length

## Slide 12: Horizontal Wien Angle: Set and Readback (given here at 200 kV, as an example)
Set Wien Angle to (angle rotation to beam Right is positive):
  Beam Left Plate Voltage: [V] [deg]
  Sign of voltage is same as sign of angle
  Magnetic Field: [G cm] [V]
  Sign of voltage at beam Right plate is opposite, ()
Read Wien Angle:
  Wien Angle: [deg] [V]
  , , : are determined by fitting Mott Asymmetry vs Plate Voltage
  Ideally, , , , otherwise we will have to change
  “Set Wien Angle” procedure

## Slide 13: Vertical Wien Settings
Wien Angle (degree) | Down Plate Voltage (V) | Up Plate Voltage (V) | Magnetic Field (G cm)
90.0 | 11053.5 | -11053.5 | 25230.0
45.0 | 5526.7 | -5526.7 | 1265.0
0.0 | 0.0 | 0.0 | 0.0
-45.0 | -5526.7 | 5526.7 | -1265.0
-90.0 | -11053.5 | 11053.5 | -25230.0
130 keV
Wien Angle (degree) | Down Plate Voltage (V) | Up Plate Voltage (V) | Magnetic Field (G cm)
90.0 | 18038.6 | -18038.6 | 3584.9
45.0 | 9019.3 | -9019.3 | 1792.5
0.0 | 0.0 | 0.0 | 0.0
-45.0 | -9019.3 | 9019.3 | -1792.5
-90.0 | -18038.6 | 18038.6 | -3584.9
200 keV

## Slide 14: Vertical Wien Schematics
Positive Angle (Up)
Right
Left
Down Plate (+HV)
Up Plate (-HV)
Negative Angle (Down)
Right
Left
Down Plate (-HV)
Up Plate (+HV)

## Slide 15: Horizontal Wien Settings
Wien Angle (degree) | Left Plate Voltage (V) | Right Plate Voltage (V) | Magnetic Field (G cm)
90.0 | 11053.5 | -11053.5 | 25230.0
45.0 | 5526.7 | -5526.7 | 1265.0
0.0 | 0.0 | 0.0 | 0.0
-45.0 | -5526.7 | 5526.7 | -1265.0
-90.0 | -11053.5 | 11053.5 | -25230.0
130 keV
Wien Angle (degree) | Left Plate Voltage (V) | Right Plate Voltage (V) | Magnetic Field (G cm)
90.0 | 18038.6 | -18038.6 | 3584.9
45.0 | 9019.3 | -9019.3 | 1792.5
0.0 | 0.0 | 0.0 | 0.0
-45.0 | -9019.3 | 9019.3 | -1792.5
-90.0 | -18038.6 | 18038.6 | -3584.9
200 keV

## Slide 16: Horizontal Wien Schematics
Positive Angle (Right)
Negative Angle (Left)
Right Plate (-HV)
Left Plate (+HV)
Down
UP
Right Plate (+HV)
Left Plate (-HV)
Down
UP