## Slide 1: 300 kV gun GPT simulations sphere with long anode GTS beam parameters, Spacecharge ON
Gabriel Palacios
gabrielp@jlab.org 08/28/18

## Slide 2: Outline
Is it the cathode-anode gap fields?
Is it the photocathode fields?
Maybe an elliptical beam?
Is GPT doing something weird?
Maybe the bunch charge?

## Slide 3: Solidworks: GTS with long anode
Gun is operated at 200kV for Yan’s results
Long anode
9 cm cathode-anode gap
Space charge on
1000 particles
Qbunch 20 fC
Laser RMS spotsize xyrms=0.351E-3 m
Trms=21.27 ps
Mean transverse energy 0.143E-3

## Slide 4: Is it the cathode-anode gap fields?
Asymmetry in the “y” direction, acceleration in “z” direction.

## Slide 5: Preliminary results: Fields maps
These are @300 kV, but we scaled them to 200 when reading in GPT

## Slide 6: Preliminary results: Fields maps
These are @300 kV, but we scaled them to 200 when reading in GPT

## Slide 7: Preliminary results: Fields maps
These are @300 kV, but we scaled them to 200 when reading in GPT

## Slide 8: Is it the photocathode fields?
Homogeneous on the photocathode surface, dominated by Pierce geometry as expected. Asymmetry becomes noticeable when we move away from the surface.

## Slide 9: Preliminary results: |E| field on photocathode
Cross section @photocathode surface, isometric view
Cross section @photocathode surface, front view
Cross section @photocathode surface, front view zoom

## Slide 10: Preliminary results: |E| field on photocathode
Lateral cross section

## Slide 11: Preliminary results: |E| field on photocathode
Chart: z[m]
| -6.0000000000000001E-3 | -5.7999999999999996E-3 | -5.5999999999999999E-3 | -5.4000000000000003E-3 | -5.1999999999999998E-3 | -5.0000000000000001E-3 | -4.7999999999999996E-3 | -4.5999999999999999E-3 | -4.4000000000000003E-3 | -4.1999999999999997E-3 | -4.0000000000000001E-3 | -3.8E-3 | -3.5999999999999999E-3 | -3.3999999999999998E-3 | -3.2000000000000002E-3 | -3.0000000000000001E-3 | -2.8E-3 | -2.5999999999999999E-3 | -2.3999999999999998E-3 | -2.2000000000000001E-3 | -2E-3 | -1.8E-3 | -1.6000000000000001E-3 | -1.4E-3 | -1.1999999999999999E-3 | -1E-3 | -8.0000000000000004E-4 | -5.9999999999999995E-4 | -4.0000000000000002E-4 | -2.0000000000000001E-4 | 0 | 2.0000000000000001E-4 | 4.0000000000000002E-4 | 5.9999999999999995E-4 | 8.0000000000000004E-4 | 1E-3 | 1.1999999999999999E-3 | 1.4E-3 | 1.6000000000000001E-3 | 1.8E-3 | 2E-3 | 2.2000000000000001E-3 | 2.3999999999999998E-3 | 2.5999999999999999E-3 | 2.8E-3 | 3.0000000000000001E-3 | 3.2000000000000002E-3 | 3.3999999999999998E-3 | 3.5999999999999999E-3 | 3.8E-3 | 4.0000000000000001E-3 | 4.1999999999999997E-3 | 4.4000000000000003E-3 | 4.5999999999999999E-3 | 4.7999999999999996E-3 | 5.0000000000000001E-3 | 5.1999999999999998E-3 | 5.4000000000000003E-3 | 5.5999999999999999E-3 | 5.7999999999999996E-3
Fieldvalue | 1727900 | 1689700 | 1661000 | 1659300 | 1682700 | 1722800 | 1769000 | 1814200 | 1855300 | 1893600 | 1928300 | 1959800 | 1988300 | 2013900 | 2036700 | 2057900 | 2076700 | 2093600 | 2109100 | 2122700 | 2135200 | 2146200 | 2155900 | 2164100 | 2171200 | 2177300 | 2182100 | 2185800 | 2188300 | 2190000 | 2190500 | 2189900 | 2188100 | 2185400 | 2181500 | 2176700 | 2170800 | 2163600 | 2155200 | 2145400 | 2134500 | 2122100 | 2108200 | 2092800 | 2075500 | 2056500 | 2035500 | 2012100 | 1986800 | 1958100 | 1926600 | 1891700 | 1854200 | 1811600 | 1767600 | 1721100 | 1681300 | 1656200 | 1659700 | 1687500
Along x axis

## Slide 12: Preliminary results: |E| field on photocathode
Along y axis
Chart: y[m]
| -6.0000000000000001E-3 | -5.7999999999999996E-3 | -5.5999999999999999E-3 | -5.4000000000000003E-3 | -5.1999999999999998E-3 | -5.0000000000000001E-3 | -4.7999999999999996E-3 | -4.5999999999999999E-3 | -4.4000000000000003E-3 | -4.1999999999999997E-3 | -4.0000000000000001E-3 | -3.8E-3 | -3.5999999999999999E-3 | -3.3999999999999998E-3 | -3.2000000000000002E-3 | -3.0000000000000001E-3 | -2.8E-3 | -2.5999999999999999E-3 | -2.3999999999999998E-3 | -2.2000000000000001E-3 | -2E-3 | -1.8E-3 | -1.6000000000000001E-3 | -1.4E-3 | -1.1999999999999999E-3 | -1E-3 | -8.0000000000000004E-4 | -5.9999999999999995E-4 | -4.0000000000000002E-4 | -2.0000000000000001E-4 | 0 | 2.0000000000000001E-4 | 4.0000000000000002E-4 | 5.9999999999999995E-4 | 8.0000000000000004E-4 | 1E-3 | 1.1999999999999999E-3 | 1.4E-3 | 1.6000000000000001E-3 | 1.8E-3 | 2E-3 | 2.2000000000000001E-3 | 2.3999999999999998E-3 | 2.5999999999999999E-3 | 2.8E-3 | 3.0000000000000001E-3 | 3.2000000000000002E-3 | 3.3999999999999998E-3 | 3.5999999999999999E-3 | 3.8E-3 | 4.0000000000000001E-3 | 4.1999999999999997E-3 | 4.4000000000000003E-3 | 4.5999999999999999E-3 | 4.7999999999999996E-3 | 5.0000000000000001E-3 | 5.1999999999999998E-3 | 5.4000000000000003E-3 | 5.5999999999999999E-3 | 5.7999999999999996E-3
Fieldvalue | 1727900 | 1689700 | 1661000 | 1659300 | 1682700 | 1722800 | 1769000 | 1814200 | 1855300 | 1893600 | 1928300 | 1959800 | 1988300 | 2013900 | 2036700 | 2057900 | 2076700 | 2093600 | 2109100 | 2122700 | 2135200 | 2146200 | 2155900 | 2164100 | 2171200 | 2177300 | 2182100 | 2185800 | 2188300 | 2190000 | 2190500 | 2189900 | 2188100 | 2185400 | 2181500 | 2176700 | 2170800 | 2163600 | 2155200 | 2145400 | 2134500 | 2122100 | 2108200 | 2092800 | 2075500 | 2056500 | 2035500 | 2012100 | 1986800 | 1958100 | 1926600 | 1891700 | 1854200 | 1811600 | 1767600 | 1721100 | 1681300 | 1656200 | 1659700 | 1687500

## Slide 13: Preliminary results: |E| field
Z=0.064m
Z=0.065m
Z=0.066m
As we move away from the photocathode surface along z-axis.
Red plots are fields along x-axis, green plots are fields along y-axis

## Slide 14: Maybe an elliptical beam?
Carlos’ hypothesis. Three metrics for beam distribution: Elliptical beam, uniform, Gaussian

## Slide 15: Preliminary results: Normalized emittance
HERE THE ELLIPTICAL BEAM
x
y
z
Beam
direction
Click here for excel plots

## Slide 16: Preliminary results: STDX & STDY VS Z
HERE THE ELLIPTICAL BEAM IS UNIFORM
x
y
z
Beam
direction
Click here for excel plots

## Slide 17: Preliminary results: Normalized emittance
HERE THE ELLIPTICAL BEAM HEIGHT IS SCALED BY A FACTOR OF 0.75
x
y
z
Beam
direction
Click here for excel plots

## Slide 18: Preliminary results: STDX & STDY VS Z
HERE THE ELLIPTICAL BEAM HEIGHT IS SCALED BY A FACTOR OF 0.75
x
y
z
Beam
direction
Click here for excel plots

## Slide 19: Preliminary results: Normalized emittance
HERE THE ELLIPTICAL BEAM HEIGHT IS SCALED BY A FACTOR OF 0.5
x
y
z
Beam
direction
Click here for excel plots

## Slide 20: Preliminary results: STDX & STDY VS Z
HERE THE ELLIPTICAL BEAM HEIGHT IS SCALED BY A FACTOR OF 0.5
x
y
z
Beam
direction
Click here for excel plots

## Slide 21: Is GPT doing something weird?
Flipping the electric field maps shows that GPT is not doing anything in “x” that does not do in “y”

## Slide 22: Mirrored Field maps

## Slide 23: Preliminary results: Normalized emittance

## Slide 24: Maybe the bunch charge?
Just throwing it out there

## Slide 25: Preliminary results: Normalized emittance
Bunch charge @ 40 fC
Click here for excel plots

## Slide 26: Preliminary results: STDX & STDY VS Z
Bunch charge @ 40 fC
Click here for excel plots

## Slide 27: Preliminary results: Normalized emittance
Bunch charge @ 100 fC
Click here for excel plots

## Slide 28: Preliminary results: STDX & STDY VS Z
Bunch charge @ 100 fC
Click here for excel plots

## Slide 29: Preliminary results
Three metrics: gaussian, Elliptical, uniform

## Slide 30: Normalized emittance
Chart: x-axis

## Slide 31: Normalized emittance
Chart: y-axis

## Slide 32: Normalized emittance
Chart: x-axis
Chart: y-axis

## Slide 33: Preliminary results
metrics: gaussian, Elliptical, elliptical scaled

## Slide 34: Normalized emittance
Chart: x-axis

## Slide 35: Normalized emittance
Chart: y-axis

## Slide 36: Normalized emittance
Chart: x-axis
Chart: y-axis

## Slide 37: Preliminary results
Metrics: Gaussian at different bunch charges

## Slide 38: Normalized emittance
Chart: x-axis

## Slide 39: Normalized emittance
Chart: y-axis

## Slide 40: Normalized emittance
Chart: y-axis
Chart: x-axis

## Slide 41: Preliminary results
All metrics

## Slide 42: Normalized emittance: all
Chart: x-axis

## Slide 43: Normalized emittance: all
Chart: y-axis

## Slide 44: Normalized emittance: all
Chart: x-axis
Chart: y-axis

## Slide 45: Preliminary results
Three metrics: gaussian, Elliptical, uniform

## Slide 46: Emittance stdx
Chart: x-axis

## Slide 47: Emittance stdy
Chart: y-axis

## Slide 48: Emittance
Chart: x-axis
Chart: y-axis

## Slide 49: Preliminary results
metrics: gaussian, Elliptical, elliptical scaled

## Slide 50: Emittance stdx
Chart: x-axis

## Slide 51: Emittance stdy
Chart: y-axis

## Slide 52: Emittance
Chart: x-axis
Chart: x-axis

## Slide 53: Preliminary results
Metrics: Gaussian at different bunch charges

## Slide 54: Emittance stdx
Chart: x-axis

## Slide 55: Emittance stdy
Chart: y-axis

## Slide 56: Emittance
Chart: x-axis
Chart: y-axis

## Slide 57: Preliminary results
All metrics

## Slide 58: Emittance stdx
Chart: x-axis

## Slide 59: Emittance stdy
Chart: y-axis

## Slide 60: Emittance
Chart: x-axis
Chart: y-axis

## Slide 61: Fin.