## Sheet1
WAIST HEIGHT TO STRAIGHT AHEAD DUMP | [5 empty] | WAIST HEIGHT TO SPECTROMETER DUMP | [5 empty] | TO HDICE
SEQUENCE | VACUUM | MAGNET | INSTRUMENT | INSTRUMENT | RF | SEQUENCE | VACUUM | MAGNET | INSTRUMENT | INSTRUMENT | RF | SEQUENCE | VACUUM | MAGNET | INSTRUMENT | INSTRUMENT | RF | total parts count |  | (need to check this count)
1 | VBVM201 |  |  |  |  | 1 | VBVM201 |  |  |  |  | 1 | VBVM201
2 | VIPM201 |  | ITVM201 |  |  | 2 | VIPM201 |  | ITVM201 |  |  | 2 | VIPM201 |  | ITVM201 |  |  | steering magnets (pairs) | ion pumps | valves | viewers | harps
3 |  |  | IPMM201 |  |  | 3 |  |  | IPMM201 |  |  | 3 |  |  | IPMM201 |  |  | 15 | 14 | 8 | 11 | 4
4 |  | MHBM201H |  |  |  | 4 |  | MHBM201H |  |  |  | 4 |  | MHBM201H
5 |  | MHBM201V |  |  |  | 5 |  | MHBM201V |  |  |  | 5 |  | MHBM201V
6 | VMVM301 |  |  |  |  | 6 | VMVM301 |  |  |  |  | 6 | VMVM301
7 | VDPM301A |  |  |  |  | 7 | VDPM301A |  |  |  |  | 7 | VDPM301A
8 | VIPM301A |  |  |  |  | 8 | VIPM301A |  |  |  |  | 8 | VIPM301A |  |  |  |  | MBH = big haimson
9 | VDPM301B |  |  |  |  | 9 | VDPM301B |  |  |  |  | 9 | VDPM301B |  |  |  |  | MHB = little haimson
10 | VIPM301B |  |  |  |  | 10 | VIPM301B |  |  |  |  | 10 | VIPM301B
11 |  | MBHM401H |  |  |  | 11 |  | MBHM401H |  |  |  | 11 |  | MBHM401H
12 | VDPM301C |  |  |  |  | 12 | VDPM301C |  |  |  |  | 12 | VDPM301C
13 | VMVM401 |  |  |  |  | 13 | VMVM401 |  |  |  |  | 13 | VMVM401
14 |  | MBHM401V |  | ILMM401 |  | 14 |  | MBHM401V |  | ILMM401 |  | 14 |  | MBHM401V |  | ILMM401
15 |  |  |  |  | SBCM401 (PSS BCM) | 15 |  |  |  |  | SBCM401 (PSS BCM) | 15 |  |  |  |  | SBCM401 (PSS BCM)
16 |  |  |  |  | ICBM401 (yao cavity) | 16 |  |  |  |  | ICBM401 (yao cavity) | 16 |  |  |  |  | ICBM401 (yao cavity)
17 | VIPM401 |  | ITVM401 | IFYM401 |  | 17 | VIPM401 |  | ITVM401 | IFYM401 |  | 17 | VIPM401 |  | ITVM401 | IFYM401
18 | VBVM501 |  |  |  |  | 18 | VBVM501 |  |  |  |  | 18 | VBVM501
19 |  | MBHM501H |  |  |  | 19 |  | MBHM501H |  |  |  | 19 |  | MBHM501H
20 |  | MBHM501V |  |  |  | 20 |  | MBHM501V |  |  |  | 20 |  | MBHM501V
21 |  |  | IPMM501 |  |  | 21 |  |  | IPMM501 |  |  | 21 |  |  | IPMM501
22 |  | MQJM501 |  |  |  | 22 |  | MQJM501 |  |  |  | 22 |  | MQJM501
23 |  |  | IPMM502 |  |  | 23 |  |  | IPMM502 |  |  | 23 |  |  | IPMM502
24 |  | MHBM502H |  |  |  | 24 |  | MHBM502H |  |  |  | 24 |  | MHBM502H
25 |  | MHBM502V |  |  |  | 25 |  | MHBM502V |  |  |  | 25 |  | MHBM502V
26 |  | MQJM502 |  |  |  | 26 |  | MQJM502 |  |  |  | 26 |  | MQJM502
27 |  |  | IPMM503 |  |  | 27 |  |  | IPMM503 |  |  | 27 |  |  | IPMM503
28 |  | MHBM503H |  |  |  | 28 |  | MHBM503H |  |  |  | 28 |  | MHBM503H
29 |  | MHBM503V |  |  |  | 29 |  | MHBM503V |  |  |  | 29 |  | MHBM503V
30 |  | MQJM503 |  |  |  | 30 |  | MQJM503 |  |  |  | 30 |  | MQJM503
31 |  |  | IPMM504 |  |  | 31 |  |  | IPMM504 |  |  | 31 |  |  | IPMM504
32 |  | MQJM504 |  |  |  | 32 |  | MQJM504 |  |  |  | 32 |  | MQJM504
33 |  | MBHM504H |  |  |  | 33 |  | MBHM504H |  |  |  | 33 |  | MBHM504H
34 |  | MBHM504V |  |  |  | 34 |  | MBHM504V |  |  |  | 34 |  | MBHM504V
35 | VIPM504 |  | ITVM504 |  |  | 35 | VIPM504 |  | ITVM504 |  |  | 35 | VIPM504 |  | ITVM504
36 |  | MDLM504 |  |  |  | 36 |  | MDLM504 |  |  |  | 36 |  | MDLM504
37 | VBVM601 |  |  |  |  | 37 | VBVM601 |  |  |  |  | 37 | VBV801
38 |  |  |  | ILMM601 |  | 38 |  |  |  | ILMM601 |  | 38 |  |  | IPMM801
39 |  |  | IPMM601 |  |  | 39 |  |  | IPMM601 |  |  | 39 |  | MQDM801
40 |  | MDLM601 |  |  |  | 40 |  | MDLM601 |  |  |  | 40 |  | MHBM801H
41 |  |  | IHAM601 |  |  | 41 | VBVM701 |  |  |  |  | 41 |  | MHBM801V
42 | VIPM601 |  | ITVM601 |  |  | 42 |  |  | IPMM701 |  |  | 42 |  |  | IPMM802
43 |  | MHBM601H |  |  |  | 43 |  | MHBM701H |  |  |  | 43 |  | MQJM802
44 |  | MHBM601V |  |  |  | 44 |  | MHBM701V |  |  |  | 44 |  | MHBM802H
45 |  |  |  |  | ICBM601 | 45 | VIPM701 |  |  |  |  | 45 |  | MHBM802V
46 |  |  |  |  | SBCM601 (PSS BCM) | 46 |  | MQJM701 |  | ILMM701 |  | 46 | VIPM803B
47 |  |  |  | IDLM601 |  | 47 |  |  | IPMM702 |  |  | 47 |  |  | IPMM803
[6 empty] | 48 |  | MHBM702H |  |  |  | 48 |  | MBHM803H
[6 empty] | 49 |  | MHBM702V |  |  |  | 49 |  | MBHM803V
[6 empty] | 50 |  | MQJM702 |  |  |  | 50 |  | MQDM803
[6 empty] | 51 |  |  | IHAM703 |  |  | 51 |  |  |  | IHAM803
[6 empty] | 52 | VIPM703 |  | ITVM703 |  |  | 52 | VIPM803B |  | ITVM803
[6 empty] | 53 |  |  |  |  | SBCM701 (PSS BCM) | 53 |  | MDLM803 |  | ILMM803
|  | ICBM = brock cavity |  |  |  | 54 |  |  |  | IDLM703 |  | 54 | VIPM804 |  | ITVM804
[12 empty] | 55 | VBVM901
[12 empty] | 56 |  |  | IPMM901
[12 empty] | 57 |  | MQJM901
[12 empty] | 58 |  | MHBM901H
[12 empty] | 59 |  | MHBM901V
[12 empty] | 60 |  |  | IPMM902
[12 empty] | 61 |  | MQJM902
[12 empty] | 62 |  | MHBM902H
[12 empty] | 63 |  | MHBM902V
[12 empty] | 64 | VIPM902 |  | ITVM902
[12 empty] | 65 |  |  | IPMM903
[12 empty] | 66 |  | MQJM903
[12 empty] | 67 |  | MHBM903H
[12 empty] | 68 |  | MHBM903V
[12 empty] | 69 |  |  | IPMM904
[12 empty] | 70 |  | MQJM904
[12 empty] | 71 |  | MHBM904H
[12 empty] | 72 |  | MHBM904V
[12 empty] | 73 | VIPM904 |  | ITVM904
[12 empty] | 74 |  |  | ISLM904A |  | aperture
[12 empty] | 75 |  | raster H
[12 empty] | 76 |  | raster V
[12 empty] | 77 |  |  |  | SCBM905 | bcm
[12 empty] | 78 |  |  | nanoamp BPM | IPMM904 | ragowski coil
[12 empty] | 79 |  |  | ISLM904B |  | aperture
[12 empty] | 80 | VIPM905A |  | ITVM905 |  | viewer
[12 empty] | 81 | VIPM905B |  | IFYM905 |  | cup
[12 empty] | 82 | VMVMA01
[12 empty] | 83 | pump | earth bucker
[12 empty] | 84 |  |  | HDIce target
[12 empty] | 85 | VMVMB01
[12 empty] | 86 | VIPMB01 |  | ITVMB01 | IHAMB01
[12 empty] | 87 |  |  | IDLMB02
The 900 series BLMs might get moved around a bit, once HDIce is installed
note the striplines on elevated section are larger bore, so maybe need a different name
don't know yet what the BPMs will be near HDIce
Note on D38: Mathew Poelker: dipole OFF
Note on K38: Mathew Poelker: dipole OFF
Note on R38: Mathew Poelker: dipole OFF
Note on D42: Mathew Poelker: dipole OFF
Note on K42: Mathew Poelker: dipole ON
Note on R55: Mathew Poelker: dipole ON