## 14Proc
Only items that are not available at the lab and are needed to be procured are listed
Task Type | Item | Cost in K$ | PIC
1. Utiltiies | Instrumentation Air along the beamline | 5 | P. Adderley
| LCW | 10 | P. Adderley
2. Safety systems:PSS & MPS | Personnel Safety System- gates, electronics, ODH heads | 10 | K.Mahoney
Radiation Controls | MPS Electronics -1 BL $2K/unit | 3 | K.Mahoney
Fire Safety | Fire Protection System | 10 | D. Kausch
Phase I - Section 1: HighVoltage Gun to Apertures
3. Beamline Elements | HV Gun | 125 | C. Hernandez
| Ceramic Insulator + Getters | 75 | M. Poelker
| Laser System |  | J. Hansknecht
| Faraday Cup | 5 | O. Garza
| Viewer | 7 | P. Addereley
| Beam Current Cavity | 15 | O. Garza
| Girder for chopper | 15 | M. Bevins
Phase I - Section 2: RF acceleration - Apertures to End of 1/4 cryo
4. Beamline Elements | 2 Lenses @ $10K/unit | 20 | P. Adderley
| 4 Correctors @ $1K/unit | 4 | P. Adderley
| 1 Viewers @ $7K/unit | 7 | P. Adderley
| 1 Dipole Magnet | 10 | P. Adderley
| 1 BPM @$3K/unit | 3 | O. Garza
| 1/4 Cryo Stand | 50 | J. Preble
| RF components (waveguides, filters, circulators) | 50 | C. Hovater
Facilities | AC power distribution | 150 | P.Powers
| Hole for beam pipe + remove labyrinth | 30 | Facilties

## 15Proc
Only items that are not available at the lab and are needed to be procured are listed
Task Type | Item | Cost in K$ | PIC
1. Utilities | Cryoline components | 40 | D. Arenius
2. Safety Systems:PSS&MPS | Personnel Safety System- gates, electronics, ODH heads | 20 | K.Mahoney
Radiation Controls | MPS Electronics -2 BLMs $2K/unit | 6 | K.Mahoney
Fire Safety | CARM base unit with 3 heads | 20 | D. Hamlet
| Fire Protection System | 10 | D. Kausch
Phase I - Section 2: RF acceleration - Apertures to End of 1/4 cryo
1/4 cryomodule | LLRF Controls |  | C. Hovater
| Beam Dump |  | P. Adderley
| Contingency High Power RF (3 1kW amplifiers) | 75 | C. Hovater
Phase I - Section 3: End of 1/4 cryomodule to HDIce
HDice | 2 Stands @$20K/unit | 20 | M. Bevins
| 2 Focusing quads @$10K/unit | 20 | P. Adderley
| 4 Correctors @ $1k/unit | 4 | P. Adderley
| 1 Viewer @ $7K/unit | 7 | P. Adderley
| 2 Beam Position Monitor @$3 K/unit | 6 | O. Garza
| 1 Harp @ $17 K/unit | 17 | O. Garza
| 2 Beam Position Monitors @$3 K/unit | 6 | O. Garza
| 1 Beam current Cavity | 15 | O. Garza
| 1 Raster System @ $20K/unit | 5 | A. Sandorfi
| 1 Faraday Cup | 5 | O. Garza
Facilities | HVAC system: $150 K | 150 | R. Yasky

## 14Labor
Task Type | Task | Person Weeks
| Component Layout | 4
1. Infrastructure | Distribution of AC power to Instrumentation Racks | 20
| LCW to Chopper, HPAs | 10
| Instrumentation Air along the beamline | 2
| Racks for High Power RF, LLRF and Control systems | 3
| Trim Racks | 3
2. Safety Systems | Personnel Safety System Evaluation | 1
PSS & MPS | Personnel Safety System Installation | 1
| Machine Protection System Design | 1
Radiation Controls | Radiation Assessment | 4
Fire Safety | Fire Protection Evaluation | 1
| Fire Protection Installation | 1
Phase I - Section 1: HighVoltage Gun to Apertures
1. Beamline Elements | HV Gun | 20
| Laser System | 22
| Diagnostics (BPMs, Viewers, Harps, Faraday Cup, BCMs) | 4
| CAMAC/VME crates and wiring | 7
| Vacuum | 4
| Magnets | 4
| Wien Filters | 3
| Polarimeter | 3
| Girder Design for chopper | 1.5
| Chopper | 6
| RF for Chopper | 5
| Beam Dump | 1
| Survey and Alignment | 6
| Design | 4
| Installation | 10
| Survey and Alignment | 6
| 1/4 Cryo | 6
| AC Power to the Area | 5

## 15 Labor
Task Type | Task | Person weeks
Utilities | Cryolines to 1/4 Cryo and to Hdice | 10
Safety systems: | Personnel Safety System Design, includes ODH | 1
PSS | Personnels Safety System Installation | 1
MPS | Machine Protection System Installation | 3
Radiation Controls | CARM Installation | 1
Fire Safety | Fire Protection Installation | 1
Phase I - Section 2: Apertures to End of 1/4 cryo
1. Beamline | 1/4 Cryo | 6
| RF for 1/4 Cryo | 1.5
| LLRF Controls | 1.5
| Cryoline hook up | 1.5
| Commissioning | 4
| Beam Dump | 1
Phase I - Section 4: End of 1/4 cryomodule to HDIce
Hdice target | Beam line, diagnostics, magnets | 4
| Installation | 20
| Commissioning | 8
| Survey and Alignment | 1.5
Phase I - Shielding
Shielding | Shield Block Prepartion | 8
| Shield Block Installation | 16
Facilities
| Seismic Evaluation for Shield Block Installation | 5
| HVAC | 5