Using our standard process to define energy and time cuts for good Mott events (Region B), Daniel will also tally “before” events (Region A) and “after” events (Region C), corresponding to equal duration of time and exact same energies, corresponding to (N+A, N-A, N+B, N-B, N+C, N-C).
Daniel will compute 8 quantities for each run which will be statistically combined for each foil and used as we wish.
Description	Quantity
Region A total events	NA = N+A + N-A
Region B total events	NB = N+B + N-B
Region C total events	NC = N+C + N-C
Dilution Number	<DN> = (NA + NC) / 2NB
Region A asymmetry	eA = (N+A - N-A)/(N+A + N-A)
Region B asymmetry	eB = (N+B - N-B)/(N+B + N-B)
Region C asymmetry	eA = (N+C - N-C)/(N+C + N-C)
Dilution Asymmetry	<DA> = 1 - (eABC / eB)
A
B
C
Time
Energy
2s
6s
-2s
-6s
2s
s/2

---
<DA> = Dilution Asymmetry [%] = (1 - (eABC / eB)) * 100	<DN> = Dilution Number [%] = ((NA + NC) / 2NB) * 100