
**RTP Installation Meeting) – Oct 12, 2019**

1. We have about 2 weeks in January for laser work, but sharing w/ PSS after Jan 7.



1. Items for UVA RTP installation
   1. UVA RTP Pockels cell in UVA mount, on existing translation stage
   2. UVA PS (four + and four -), installed in rack
   3. JLAB DAC (four + and four -), EDM screen
   4. Modify laser cover (LSOP?), pull cables
   5. Convey channel names to Halls (for recording if they want)
2. Configuration/Alignment
   1. Grounding, of opposing plates?
   2. Which switches are we going to use (electrical, optical=falcon,dragon?)
   3. Remote PC on/off
3. Performance
   1. (thermal) stability studies at UVA
   2. plan for tracking stability and tests during SPRING 2019 run (pre-PREX/CREX
4. KDP Backout Plan
   1. Store cell in existing mount
   2. Retain KDP DAC channels/cables tied off
   3. Retain EDM interface
5. JLAB RTP System
   1. Raicol large aperture crystal, metalized (spare when makes sense)
   2. RTP Mount
   3. HVPS