A High Precision Mott Polarimeter at 5 MeV

J. Grames1, C. K. Sinclair1,\*, R. Sulieman1, M. Poelker1, X. Roca-Maza4, M. Stutzman1, M. McHugh2, D. Moser1, J. Hansknecht1, and T. Gay3

1Thomas Jefferson National Accelerator Facility

Newport News, VA 23606

2Physics Department, George Washington University

Washington, DC

3Physics Department, University of Nebraska

Lincoln. NE

4INFN, Milan, Italy

We report on the design and performance of a Mott polarimeter optimized for operation at a nominal 5 MeV electron beam energy. Using beam with a 31.1875 MHz time structure from the 1497 MHz CEBAF electron injector, and incorporating time-of-flight in the electron detection, we can isolate the detected electrons that originate from the scattering foil. This background elimination results in very stable asymmetry measurements over a wide range of beam conditions and foil thicknesses. We have measured the scattering asymmetry produced by a ~ 85% transversely polarized electron beam incident on a range of gold foil thicknesses from 96 g/cm2 to 1.93 mg/cm2. The statistical uncertainty of each measurement was below 0.25%. We confirmed that within this statistical precision, the measured asymmetry was unaffected by +/- 2 mm shifts in the beam position on the target, by beam current changes, and by deadtime effects over a wide range of beam currents.

\*Present address: P.O. Box 8713, Medford, OR

Note: I have started writing on parts of this, and though I cannot write all of it on my own, I am very willing to be the “editor” to put together the final document from various contributions. Since I’m the only person without a day job, this may make some sense.

Content that must be included in the Mott polarimeter paper (not necessarily in correct order).

1. The physical construction of the polarimeter (Sinclair, Grames)
   1. The scattering chamber, optimized for 5 MeV (i.e. 172.6o scattering angle)
   2. Internal collimation
   3. Target ladder and foils
   4. OTR viewport
   5. Beam dump, including long channel and dump magnet
   6. The detector packages (four ports)
   7. Shielding
   8. vacuum
2. Detector electronics, including TOF details (Sulieman)
3. The polarized source and injector (only basic descriptions, but including details relevant to polarization and its measurement) (Sinclair, Poelker)
   1. The gun, cathode, (including laser spot size at cathode and QE map?), and 130 kV operation (vs. original design at 100 kV?)
   2. Wien filters and solenoids
   3. The laser system, including details of 31.1875 (and 62.375) MHz operation and the IHWP
   4. Chopping, bunching, capture, and quarter cryomodule
   5. Beam monitoring and transport to polarimeter and spectrometer (including BPMs), and measured beam properties (emittance, E, dE, spot size at foil)
   6. Beam current measurements (F. cups, BCM)
4. Setup of polarization with Wien and solenoids, data collection, online analysis, and final offline analysis, including complete details of E counter spectra and TOF, event selection, etc. (Poelker, Sulieman, Moser)
5. Systematic studies (deadtime, PITA, IHWP, position change, sign of dump dipole, ultimate elimination of dump dipole, polarization stability measurements during run) (Sinclair, Grames)
6. Details of foils used and their thickness measurements by Lebow, FESEM, and singles rates (Stutzman, Mamun, Gay)
7. Experimental results – measured asymmetry versus measured foil thickness and hyperbolic fit to data (Moser)
8. GEANT model of the polarimeter and its performance, including generation of a fit to the data from first principles (McHugh)
9. Calculated Sherman function and its uncertainties, and comparison with model and experimental data (Roca-Maza, Sinclair)
10. Mention the spin dance and intercomparison of very different polarimeters (coupled with essentially zero polarization degradation in transport thru CEBAF) (Grames, Sinclair)
11. Summary and Conclusions (Grames, Sinclair, Gay)
12. Future plans (measurement with different Z foils, and at different energies, allowing some bounds to be placed on systematic uncertainties of the Sherman function calculations; precision polarimetry with a different polarimeter to allow extraction of the Sherman function from our results) (Sinclair, Poelker, Grames, Gay)