Foil #	Thickness (um)	# of Runs Avg/ / Taken	Detec / tor Threshold	Up/Down Mott Asymmetry	Up/Down / Detector Asymmetry	Up/Down Beam Asymmetry	Left/Right Mott Asymmetry	Left/Right / Detector Asymmetry	Left/Right / Beam Asymmetry
15	1.00	6/6	Low	33.765 ± 0.0803	-0.308 ± 0.0907	0.097 ± 0.0907	0.508 ± 0.0859	1.343 ± 0.0859	0.012 ± 0.0859
3	0.87	6/6	Low	34.584 ± 0.0784	-0.087 ± 0.0891	-0.099 ± 0.0891	0.716 ± 0.0841	0.678 ± 0.0841	0.029 ± 0.0841
4	0.75	6/6	Low	35.609 ± 0.0820	-0.349 ± 0.0939	0.020 ± 0.0939	0.598 ± 0.0883	0.892 ± 0.0883	-0.079 ± 0.0883
2	0.625	6/6	Low	37.212 ± 0.0844	-0.347 ± 0.0980	0.092 ± 0.0980	0.540 ± 0.0916	0.218 ± 0.0916	0.103 ± 0.0916
5	0.50	6/6	Low	38.598 ± 0.0830	0.069 ± 0.0975	0.183 ± 0.0975	0.690 ± 0.0907	0.331 ± 0.0907	0.133 ± 0.0907
14	0.35	6/6	Low	39.174 ± 0.0902	0.052 ± 0.1066	-0.004 ± 0.1066	0.570 ± 0.0992	0.170 ± 0.0992	0.063 ± 0.0992
8	0.35	4/4	Hi	39.183 ± 0.0836	0.162 ± 0.0987	0.042 ± 0.0987	0.590 ± 0.0914	1.348 ± 0.0914	-0.064 ± 0.0914
1	0.225	6/6	Hi	40.965 ± 0.0730	0.469 ± 0.0877	-0.011 ± 0.0877	0.583 ± 0.0812	-0.596 ± 0.0812	0.081 ± 0.0812
12	0.05	5/8	Hi	43.256 ± 0.1134	1.900 ± 0.1395	-0.125 ± 0.1395	0.577 ± 0.1294	-2.846 ± 0.1294	-0.076 ± 0.1294
13	0.05	7/8	Hi	43.464 ± 0.0955	0.416 ± 0.1177	0.248 ± 0.1177	0.694 ± 0.1093	-2.369 ± 0.1093	-0.001 ± 0.1093

15	1.00	10/10	Hi	33.686 ± 0.0519	0.401 ± 0.0585	0.040 ± 0.0585	0.557 ± 0.0554	2.445 ± 0.0554	-0.023 ± 0.0554
15	1.00	10/10	Low	33.634 ± 0.0616	-0.477 ± 0.0694	-0.099 ± 0.0694	0.483 ± 0.0659	1.391 ± 0.0659	0.020 ± 0.0659

Asymmetry vs Thickness Study	More Details on following page
Time of Flight cuts: same for all four detectors, between 48ns and 58ns
Energy cuts: from E-spectra fit: between mean - 1*sigma and mean + 2*sigma
- Last two rows are the “stability” runs on foil 15, split between hi and low threshold and averaged together
- No hi-threshold data runs for foil 15, first row is low threshold data runs on foil 15
- 82 runs total, 4 not included in averages – 8074, 8079, 8082, 8090 – energy fit failed to find gaussian peak
- insertable half wave-plate flipped between in and out for runs – physics asymmetries corrected (In = 1, Out = -1) so that geometric weighted average is taken
- Detector and Beam, ie Instrumental, Asymmetries have algebraic weighted average
- low detector threshold = -25 mV, hi = -100 mV
- beam momentum = 5.487 MeV/c

Foil 15 / Low-T / Data / (row 1)	Foil 15 / Hi-T Stability / (row 11)	Foil 15 / Low-T / Stability / (row 12)	Foil 3 0.87 um	Foil 4 0.75 um	Foil 2 0.625 um	Foil 5 0.50 um	Foil 14 0.35 um	Foil 8 0.35 um	Foil 1 0.225 um	Foil 12 0.05 um	Foil 13 0.05 um
7999 / 8000 / 8001 / 8002 / 8003 / 8004	8058 / 8059 / 8064 / 8065 / 8072 / 8073 / 8084 / 8085 / 8094 / 8095	8022 / 8023 / 8030 / 8031 / 8038 / 8039 / 8046 / 8047 / 8054 / 8055	8013 / 8014 / 8015 / 8019 / 8020 / 8021	8024 / 8025 / 8026 / 8027 / 8028 / 8029	8032 / 8033 / 8034 / 8035 / 8036 / 8037	8040 / 8041 / 8042 / 8043 / 8044 / 8045	8048 / 8049 / 8050 / 8051 / 8052 / 8053	8060 / 8061 / 8062 / 8063	8066 / 8067 / 8068 / 8069 / 8070 / 8071	8074 / 8075 / 8078 / 8079 / 8080 / 8081 / 8082 / 8083	8086 / 8087 / 8088 / 8089 / 8090 / 8091 / 8092 / 8093

8074, 8079, 8082, 8090 – energy fit failed to find gaussian peak – not included in foil's averages