## Run I
11/14/18					Expected Scattering Rate per Detector, per uA, per micron of gold = ~197Hz
Run I and Run II Normalized Rates
										Calculations
	Run I – Taken from RunI_ARC+Dilution.ods, Rates By Detector tab/sheet
										Normalized Rates (i.e. Hz / (uA*um) )
	PMT Threshold	Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Left Rate	Uncertainty	Right Rate	Uncertainty	Up Rate	Uncertainty	Down Rate	Uncertainty	Average of LRUD Rate	Uncertainty		Normalized Left Rate	Uncertainty	Normalized Right Rate	Uncertainty	Normalized Up Rate	Uncertainty	Normalized Down Rate	Uncertainty	Average of Normalized LRUD Rate	Uncertainty
	low/high	#	T_o [nm]	T [nm]	dT [nm]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]		Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)

	low	15	1000	943.7	59.8	186.168	3.434	187.843	3.465	187.535	3.459	185.501	3.422	186.769	3.441		197.275	13.020	199.049	13.137	198.723	13.115	196.567	12.973	197.911	13.061
	low	3	870	836.8	44.2	157.534	3.021	159.200	3.053	160.033	3.069	160.010	3.068	159.211	3.051		188.258	10.579	190.249	10.691	191.244	10.747	191.216	10.745	190.262	10.691
	low	4	750	774.6	41.9	135.110	2.487	135.897	2.502	137.110	2.524	134.841	2.482	135.752	2.497		174.425	9.966	175.442	10.025	177.007	10.114	174.078	9.947	175.254	10.013
	low	2	625	561.2	31	97.106	1.729	97.603	1.737	98.412	1.752	97.656	1.738	97.702	1.738		173.032	10.042	173.918	10.094	175.360	10.177	174.013	10.099	174.095	10.103
	low	5	500	482	27.7	73.976	1.292	74.265	1.297	74.519	1.302	73.684	1.287	74.123	1.294		153.477	9.218	154.078	9.255	154.604	9.286	152.870	9.182	153.782	9.236
	low	14	350	389.4	22.1	60.953	1.036	61.650	1.048	62.053	1.055	61.301	1.042	61.497	1.045		156.531	9.274	158.320	9.380	159.356	9.441	157.425	9.327	157.929	9.356
	high	8	350	389.4	22.1	61.320	1.012	62.099	1.018	61.867	1.014	60.855	0.997	61.530	1.007		157.473	9.307	159.473	9.421	158.877	9.385	156.279	9.232	158.014	9.333
	high	1	225	215.2	11.7	34.340	0.560	34.929	0.570	34.601	0.564	34.721	0.566	34.650	0.565		159.574	9.058	162.309	9.213	160.787	9.127	161.345	9.158	161.015	9.139
	high	12	50	50	5	7.162	0.117	7.304	0.119	7.197	0.117	7.293	0.119	7.240	0.118		143.232	14.512	146.082	14.801	143.940	14.584	145.861	14.779	144.793	14.670
	high	13	50	52	4.7	7.325	0.119	7.461	0.122	7.467	0.122	7.423	0.121	7.420	0.121		140.867	12.938	143.474	13.177	143.587	13.187	142.750	13.111	142.692	13.105
	low	15	1000	943.7	59.8	186.379	3.419	189.383	3.474	190.131	3.487	186.962	3.429	188.245	3.450		197.498	13.029	200.682	13.239	201.474	13.291	198.116	13.069	199.476	13.158
	high	15	1000	943.7	59.8	187.682	3.416	191.630	3.488	189.550	3.450	190.000	3.458	189.740	3.452		198.878	13.112	203.062	13.388	200.858	13.243	201.335	13.274	201.059	13.255

	PMT Threshold	Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Normalized Left Rate	Uncertainty	Normalized Right Rate	Uncertainty	Normalized Up Rate	Uncertainty	Normalized Down Rate	Uncertainty	Average of Normalized LRUD Rate	Uncertainty
	low/high	#	T_o [nm]	T [nm]	dT [nm]	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)

	low	15	1000	943.7	59.8	197.275	13.020	199.049	13.137	198.723	13.115	196.567	12.973	197.911	13.061
	low	3	870	836.8	44.2	188.258	10.579	190.249	10.691	191.244	10.747	191.216	10.745	190.262	10.691
	low	4	750	774.6	41.9	174.425	9.966	175.442	10.025	177.007	10.114	174.078	9.947	175.254	10.013
	low	2	625	561.2	31	173.032	10.042	173.918	10.094	175.360	10.177	174.013	10.099	174.095	10.103
	low	5	500	482	27.7	153.477	9.218	154.078	9.255	154.604	9.286	152.870	9.182	153.782	9.236
	low	14	350	389.4	22.1	156.531	9.274	158.320	9.380	159.356	9.441	157.425	9.327	157.929	9.356
	high	8	350	389.4	22.1	157.473	9.307	159.473	9.421	158.877	9.385	156.279	9.232	158.014	9.333
	high	1	225	215.2	11.7	159.574	9.058	162.309	9.213	160.787	9.127	161.345	9.158	161.015	9.139
	high	12	50	50	5	143.232	14.512	146.082	14.801	143.940	14.584	145.861	14.779	144.793	14.670
	high	13	50	52	4.7	140.867	12.938	143.474	13.177	143.587	13.187	142.750	13.111	142.692	13.105
	low	15	1000	943.7	59.8	197.498	13.029	200.682	13.239	201.474	13.291	198.116	13.069	199.476	13.158
	high	15	1000	943.7	59.8	198.878	13.112	203.062	13.388	200.858	13.243	201.335	13.274	201.059	13.255

## Run II
11/14/18					Expected Scattering Rate per Detector, per uA, per micron of gold = ~197Hz
Run I and Run II Normalized Rates
										Calculations
	Run II – Taken from RunII_ARC+Dilution.ods, Rates by Detector tab/sheet
										Normalized Rates (i.e. Hz / (uA*um) )
		Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Left Rate	Uncertainty	Right Rate	Uncertainty	Up Rate	Uncertainty	Down Rate	Uncertainty	Average of LRUD Rate	Uncertainty		Normalized Left Rate	Uncertainty	Normalized Right Rate	Uncertainty	Normalized Up Rate	Uncertainty	Normalized Down Rate	Uncertainty	Average of Normalized LRUD Rate	Uncertainty
		#	T_o [nm]	T [nm]	dT [nm]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]		Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)

		15	1000	943.7	59.8	174.619	3.082	180.216	3.181	180.321	3.183	183.194	3.234	179.708	3.238		185.036	12.172	190.968	12.562	191.079	12.569	194.123	12.769	190.430	12.545
		3	870	836.8	44.2	151.070	2.679	150.403	2.658	153.325	2.709	155.808	2.753	152.667	2.754		180.532	10.059	179.736	10.011	183.227	10.205	186.195	10.371	182.441	10.183
		4	750	774.6	41.9	128.418	2.273	127.621	2.253	130.639	2.306	131.186	2.316	129.469	2.333		165.786	9.436	164.757	9.375	168.653	9.596	169.360	9.637	167.144	9.530
		2	625	561.2	31	92.381	1.652	93.517	1.651	95.584	1.688	96.915	1.711	94.607	1.707		164.613	9.558	166.637	9.664	170.321	9.877	172.693	10.015	168.581	9.796
		5	500	482	27.7	69.264	1.226	70.000	1.238	70.872	1.254	71.643	1.267	70.454	1.273		143.701	8.641	145.227	8.732	147.036	8.841	148.636	8.937	146.169	8.805
		14	350	389.4	22.1	57.258	1.014	57.571	1.019	58.520	1.036	58.816	1.041	58.046	1.049		147.041	8.742	147.845	8.789	150.283	8.934	151.042	8.979	149.065	8.879
		8	350	389.4	22.1	59.796	1.057	58.915	1.040	60.863	1.075	60.767	1.073	60.092	1.084		153.560	9.128	151.296	8.993	156.300	9.290	156.054	9.276	154.320	9.190
		1	225	215.2	11.7	33.648	0.594	33.512	0.591	33.795	0.596	34.293	0.605	33.813	0.610		156.358	8.938	155.724	8.901	157.042	8.977	159.354	9.109	157.126	9.000
		12	50	50	5	7.007	0.112	6.976	0.111	7.148	0.114	7.095	0.113	7.057	0.115		140.142	14.191	139.521	14.128	142.963	14.476	141.896	14.368	141.146	14.302
		13	50	52	4.7	7.085	0.113	6.945	0.111	7.100	0.113	7.208	0.115	7.084	0.116		136.253	12.505	133.567	12.258	136.530	12.530	138.618	12.722	136.227	12.513
		15	1000	943.7	59.8	177.505	3.134	178.535	3.152	181.227	3.200	182.186	3.217	179.840	3.243		188.095	12.373	189.186	12.445	192.039	12.633	193.055	12.699	190.569	12.555

										For plotting
		Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Normalized Left Rate	Uncertainty	Normalized Right Rate	Uncertainty	Normalized Up Rate	Uncertainty	Normalized Down Rate	Uncertainty	Average of Normalized LRUD Rate	Uncertainty		FESEM Thickness	FESEM Thickness Error
		#	T_o [nm]	T [nm]	dT [nm]	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)	Hz / (uA*um)		T [um]	dT [um]

		15	1000	943.7	59.8	185.036	12.172	190.968	12.562	191.079	12.569	194.123	12.769	190.430	12.545		0.9437	0.0598
		3	870	836.8	44.2	180.532	10.059	179.736	10.011	183.227	10.205	186.195	10.371	182.441	10.183		0.8368	0.0442
		4	750	774.6	41.9	165.786	9.436	164.757	9.375	168.653	9.596	169.360	9.637	167.144	9.530		0.7746	0.0419
		2	625	561.2	31	164.613	9.558	166.637	9.664	170.321	9.877	172.693	10.015	168.581	9.796		0.5612	0.031
		5	500	482	27.7	143.701	8.641	145.227	8.732	147.036	8.841	148.636	8.937	146.169	8.805		0.482	0.0277
		14	350	389.4	22.1	147.041	8.742	147.845	8.789	150.283	8.934	151.042	8.979	149.065	8.879		0.3894	0.0221
		8	350	389.4	22.1	153.560	9.128	151.296	8.993	156.300	9.290	156.054	9.276	154.320	9.190		0.3894	0.0221
		1	225	215.2	11.7	156.358	8.938	155.724	8.901	157.042	8.977	159.354	9.109	157.126	9.000		0.2152	0.0117
		12	50	50	5	140.142	14.191	139.521	14.128	142.963	14.476	141.896	14.368	141.146	14.302		0.05	0.005
		13	50	52	4.7	136.253	12.505	133.567	12.258	136.530	12.530	138.618	12.722	136.227	12.513		0.052	0.0047
		15	1000	943.7	59.8	188.095	12.373	189.186	12.445	192.039	12.633	193.055	12.699	190.569	12.555		0.9437	0.0598
Run II Normalized Rates by Detector
Rates per uA of Beam Current and per Micton
Foil Thickness (um)
Normalized Rate (Hz / (uA * um) )
Run II Average Normalized Rate
Left, Right, Up, and Down Detectors Normalized Rates Averaged Together
Foil Thickness (um)
Average Normalized Rate ( Hz / (uA *um ))