## Slide 1
Plans for fixing the R30-3 gun beam observed in CEBAF July 11 2023
C. Hernandez-Garcia
July 13 2023

## Slide 2: Overall plan
Remove electrode assembly from CEBAF gun
Transport to LERF cleanroom and inspect.
If something obviously wrong (puck seating, insert/retract)
  Fix
  S&A fiducial
  Install back in CEBAF gun
If nothing found wrong
  Install GTS electrode in CEBAF gun
Remove electrode assembly from GTS gun
Transport to LERF cleanroom and test puck seating
S&A fiducial
Have electrode on standby

## Slide 3: Prep work in the injector for removing electrode from gun
Additional pumping cart?
Suitcase
Window (1 or 2?) for checking laser retro-reflection under rough vacuum
Gaskets? Bolts?
Ion pump controllers?
Electrode transport fixture
Equipment needed in the tunnel by Friday July 14
Bake cart
Variacs
Heat tapes
Blankets
Oven panels
Bake hardware
Vacuum hardware

## Slide 4: Prep work in the GTS for removing electrode from gun
Check turbo pump available in GTS
Ready electrode transport fixture (already in GTS)
Target date for removal Friday July 14???
Vacuum hardware
Other prep work
Remove components from around gun
Move magnetization coil
Disconnect HV cable from insulator