## Slide 2: ATLIS’s
*RTP: PQB Etalon studies of Hall A and B lasers (+ Chopper phase PQB study, bunch position)
*RTP: weekly measurement of transition time and 8HVPS check
RTP: PITA voltage feedback on HallA charge asymmetry
*RTP: Position Difference Feedback PartI to FC2
RTP: Position Difference Feedback PartII to ILD
RTP: Position Difference Feedback PartIII to HallA
Helicity Magnet Testing
Cathode Rotation/Alignment
-------Studies not in ATLIS form-------
RTP: Chopper phase PQB study, bunch position – do alongside Etalon atlis
Transport study - looking downstream of chopper – prebuncher ON vs. OFF, chopping apertures INSERTED vs. RETRACTED, Chopping lenses ON vs. OFF, Chopper cavities ON vs. OFF, ++++ more clipping on an aperture vs less clipping

## Slide 3: Tasks
-------------now-------------
Amali – pan FFB for CH control.db (make pan control.db for CH, test ffb with hard_disable=1)
Check Aq in HallA (when beam) or Aq in injector (even though >1 beam)
------------ for 2nd rtp cell --------
Test Lab – parity DAQ (Bobness?)
Send CAD to Jlab machine shop
Buy nylon screws, nuts, knick-knacks (is there an onsite store thing?)
Download thorlabs driver software on laptop/desktop
Electronics people make spare dragon driver circuit
Electronics people make spare HV supply unit
Assembles

## Slide 4
Dx,Dy<30nm
Run1141
Notes: Run1141_during2I01fdbk_IHWPout_CEout_RHWP1630_b4Chopper30nm_justDxDy

## Slide 5
Run1146
Bigger
Dx ,Dy~ 80nm
Dr
Notes: Run1146_after2I012I02fdbk_IHWPin_CEout_RHWP1630_alphsposU1516_alphaposV1637_Dr

## Slide 6
Jan30_Run1161_IHWPout_AlphaPosU2124_AlphaPosV985_Dr.png

## Slide 7
Jan30
Feb1 – same voltages

## Slide 8
Jan30
Feb1 – same voltages except IA

## Slide 9
Jan30
Feb1 – same voltages except PITA

## Slide 10
Jan30
Feb1 – after feedback on 2I02

## Slide 13
KD*P longitudinal/transverse coupling

## Slide 14
-chopper fits yield longer HallB pulse and normalized plots show bigger HallB tails:
HallB 0.5uA (250MHz) – sigma = 23.9ps, FWHM=56.3ps
HallA 1uA (500MHz) –sigma = 18.0ps, FWHM=42.4ps

## Slide 15: Rename Etalon effect: Interferometric effect
Don’t make the crystal an interferometer.
AR coatings

## Slide 16
2 sigma prediction: gives 10-20X for HallB, 200-400X for HallA
-> 0.5% R predicts 500ppm etalon for HallB, 20ppm etalon for HallA.
Laser: observed +-500ppm for HallB, +-80ppm for HallA.
ebeam: observed bounds of:
-Etalon for HallA laser is <80ppm (found by combining IHWPout and IHWPin scans)
-Etalon for HallB laser is <100-180ppm (found by combining IHWPout and IHWPin scans)

## Slide 17
Run5183_hallB_250Mhz_RTP2_EtalonScan_inputPOLH
Laser

## Slide 18
Modeling E-field Gradients – Informed Cell Design
GND
GND
GND
GND

## Slide 19
Modeling E-field Gradients – Informed Cell Design
GND
GND
GND
GND
+10V
-10V
+10V
-10V
To get a 2nd moment in steering…..do: