## NonMag Puck BvsI
! begin File Header |  |  |  | Magneto Optical Kerr Effect
LD014.stp | ! data file
2016-07-27 | ! date
9:31 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices |  |  |  |  | I | BZ
116.06 | ! position [z] |  |  |  | 0 | -0.033 | 0.82
6.92 | ! position [x] |  |  |  | 16 | 1.979 | 8.18
0 | ! hall probe 1 offset |  |  |  | 32 | 49.9724 | 181.98
Note: B V I, non magnetic puck, I=0, PS OFF |  |  |  |  | 48 | 99.9604 | 363.83
! end File Header |  |  |  |  | 64 | 149.9458 | 545.94
! set curr | actual curr | Hall Probe #1 | Voltmeter |  | 80 | 199.932 | 728.16
0 | 0 | 0.82 | -0.000165 |  | 96 | 249.924 | 910.41
! begin File Header |  |  |  |  | 112 | 299.91 | 1092.67
LD014.stp | ! data file |  |  |  | 128 | 349.884 | 1274.91
2016-07-27 | ! date |  |  |  | 144 | 399.872 | 1457.15
9:33 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=0, PS ON
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 8.18 | 0.009895
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:35 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=50
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 181.98 | 0.24986
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:36 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=100A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 363.83 | 0.4998
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:37 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=150A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 545.94 | 0.74973
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:39 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=200A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 728.16 | 0.99966
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:40 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=250A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 910.41 | 1.2496
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:41 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=300A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1092.67 | 1.4995
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:42 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=350A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1274.91 | 1.7494
! begin File Header
LD014.stp | ! data file
2016-07-27 | ! date
9:43 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
6.92 | ! position [x]
0 | ! hall probe 1 offset
Note: B V I, non magnetic puck, I=400A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1457.15 | 1.9994

## NonMag Puck Xtrans
! begin File Header
LD016.stp | ! data file
2016-07-27 | ! date
10:06 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
41 | ! X number of points
1 | ! Z number of points
2 | ! number of devices |  |  | Xcl | 6.92
0 | ! hall probe 1 offset
Note: X verse (extended), non magnetic puck, I=400A
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.048 | 4.918 | 1354.15 | 1.9994 | -2.002 | 1354.15
116.048 | 5.017 | 1354.09 | 1.9994 | -1.903 | 1354.09
116.048 | 5.117 | 1353.86 | 1.9994 | -1.803 | 1353.86
116.048 | 5.217 | 1353.49 | 1.9994 | -1.703 | 1353.49
116.048 | 5.316 | 1352.87 | 1.9994 | -1.604 | 1352.87
116.048 | 5.417 | 1351.87 | 1.9994 | -1.503 | 1351.87
116.048 | 5.517 | 1350.5 | 1.9994 | -1.403 | 1350.5
116.048 | 5.616 | 1348.45 | 1.9994 | -1.304 | 1348.45
116.048 | 5.716 | 1345.56 | 1.9994 | -1.204 | 1345.56
116.048 | 5.817 | 1341.45 | 1.9994 | -1.103 | 1341.45
116.048 | 5.916 | 1335.82 | 1.9994 | -1.004 | 1335.82
116.048 | 6.016 | 1328.96 | 1.9994 | -0.904 | 1328.96
116.048 | 6.116 | 1324.24 | 1.9994 | -0.804 | 1324.24
116.048 | 6.216 | 1331.41 | 1.9994 | -0.704 | 1331.41
116.048 | 6.316 | 1358.38 | 1.9994 | -0.604 | 1358.38
116.048 | 6.416 | 1389.97 | 1.9994 | -0.504 | 1389.97
116.048 | 6.516 | 1411.92 | 1.9994 | -0.404 | 1411.92
116.048 | 6.616 | 1426.69 | 1.9994 | -0.304 | 1426.69
116.048 | 6.716 | 1438.27 | 1.9994 | -0.204 | 1438.27
116.048 | 6.816 | 1448.29 | 1.9994 | -0.104 | 1448.29
116.048 | 6.916 | 1457.23 | 1.9994 | -0.004 | 1457.23
116.048 | 7.016 | 1465.36 | 1.9994 | 0.096 | 1465.36
116.048 | 7.116 | 1472.89 | 1.9994 | 0.196 | 1472.89
116.048 | 7.216 | 1480.18 | 1.9994 | 0.296 | 1480.18
116.048 | 7.316 | 1487.63 | 1.9994 | 0.396 | 1487.63
116.048 | 7.416 | 1495.63 | 1.9994 | 0.496 | 1495.63
116.048 | 7.516 | 1504.15 | 1.9994 | 0.596 | 1504.15
116.048 | 7.616 | 1508.5 | 1.9994 | 0.696 | 1508.5
116.048 | 7.716 | 1486.32 | 1.9994 | 0.796 | 1486.32
116.048 | 7.815 | 1416.82 | 1.9994 | 0.895 | 1416.82
116.048 | 7.915 | 1361.97 | 1.9994 | 0.995 | 1361.97
116.048 | 8.015 | 1346.11 | 1.9994 | 1.095 | 1346.11
116.048 | 8.115 | 1344.74 | 1.9994 | 1.195 | 1344.74
116.048 | 8.215 | 1346.34 | 1.9994 | 1.295 | 1346.34
116.048 | 8.315 | 1348.06 | 1.9994 | 1.395 | 1348.06
116.048 | 8.415 | 1349.42 | 1.9994 | 1.495 | 1349.42
116.048 | 8.515 | 1350.34 | 1.9994 | 1.595 | 1350.34
116.048 | 8.615 | 1350.99 | 1.9994 | 1.695 | 1350.99
116.048 | 8.715 | 1351.35 | 1.9994 | 1.795 | 1351.35
116.048 | 8.815 | 1351.5 | 1.9994 | 1.895 | 1351.5
116.048 | 8.915 | 1351.5 | 1.9994 | 1.995 | 1351.5

## NonMag Puck Ztrans
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:34 | ! start time
5.1 | ! stepper code version |  |  | Z | 116.06
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =-0.5cm
! end File Header
! begin Step Header
0 | ! set current |  |  |  | Z | BZ
0 | ! actual current at start of step |  |  | 0 | -0.511 | 1501.45
0 | ! actual current at end of step |  |  | 19 | -0.41 | 1492.66
! end Step Header |  |  |  | 38 | -0.31 | 1483.83
Position (Z, X) |  | Hall Probe #1 | Voltmeter | 57 | -0.21 | 1474.97
115.549 | 6.917 | 1501.45 | 1.9994 | 76 | -0.111 | 1466.15
! begin File Header |  |  |  | 95 | -0.013 | 1457.17
LD017.stp | ! data file |  |  | 114 | 0.087 | 1448.6
2016-07-27 | ! date |  |  | 133 | 0.187 | 1439.95
10:35 | ! start time |  |  | 152 | 0.288 | 1431.54
5.1 | ! stepper code version |  |  | 171 | 0.389 | 1423.1
1 | ! number Z of currents |  |  | 190 | 0.49 | 1414.58
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =-0.4cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.65 | 6.917 | 1492.66 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:37 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =-0.3cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.75 | 6.917 | 1483.83 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:38 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =-0.2cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.85 | 6.917 | 1474.97 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:38 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =-0.1cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.949 | 6.917 | 1466.15 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:39 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =0cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.047 | 6.917 | 1457.17 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:40 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =+0.1cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.147 | 6.917 | 1448.6 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:41 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =+0.2cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.247 | 6.917 | 1439.95 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:43 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =+0.3cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.348 | 6.917 | 1431.54 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:45 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =+0.4cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.449 | 6.917 | 1423.1 | 1.9994
! begin File Header
LD017.stp | ! data file
2016-07-27 | ! date
10:45 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Z verse, non magnetic puck, I=400A, Z =+0.5cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.55 | 6.917 | 1414.58 | 1.9994

## Mag Puck BvsI
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:14 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices |  |  |  | I | BZ
116.06 | ! position [z] |  |  | 0 | -0.0336 | 2.93
7.05 | ! position [x] |  |  | 16 | 1.9778 | 15.63
0 | ! hall probe 1 offset |  |  | 32 | 49.9722 | 318.06
Note: B v I, Magnetic Puck, +22cm, I=0 PS OFF |  |  |  | 48 | 99.959 | 635.18
! end File Header |  |  |  | 64 | 149.9458 | 953.28
! set curr | actual curr | Hall Probe #1 | Voltmeter | 80 | 199.9312 | 1272.17
0 | 0 | 2.93 | -0.000168 | 96 | 249.922 | 1591.06
! begin File Header |  |  |  | 112 | 299.908 | 1906.74
LD018.stp | ! data file |  |  | 128 | 349.884 | 2218.99
2016-07-27 | ! date |  |  | 144 | 399.872 | 2528.2
13:15 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=0 , PS ON
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 15.63 | 0.009889
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=50A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 318.06 | 0.24986
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:18 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=100A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 635.18 | 0.49979
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:18 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=150A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 953.28 | 0.74973
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:20 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=200A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1272.17 | 0.99966
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:22 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=250A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1591.06 | 1.2496
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:23 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=300A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 1906.74 | 1.4995
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:23 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=350A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 2218.99 | 1.7494
! begin File Header
LD018.stp | ! data file
2016-07-27 | ! date
13:24 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
116.06 | ! position [z]
7.05 | ! position [x]
0 | ! hall probe 1 offset
Note: B v I, Magnetic Puck, +22cm, I=400A
! end File Header
! set curr | actual curr | Hall Probe #1 | Voltmeter
0 | 0 | 2528.2 | 1.9994

## Mag Puck Xtrans
! begin File Header
LD019.stp | ! data file
2016-07-27 | ! date
13:29 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
41 | ! X number of points
1 | ! Z number of points
2 | ! number of devices |  |  | Xcl | 6.92
0 | ! hall probe 1 offset
Note: X verse, Magnetic Puck, I=400A, +/- 2cm off centerline
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.046 | 5.048 | 1552.03 | 1.9994 | -1.872 | 1552.03
116.046 | 5.147 | 1653.48 | 1.9994 | -1.773 | 1653.48
116.046 | 5.247 | 1803.58 | 1.9994 | -1.673 | 1803.58
116.046 | 5.346 | 2030.31 | 1.9994 | -1.574 | 2030.31
116.046 | 5.446 | 2371.32 | 1.9994 | -1.474 | 2371.32
116.046 | 5.546 | 2773.14 | 1.9994 | -1.374 | 2773.14
116.046 | 5.647 | 3025.55 | 1.9994 | -1.273 | 3025.55
116.046 | 5.746 | 2903.45 | 1.9994 | -1.174 | 2903.45
116.046 | 5.846 | 2673.43 | 1.9994 | -1.074 | 2673.43
116.046 | 5.946 | 2564.8 | 1.9994 | -0.974 | 2564.8
116.046 | 6.046 | 2498.76 | 1.9994 | -0.874 | 2498.76
116.046 | 6.146 | 2427.14 | 1.9994 | -0.774 | 2427.14
116.046 | 6.246 | 2444.89 | 1.9994 | -0.674 | 2444.89
116.046 | 6.346 | 2553.58 | 1.9994 | -0.574 | 2553.58
116.046 | 6.446 | 2613.05 | 1.9994 | -0.474 | 2613.05
116.046 | 6.546 | 2602.32 | 1.9994 | -0.374 | 2602.32
116.046 | 6.646 | 2577.58 | 1.9994 | -0.274 | 2577.58
116.046 | 6.746 | 2556.22 | 1.9994 | -0.174 | 2556.22
116.046 | 6.846 | 2541.63 | 1.9994 | -0.074 | 2541.63
116.046 | 6.946 | 2532.97 | 1.9994 | 0.026 | 2532.97
116.046 | 7.046 | 2529.41 | 1.9994 | 0.126 | 2529.41
116.046 | 7.146 | 2530.44 | 1.9994 | 0.226 | 2530.44
116.046 | 7.246 | 2536.43 | 1.9994 | 0.326 | 2536.43
116.046 | 7.346 | 2548.32 | 1.9994 | 0.426 | 2548.32
116.046 | 7.446 | 2566.73 | 1.9994 | 0.526 | 2566.73
116.046 | 7.546 | 2591.83 | 1.9994 | 0.626 | 2591.83
116.046 | 7.646 | 2616.48 | 1.9994 | 0.726 | 2616.48
116.046 | 7.745 | 2602.91 | 1.9994 | 0.825 | 2602.91
116.046 | 7.845 | 2500.52 | 1.9994 | 0.925 | 2500.52
116.046 | 7.945 | 2416.7 | 1.9994 | 1.025 | 2416.7
116.046 | 8.045 | 2433.41 | 1.9994 | 1.125 | 2433.41
116.046 | 8.145 | 2496.46 | 1.9994 | 1.225 | 2496.46
116.046 | 8.245 | 2578.04 | 1.9994 | 1.325 | 2578.04
116.046 | 8.345 | 2743.52 | 1.9994 | 1.425 | 2743.52
116.046 | 8.445 | 2997.35 | 1.9994 | 1.525 | 2997.35
116.046 | 8.545 | 2963.29 | 1.9994 | 1.625 | 2963.29
116.046 | 8.645 | 2562.68 | 1.9994 | 1.725 | 2562.68
116.046 | 8.745 | 2169.44 | 1.9994 | 1.825 | 2169.44
116.046 | 8.845 | 1897.5 | 1.9994 | 1.925 | 1897.5
116.046 | 8.945 | 1719.14 | 1.9994 | 2.025 | 1719.14
116.046 | 9.045 | 1598.7 | 1.9994 | 2.125 | 1598.7

## Mag Puck Ztrans
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
13:57 | ! start time
5.1 | ! stepper code version |  |  | Z | 116.06
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, -.5cm
! end File Header
! begin Step Header
0 | ! set current |  |  |  | Z | BZ
0 | ! actual current at start of step |  |  | 0 | -0.509 | 2604.38
0 | ! actual current at end of step |  |  | 19 | -0.412 | 2589.8
! end Step Header |  |  |  | 38 | -0.311 | 2575.42
Position (Z, X) |  | Hall Probe #1 | Voltmeter | 57 | -0.211 | 2560.61
115.551 | 7.047 | 2604.38 | 1.9994 | 76 | -0.112 | 2545.98
! begin File Header |  |  |  | 95 | -0.015 | 2532
LD020.stp | ! data file |  |  | 114 | 0.084 | 2519.13
2016-07-27 | ! date |  |  | 133 | 0.185 | 2504.1
13:59 | ! start time |  |  | 152 | 0.286 | 2490.43
5.1 | ! stepper code version |  |  | 171 | 0.386 | 2476.18
1 | ! number Z of currents |  |  | 190 | 0.487 | 2462.13
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, -.4cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.648 | 7.047 | 2589.8 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:02 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, -.3cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.749 | 7.047 | 2575.42 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:06 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, -.2cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.849 | 7.047 | 2560.61 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:08 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, -.1cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
115.948 | 7.047 | 2545.98 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:10 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z=0
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.045 | 7.047 | 2532 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:12 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z= +.1 cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.144 | 7.047 | 2519.13 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:13 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z= +.2 cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.245 | 7.047 | 2504.1 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:15 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z= +.3 cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.346 | 7.047 | 2490.43 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:17 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z= +.4 cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.446 | 7.047 | 2476.18 | 1.9994
! begin File Header
LD020.stp | ! data file
2016-07-27 | ! date
14:19 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
1 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Offset +/-.5 cm in Z axis, Magnetic Puck, I=400A, Z= +.5 cm
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (Z, X) |  | Hall Probe #1 | Voltmeter
116.547 | 7.047 | 2462.13 | 1.9994