## Slide 1: Error Analysis
Analytical
02 October 2013

## Slide 2: Penfold-Leiss Cross Section Unfolding
Measure Yields at: where,
The solution can be written in two forms:

## Slide 3
Or, Matrix form:

## Slide 4
Statistical Errors

## Slide 5: Statistical Error Propagation (1)
With:
Then:
Note:
In case of background Subtraction

## Slide 6
Where:

## Slide 7: Statistical Error Propagation (2)
For mono-chromatic beam
Although,

## Slide 8: Statistical Error Propagation (Wrong)
Then:
This is equivalent to:
Wrong
Wrong

## Slide 9
Absolute Systematic Errors

## Slide 10: Systematic Error Propagation (1)
For absolute beam energy uncertainty of δE (= 0.1%):
Ei (MeV) | dyi/yi (%) | dσi/σi (%)
7.9 | 17.4 | 12.6
8.0 | 12.3 | 10.5
8.1 | 10.0 | 9.1
8.2 | 8.6 | 7.1
8.3 | 7.6 | 6.3
8.4 | 6.8 | 5.8
8.5 | 6.1 | 5.2
This is the cross section dependence on energy
Accounted for dNij due to energy error when calculating dyi

## Slide 11
With:
Then:

## Slide 12
Where:

## Slide 13: Systematic Error Propagation (2)

## Slide 14: Other Absolute Systematic Errors
Beam Current, δI/I | 3%
Photon Flux, δφ/φ | 5%
Radiator Thickness, δR/R | 3%
Bubble Chamber Thickness, δT/T | 3%
Bubble Chamber Efficiency, ε | 5%
Then:
Simulation

## Slide 15: Results
Radiator Thickness = 0.02 mm
Bubble Chamber Thickness = 3.0 cm
Number of 16O nuclei = 3.474e22 /cm2
Background subtraction of 18O(γ,α)14C
17O(γ,n)16O: Still to do

## Slide 16
Electron Beam K. E. | Beam Current (µA) | Time (hour) | yi | dyi (no bg) | dyi/yi (no bg, %) | dyi (with bg) | dyi/yi (with bg, %)
7.9 | 100 | 100 | 545 | 23 | 4.2 | 134 | 24.6
8.0 | 100 | 20 | 581 | 24 | 4.1 | 77 | 13.3
8.1 | 80 | 10 | 852 | 29 | 3.4 | 60 | 7.0
8.2 | 20 | 10 | 634 | 25 | 3.9 | 40 | 6.3
8.3 | 10 | 10 | 812 | 28 | 3.4 | 39 | 4.8
8.4 | 4 | 10 | 746 | 27 | 3.6 | 36 | 4.8
8.5 | 2 | 10 | 763 | 28 | 3.7 | 32 | 4.2

## Slide 17
Electron Beam K. E. | Cross Section (nb) | Stat Error (no bg, %) | Stat Error (with bg, %)
7.9 | 0.046 | 4.4 | 24.5
8.0 | 0.185 | 6.0 | 20.7
8.1 | 0.58 | 6.3 | 14.7
8.2 | 1.53 | 8.2 | 13.8
8.3 | 3.49 | 9.1 | 13.3
8.4 | 7.2 | 10.6 | 13.8
8.5 | 13.6 | 12.2 | 14.8
Electron Beam K. E. | Cross Section (nb) | Sys Error (Energy, %) | Sys Error (Total, %)
7.9 | 0.046 | 17.4 | 19.5
8.0 | 0.185 | 18.1 | 21.5
8.1 | 0.58 | 18.4 | 22.9
8.2 | 1.53 | 18.9 | 24.9
8.3 | 3.49 | 19.7 | 27.2
8.4 | 7.2 | 20.6 | 30.0
8.5 | 13.6 | 21.6 | 33.0

## Slide 18
Electron Beam K. E. | Gamma Energy (MeV) | ECM (MeV) | Cross Section (nb) | SE1 Factor (keV b) | Stat Error (%) | Sys Error (%)
7.9 | 7.85 | 0.69 | 0.046 | 62.2 | 24.5 | 19.5
8.0 | 7.95 | 0.79 | 0.185 | 48.7 | 20.7 | 21.5
8.1 | 8.05 | 0.89 | 0.58 | 41.8 | 14.7 | 22.8
8.2 | 8.15 | 0.99 | 1.53 | 35.5 | 13.8 | 24.9
8.3 | 8.25 | 1.09 | 3.49 | 32.0 | 13.3 | 27.2
8.4 | 8.35 | 1.19 | 7.2 | 28.8 | 13.8 | 30.0
8.5 | 8.45 | 1.29 | 13.6 | 26.3 | 14.8 | 33.0

## Slide 19: 12C(α, γ)16O S-Factor
Statistical Error: dominated by background subtraction from 18O(γ,α)14C (depletion = 5,000)
Systematic Error: dominated by absolute beam energy (δE = 0.1%)
SE1(300 keV) = 74±21 keV b

## Slide 20
Relative Systematic Errors

## Slide 21: Systematic Error Propagation (1)
For absolute beam energy uncertainty of δE (= 0.1%) and zero relative beam energy uncertainty:
Ei (MeV) | dyi/yi (%) | dσi/σi (%)
7.9 | 12.5 | 12.6
8.0 | 10.8 | 10.5
8.1 | 9.3 | 9.1
8.2 | 8.0 | 7.1
8.3 | 7.0 | 6.3
8.4 | 6.3 | 5.8
8.5 | 5.6 | 5.2
This is the cross section dependence on energy
Accounted for dNij due to energy error when calculating dyi

## Slide 22
With:
Then:

## Slide 23
Where:
Note: Correlation Coefficient =1

## Slide 25: Systematic Error Propagation (2)

## Slide 26: Other Relative Systematic Errors
Then:
Simulation
Beam Current, δI/I | 3%
Photon Flux, δφ/φ | 5%
Radiator Thickness, δR/R | 3%
Bubble Chamber Thickness, δT/T | 3%
Bubble Chamber Efficiency, ε | 5%

## Slide 27: Relative Systematic Errors Results
Electron Beam K. E. | Cross Section (nb) | Sys Error (Energy, %) | Sys Error (Total, %)
7.9 | 0.046 | 12.5 | 15.3
8.0 | 0.185 | 10.2 | 13.5
8.1 | 0.58 | 8.3 | 12.2
8.2 | 1.53 | 7.0 | 11.4
8.3 | 3.49 | 6.0 | 10.7
8.4 | 7.2 | 5.3 | 10.5
8.5 | 13.6 | 4.7 | 10.1
Note: Relative systematic errors do not get amplified in PL Unfolding

## Slide 28: 12C(α, γ)16O S-Factor
Statistical Error: dominated by background subtraction from 18O(γ,α)14C (depletion = 5,000)
Relative Systematic Errors
SE1(300 keV) = 74±21 keV b