## Slide 1
SUN | MON | TUE | WED | THU | FRI | SAT
12 | 13 | 14 | 15 | 16 | 17 | 18
19 | 20 | 21 | 22 | 23 | 24 | 25
26 | 27 | 28 | 29 | 30 | 31 | 1
2 | 3 | 4 | 5 | 6 | 7 | 8
9 | 10 | 11 | 12 | 13 | 14 | 15
16 | 17 | 18 | 19 | 20 | 21 | 22
23 | 24 | 25 | 26 | 27 | 28 | 29
30 | 31 | 1 | 2 | 3 | 4 | 5
6 | 7 | 8 | 9 | 10 | 11 | 12
13 | 14 | 15 | 16 | 17 | 18 | 19
20 | 21 | 22 | 23 | 24 | 25 | 26
27 | 28 | 29 | 30 | 1 | 2 | 3
July
August
September
Bubble Chamber Commissioning : 100 uA @ 499 MHz
Bubble Chamber Commissioning : 100 uA @ 499 MHz
Bubble Chamber Commissioning : 100 uA @ 499 MHz
Mott Experiment Run 2: 10 uA @ 31 MHz
ISB laser upgrade complete?
1 channel 499MHz req’d
Bubble laser shutter needed
Arne says schedule subject to change beginning here
PSS Certifications are scheduled for SWINGS (no beam)
PSS Certifications are scheduled for SWINGS (no beam)
Drop dead date for final Fall laser/LLRF configuration
Is this a reasonable date to aim for completing final Fall laser/LLRF configuration?
Grames/Poelker away at PSTP all week

## Slide 2
Laser system (Hansknecht)
  Modular analog gain switching chassis (one for each laser, 3 now + 1 later)
  Rack mounted chiller provides thermally controlled micro-climate
  Restore analog seed laser TEC control
  Communication to seed/pre-amp + IPG models (Johnson)
LLRF (Plawski)
  LLRF : 3 channels of 249.5 MHz, 2 channels of 499 MHz
  Low cost solution bridges to final system in FY17
  Phase control at 249.5 MHz cable delay or firmware (Allison)
Post SAD Priority is testing and development
  Stable CEBAF system means efforts stay focused on final system
  Evaluate performance & cost for reduced rep rate options
  Test laser pulse pick-off PLL on bench for improving phase regulation
  Test delivering two 249.5 MHz beams to B/D through 1 chopping aperture
  Build new SCAM module for 4-laser operation (Flood)
FY16 – This SAD & Upcoming Year