## Slide 1: Error Analysis II
Relative Systematic Errors
02 October 2013

## Slide 2: Penfold-Leiss Cross Section Unfolding
Measure Yields at: where,
The solution can be written in two forms:

## Slide 3
Or, Matrix form:

## Slide 4: Systematic Error Propagation (1)
For absolute beam energy uncertainty of δE (= 0.1%) and zero relative beam energy uncertainty:
Ei (MeV) | dyi/yi (%) | dσi/σi (%)
7.9 | 12.5 | 12.6
8.0 | 10.8 | 10.5
8.1 | 9.3 | 9.1
8.2 | 8.0 | 7.1
8.3 | 7.0 | 6.3
8.4 | 6.3 | 5.8
8.5 | 5.6 | 5.2
This is the cross section dependence on energy
Accounted for dNij due to energy error when calculating dyi

## Slide 5
With:
Then:

## Slide 6
Where:
Note: Correlation Coefficient =1

## Slide 8: Systematic Error Propagation (2)

## Slide 9: Other Systematic Errors
Beam Current, δI/I | Absolute | 3%
Photon Flux, δφ/φ | Absolute | 5%
Radiator Thickness, δR/R | Relative | 3%
Bubble Chamber Thickness, δT/T | Relative | 3%
Bubble Chamber Efficiency, ε | Relative | 5%
Then:
Simulation

## Slide 10: Systematic Errors Results
Electron Beam K. E. | Cross Section (nb) | Sys Error (Energy, %) | Sys Error (Total, %)
7.9 | 0.046 | 12.5 | 19.5
8.0 | 0.185 | 10.2 | 21.1
8.1 | 0.58 | 8.3 | 22.1
8.2 | 1.53 | 7.0 | 23.6
8.3 | 3.49 | 6.0 | 25.4
8.4 | 7.2 | 5.3 | 27.7
8.5 | 13.6 | 4.7 | 30.1