## Slide 1: 18” CEBAF gun “a la GTS”
Gabriel Palacios Serrano, Carlos Hernández García
gabrielp@jlab.org, chgarcia@jlab.org
09/21/2021

## Slide 2: Overview
Can we use a smaller shield?
  For “As is”, Shrink 2, and Smallest Shield:
    Electrostatics at operational (200kV) and processing (320 kV) voltages
    Beam dynamics at 200 kV
How does the 18” CEBAF gun a la GTS perform “As is”?
  Response to anode shifts and tilts
  Electrostatics at operational (200kV) and processing (320 kV) voltages
  Beam dynamics at 200 kV
    Dynamics response to anode shifts and tilts

## Slide 3: Comparing shields:
“As is”, Shrink 2, and Smallest Shield

## Slide 4: For operation at -200 kV
5.4 MV/m
6.1 MV/m
6.9 MV/m
5.5 MV/m
0.19 MV/m
6.9 MV/m
6.4 MV/m
7.0 MV/m
6.0 MV/m
0.6 MV/m
5.2 MV/m
4.2 MV/m
6.7 MV/m
7.3 MV/m
5.1 MV/m
“As is”
Shrink 2
Smallest

## Slide 5: For HV processing at -320 kV
8.9 MV/m
9.9 MV/m
11.4 MV/m
10.3 MV/m
0.3 MV/m
11.6MV/m
0.8 MV/m
11.5 MV/m
10.1 MV/m
10.4 MV/m
8.6MV/m
8.0 MV/m
10.7 MV/m
11.3 MV/m
8.7 MV/m
“As is”
Shrink 2
Smallest

## Slide 6
Potential at -200 kV, particles emitted at 200 keV, no interactions with solids
“As is”
Shrink 2
Smallest

## Slide 7: Dynamics at -200 kV
Chart: Avg z [m]

## Slide 8: “As is” gun at -200 kV
Beam dynamics behavior subjected to anode shifts and tilts

## Slide 9: Anode shifts: Average position
Chart: avg z [m]
At -200 kV

## Slide 10: Anode shifts: Emittance
Chart: avg z [m]
Chart: avg z [m]
At -200 kV

## Slide 11: Anode tilts: Average position
Chart: z [cm]
At -200 kV

## Slide 12: Anode tilts: Emittance
Chart: z [cm]
Chart: z [cm]
At -200 kV

## Slide 13
FIN

## Slide 14: Extras

## Slide 16: My smallest shield model
0.32 “
R 0.14”

## Slide 17: Electrostatics: operational voltage -320 kV
8.6MV/m
8.0 MV/m
10.7 MV/m
11.3 MV/m
8.7 MV/m

## Slide 18: Electrostatics: operational voltage -250 kV
6.7 MV/m
4.9 MV/m
8.4 MV/m
8.8 MV/m
6.9 MV/m

## Slide 19: Electrostatics: operational voltage -200 kV
5.2 MV/m
4.2 MV/m
6.7 MV/m
7.3 MV/m
5.1 MV/m

## Slide 20: Shrinking the “As is” shield
Shrink 1
Shrink 2
Shrink 3
“As is”
Smallest

## Slide 21: Shrink 1 at -320 kV
9.9MV/m
0.6 MV/m
10.2 MV/m
11.3 MV/m
10.1 MV/m

## Slide 22: Shrink 2 at -320 kV
11.6MV/m
0.8 MV/m
11.5 MV/m
10.1 MV/m
10.4 MV/m

## Slide 23: Shrink 3 at -320 kV
12.3 MV/m
1.7 MV/m
11.0 MV/m
9.7 MV/m
10.5 MV/m

## Slide 24: Model
This is the model with the so-called “CEBAF anode” and 6 cm cathode-anode gap.
Material and settings are the same as before:
  Closed boundaries everywhere except top and z >0
  Alumina for insulator and rubber for cable.
Moveable anode

## Slide 25: Electrostatics: processing voltage 320 kV
8.9 MV/m
9.9 MV/m
11.4 MV/m
10.3 MV/m
0.3 MV/m

## Slide 26: Electrostatics: operational voltage 200 kV
5.4 MV/m
6.1 MV/m
6.9 MV/m
5.5 MV/m
0.19 MV/m

## Slide 27: Shrink 2 at 200 kV
6.9 MV/m
6.4 MV/m
7.0 MV/m
6.0 MV/m
0.6 MV/m

## Slide 28: Potential along insulator length at -200 kV
Chart: Curve length [m]

## Slide 29: E-field_z along insulator length at -200 kV
Chart: Curve length [m]

## Slide 30: E-field_y along insulator length at -200 kV
Chart: Curve length [m]

## Slide 31: GPT
I exported the field maps at 200 kV and use them as inputs in the GPT deck for the GTS gun with Dr. Sajini’s parameters, then obtained the dynamics

## Slide 32: Parameters
GPT parameters taken from Sajini’s
  Field map at 200 kV
  Qbunch -1e-12 # C
  XYrms 0.5e-3 # m
  Space charge ON

## Slide 33: Anode shifts: Spot size
Chart: avg z [m]
Chart: avg z [m]
Increased a factor of 4.25

## Slide 34: Anode tilts: Spot size
Chart: z [cm]
-10 deg
5 deg
10 deg
Chart: z [cm]
-10 deg
5 deg
10 deg
Increased a factor of 4.24