## main log
				columns for special tasks
				Mott UP/DOWN On-Line Full Analysis Result					Mott Left/Right On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry (ppm)	uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Mott Asym (%)	Uncertainty (%)	Average for Foil	# of Elastic Events	Fixed elastics: 4x U/D if busted	Run time (s)	Elastic Rate/uA (Hz)	Avg. Rate for Foil	target ladder position	PITA	Delay	deadtime
7900	BCM – no good data?
7901	first run looking for aperture	Mott	15	1	0.5	in	15186	222.3	26.1	33.5332	0.469106	-5.14372	0.52714	-0.659227	0.528516					-103000
7902	aperture check	Mott	15	1	0.5	out	15186	61.83	32.87	-33.8812	0.47091	-6.0948	0.530001	0.532765	0.531962					-103000
7903	Remove 5 ns delay	Mott	15	1	0.5	out	15186	-159.9	72.7	-31.6844	0.888468	-6.01501	0.984041	0.332215	0.987603					-103000
7904	Remove 1 more ns	Mott	15	1	0.5	out	15186	101	78.7	-33.3494	0.905724	-6.04827	1.01534	-2.3232	1.01851					-103000
7905	Remove 1 more ns	Mott	15	1	0.5	out	15186	-110.6	140.3	-32.8564	0.74989	-5.03859	0.838506	0.486074	0.840621					-103000
7906	adjust PMT HV (E->83000	Mott	15	1	0.5	out	15186	231.7	100.6	-34.2341	0.908745	-5.70225	1.02604	-0.257787	1.02938					-103000
7907	finishing adjusting E HV	Mott	15	1	0.5	out	15186	70.64	75.84	-32.7649	0.788298	-5.45748	0.880472	-0.460799	0.883083					-103000
7908	working on dE HV for PMT	Mott	15	1	0.5	out	15186	141.1	83.6	-35.038	0.903341	-7.40154	1.02412	0.799092	1.02969					-103000
7909	working on dE HV for PMT	Mott	15	1	0.5	out	15186	458.4	107.4	-33.4239	0.911762	-6.38412	1.02225	-0.923631	1.02634					-103000
7910	working on dE HV for PMT	Mott	15	1	0.5	out	15186	40.22	81.62	-34.1657	0.93112	-6.33524	1.04994	0.316922	1.05416					-103000
7911	working on dE HV for PMT	Mott	15	1	0.5	out	15186	42.33	171.42	-34.1233	0.865111	-5.00544	0.976666	-1.7477	0.97882					-103000
7912	moving on target ladder offset = 0	Mott	15	1	0.5	out	15188	-292	33.2	-33.2931	0.420824	-5.59094	0.471805	-0.143978	0.473284			-1.58587	0.439443	-0.31422	0.439549					-103000
7913	correction = 0 again, slight steer	Mott	15	1	0.5	out	15188	59.16	27.92	-34.0445	0.415989	-5.00296	0.469346	-1.57496	0.470407	2.27284	0.439942	0.0782002	0.440169	-0.648856	0.440151					-103000
7914	Nominal + correction – sigma	Mott	15	1	0.5	out	15188	-441.5	101.7	-33.0552	0.400259	-1.69311	0.449229	0.0795786	0.449357	2.56714	0.427748	-0.719057	0.428008	-0.840426	0.428					-102690
7915	Nominal + correction	Mott	15	1	0.5	out	15188	331.5	31.4	-34.0061	0.368395	1.17155	0.41651	-0.0700363	0.416567	2.68461	0.400803	0.464373	0.401084	0.351657	0.401087					-102457
7916	Nominal + correction + sigma	Mott	15	1	0.5	out	15188			-33.7303	0.396627	2.77249	0.30469			2.00766					-102224
	new target ladder positions determined
7917	fixed nominal ladder pos	Mott	15	1	0.5	out	15188	557.8	90.2	-33.7852	0.360064	1.00605	0.406418	-0.461353	0.406451	2.77193	0.391822	0.545405	0.392112	0.0550642	0.392123					-102526
7918	fixed nominal ladder pos	Mott	15	1	0.5	in	15189	-172	25.9	33.8765	0.362464	-0.0141109	0.409453	0.0634892	0.409453	-2.0011	0.393049	0.438592	0.393199	-0.29314	0.393203					-102526
shift end
7919	pita scanning – no mott	BCM			3	IN	15190	-215.9	5.4					0	0
7920	pita scanning – no mott	BCM			3	OUT	15190	81.66	2.95					0	0
7921	pita scanning – no mott	BCM			3	OUT	15190	81.18	2.81					0	8
7922	pita scanning – no mott	BCM			3	IN	15190	-226.1	5.4					0	8
7923	pita scanning – no mott, PC = Off	BCM			3	IN	15190	5.285	2.45					0	0
7924	pita scanning – no mott, PC = On	BCM			3	IN	15190	-192	13.7					0	0
7925	pita scanning – no mott	BCM			3	IN	15190	154.4	8.4					1000	0
7926	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	IN	15190	-565.68	21.46					-1000	0
7927	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	468.42	19.44					-1000	0
7928	pita scanning – no mott	BCM			3	OUT	15190	87.12	5.1					0	0
7929	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	-258.8	11.1					1000	0
7930	pita scanning – no mott	BCM			3	OUT	15190	-61.75	2.71					400	0
7931	pita scanning – no mott	BCM			3	IN	15190	-63.69	2.75					400	0
7932	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			0.5	IN	15190	-69.4	3.19					400	0
7933	pita scanning – no mott	BCM			0.5	OUT	15190	-65.1	3.21					400	0
7934	Mott Run	BCM	15	1	0.5	OUT	15190	24.2	29.1	-33.3503	0.317122	-0.6603	0.356792	0.317516	0.356804	2.41091	0.342773	-0.0595601	0.342973	0.406497	0.342967					400	0
7935	Mott Run	BCM	15	1	0.5	IN	15190	-54.1	28.4	33.5692	0.302533	0.0531791	0.340955	-0.0935505	0.340955	-2.70394	0.326866	0.618073	0.327093	-0.359907	0.327101					400	0
7936	Mott Run, lowered dE Hvs	BCM	15	1	0.5	IN	15190	-20.53	40.09	33.6047	0.445185	-0.30901	0.501854	0.423417	0.50185	-2.61237	0.48167	1.06055	0.481944	-0.522145	0.481985					400	0
7937	Mott Run, lowered dE Hvs and scalers	BCM	15	1	0.5	IN	15190	-154.3	37	33.1338	0.37495	-1.05589	0.421144	-0.389334	0.421184	-3.05532	0.399057	1.50467	0.39934	-1.11195	0.399381					400	0
7938	Mott Run	BCM	15	1	0.5	IN	15190	46.15	47.49	34.0771	0.494784	-1.20028	0.559708	-0.320403	0.559783	-3.36471	0.529044	-0.105237	0.529643	-0.453183	0.529632					400	0
7939	Mott Run	BCM	15	1	0.5	IN	15190	118.7	28.8	34.1876	0.334155	-0.658923	0.378363	-0.363078	0.378375	-1.78361	0.358291	1.34334	0.358341	0.2662	0.358403					400	0
7940	Mott Run, Right Fit Fail	BCM	15	1	0.05	IN	15190	-67.6	8	42.5459	0.750775	-1.11586	0.9166	-0.584851	0.916683	-2.82613	1.07956	-37.745	0.926498	-2.4728	1.07976					400	0
	SHIFT CHANGE DAY
7941	check before spin dance	Mott	15	1	0.5	OUT	15190	-25.7	32.8	-33.5422	0.361573	-0.210976	0.407408	0.383053	0.407404	2.50433	0.387029	1.74103	0.387154	0.115524	0.387271					400	0
7942	check before spin dance	Mott	15	1	0.5	IN	15190	-35.56	30.7	34.1763	0.354226	-0.0246773	0.401072	-0.12209	0.401071	-2.23918	0.38044	0.627479	0.380616	-0.0864512	0.380631
7943	solenoids to vertical pol.	Mott	15	1	0.5	OUT	15190			1.2712	0.38459	0.369969	0.384647	0.127486	0.384652	33.3426	0.366159	1.63773	0.411847	0.497807	0.411947
7944	solenoids vertical, IHWP IN	Mott	15	1	0.5	IN	15190			-1.03967	0.326813	-0.329239	0.326844	0.434955	0.326842	-33.4919	0.310333	-0.241539	0.34954	0.792435	0.34952
7945	sols vert, V Wien to 75 deg	Mott	15	1	0.5	OUT	15190			1.50965	0.37826	-0.208976	0.378345	0.0927307	0.378346	32.3334	0.358322	1.0734	0.40011	0.473225	0.400147
7946	same as 7945, IHWP in	Mott	15	1	0.5	IN	15190			-1.46523	0.382807	0.710318	0.38287	-0.565873	0.382877	-32.4097	0.361806	0.858278	0.40424	-0.0894945	0.40427
7947	sols vert, V Wien to 60 deg	Mott	15	1	0.5	OUT	15190			1.78662	0.384291	0.202389	0.384412	-0.412965	0.384407	28.8157	0.36912	1.27713	0.402479	0.467547	0.402536
7948	same as 7947, IHWP in	Mott	15	1	0.5	iN	15190			-0.495366	0.383465	0.0827049	0.383474	0.224574	0.383472	-28.6157	0.368215	0.985781	0.401017	-0.0650278	0.401056
7949	sols vert, V Wien to 93 deg	Mott	15	1	0.5	OUT	15190			0.968376	0.380886	0.685518	0.380904	0.527464	0.380911	33.5089	0.358873	1.28451	0.404199	-0.0410072	0.404265
7950	same as 7949, IHWP in	Mott	15	1	0.5	IN	15190			-1.2194	0.362865	-0.0238043	0.362919	-0.20778	0.362917	-33.6457	0.342234	0.272353	0.385918	0.105156	0.385921
7951	Restore V Wien to 90, sols vert	Mott	15	1	0.5	OUT	15190			1.76711	0.378946	1.16191	0.379013	-1.29056	0.379002	33.1082	0.361098	0.250908	0.40555	0.156292	0.405552
7952	same as 7951, IHWP in	Mott	15	1	0.5	IN	15190			-1.47479	0.36922	-0.322093	0.369296	-0.164325	0.369299	-33.4381	0.351039	0.768066	0.395207	0.105267	0.395229
7953	V Wien 90 deg, sols horiz	Mott	15	1	0.5	OUT	15190			-33.277	0.34738	-0.301241	0.390634	-0.0856626	0.390637	2.70717	0.370985	0.395391	0.371251	0.207655	0.371255
7954	Same as 7953, IHWP IN	Mott	15	1	0.5	IN	15190			33.3973	0.339089	-0.439963	0.381651	-0.247877	0.381656	-2.14545	0.360801	1.09127	0.360924	-0.792973	0.360944
7955	Both Sols at -878	Mott	15	1	0.5	OUT	15190			-32.2981	0.34993	-0.70652	0.390665	0.0204009	0.390685	8.1545	0.369459	0.679268	0.371915	0.32608	0.371928
7956	Same as 7955, IHWP IN	Mott	15	1	0.5	IN	15190			32.7059	0.360368	0.307739	0.403529	-0.437394	0.403526	-8.09561	0.38079	1.27986	0.383239	-0.288946	0.383298
7957	Both Sols at -1078	Mott	15	1	0.5	OUT	15190			-34.0528	0.355917	-0.646475	0.402585	0.526764	0.402591	-2.39909	0.380555	1.15983	0.380722	0.390888	0.380768
7958	Same as 7957, IHWP IN	Mott	15	1	0.5	IN	15190			33.3354	0.355439	0.0767554	0.399874	0.196143	0.399873	2.29252	0.378906	0.785871	0.379082	-1.05339	0.379063
7959	Both Sols at -1028	Mott	15	1	0.5	OUT	15190			-34.1396	0.314529	-0.759543	0.356004	0.906445	0.355995	0.725746	0.335478	0.573539	0.335485	0.560131	0.335485
7960	Same as 7959, IHWP IN	Mott	15	1	0.5	IN	15190			33.1626	0.344865	-0.636235	0.387462	-0.375344	0.387473	-0.57851	0.367424	0.337988	0.367432	-1.02247	0.367398
7961	Both Sols at -928	Mott	15	1	0.5	OUT	15190			-33.2128	0.354316	-0.32525	0.398242	-0.375955	0.39824	5.40682	0.378437	1.07421	0.379503	0.371163	0.379542
7962	Same as 7960m IHWP IN	Mott	15	1	0.5	IN	15190			33.612	0.344687	-0.170293	0.388587	0.529407	0.388577	-5.80864	0.365788	1.06821	0.366985	-0.804336	0.367003
7963	“Perfect” V Wien, Sols	Mott	15	1	0.5	OUT	15190			-32.8173	0.359609	-0.235114	0.40301	0.424973	0.403005	-0.195615	0.380952	1.23523	0.380895	-0.212814	0.380952
7964	As 7963, IHWP IN	Mott	15	1	0.5	IN	15190			33.7087	0.364544	0.328764	0.411272	0.526106	0.411265	0.242936	0.388139	0.523738	0.38813	-0.212648	0.388139
7965	INVALID	Mott	13	0.05	0.5	OUT	15190					1/sigma^2
7966	Dump fraction on 0.05u	Mott	13	0.05	1	OUT	15190					5.0539221895
7967	Dump fraction on 0.5u	Mott	5	0.5	0.75	OUT	15190	-76.86	21.97
	Start 0.245 uA deadtime
7968	Asy. vs. Dead Time Study	Mott	15	1	0.245	OUT	15190	53.13	166.06	-33.7726	0.279346	-0.264095	0.315308	-0.250795	0.315308	-0.715518	0.297722	0.898601	0.297713	0.270112	0.297735	33.7726	3.62635179334483E-005					2
7969	Same as 7968, IHWP IN	Mott	15	1	0.245	IN	15190	112.3	19.1	33.3384	0.276428	0.277911	0.310991	0.421037	0.310988	0.632009	0.293963	1.17472	0.293935	-0.33474	0.293972	33.3384	0.0027411529					2
7970	Same as 7969, IHWP OUT	Mott	15	1	0.245	OUT	15190	0.8842	11.089	-33.2134	0.279828	-0.413122	0.314519	-0.0704947	0.314524	-0.469651	0.297888	1.3648	0.297839	0.690918	0.297881	33.2134	0.0081323345					2
7971	Same as 7970, IHWP IN	Mott	15	1	0.245	IN	15190	581.7	34	33.3643	0.276122	-0.558778	0.3107	-0.713157	0.310694	0.163427	0.2953	1.41825	0.295241	-0.648052	0.295288	33.3643	0.0008650519					2
7972	same as 7971, IHWP OUT	Mott	15	1	0.245	OUT	15190	-51.9	11.5	-33.8103	0.278465	-0.0597733	0.314405	0.228579	0.314404	-0.160923	0.297266	0.90202	0.297243	0.0860251	0.297267	33.8103	0.0075614367					2
7973	same as 7972, IHWP IN: L dE getting buggy	Mott	15	1	0.245	IN	15190	-223.3	151.8	33.68	0.309776	-0.398581	0.349406	-0.283608	0.349409	-0.190696	0.32989	1.57732	0.329809	-0.432762	0.329885	33.68	4.3396675120339E-005					2
shift change to swing
7974	short run, diagnosing left dE	Mott	15	1	0.245	IN	15190			33.6829	1.02472	1.13924	1.15571	0.217934	1.15585	1.04331	1.09371	3.29565	1.09264	-0.252423	1.09382	33.6829
7975	asym vs dead time, IHWP OUT	Mott	15	1	0.245	OUT	15190	-5.375	9.722	-33.8461	0.274611	-0.706629	0.310124	0.467397	0.310132	-0.597321	0.292308	2.10135	0.292189	1.32131	0.292267	33.8461	0.0105800755					2
7976	dead time run	Mott	15	1	0.245	IN	15190	-711.6	15.4	33.8605	0.279558	0.0585139	0.315761	-0.199987	0.315759	0.36776	0.296309	1.81633	0.296215	0.338451	0.296309	33.8605	0.0042165627					2
7977	dead time run	Mott	15	1	0.245	OUT	15191	-70.26	14.28	-33.518	0.281138	-0.272068	0.316718	0.0386574	0.316721	-0.461216	0.298388	1.73803	0.298304	0.452157	0.298388	33.518	0.0049039224					2
7978	dead time run	Mott	15	1	0.245	IN	15191	-56.23	118.84	33.4651	0.336573	0.266637	0.379018	0.358393	0.379016	0.472471	0.357593	1.91977	0.357469	0.507587	0.357591	33.4651	7.08067586127358E-005					2
	end deadtime runs 0.245 uA
7979	ramping current	adjusting
7980	dummy test after fixing orbit, current	mott	15	1	3	IN	15191	-52.44	61.9	32.8676	0.594641	-1.30776	0.666545	-0.168239	0.666657	0.466606	0.634737	1.36395	0.634632	-0.344089	0.634743
	Start 3 uA deadtime
7981	3 uA deadtime	Mott	15	1	3	IN	15191	-45.84	16.39	33.9439	0.196678	-0.0779831	0.22229	0.0819543	0.22229	0.911307	0.210661	1.24434	0.210646	-0.332562	0.210676	33.9439					35
7982	3 uA deadtime	Mott	15	1	3	out	15192	-70.71	15.78	-33.4428	0.194955	-0.218269	0.219503	-0.0536727	0.219504	-0.625724	0.208748	1.07803	0.208732	0.19935	0.208755	33.4428					37
7983	3 uA deadtime	Mott	15	1	3	in	15192	-37.26	15.74	33.3851	0.196349	0.10511	0.220978	-0.0334632	0.220978	0.818094	0.209904	1.33548	0.20988	-0.722546	0.209907	33.3851					36
7984	3 uA deadtime	Mott	15	1	3	out	15192	-35.54	14.53	-33.7588	0.188693	-0.586021	0.212956	0.277798	0.212962	-0.693877	0.20225	1.66076	0.202204	0.179869	0.202259	33.7588					37
7985	3 uA deadtime	Mott	15	1	3	in	15192	-40.47	16.05	33.8823	0.196436	-0.150376	0.221911	-0.424522	0.221908	0.18668	0.210246	1.66549	0.210188	-0.492262	0.210241	33.8823					36
7986	3 uA deadtime	Mott	15	1	3	out	15192	-123.9	22.6	-34.4085	0.397453	-0.0442987	0.450828	0.092291	0.450828	-0.784515	0.427341	1.01884	0.427323	0.24949	0.427365	34.4085					35
	Start 2 uA deadtimes
7987	2 uA deadtime	Mott	15	1	3	in	15192	-7.305	17.164	33.5803	0.194978	-0.128701	0.219758	-0.361573	0.219755	0.43099	0.208171	1.63267	0.208119	-0.349952	0.208172	33.5803					26
7988	2 uA deadtime	Mott	15	1	3	out	15192	-73.63	16.8	-33.8331	0.191306	-0.254536	0.216033	-0.0196833	0.216035	-0.574286	0.205062	1.19554	0.20504	-0.0299911	0.205069	33.8331					27
7989	2 uA deadtime	Mott	15	1	3	in	15192	-52.85	16.26	33.2746	0.190449	0.625301	0.214153	0.154638	0.214161	0.606413	0.203682	1.36132	0.203652	-0.215323	0.203689	33.2746					27
7990	2 uA deadtime	Mott	15	1	3	out	15192	-34.8	17.1	-33.4504	0.196467	-0.00545496	0.22122	-0.315012	0.221217	-0.369595	0.210147	1.0861	0.210125	0.162457	0.210149	33.4504					26
7991	2 uA deadtime	Mott	15	1	3	in	15192	-57.23	17.39	33.8728	0.195624	-0.321326	0.220976	0.101679	0.220978	0.724282	0.209065	1.19678	0.209046	0.081654	0.209076	33.8728					26
7992	2 uA deadtime	Mott	15	1	3	out	15192	-67.33	16.15	-33.8253	0.184292	-0.706346	0.208092	0.223201	0.208101	-0.233517	0.197539	1.5185	0.197494	0.113882	0.197539	33.8253					27
	Start 4 uA deadtime runs
7993	4 uA deadtime	Mott	15	1	4.1	in	15192	-62.38	14.82	33.6821	0.188916	0.0626825	0.213091	0.180125	0.21309	0.120255	0.201878	0.989385	0.201859	-0.037116	0.201878	33.6821					42
7994	4 uA deadtime	Mott	15	1	4.1	out	15192	-65.03	15.34	-33.7379	0.197025	-0.619323	0.222323	0.240047	0.222331	-0.487433	0.210981	0.955875	0.210967	0.0416313	0.210986	33.7379					42
7995	4 uA deadtime	Mott	15	1	4.1	in	15192	-19.95	16.07	33.4458	0.197864	0.202588	0.222785	0.135201	0.222785	0.352468	0.211532	0.821569	0.211521	0.150101	0.211534	33.4458					42
7996	4 uA deadtime	Mott	15	1	4.1	out	15192	-66.41	15.09	-33.3764	0.197747	0.0938817	0.222537	-0.277326	0.222536	-0.669654	0.211169	1.24622	0.211146	0.39695	0.21117	33.3764					42
7997	4 uA deadtime	Mott	15	1	4.1	in	15192	-25.79	14.8	33.8493	0.192256	-0.0592691	0.217135	-0.0505364	0.217135	0.405668	0.20551	1.32363	0.205478	-0.361163	0.205511	33.8493					42
7998	4 uA deadtime	Mott	15	1	4.1	out	15192	-74.86	14.35	-33.4486	0.189502	-0.18072	0.213373	-0.0774336	0.213374	-0.449747	0.20254	1.03205	0.202522	0.537611	0.202538	33.4486					42
	Start 1 uA deadtime runs
7999	1 uA deadtime	Mott	15	1	1	in	15192	-25.58	17.46	33.4964	0.185936	0.0831854	0.209435	0.103021	0.209435	0.541636	0.198437	1.60143	0.198392	-0.3728	0.19844	33.4964					14
8000	1 uA deadtime	Mott	15	1	1	out	15192	-39.37	20	-33.755	0.197103	-0.703316	0.222438	0.174271	0.222448	-0.582562	0.210312	1.22944	0.210287	0.458086	0.210315	33.755					14
8001	1 uA deadtime	Mott	15	1	1	in	15192	-29.59	20.12	33.587	0.195828	-0.353129	0.220725	-0.0295638	0.220728	0.562983	0.208911	1.62259	0.208863	-0.181544	0.208917	33.587					14
8002	1 uA deadtime	Mott	15	1	1	out	15192	-27.32	19.11	-33.9466	0.197144	-0.379924	0.222818	0.0257424	0.222821	-0.310673	0.211035	1.31873	0.211	0.347674	0.211035	33.9466					14
8003	1 uA deadtime	Mott	15	1	1	in	15192	-74.87	19.35	33.7598	0.196349	-0.517124	0.2216	-0.144993	0.221605	0.368709	0.20927	1.54509	0.209223	-0.478106	0.209268	33.7598					14
8004	1 uA deadtime	Mott	15	1	1	out	15192	-84.74	19.5	-34.0924	0.195229	-0.540489	0.220898	0.429213	0.220901	-0.703585	0.209461	1.22702	0.209439	0.434439	0.2094	34.0924					14
	start data runs on next foil
8005	data runs -test	Mott	16	1	0.33	out	15192			-32.3459	0.754228	-1.47441	0.842178	-0.704533	0.842319	-1.15613	0.642901	63.1635	0.386459	-1.24443	0.642887
8006	steering on 10 mm 1 micron foil (+70,0)	Mott	16	1	0.33	out	15192			-32.4966	1.33723	49.1585	1.13381	-1.47213	1.49479	-0.821895	1.01727	-8.18273	1.01053	-1.13535	1.01721
8007	steering on 10 mm 1 micron foil (-70,0)	Mott	16	1	0.33	out	15192			-32.9602	0.790928	1.21884	0.887193	-0.0999987	0.887324	-0.128314	0.68851	60.9321	0.432886	0.219861	0.688508
8008	steering on 10 mm 1 micron foil (-140,0)	Mott	16	1	0.33	out	15192
8009	steering on 10 mm 1 micron foil (0,70)	Mott	16	1	0.33	out	15192
8010	steering on 10 mm 1 micron foil (0,-70)	Mott	16	1	0.33	out	15192
8011	steering on 10 mm 1 micron foil (-35,-35)	Mott	16	1	0.33	out	15192			-33.465	0.726837	-2.44769	0.818011	-1.0537	0.818411	-0.459125	0.748168	9.2766	0.741745	0.434657	0.748169

8012	Foil 3, large 0.87, short test run	Mott	3	0.87	0.81	out	15192	-104.3	29.6	-34.8808	0.344597	-1.57159	0.392234	-0.0397759	0.392331	-0.25429	0.372969	0.538932	0.372961	0.307435	0.372968				145875	145875	241	747.27
8013	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-87.02	17.09	-34.4868	0.198455	-0.355387	0.225242	0.167262	0.225244	-0.791204	0.212633	0.763995	0.212634	0.298236	0.212645	34.4868			444889	444889	665	743.34
8014	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-47.4	17	34.9576	0.197426	-0.352888	0.224908	-0.0949436	0.224911	0.566735	0.211729	0.877212	0.211719	-0.0882686	0.211735	34.9576			448292	448292	695	716.69
8015	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-66.77	16.9	-34.4954	0.200845	-0.108199	0.227972	-0.270363	0.227971	-0.743612	0.215481	1.15224	0.215464	0.0146459	0.215492	34.4954				433790
8016	Nada – daq fouled (disk space full)
8017	Nada – daq fouled (disk space full)
8018	Nada – daq fouled (disk space full)
8019	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-42.72	15.89	34.3532	0.185475	0.0101659	0.210293	-0.0862169	0.210292	0.843418	0.19873	0.70191	0.198735	-0.0829429	0.198744	34.3532			509583	509583	798	709.53
8020	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-70.32	15.36	-34.5948	0.178848	0.104304	0.203162	0.0587504	0.203162	-0.391398	0.191528	0.682738	0.191522	0.535438	0.191526	34.5948			547838	547838	816	745.97
8021	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-57.2	15.5	34.7544	0.181496	-0.321447	0.206428	-0.226361	0.206429	0.911031	0.195004	0.710778	0.195011	-0.495101	0.195016	34.7544			529883	529883	837	703.42

8022	1 micron foil 15 stability test	Mott	3	1	1	in	15193	-57.75	17.77	33.9635	0.183985	-0.602615	0.207968	-0.159902	0.207975	0.335957	0.196774	1.25764	0.196745	-0.283419	0.196774				519654	519654	610	851.89
8023	1 micron foil 15 stability test	Mott	3	1	1	out	15193	-91.77	17.96	-33.7745	0.186226	-0.997497	0.210184	-0.220872	0.210204	-0.101137	0.19984	1.42191	0.199799	0.300414	0.199838				505937	505937	561	901.85
	End of Swing
8024	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-74.87	14.75	-36.0668	0.195597	-0.258127	0.224844	-0.101288	0.224845	-0.867636	0.210952	1.05973	0.210944	-0.0750531	0.210968	36.0668	0.195597		452106		675	669.79
8025	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-1.75	15.455	35.6517	0.19874	-0.0782062	0.227679	-0.226977	0.227678	0.60323	0.214147	1.03108	0.214132	-0.11117	0.214154	35.6517	0.19874		439076		691	635.42
8026	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-68.57	14.95	-35.5544	0.199317	-0.869285	0.228142	0.022591	0.228159	-0.28819	0.214157	0.673191	0.214149	0.177377	0.214158	35.5544	0.199317		437961		664	659.58
8027	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-40.5	15.2	35.6046	0.199123	-0.20698	0.228029	0.0983931	0.228029	0.359675	0.213917	1.19457	0.213889	-0.149438	0.213919	35.6046	0.199123		438795		695	631.36
8028	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-54.45	15.14	-35.7	0.1987	-0.6466	0.2277	0.2657	0.2278	-0.8773	0.2138	1.262	0.2138	-0.04764	0.2138	35.7	0.1987		439723		652	674.42
8029	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-71.96	14.22	35.0839	0.199511	-0.445988	0.227511	0.164899	0.227515	0.665897	0.214672	0.742727	0.214669	-0.43376	0.214677	35.0839	0.199511	35.61	437310		679	644.05	652.44

8030	Foil 15, 1 um Stability	Mott	15	1	1	IN	15193	-32.11	18.92	33.8922	0.196725	-0.587357	0.222248	-0.0753357	0.222255	0.446197	0.210282	1.77765	0.21022	-0.0654494	0.210286	33.8922	0.196725		454935		535	850.35
8031	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15193	-65.01	18.76	-33.3373	0.191181	-0.322286	0.215083	0.153907	0.215084	-0.498328	0.204142	1.48746	0.204102	0.167583	0.204146	33.3373	0.191181	33.61	483199		546	884.98	867.66

8032	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-56.28	11.05	`	0.193398	-0.32709	0.224363	0.118915	0.224365	-0.420157	0.210125	0.247226	0.210127	0.426353	0.210125	#VALUE!	0.193398		456950		801	475.40
8033	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-76.33	11.87	37.0637	0.208276	-0.752846	0.241429	-0.0029746	0.241443	0.126628	0.225883	0.531037	0.225877	-0.0784112	0.225883	37.0637	0.208276		394866		720	457.02
8034	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-47.19	11.7	-37.6819	0.20669	-0.564376	0.240888	0.272911	0.240893	-0.435066	0.224489	0.453283	0.224489	0.408742	0.224489	37.6819	0.20669		399284		701	474.66
8035	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-56.69	12.23	37.2801	0.203456	0.0762552	0.236297	0.0678503	0.236297	0.852604	0.219655	0.0670458	0.21967	-0.00280598	0.219671	37.2801	0.203456		415251		764	452.94
8036	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-63.27	11.83	-37.047	0.207205	-0.535351	0.24016	0.0843757	0.24016	-0.70075	0.224638	0.376172	0.224646	0.185089	0.224648	37.047	0.207205		399117		696	477.87
8037	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-58.55	11.75	37.0594	0.207683	-0.362862	0.240744	-0.0549772	0.240747	0.736418	0.225103	0.47928	0.22511	-0.286317	0.225113	37.0594	0.207683	#VALUE!	437310		679	536.71	479.10

8038	Foil 15, 1 um Stability	Mott	15	1	1	IN	15194	-17.75	19.75	33.779	0.189089	-0.407739	0.213439	-0.168806	0.213442	0.525648	0.201973	1.413	0.201938	-0.351893	0.201976	33.779	0.189089		492962		579	851.40
8039	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15194	-83.84	19.66	-33.4179	0.195513	0.0720287	0.220092	-0.379069	0.220089	-0.285323	0.208326	1.41224	0.208286	0.351342	0.208325	33.4179	0.195513	33.60	462858		573	807.78	829.59

8040	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-70.06	8.15	-38.586	0.17846	0.00862231	0.209679	0.113421	0.209679	-0.786416	0.19482	0.799406	0.194819	0.660927	0.194823	38.586	0.17846		530726		1077	365.02
8041	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-49.11	9.75	38.4379	0.215997	0.0160156	0.253443	0.337894	0.25344	0.823422	0.235649	0.262162	0.235663	-0.264401	0.235663	38.4379	0.215997		362746		761	353.09
8042	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-59.96	9.62	-38.9017	0.215923	-0.143272	0.254426	0.0293656	0.254427	-0.702871	0.235873	0.636068	0.235875	0.0589549	0.235885	38.9017	0.215923		361766		740	362.13
8043	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-39.1	10.2	38.8226	0.214681	0.0524266	0.25278	-0.0187189	0.25278	0.786957	0.234514	0.342838	0.234526	-0.1854	0.234528	38.8226	0.214681		366094		794	341.54
8044	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-64.25	7.93	-38.3373	0.177801	-0.0710644	0.208435	0.246267	0.208434	-0.464826	0.193763	0.367476	0.193765	0.501001	0.193763	38.3373	0.177801		536192		1083	366.74
8045	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-54.42	9.89	38.5501	0.215936	-0.154584	0.253627	0.224101	0.253626	0.629653	0.235973	0.141699	0.235982	-0.489129	0.235977	38.5501	0.215936	38.61	362176		772	347.51	356.00

8046	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-42.25	19.59	33.8445	0.196513	-0.419748	0.221931	-0.160379	0.221934	0.634052	0.210002	1.67002	0.209952	-0.498642	0.210005	33.8445	0.196513		456107		517	882.22
8047	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-91.68	19.24	-33.2173	0.197308	-0.421641	0.221775	0.168063	0.221778	-0.602815	0.210646	1.22515	0.210622	0.33601	0.210652	33.2173	0.197308	33.53	453926		493	920.74	901.48

8048	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-59.65	9.37	-38.8614	0.226666	-0.0542339	0.266986	0.0803823	0.266986	-0.507282	0.248326	0.583857	0.248324	0.143801	0.248332	38.8614	0.226666		327410		640	300.93
8049	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-42.28	8.86	39.039	0.226	0.089	0.266	0.388	0.266	0.49	0.248	-0.038	0.248	-0.393	0.248	39.039	0.226		329642		674	287.70
8050	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-57.05	7.96	-39.08	0.19	-0.038	0.224	-0.18	0.224	-0.734	0.208	0.684	0.208	0.717	0.208	39.08	0.19		466422		935	293.44
8051	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-48.1	9.6	39.459	0.226	-0.227	0.267	-0.012	0.267	0.498	0.248	0.315	0.248	-0.206	0.248	39.459	0.226		328502		699	276.45
8052	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-49.1	9.4	-39.349	0.226	-0.021	0.267	-0.307	0.267	-0.759	0.247	-0.096	0.247	0.444	0.247	39.349	0.226		329384		649	298.54
8053	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-53.11	9.04	39.253	0.223	-0.002	0.264	0.183	0.264	0.301	0.245	0.168	0.245	-0.625	0.245	39.253	0.223	39.17	336834		694	285.50	290.43

8054	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-39.59	19.56	33.403	0.197	-0.982	0.222	-0.029	0.222	0.768	0.211	1.284	0.211	-0.211	0.211	33.403	0.197		454827		488	932.02
8055	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-70.05	19.15	-33.619	0.193	-0.463	0.218	0.187	0.218	-0.502	0.206	1.845	0.206	0.43	0.206	33.619	0.193	33.51	474379		485	978.10	955.06

8056	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	OUT	15195			-33.728	0.189	-0.442	0.213	0.024	0.213	-0.574	0.202	1.487	0.202	0.145	0.202	33.728	0.189		493962		494	909.02
8057	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	IN	15195	-30.36	20.81	33.778	0.211	0.173	0.238	0.346	0.238	0.897	0.226	1.562	0.226	-0.233	0.226	33.778	0.211	33.75	396216		414	870.04
	End of Owl					0
8058	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	OUT	15195	-25.98	14.3	34.101	0.163	-0.218	0.185	0.111	0.185	0.576	0.175	2.29	0.175	-0.287	0.175	34.101	0.163		658319		641	933.65
8059	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	IN	15195	-81.12	13.85	-33.492	0.158	-0.405	0.178	0.038	0.178	-0.319	0.168	2.188	0.168	0.285	0.168	33.492	0.158	33.80	712121		658	983.86	958.76
8060	Begin foil 8, 100 mV thresh.	Mott	8	0.35	4.1	OUT	15195	-58.54	6.18	-39.115	0.164	-0.123	0.194	0.257	0.194	-0.643	0.178	1.127	0.178	0.212	0.178	39.115	0.164		628977		620	247.43
8061	Foil 8, 0.35 um	Mott	8	0.35	4.1	IN	15196	-47.82	6	39.007	0.159	-0.173	0.188	-0.149	0.188	0.501	0.174	1.376	0.174	-0.579	0.174	39.007	0.159	39.06	665615		663	244.86	246.15
8062	Foil 8, 0.35 um	Mott	8	0.35	4.1	OUT	15196	-37.97	6.22	-39.152	0.166	0.189	0.196	-0.232	0.196	-0.617	0.182	1.109	0.182	0.424	0.182	39.152	0.166		609286		568	261.63
8063	Foil 8, 0.35 um	Mott	8	0.35	4.1	IN	15196	-37.79	5.79	39.324	0.162	0.404	0.192	0.334	0.192	0.528	0.177	0.724	0.177	-0.224	0.177	39.324	0.162	39.24	640098		624	250.19	255.91

8064	Foil 15, 1um stability	Mott	15	1	1.1	OUT	15196	-56.31	14.39	-33.574	0.164	0.1	0.185	0.132	0.185	-0.222	0.175	2.469	0.175	0.41	0.175	33.574	0.164		656763		640	932.90
8065	Foil 15, 1um stability	Mott	15	1	1.1	IN	15196	-31.56	14.62	33.896	0.164	-0.074	0.185	0.121	0.185	0.699	0.175	1.868	0.175	-0.37	0.175	33.896	0.164	33.74	655304		672	886.50	909.70

8066	Foil 1, 0.225 um	Mott	1	0.225	4.2	OUT	15196	-42.06	4.63	-40.953	0.175	0.471	0.21	-0.231	0.21	-0.517	0.191	1.626	0.191	0.205	0.191	40.953	0.175		546240		748	173.87
8067	Foil 1, 0.225 um	Mott	1	0.225	4.2	IN	15196	-43.72	4.99	40.749	0.175	0.015	0.209	0.166	0.209	0.479	0.191	1.665	0.191	-0.167	0.191	40.749	0.175	40.85	546954		806	161.57	167.72
8068	Foil 1, 0.225 um	Mott	1	0.225	4.2	OUT	15196	-56.09	4.5	-40.949	0.175	0.412	0.21	-0.043	0.21	-0.807	0.192	1.295	0.192	0.348	0.192	40.949	0.175		544491		766	169.24
8069	Foil 1, 0.225 um	Mott	1	0.225	4.2	IN	15196	-49.37	4.38	41.235	0.169	0.243	0.203	0.213	0.203	0.294	0.186	1.252	0.185	-0.504	0.186	41.235	0.169	41.09	582454		841	164.90	167.07
8070	Foil 1, 0.225 um	Mott	1	0.225	4.2	OUT	15196	-51.06	4.46	-40.91	0.175	-0.241	0.21	0.158	0.21	-0.95	0.192	1.809	0.192	0.402	0.192	40.91	0.175		542122		743	173.72
8071	Foil 1, 0.225 um	Mott	1	0.225	4.2	IN	15196	-51.04	4.54	40.723	0.176	0.395	0.211	-0.268	0.211	0.521	0.193	1.088	0.193	0.007	0.193	40.723	0.176	40.82	538748		809	158.56	166.14

8072	Foil 15, 1 um stability	Mott	15	1	1.1	OUT	15196	-58.65	14.61	-33.52	0.164	0.09	0.185	-0.044	0.185	-0.904	0.175	2.321	0.174	0.349	0.175	33.52	0.164		658884		700	855.69
8073	Foil 15, i um stability	Mott	15	1	1.1	IN	15196	-45.01	13.88	33.654	0.163	-0.091	0.184	-0.054	0.184	0.57	0.174	1.96	0.174	-0.504	0.174	33.654	0.163	33.59	663730		716	842.72	849.21

8074	Foil 12, 0.05 um	Mott	12	0.05	4.4	OUT	15196	-48.6	2.7	-43.092	0.249	0.104	0.306	0.769	0.306	-0.767	0.312	-21.784	0.297	0.77	0.312	43.092	0.249		239624	319498.67	1625	147.46
8075	Foil 12, 0.05 um	Mott	12	0.05	4.4	IN	15196	-48.98	2.81	43.132	0.247	0.69	0.304	-0.347	0.304	0.225	0.341	-34.75	0.3	-0.208	0.341	43.132	0.247	43.11	230695	307593.33	1655	139.39	143.43
8076	Foil 12, current too high	Mott	12	0.05	6.1	OUT	15196	-54.73	3.16	-42.947	0.283	1.694	0.347	-0.37	0.347	-0.391	0.237	79.002	0.089	-0.267	0.237	42.947	0.283				882		BAD
8077	Foil 12, current too high	Mott	12	0.05	6.1	IN	15196	-56.27	4.11	42.982	0.376	-0.691	0.461	-0.446	0.461	0.733	0.536	-39.774	0.452	-0.626	0.536	42.982	0.376		98938	131917.33	533	185.62	BAD, stop short
8078	Foil 12, 0.05 um	Mott	12	0.05	4.1	OUT	15196	-50.92	2.66	-42.864	0.247	-0.209	0.303	0.093	0.303	-0.945	0.35	-37.753	0.3	0.712	0.35	42.864	0.247		228787	305049.33	1747	130.96
8079	Foil 12, 0.05 um	Mott	12	0.05	4.1	IN	15196	-50.79	2.78	43.199	0.246	0.758	0.302	0.306	0.302	0.176	0.207	76.188	0.087	0.056	0.207	43.199	0.246	43.03			1915		130.96
8080	Foil 12, 0.05 um	Mott	12	0.05	4.1	OUT	15196	-49.92	2.72	-43.334	0.247	0.481	0.304	0.216	0.304	-0.642	0.374	-46.04	0.294	0.549	0.374	43.334	0.247		224371	299161.33	1746	128.51
8081	Foil 12, 0.05 um	Mott	12	0.05	4.1	IN	15196	-49.68	2.76	42.87	0.245	0.041	0.301	-0.516	0.301	0.272	0.345	-37.268	0.297	-0.101	0.345	42.87	0.245	43.10	232981	310641.33	1746	133.44	130.97
8082	Foil 12, 0.05 um	Mott	12	0.05	4.1	OUT	15196	50.27	2.76	-43.114	0.247	0.571	0.303	-0.047	0.303	-0.685	0.347	-36.302	0.301	0.276	0.347	43.114	0.247		229360	305813.33	1692	135.56
8083	Foil 12, 0.05 um	Mott	12	0.05	4.1	IN	15196	-48.78	2.75	43.251	0.247	0.268	0.304	-0.073	0.304	0.722	0.346	-36.417	0.3	-0.974	0.346	43.251	0.247	43.18	229694	306258.67	1712	134.17	134.86
				43.08
8084	Foil 15, 1 um stability	Mott	15	1	1.1	OUT	15196	-67.38	14.21	-33.604	0.154	-0.275	0.174	0.434	0.174	-0.579	0.164	1.973	0.164	0.354	0.164	33.604	0.154		745907	745907.00	753	990.58
8085	Foil 15, 1 um stability	Mott	15	1	1.1	IN	15196	3.971	14.559	33.686	0.16	0.218	0.18	-0.112	0.18	0.555	0.171	2.272	0.17	-0.477	0.171	33.686	0.16	33.65	691208	691208.00	709	974.91	982.74
	swing Sunday 18jan2015
8086	Foil13, 0.05 um	Mott	13	0.05	4.1	OUT	15196	-52.49	2.78	-43.442	0.245	0.724	0.302	-0.171	0.302	-0.609	0.396	-52.103	0.288	0.144	0.396	43.442	0.245		222708	296944.00	1679	32.35
8087	Foil13, 0.05 um	Mott	13	0.05	4.1	IN	15196	-52.77	2.97	43.383	0.244	0.658	0.3	0.729	0.3	0.204	0.205	75.97	0.087	0.061	0.205	43.383	0.244			269650.00	1744	0.00
8088	Foil13, 0.05 um	Mott	13	0.05	4.1	OUT	15197	-48.26	2.8	-43.908	0.245	0.403	0.303	0.003	0.303	0.188	0.207	76.181	0.087	0.194	0.207	43.908	0.245			268400.00	1670	0.00
8089	Foil13, 0.05 um	Mott	13	0.05	4.1	IN	15197	-44.55	2.94	43.286	0.243	0.246	0.299	0.085	0.299	1.183	0.263	7.725	0.261	-0.469	0.263	43.286	0.243		282718	282718.00	1748	39.45
8090	Foil13, 0.05 um	Mott	13	0.05	4.1	OUT	15197	-51.77	2.61	-43.634	0.223	0.47	0.276	0.404	0.276	-0.733	0.318	-38.899	0.27	0.223	0.318	43.634	0.223		279095	372126.67	1998	34.07
8091	Foil13, 0.05 um	Mott	13	0.05	4.1	IN	15197	-48.91	2.84	43.138	0.252	0.711	0.309	0.362	0.309	0.901	0.358	-38.746	0.304	-0.687	0.358	43.138	0.252		220155	293540.00	1670	32.15
8092	Foil13, 0.05 um	Mott	13	0.05	4.1	OUT	15197	-50.04	2.96	-43.161	0.247	0.036	0.304	0.451	0.304	-0.632	0.353	-38.781	0.3	0.912	0.353	43.161	0.247		227732	303642.67	1675	33.16
8093	Foil13, 0.05 um	Mott	13	0.05	4.1	IN	15197	-52.16	2.82	43.254	0.244	1.424	0.3	0.207	0.3	0.416	0.342	-36.694	0.296	-0.387	0.342	43.254	0.244	43.40	227732	303642.67	1755	31.65	25.35
				3,827,779
8094	Foil 15, 1 um stability	Mott	15	1	1	OUT	15197	-83.03	14.7	-33.751	0.164	0.247	0.185	0.087	0.185	-0.633	0.175	2.332	0.175	0.217	0.175	33.751	0.164		654923	654923	673	973.14
8095	Foil 15, 1 um stability	Mott	15	1	1	IN	15197	-37.09	14.14	33.598	0.162	-0.108	0.182	-0.168	0.182	0.381	0.172	1.96	0.172	-0.258	0.172	33.598	0.162		678580	678580	732	927.02	982.74

8096	Foil 11, 0.04 micron, 5 mm hole, short test	Mott	10	0.04	0.46	IN	15198					0	0
8097	Foil 11, 0.04 micron, 5 mm hole (online analysis fail to peak find)	Mott	10	0.04	4	IN	15198	-52.78	3.09					0	0
8098	Foil 11, 0.04 micron, 5 mm hole, medium run	Mott	10	0.04	4	OUT	15198	-40.88	5.79					0	0
8099	Foil 11, 0.4 um, adjusted quads	Mott	10	0.04	4	IN	15199	-52.05	3.26					0	0
	End of Swing					0	0
8100	Foil 1, 0.225 um	Mott	1	0.225	4.2	IN	15199	-53.68	7.96	40.768	0.269	1.162	0.323	-0.131	0.323	0.543	0.301	-2.323	0.301	-0.345	0.301	40.768	0.269		225326		352	152.41
8101	Foil 1, 0.225 um	Mott	1	0.225	1	IN	15199	-67.99	7.7	40.796	0.265	0.774	0.318	0.392	0.318	1.107	0.296	-1.001	0.296	-0.265	0.296	40.796	0.265	40.78	233030		1326	175.74
8102	Foil 8, 0.35 um	Mott	8	0.35	1	IN	15199	-44.52	9.46	39.224	0.223	0.109	0.263	0.231	0.263	1.131	0.245	-0.068	0.245	-0.354	0.245	39.224	0.223		336897		1095	307.67
8103	Foil14, 0.35 um	Mott	14	0.35	1	IN	15199	-54.83	9.18	39.416	0.227	0.12	0.269	-0.335	0.269	0.575	0.251	0.497	0.251	-1.103	0.251	39.416	0.227	39.32	323043		1079	299.39
8104	Foil 12, 0.05 um, Fit Failed on Right E	Mott	12	0.05	2	IN	15199	-50.08	6.04	42.484	0.497	1.216	0.607	0.755	0.607	0.136	0.683	-35.343	0.598	-0.571	0.683	42.484	0.497				897
8105	Foil 13, 0.05 um, Fit Failed on Right E	Mott	13	0.05	2	IN	15199	-55.81	6.03	44.138	0.465	-0.155	0.578	-0.412	0.578	1.302	0.655	-35.702	0.571	-1.583	0.655	44.138	0.465	43.31			980
	Begin Dump dipole Studies
8106	Target 9, Through Hole, Dump Dipole +5 A	Mott	9	Hole	2	IN	15199	-16.03	5.32					1031
8107	Target 9, Through Hole, Dump Dipole 0 A	Mott	9	Hole	2	IN	15199	-54.6	2.7					2608
8108	Target 9, Through Hole, Dump Dipole -5 A	Mott	9	Hole	2	IN	15199	-50.21	4.17					887
8109	Target 1, 0.225 um, Dump Dipole -5 A	Mott	1	0.225	2	IN	15199	-48.27	6.2	41.699	0.231	1.276	0.28	0.388	0.28	0.565	0.258	2.326	0.258	-0.612	0.258	41.699	0.231		304374		851	178.83
8110	Target 1, 0.225 um, Dump Dipole 0 A	Mott	1	0.225	2	IN	15199	-53.98	7.1	41.046	0.244	0.642	0.294	0.075	0.294	0.943	0.272	0.631	0.272	-0.475	0.272	41.046	0.244		274500		782	175.51
8111	Target 1, 0.225 um, Dump Dipole +5 A	Mott	1	0.225	2	IN	15199	-34.1	7.9	41.162	0.264	0.565	0.318	-0.483	0.318	0.545	0.296	-1.193	0.296	-0.327	0.296	41.162	0.264		233716		670	174.41
8112	Target 13, 0.05 um, Dump Dipole +5 A, Fit Failed on Right E	Mott	13	0.05	2	IN	15199	-45.28	6.19	42.837	0.491	-0.002	0.601	-0.742	0.601	1.1	0.629	-22.667	0.597	-0.268	0.629	42.837	0.491				876
8113	Target 13, 0.05 um, Dump Dipole 0 A, Fit Failed on Right E	Mott	13	0.05	2	IN	15199	-50.84	3.79	43.175	0.356	0.631	0.438	0.274	0.438	0.938	0.44	-17.02	0.427	-0.835	0.44	43.175	0.356				1593
8114	Target 13, 0.05 um, Dump Dipole -5 A	Mott	13	0.05	2	IN	15199	-44.47	3.19	43.435	0.31	0.486	0.382	-0.134	0.382	0.94	0.35	2.475	0.35	-1.053	0.35	43.435	0.31		166179		2086	39.83

8115	Scaler Run	BCM			2	IN
8116	Scaler Run	BCM			2	OUT
8117	Scaler Run	BCM			2	IN
8118	Scaler Run	BCM			2	OUT

8119	Target 13, 0.05 um	Mott	13	0.05	2	OUT	15199	-53.67	3.3	-43.32	0.308	1.294	0.38	0.212	0.38	-0.64	0.348	3.031	0.348	0.523	0.348	43.32	0.308		168050		2014	41.72
8120	Target 15, 1.0 um, Dump Dipole -5 A	Mott	15	1	2	IN	15199	-11.59	17.5	33.631	0.197	0.866	0.222	-0.097	0.222	0.472	0.211	2.13	0.211	-0.206	0.211	33.631	0.197		454257		299	759.63
8121	Target 15, 1.0 um, Dump Dipole 0 A	Mott	15	1	2	IN	15199	-23.04	24.26	33.713	0.242	0.339	0.273	-0.757	0.273	1.011	0.261	1.2	0.261	-0.257	0.261	33.713	0.242		298454		224	666.19
8122	Target 15, 1.0 um, Dump Dipole +5 A	Mott	15	1	2	IN	15199	-10.24	17.5	33.653	0.196	0.526	0.221	-0.273	0.221	0.251	0.21	1.871	0.21	-0.448	0.21	33.653	0.196		457006		299	764.22
8123	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-41.95	18.02	34.14	0.197	0.695	0.224	-0.137	0.224	0.316	0.212	1.735	0.212	0.014	0.212	34.14	0.197		448117		292	767.32
8124	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-50.61	17.62	33.741	0.193	0.299	0.218	-0.053	0.218	0.28	0.208	1.698	0.208	-0.37	0.208	33.741	0.193		467487		306	763.87
8125	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-37.7	17.9	33.764	0.204	0.435	0.23	-0.273	0.23	0.754	0.219	1.963	0.219	-0.313	0.22	33.764	0.204		420219		308	682.17
8126	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-43.36	17.55	33.432	0.198	0.193	0.223	-0.132	0.223	0.288	0.212	1.903	0.212	0.013	0.212	33.432	0.198		450113		293	768.11
8127	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-61.4	16	33.573	0.178	0.187	0.201	-0.112	0.201	0.817	0.191	1.667	0.191	-0.626	0.191	33.573	0.178		552434		359	769.41
8128	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-28.36	16.17	33.529	0.182	0.64	0.205	-0.11	0.205	0.518	0.195	1.433	0.195	-0.477	0.195	33.529	0.182		530606		344	771.23
8129	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-46.29	15.99	33.584	0.185	0.77	0.209	-0.023	0.209	0.739	0.199	2.152	0.199	-0.4	0.199	33.584	0.185		511465		333	767.97
8130	Stability Runs, Target 15	Mott	15	1	2	IN	15199	-30.59	17.72	33.486	0.197	0.56	0.221	-0.099	0.221	0.345	0.211	2.104	0.211	-0.23	0.211	33.486	0.197		453440		294	771.16
	End of Owl
8131	Check run after threshold change to 100 mV	Mott	15	1	2	OUT	15199	-83.77	12.91	-33.566	0.164	0.626	0.184	0.448	0.184	-0.366	0.175	2.134	0.175	0.421	0.175	33.566	0.164		656694		400	820.87
8132	Same as 8031, IHWP IN	Mott	15	1	2	IN	15199	-56.28	11.05	33.781	0.164	0.799	0.185	0.241	0.185	0.517	0.176	1.974	0.176	-0.485	0.176	33.781	0.164		651758		419	777.75
8133	As above, + 30 mA on 0L01A Vert	Mott	15	1	2	OUT	15199	-80.17	12.41	-33.49	0.164	2.867	0.184	0.066	0.184	-0.633	0.176	2.923	0.176	0.737	0.176	33.49	0.164		655274		433	756.67
8134	As above, + 30 mA on 0L01A Vert	Mott	15	1	2	IN	15199	-39.88	12.37	33.348	0.163	2.609	0.183	0.34	0.183	0.544	0.175	3.074	0.175	-0.853	0.175	33.348	0.163		659882		454	726.74
8135	As above, - 30 mA on 0L01A Vert	Mott	15	1	2	OUT	15199	-62.28	13.47	-33.519	0.164	-1.477	0.185	0.234	0.185	-0.483	0.175	1.541	0.175	-0.111	0.175	33.519	0.164		655996		417	786.57
8136	As above, -30 mA on 0L01A Vert	Mott	15	1	2	IN	15199	-40.88	13.61	33.71	0.164	-1.768	0.185	0.12	0.185	0.113	0.175	1.444	0.175	0.062	0.175	33.71	0.164		654698		437	749.08
8137	As above, V restored to 0, H = + 30 mA	Mott	15	1	2	OUT	15199	-62.92	13.59	-33.648	0.156	0.595	0.176	-0.151	0.176	-0.294	0.165	2.251	0.165	0.539	0.165	33.648	0.156		733654		442	829.93
8138	As above, V restored to 0, H = + 30 mA	Mott	15	1	2	IN	15199	-24.41	14.18	33.924	0.164	0.42	0.185	-0.091	0.185	0.355	0.174	2.192	0.174	-0.346	0.174	33.924	0.164		661809		421	786.00
8139	As above, V restored to 0, H = - 30 mA	Mott	15	1	2	OUT	15199	-69.32	12.2	-33.777	0.164	0.909	0.185	0.081	0.185	-0.498	0.177	2.744	0.177	0.481	0.177	33.777	0.164		651685		461	706.82
8140	As above, V restored to 0, H = - 30 mA	Mott	15	1	2	IN	15199	-46.84	12.7	33.527	0.164	0.846	0.185	-0.241	0.185	0.363	0.177	2.87	0.177	-0.333	0.177	33.527	0.164		650380		474	686.05
8141	As above, H = - 30 mA, V = - 30 mA	Mott	15	1	2	OUT	15199	-61.35	12.16	-33.627	0.165	-0.946	0.186	0.091	0.186	-0.777	0.176	2.402	0.176	0.03	0.176	33.627	0.165		649341		446	727.96
8142	As above, H = - 30 mA, V = - 30 mA	Mott	15	1	2	IN	15199	-32.99	12.34	33.676	0.165	-1.195	0.186	-0.06	0.186	0.438	0.177	2.287	0.177	-0.008	0.177	33.676	0.165		646698		465	695.37
8143	As above, H = +30 mA, V = + 30 mA	Mott	15	1	2	OUT	15199	-99.54	12.91	-33.642	0.162	2.343	0.182	-0.026	0.183	-0.591	0.173	3.269	0.172	0.974	0.173	33.642	0.162		674706		434	777.31
8144	As above, H = +30 mA, V = + 30 mA	Mott	15	1	2	IN	15199	-30.52	13.44	33.562	0.164	2.567	0.185	-0.027	0.185	0.615	0.176	2.836	0.175	-0.868	0.176	33.562	0.164		653635		440	742.77
8145	Continue pos'n studies on 0.225 um, nominal center	Mott	1	0.225	4.2	OUT	15199	-68.24	7.05	-40.822	0.177	1.158	0.212	0.114	0.212	-0.959	0.195	1.822	0.195	0.65	0.195	40.822	0.177		530846		746	169.43
8146	same as above, IHWP IN	Mott	1	0.225	4.2	IN	15199	75.04	6.53	40.772	0.174	0.985	0.209	0.024	0.209	0.642	0.192	1.476	0.192	-0.622	0.192	40.772	0.174		545899		790	164.53
8147	0.225 um, H = - 30 mA, V = - 30 mA	Mott	1	0.225	4.2	OUT	15199	-56.63	6.04	-40.822	0.181	-0.281	0.217	-0.201	0.217	-0.606	0.199	1.676	0.199	0.379	0.199	40.822	0.181		506496		769	156.82
8148	As above, IHWP IN – CHOPPER 1 TRIP!!!	Mott	1	0.225	4.2	IN	15199	-84.28	5.9	41.139	0.234	-0.411	0.281	-0.171	0.281	1.147	0.257	1.472	0.257	-0.395	0.257	41.139	0.234		303675		553	130.75
8149	Repeat 8148, for full duration run	Mott	1	0.225	4.2	IN	15199	-73.49	5.6	40.93	0.176	-0.098	0.211	0.135	0.211	0.93	0.194	1.877	0.194	-0.275	0.194	40.93	0.176		535779		892	143.01
8150	0.225 um, H = - 30 mA, V = + 30 mA, IHWP OUT	Mott	1	0.225	4.2	OUT	15199	-69.4	5.3	-41.02	0.181	2.883	0.217	-0.136	0.217	-0.859	0.2	3.156	0.2	1.553	0.2	41.02	0.181		504925		874	137.55
8151	0.225 um, H = - 30 mA, V = + 30 mA, IHWP IN	Mott	1	0.225	4.2	IN	15199	-55.23	5.6	40.994	0.18	2.765	0.216	-0.056	0.217	0.484	0.2	3.454	0.2	-1.206	0.2	40.994	0.18		505815		908	132.63
8152	0.225 um, H = + 30 mA, V = + 30 mA, IHWP OUT	Mott	1	0.225	4.2	OUT	15199	-51.92	6.01	-40.815	0.178	2.29	0.214	0.214	0.214	-0.869	0.196	2.937	0.195	1.099	0.196	40.815	0.178		524297		762	163.82
8153	0.225 um, H = + 30 mA, V = + 30 mA, IHWP IN	Mott	1	0.225	4.2	IN	15199	-55.72	5.88	40.463	0.178	3.012	0.213	0.27	0.213	1.009	0.195	2.368	0.195	-1.333	0.195	40.463	0.178		527741		796	157.86
8154	0.225 UM, H = +30 mA, V = - 30 Ma, IHWP OUT	Mott	1	0.225	4.2	OUT	15199	-49.88	5.99	-40.89	0.179	-1.136	0.215	-0.281	0.216	-0.558	0.194	0.725	0.194	-0.221	0.194	40.89	0.179		524302		712	175.33
8155	0.225 UM, H = +30 mA, V = - 30 Ma, IHWP IN	Mott	1	0.225	4.2	IN	15199	-68.59	5.77	41.033	0.176	-1.355	0.211	0.462	0.211	0.625	0.191	0.54	0.191	-0.1	0.191	41.033	0.176		544963		802	161.79
8156	0.225 um, H = 0, V = - 30 mA, IHWP OUT	Mott	1	0.225	4.2	OUT	15199	43.27	5.61	-41.094	0.177	-0.865	0.213	-0.139	0.213	-0.644	0.193	1.333	0.193	0.136	0.193	41.094	0.177		535022		797	159.83
8157	0.225 um, H = - 0, V = - 30 mA, IHWP IN	Mott	1	0.225	4.2	IN	15199	-61.07	5.47	40.739	0.167	-0.909	0.201	-0.1	0.201	0.619	0.183	1.352	0.183	-0.263	0.183	40.739	0.167		595071		902	157.08
8158	0.225 um, H = - 30 mA, V = 0, IHWP OUT	Mott	1	0.225	4.2	OUT	15199	-64.64	5.66	-41.018	0.179	1.175	0.215	0.045	0.215	-0.577	0.199	2.225	0.198	0.403	0.199	41.018	0.179		512870		808	151.13
8159	0.225 um, H = - 30, V = 0, IHWP IN	Mott	1	0.225	4.2	IN	15199	60.06	5.56	40.714	0.179	1.267	0.215	0.374	0.215	0.879	0.198	2.321	0.198	-0.524	0.198	40.714	0.179		514432		847	144.61
3 micron foil
run
phys asym

## 1 micron between runs
				columns for special tasks
				Mott UP/DOWN On-Line Full Analysis Result					Mott Left/Right On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry (ppm)	uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Mott Asym (%)	Uncertainty (%)	Average for Foil	# of Elastic Events	Run time (s)	Elastic Rate/uA (Hz)	Avg. Rate for Foil	target ladder position	PITA	Delay	deadtime

7999	1 uA deadtime	Mott	15	1	1	in	15192	-25.58	17.46	33.4964	0.185936	0.0831854	0.209435	0.103021	0.209435	0.541636	0.198437	1.60143	0.198392	-0.3728	0.19844	33.4964	0.185936					14
8000	1 uA deadtime	Mott	15	1	1	out	15192	-39.37	20	-33.755	0.197103	-0.703316	0.222438	0.174271	0.222448	-0.582562	0.210312	1.22944	0.210287	0.458086	0.210315	33.755	0.197103					14
8001	1 uA deadtime	Mott	15	1	1	in	15192	-29.59	20.12	33.587	0.195828	-0.353129	0.220725	-0.0295638	0.220728	0.562983	0.208911	1.62259	0.208863	-0.181544	0.208917	33.587	0.195828					14
8002	1 uA deadtime	Mott	15	1	1	out	15192	-27.32	19.11	-33.9466	0.197144	-0.379924	0.222818	0.0257424	0.222821	-0.310673	0.211035	1.31873	0.211	0.347674	0.211035	33.9466	0.197144					14
8003	1 uA deadtime	Mott	15	1	1	in	15192	-74.87	19.35	33.7598	0.196349	-0.517124	0.2216	-0.144993	0.221605	0.368709	0.20927	1.54509	0.209223	-0.478106	0.209268	33.7598	0.196349					14
8004	1 uA deadtime	Mott	15	1	1	out	15192	-84.74	19.5	-34.0924	0.195229	-0.540489	0.220898	0.429213	0.220901	-0.703585	0.209461	1.22702	0.209439	0.434439	0.2094	34.0924	0.195229					14
8022	1 micron foil 15 stability test	Mott	3	1	1	in	15193	-57.75	17.77	33.9635	0.183985	-0.602615	0.207968	-0.159902	0.207975	0.335957	0.196774	1.25764	0.196745	-0.283419	0.196774	33.9635	0.183985
8023	1 micron foil 15 stability test	Mott	3	1	1	out	15193	-91.77	17.96	-33.7745	0.186226	-0.997497	0.210184	-0.220872	0.210204	-0.101137	0.19984	1.42191	0.199799	0.300414	0.199838	33.7745	0.186226
8030	Foil 15, 1 um Stability	Mott	15	1	1	IN	15193	-32.11	18.92	33.8922	0.196725	-0.587357	0.222248	-0.0753357	0.222255	0.446197	0.210282	1.77765	0.21022	-0.0654494	0.210286	33.8922	0.196725		454935	535	850.35
8031	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15193	-65.01	18.76	-33.3373	0.191181	-0.322286	0.215083	0.153907	0.215084	-0.498328	0.204142	1.48746	0.204102	0.167583	0.204146	33.3373	0.191181	33.61	483199	546	884.98	867.66
8038	Foil 15, 1 um Stability	Mott	15	1	1	IN	15194	-17.75	19.75	33.779	0.189089	-0.407739	0.213439	-0.168806	0.213442	0.525648	0.201973	1.413	0.201938	-0.351893	0.201976	33.779	0.189089		492962	579	851.40
8039	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15194	-83.84	19.66	-33.4179	0.195513	0.0720287	0.220092	-0.379069	0.220089	-0.285323	0.208326	1.41224	0.208286	0.351342	0.208325	33.4179	0.195513	33.60	462858	573	807.78	829.59
8046	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-42.25	19.59	33.8445	0.196513	-0.419748	0.221931	-0.160379	0.221934	0.634052	0.210002	1.67002	0.209952	-0.498642	0.210005	33.8445	0.196513		456107	517	882.22
8047	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-91.68	19.24	-33.2173	0.197308	-0.421641	0.221775	0.168063	0.221778	-0.602815	0.210646	1.22515	0.210622	0.33601	0.210652	33.2173	0.197308	33.53	453926	493	920.74	901.48
8054	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-39.59	19.56	33.403	0.197	-0.982	0.222	-0.029	0.222	0.768	0.211	1.284	0.211	-0.211	0.211	33.403	0.197		454827	488	932.02
8055	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-70.05	19.15	-33.619	0.193	-0.463	0.218	0.187	0.218	-0.502	0.206	1.845	0.206	0.43	0.206	33.619	0.193	33.51	474379	485	978.10	955.06
8064	Foil 15, 1um stability	Mott	15	1	1.1	OUT	15195	-56.31	14.39	-33.574	0.164	0.1	0.185	0.132	0.185	-0.222	0.175	2.469	0.175	0.41	0.175	33.574	0.164		656763	640	932.90
8065	Foil 15, 1um stability	Mott	15	1	1.1	IN	15195	-31.56	14.62	33.896	0.164	-0.074	0.185	0.121	0.185	0.699	0.175	1.868	0.175	-0.37	0.175	33.896	0.164	33.74	655304	672	886.50	909.70
8072	Foil 15, 1 um stability	Mott	15	1	1.1	OUT	15195	-58.65	14.61	-33.52	0.164	0.09	0.185	-0.044	0.185	-0.904	0.175	2.321	0.174	0.349	0.175	33.52	0.164		658884	700	855.69
8073	Foil 15, i um stability	Mott	15	1	1.1	IN	15195	-45.01	13.88	33.654	0.163	-0.091	0.184	-0.054	0.184	0.57	0.174	1.96	0.174	-0.504	0.174	33.654	0.163	33.59	663730	716	842.72	849.21
8084	Foil 15, 1 um stability	Mott	15	1	1.1	OUT	15159	-67.38	14.21	-33.604	0.154	-0.275	0.174	0.434	0.174	-0.579	0.164	1.973	0.164	0.354	0.164	33.604	0.154		745907	753	990.58
8085	Foil 15, 1 um stability	Mott	15	1	1.1	IN	15195	3.971	14.559	33.686	0.16	0.218	0.18	-0.112	0.18	0.555	0.171	2.272	0.17	-0.477	0.171	33.686	0.16		691208	709	974.91	982.74
8094	Foil 15, 1 um stability	Mott	15	1	1	OUT	15197	-83.03	14.7	-33.751	0.164	0.247	0.185	0.087	0.185	-0.633	0.175	2.332	0.175	0.217	0.175	33.751	0.164		654923	654923	673	973.14
8095	Foil 15, 1 um stability	Mott	15	1	1	IN	15197	-37.09	14.14	33.598	0.162	-0.108	0.182	-0.168	0.182	0.381	0.172	1.96	0.172	-0.258	0.172	33.598	0.162		678580	678580	732	927.02	#DIV/0!

	End of Swing

	End of Owl					0

	swing Sunday 18jan2015
stability runs
run number
phys asym

## dump fraction
Run	thickness	current	time	elastics	dump	elastic rate (Hz/uA)	dump rate
7939	1	0.52	341	290868	67802	1640.4	382.4
7940	0.05	0.52	1447	63079	341902	83.8	454.4
7964	1	0.47	318	255161	56308	1707.2	376.7
7966	0.05	0.91	443	31906	177155	79.1	439.4
7967	0.5	0.71	468	223643	120708	673.1	363.3
Rates vs. target thickness
target thickness (microns)
rate (Hz)
Elastic rates vs. target thickness
Thickness (microns)
rates (Hz/uA)

## Thickness Summary
		Po	P1	Y = Po/(1+P1*thickness)
Jan 2015		44	0.3

foil thickness	asym	fit
0		44
0.05	43.4	43.3497536946
0.05	43.07	43.3497536946
0.225	40.92	41.2177985948
0.35	39.16	39.8190045249
0.5	38.61	38.2608695652
0.625	37.21	37.0526315789
0.75	35.61	35.9183673469
0.87	34.61	34.8929421094
1	33.65	33.8461538462
1.1		33.0827067669

Michael's Results
		Michael scaled for polarization
0.05	31	43.4
0.1	30.2	42.28
0.35	29.2	40.88
0.45	27.8	38.92
0.5	27.3	38.22
0.55	26.9	37.66
0.85	25.3	35.42
0.95	25	35
1	24.8	34.72
Asymmetry vs. Foil thickness
Foil thickness (um)
Measured Asym (%)

## BCM calibration slope
timestamp	input	0L02	0l02 downconvert ch b counts	Fcup corrected	Inj Daq ch b dac
			0	0	0
1421444284	60		2794	0.388745	42894
1421444294	65		3950	0.561092	46360.871094
1421444304	70		6339	0.8701595	91417
1421444314	75		8871	1.2189135	134125
1421444325	80		11561	1.583603	174911.6875
1421444335	85		14449	2.013354	174911.6875
1421444345	90		18070	2.504005	244002.203125
1421444355	95		22444	3.062255	337796.9375
1421444365	100		26412	3.663135	404484.84375
1421444375	105		31247	4.28736	473724.84375
1421444385	110		35880	4.94102	473724.84375
1421444395	115		40335	5.577425	585928
1421444405	120		45207	6.214845	685654.5
1421444415	125		50076	6.840085	754006.75
1421444425	130		52837	7.414575	754006.75

## target ladder position fixing
				foil	old ladder	new positions
				1	-10372	-9898
				2	-16988	-16514
				3	-23604	-23130
				4	-30220	-29746
				5	-36837	-36363
				6	-43453	-42979
				7	-50069	-49595
				8	-56686	-56212
				9	-63302	-62828
				10	-69918	-69444
				11	-76534	-76060
				12	-83151	-82677
				13	-89767	-89293
				14	-96383	-95909
				15	-103000	-102526
				16	-109616	-109142

m	b
0.0102619128	1052.1098450845
-102525.705060025

-103000
-474.2949399745
Instrumental asym vs. target ladder position
target ladder position
instrumental asym

## deadtime runs summary
				columns for special tasks
				Mott UP/DOWN On-Line Full Analysis Result					Mott Left/Right On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry	uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	abs value phys asym	percent uncertainty	target ladder position	PITA	Delay	deadtime
7900	BCM – no good data?
7901	first run looking for aperture	Mott	15	1	0.5	in	15186	222.3	26.1	33.5332	0.469106	-5.14372	0.52714	-0.659227	0.528516					-103000
7902	aperture check	Mott	15	1	0.5	out	15186	61.83	32.87	-33.8812	0.47091	-6.0948	0.530001	0.532765	0.531962					-103000
7903	Remove 5 ns delay	Mott	15	1	0.5	out	15186	-159.9	72.7	-31.6844	0.888468	-6.01501	0.984041	0.332215	0.987603					-103000
7904	Remove 1 more ns	Mott	15	1	0.5	out	15186	101	78.7	-33.3494	0.905724	-6.04827	1.01534	-2.3232	1.01851					-103000
7905	Remove 1 more ns	Mott	15	1	0.5	out	15186	-110.6	140.3	-32.8564	0.74989	-5.03859	0.838506	0.486074	0.840621					-103000
7906	adjust PMT HV (E->83000	Mott	15	1	0.5	out	15186	231.7	100.6	-34.2341	0.908745	-5.70225	1.02604	-0.257787	1.02938					-103000
7907	finishing adjusting E HV	Mott	15	1	0.5	out	15186	70.64	75.84	-32.7649	0.788298	-5.45748	0.880472	-0.460799	0.883083					-103000
7908	working on dE HV for PMT	Mott	15	1	0.5	out	15186	141.1	83.6	-35.038	0.903341	-7.40154	1.02412	0.799092	1.02969					-103000
7909	working on dE HV for PMT	Mott	15	1	0.5	out	15186	458.4	107.4	-33.4239	0.911762	-6.38412	1.02225	-0.923631	1.02634					-103000
7910	working on dE HV for PMT	Mott	15	1	0.5	out	15186	40.22	81.62	-34.1657	0.93112	-6.33524	1.04994	0.316922	1.05416					-103000
7911	working on dE HV for PMT	Mott	15	1	0.5	out	15186	42.33	171.42	-34.1233	0.865111	-5.00544	0.976666	-1.7477	0.97882					-103000
7912	moving on target ladder offset = 0	Mott	15	1	0.5	out	15188	-292	33.2	-33.2931	0.420824	-5.59094	0.471805	-0.143978	0.473284			-1.58587	0.439443	-0.31422	0.439549			-103000
7913	correction = 0 again, slight steer	Mott	15	1	0.5	out	15188	59.16	27.92	-34.0445	0.415989	-5.00296	0.469346	-1.57496	0.470407	2.27284	0.439942	0.0782002	0.440169	-0.648856	0.440151			-103000
7914	Nominal + correction – sigma	Mott	15	1	0.5	out	15188	-441.5	101.7	-33.0552	0.400259	-1.69311	0.449229	0.0795786	0.449357	2.56714	0.427748	-0.719057	0.428008	-0.840426	0.428			-102690
7915	Nominal + correction	Mott	15	1	0.5	out	15188	331.5	31.4	-34.0061	0.368395	1.17155	0.41651	-0.0700363	0.416567	2.68461	0.400803	0.464373	0.401084	0.351657	0.401087			-102457
7916	Nominal + correction + sigma	Mott	15	1	0.5	out	15188			-33.7303	0.396627	2.77249	0.30469			2.00766					-102224
new target ladder positions determined
7917	fixed nominal ladder pos	Mott	15	1	0.5	out	15188	557.8	90.2	-33.7852	0.360064	1.00605	0.406418	-0.461353	0.406451	2.77193	0.391822	0.545405	0.392112	0.0550642	0.392123			-102526
7918	fixed nominal ladder pos	Mott	15	1	0.5	in	15189	-172	25.9	33.8765	0.362464	-0.0141109	0.409453	0.0634892	0.409453	-2.0011	0.393049	0.438592	0.393199	-0.29314	0.393203			-102526
shift end
7919	pita scanning – no mott	BCM			3	IN	15190	-215.9	5.4					0	0
7920	pita scanning – no mott	BCM			3	OUT	15190	81.66	2.95					0	0
7921	pita scanning – no mott	BCM			3	OUT	15190	81.18	2.81					0	8
7922	pita scanning – no mott	BCM			3	IN	15190	-226.1	5.4					0	8
7923	pita scanning – no mott, PC = Off	BCM			3	IN	15190	5.285	2.45					0	0
7924	pita scanning – no mott, PC = On	BCM			3	IN	15190	-192	13.7					0	0
7925	pita scanning – no mott	BCM			3	IN	15190	154.4	8.4					1000	0
7926	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	IN	15190	-565.68	21.46					-1000	0
7927	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	468.42	19.44					-1000	0
7928	pita scanning – no mott	BCM			3	OUT	15190	87.12	5.1					0	0
7929	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	-258.8	11.1					1000	0
7930	pita scanning – no mott	BCM			3	OUT	15190	-61.75	2.71					400	0
7931	pita scanning – no mott	BCM			3	IN	15190	-63.69	2.75					400	0
7932	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			0.5	IN	15190	-69.4	3.19					400	0
7933	pita scanning – no mott	BCM			0.5	OUT	15190	-65.1	3.21					400	0
7934	Mott Run	BCM	15	1	0.5	OUT	15190	24.2	29.1	-33.3503	0.317122	-0.6603	0.356792	0.317516	0.356804	2.41091	0.342773	-0.0595601	0.342973	0.406497	0.342967				400	0
7935	Mott Run	BCM	15	1	0.5	IN	15190	-54.1	28.4	33.5692	0.302533	0.0531791	0.340955	-0.0935505	0.340955	-2.70394	0.326866	0.618073	0.327093	-0.359907	0.327101				400	0
7936	Mott Run, lowered dE Hvs	BCM	15	1	0.5	IN	15190	-20.53	40.09	33.6047	0.445185	-0.30901	0.501854	0.423417	0.50185	-2.61237	0.48167	1.06055	0.481944	-0.522145	0.481985				400	0
7937	Mott Run, lowered dE Hvs and scalers	BCM	15	1	0.5	IN	15190	-154.3	37	33.1338	0.37495	-1.05589	0.421144	-0.389334	0.421184	-3.05532	0.399057	1.50467	0.39934	-1.11195	0.399381				400	0
7938	Mott Run	BCM	15	1	0.5	IN	15190	46.15	47.49	34.0771	0.494784	-1.20028	0.559708	-0.320403	0.559783	-3.36471	0.529044	-0.105237	0.529643	-0.453183	0.529632				400	0
7939	Mott Run	BCM	15	1	0.5	IN	15190	118.7	28.8	34.1876	0.334155	-0.658923	0.378363	-0.363078	0.378375	-1.78361	0.358291	1.34334	0.358341	0.2662	0.358403				400	0
7940	Mott Run, Right Fit Fail	BCM	15	1	0.05	IN	15190	-67.6	8	42.5459	0.750775	-1.11586	0.9166	-0.584851	0.916683	-2.82613	1.07956	-37.745	0.926498	-2.4728	1.07976				400	0
	SHIFT CHANGE DAY
7941	check before spin dance	Mott	15	1	0.5	OUT	15190	-25.7	32.8	-33.5422	0.361573	-0.210976	0.407408	0.383053	0.407404	2.50433	0.387029	1.74103	0.387154	0.115524	0.387271				400	0
7942	check before spin dance	Mott	15	1	0.5	IN	15190	-35.56	30.7	34.1763	0.354226	-0.0246773	0.401072	-0.12209	0.401071	-2.23918	0.38044	0.627479	0.380616	-0.0864512	0.380631
7943	solenoids to vertical pol.	Mott	15	1	0.5	OUT	15190			1.2712	0.38459	0.369969	0.384647	0.127486	0.384652	33.3426	0.366159	1.63773	0.411847	0.497807	0.411947
7944	solenoids vertical, IHWP IN	Mott	15	1	0.5	IN	15190			-1.03967	0.326813	-0.329239	0.326844	0.434955	0.326842	-33.4919	0.310333	-0.241539	0.34954	0.792435	0.34952
7945	sols vert, V Wien to 75 deg	Mott	15	1	0.5	OUT	15190			1.50965	0.37826	-0.208976	0.378345	0.0927307	0.378346	32.3334	0.358322	1.0734	0.40011	0.473225	0.400147
7946	same as 7945, IHWP in	Mott	15	1	0.5	IN	15190			-1.46523	0.382807	0.710318	0.38287	-0.565873	0.382877	-32.4097	0.361806	0.858278	0.40424	-0.0894945	0.40427
7947	sols vert, V Wien to 60 deg	Mott	15	1	0.5	OUT	15190			1.78662	0.384291	0.202389	0.384412	-0.412965	0.384407	28.8157	0.36912	1.27713	0.402479	0.467547	0.402536
7948	same as 7947, IHWP in	Mott	15	1	0.5	iN	15190			-0.495366	0.383465	0.0827049	0.383474	0.224574	0.383472	-28.6157	0.368215	0.985781	0.401017	-0.0650278	0.401056
7949	sols vert, V Wien to 93 deg	Mott	15	1	0.5	OUT	15190			0.968376	0.380886	0.685518	0.380904	0.527464	0.380911	33.5089	0.358873	1.28451	0.404199	-0.0410072	0.404265
7950	same as 7949, IHWP in	Mott	15	1	0.5	IN	15190			-1.2194	0.362865	-0.0238043	0.362919	-0.20778	0.362917	-33.6457	0.342234	0.272353	0.385918	0.105156	0.385921
7951	Restore V Wien to 90, sols vert	Mott	15	1	0.5	OUT	15190			1.76711	0.378946	1.16191	0.379013	-1.29056	0.379002	33.1082	0.361098	0.250908	0.40555	0.156292	0.405552
7952	same as 7951, IHWP in	Mott	15	1	0.5	IN	15190			-1.47479	0.36922	-0.322093	0.369296	-0.164325	0.369299	-33.4381	0.351039	0.768066	0.395207	0.105267	0.395229
7953	V Wien 90 deg, sols horiz	Mott	15	1	0.5	OUT	15190			-33.277	0.34738	-0.301241	0.390634	-0.0856626	0.390637	2.70717	0.370985	0.395391	0.371251	0.207655	0.371255
7954	Same as 7953, IHWP IN	Mott	15	1	0.5	IN	15190			33.3973	0.339089	-0.439963	0.381651	-0.247877	0.381656	-2.14545	0.360801	1.09127	0.360924	-0.792973	0.360944
7955	Both Sols at -878	Mott	15	1	0.5	OUT	15190			-32.2981	0.34993	-0.70652	0.390665	0.0204009	0.390685	8.1545	0.369459	0.679268	0.371915	0.32608	0.371928
7956	Same as 7955, IHWP IN	Mott	15	1	0.5	IN	15190			32.7059	0.360368	0.307739	0.403529	-0.437394	0.403526	-8.09561	0.38079	1.27986	0.383239	-0.288946	0.383298
7957	Both Sols at -1078	Mott	15	1	0.5	OUT	15190			-34.0528	0.355917	-0.646475	0.402585	0.526764	0.402591	-2.39909	0.380555	1.15983	0.380722	0.390888	0.380768
7958	Same as 7957, IHWP IN	Mott	15	1	0.5	IN	15190			33.3354	0.355439	0.0767554	0.399874	0.196143	0.399873	2.29252	0.378906	0.785871	0.379082	-1.05339	0.379063
7959	Both Sols at -1028	Mott	15	1	0.5	OUT	15190			-34.1396	0.314529	-0.759543	0.356004	0.906445	0.355995	0.725746	0.335478	0.573539	0.335485	0.560131	0.335485
7960	Same as 7959, IHWP IN	Mott	15	1	0.5	IN	15190			33.1626	0.344865	-0.636235	0.387462	-0.375344	0.387473	-0.57851	0.367424	0.337988	0.367432	-1.02247	0.367398
7961	Both Sols at -928	Mott	15	1	0.5	OUT	15190			-33.2128	0.354316	-0.32525	0.398242	-0.375955	0.39824	5.40682	0.378437	1.07421	0.379503	0.371163	0.379542
7962	Same as 7960m IHWP IN	Mott	15	1	0.5	IN	15190			33.612	0.344687	-0.170293	0.388587	0.529407	0.388577	-5.80864	0.365788	1.06821	0.366985	-0.804336	0.367003
7963	“Perfect” V Wien, Sols	Mott	15	1	0.5	OUT	15190			-32.8173	0.359609	-0.235114	0.40301	0.424973	0.403005	-0.195615	0.380952	1.23523	0.380895	-0.212814	0.380952
7964	As 7963, IHWP IN	Mott	15	1	0.5	IN	15190			33.7087	0.364544	0.328764	0.411272	0.526106	0.411265	0.242936	0.388139	0.523738	0.38813	-0.212648	0.388139
7965	INVALID	Mott	13	0.05	0.5	OUT	15190					1/sigma^2
7966	Dump fraction on 0.05u	Mott	13	0.05	1	OUT	15190					5.0539221895
7967	Dump fraction on 0.5u	Mott	5	0.5	0.75	OUT	15190	-76.86	21.97
	Start 0.245 uA deadtime
7968	Asy. vs. Dead Time Study	Mott	15	1	0.245	OUT	15190	53.13	166.06	-33.7726	0.279346	-0.264095	0.315308	-0.250795	0.315308	-0.715518	0.297722	0.898601	0.297713	0.270112	0.297735	33.7726	3.62635179334483E-005				2		33.6681942857
7969	Same as 7968, IHWP IN	Mott	15	1	0.245	IN	15190	112.3	19.1	33.3384	0.276428	0.277911	0.310991	0.421037	0.310988	0.632009	0.293963	1.17472	0.293935	-0.33474	0.293972	33.3384	0.0027411529				2		33.6681942857
7970	Same as 7969, IHWP OUT	Mott	15	1	0.245	OUT	15190	0.8842	11.089	-33.2134	0.279828	-0.413122	0.314519	-0.0704947	0.314524	-0.469651	0.297888	1.3648	0.297839	0.690918	0.297881	33.2134	0.0081323345				2		33.6681942857
7971	Same as 7970, IHWP IN	Mott	15	1	0.245	IN	15190	581.7	34	33.3643	0.276122	-0.558778	0.3107	-0.713157	0.310694	0.163427	0.2953	1.41825	0.295241	-0.648052	0.295288	33.3643	0.0008650519				2		33.6681942857
7972	same as 7971, IHWP OUT	Mott	15	1	0.245	OUT	15190	-51.9	11.5	-33.8103	0.278465	-0.0597733	0.314405	0.228579	0.314404	-0.160923	0.297266	0.90202	0.297243	0.0860251	0.297267	33.8103	0.0075614367				2		33.6681942857
7973	same as 7972, IHWP IN: L dE getting buggy	Mott	15	1	0.245	IN	15190	-223.3	151.8	33.68	0.309776	-0.398581	0.349406	-0.283608	0.349409	-0.190696	0.32989	1.57732	0.329809	-0.432762	0.329885	33.68	4.3396675120339E-005				2		33.6681942857
shift change to swing					33.6681942857
7974	short run, diagnosing left dE	Mott	15	1	0.245	IN	15190			33.6829	1.02472	1.13924	1.15571	0.217934	1.15585	1.04331	1.09371	3.29565	1.09264	-0.252423	1.09382	33.6829					33.6681942857
7975	asym vs dead time, IHWP OUT	Mott	15	1	0.245	OUT	15190	-5.375	9.722	-33.8461	0.274611	-0.706629	0.310124	0.467397	0.310132	-0.597321	0.292308	2.10135	0.292189	1.32131	0.292267	33.8461	0.0105800755				2		33.6681942857
7976	dead time run	Mott	15	1	0.245	IN	15190	-711.6	15.4	33.8605	0.279558	0.0585139	0.315761	-0.199987	0.315759	0.36776	0.296309	1.81633	0.296215	0.338451	0.296309	33.8605	0.0042165627				2		33.6681942857
7977	dead time run	Mott	15	1	0.245	OUT	15191	-70.26	14.28	-33.518	0.281138	-0.272068	0.316718	0.0386574	0.316721	-0.461216	0.298388	1.73803	0.298304	0.452157	0.298388	33.518	0.0049039224				2		33.6681942857
7978	dead time run	Mott	15	1	0.245	IN	15191	-56.23	118.84	33.4651	0.336573	0.266637	0.379018	0.358393	0.379016	0.472471	0.357593	1.91977	0.357469	0.507587	0.357591	33.4651	7.08067586127358E-005				2		33.6681942857
	end deadtime runs 0.245 uA					33.6681942857
7979	ramping current	adjusting					33.6681942857
7980	dummy test after fixing orbit, current	mott	15	1	3	IN	15191	-52.44	61.9	32.8676	0.594641	-1.30776	0.666545	-0.168239	0.666657	0.466606	0.634737	1.36395	0.634632	-0.344089	0.634743					33.6681942857
	Start 3 uA deadtime					33.6681942857
7981	3 uA deadtime	Mott	15	1	3	IN	15191	-45.84	16.39	33.9439	0.196678	-0.0779831	0.22229	0.0819543	0.22229	0.911307	0.210661	1.24434	0.210646	-0.332562	0.210676	33.9439					35		33.6681942857
7982	3 uA deadtime	Mott	15	1	3	out	15192	-70.71	15.78	-33.4428	0.194955	-0.218269	0.219503	-0.0536727	0.219504	-0.625724	0.208748	1.07803	0.208732	0.19935	0.208755	33.4428					37		33.6681942857
7983	3 uA deadtime	Mott	15	1	3	in	15192	-37.26	15.74	33.3851	0.196349	0.10511	0.220978	-0.0334632	0.220978	0.818094	0.209904	1.33548	0.20988	-0.722546	0.209907	33.3851					36		33.6681942857
7984	3 uA deadtime	Mott	15	1	3	out	15192	-35.54	14.53	-33.7588	0.188693	-0.586021	0.212956	0.277798	0.212962	-0.693877	0.20225	1.66076	0.202204	0.179869	0.202259	33.7588					37		33.6681942857
7985	3 uA deadtime	Mott	15	1	3	in	15192	-40.47	16.05	33.8823	0.196436	-0.150376	0.221911	-0.424522	0.221908	0.18668	0.210246	1.66549	0.210188	-0.492262	0.210241	33.8823					36		33.6681942857
7986	3 uA deadtime	Mott	15	1	3	out	15192	-123.9	22.6	-34.4085	0.397453	-0.0442987	0.450828	0.092291	0.450828	-0.784515	0.427341	1.01884	0.427323	0.24949	0.427365	34.4085					35		33.6681942857
	Start 2 uA deadtimes					33.6681942857
7987	2 uA deadtime	Mott	15	1	3	in	15192	-7.305	17.164	33.5803	0.194978	-0.128701	0.219758	-0.361573	0.219755	0.43099	0.208171	1.63267	0.208119	-0.349952	0.208172	33.5803					26		33.6681942857
7988	2 uA deadtime	Mott	15	1	3	out	15192	-73.63	16.8	-33.8331	0.191306	-0.254536	0.216033	-0.0196833	0.216035	-0.574286	0.205062	1.19554	0.20504	-0.0299911	0.205069	33.8331					27		33.6681942857
7989	2 uA deadtime	Mott	15	1	3	in	15192	-52.85	16.26	33.2746	0.190449	0.625301	0.214153	0.154638	0.214161	0.606413	0.203682	1.36132	0.203652	-0.215323	0.203689	33.2746					27		33.6681942857
7990	2 uA deadtime	Mott	15	1	3	out	15192	-34.8	17.1	-33.4504	0.196467	-0.00545496	0.22122	-0.315012	0.221217	-0.369595	0.210147	1.0861	0.210125	0.162457	0.210149	33.4504					26		33.6681942857
7991	2 uA deadtime	Mott	15	1	3	in	15192	-57.23	17.39	33.8728	0.195624	-0.321326	0.220976	0.101679	0.220978	0.724282	0.209065	1.19678	0.209046	0.081654	0.209076	33.8728					26		33.6681942857
7992	2 uA deadtime	Mott	15	1	3	out	15192	-67.33	16.15	-33.8253	0.184292	-0.706346	0.208092	0.223201	0.208101	-0.233517	0.197539	1.5185	0.197494	0.113882	0.197539	33.8253					27		33.6681942857
	Start 4 uA deadtime runs					33.6681942857
7993	4 uA deadtime	Mott	15	1	4.1	in	15192	-62.38	14.82	33.6821	0.188916	0.0626825	0.213091	0.180125	0.21309	0.120255	0.201878	0.989385	0.201859	-0.037116	0.201878	33.6821					42		33.6681942857
7994	4 uA deadtime	Mott	15	1	4.1	out	15192	-65.03	15.34	-33.7379	0.197025	-0.619323	0.222323	0.240047	0.222331	-0.487433	0.210981	0.955875	0.210967	0.0416313	0.210986	33.7379					42		33.6681942857
7995	4 uA deadtime	Mott	15	1	4.1	in	15192	-19.95	16.07	33.4458	0.197864	0.202588	0.222785	0.135201	0.222785	0.352468	0.211532	0.821569	0.211521	0.150101	0.211534	33.4458					42		33.6681942857
7996	4 uA deadtime	Mott	15	1	4.1	out	15192	-66.41	15.09	-33.3764	0.197747	0.0938817	0.222537	-0.277326	0.222536	-0.669654	0.211169	1.24622	0.211146	0.39695	0.21117	33.3764					42		33.6681942857
7997	4 uA deadtime	Mott	15	1	4.1	in	15192	-25.79	14.8	33.8493	0.192256	-0.0592691	0.217135	-0.0505364	0.217135	0.405668	0.20551	1.32363	0.205478	-0.361163	0.205511	33.8493					42		33.6681942857
7998	4 uA deadtime	Mott	15	1	4.1	out	15192	-74.86	14.35	-33.4486	0.189502	-0.18072	0.213373	-0.0774336	0.213374	-0.449747	0.20254	1.03205	0.202522	0.537611	0.202538	33.4486					42		33.6681942857
	Start 1 uA deadtime runs					33.6681942857
7999	1 uA deadtime	Mott	15	1	1	in	15192	-25.58	17.46	33.4964	0.185936	0.0831854	0.209435	0.103021	0.209435	0.541636	0.198437	1.60143	0.198392	-0.3728	0.19844	33.4964					14		33.6681942857
8000	1 uA deadtime	Mott	15	1	1	out	15192	-39.37	20	-33.755	0.197103	-0.703316	0.222438	0.174271	0.222448	-0.582562	0.210312	1.22944	0.210287	0.458086	0.210315	33.755					14		33.6681942857
8001	1 uA deadtime	Mott	15	1	1	in	15192	-29.59	20.12	33.587	0.195828	-0.353129	0.220725	-0.0295638	0.220728	0.562983	0.208911	1.62259	0.208863	-0.181544	0.208917	33.587					14		33.6681942857
8002	1 uA deadtime	Mott	15	1	1	out	15192	-27.32	19.11	-33.9466	0.197144	-0.379924	0.222818	0.0257424	0.222821	-0.310673	0.211035	1.31873	0.211	0.347674	0.211035	33.9466					14		33.6681942857
8003	1 uA deadtime	Mott	15	1	1	in	15192	-74.87	19.35	33.7598	0.196349	-0.517124	0.2216	-0.144993	0.221605	0.368709	0.20927	1.54509	0.209223	-0.478106	0.209268	33.7598					14		33.6681942857
8004	1 uA deadtime	Mott	15	1	1	out	15192	-84.74	19.5	-34.0924	0.195229	-0.540489	0.220898	0.429213	0.220901	-0.703585	0.209461	1.22702	0.209439	0.434439	0.2094	34.0924					14		33.6681942857
Charge asym vs run; deadtime 0.245 uA
run number
charge asym
physics asym vs. run: deadtime run 0.245 uA
run
asym
charge asym deadtime runs 3 uA
run
charge asym
ABS(phys asym) for 3 uA deadtime run
run
asym
2 uA deadtime run charge asym
run
charge asym
2 uA deadtime run physics asym
run
physics asymmetry
charge asym 4 uA deadtime runs
run
charge asym
phys asym 4 uA deadtime runs
run
phys asym
charge asym for 1 uA deadtime runs
run
charge asym
abs (phys asym) for 1 uA deadtime run
run number
phys asym
abs(physics asym) vs deadtimes
deadtime (%)
physics asym