## Sheet1
Two Potable DAQ Systems
Item | Description | Quantity | Model# | Cost | Ordered? | Notes | PR#PO#
Portable Rack | Equipment rack | 2 | ? |  | NO | Wheels, 4 ft Height, Need shelves
5kV Power Supply | PMT HV supply | 2 | ? | ? | YES | Probably on site already. Part of EGG inventory. Accepts DAC control
Magnet Power Supply |  | 2 | ? | ? | NO | To be specified. May sit next to the rack
VME Digital-Analog-Converter | DAC module | 2 | ? | ? | NO | 0-10VDC coaxial output? Other important specs needed
Mini VME Crate |  | 2 | ? | ? | NO | Looks like a 6 slot unit will be fine. Good idea to use VME64X
Helicity Decoder Module | New module | 2 | HD-FEDAQ | 2200 | YES | Production order in progress. FEDAQ group.
Helicity Generator |  | 2 | EES | ? | YES | JLAB EES design? Probably on site already. EGG inventory
Ethernet Flash ADC-250MHz | 16 channel ADC | 2 | FEDAQ-EFADC | 500 | YES | On site and tested
EFADC250 Power supply | Power supply and cable | 2 | FEDAQ-EFADC | 3000 | YES | On site and tested
Computer |  | 2 |  |  | YES
Fiber Tranducer | Fiber/NIM Convertor | 2 |  |  | YES | On site and tested