## Slide 1: CEBAF Injector Drawing & Dimensions
Josh Yoskowitz

## Slide 2: Drawing Pt 1: Gun Front Flange to Valve
Cathode
Anode
Front Flange of Gun
MBI2I01 H&V
IPM2I01
MBH2I02 H&V
MFH2I01
MBH2I03 H&V
IPM2I02
VBV2I02
7.75”
12.625”
21.5”
26”
34.25”
39”
47±1”
Assume 0.25” uncertainty in measurement (unless otherwise stated)

## Slide 3: Drawing Pt 2: Valve to Vertical Wien Filter Entrance
10±1”
Assume 0.25” uncertainty in measurement (unless otherwise stated)
7”
16”
21”
29”
34”
37.5”
VBV2I02
ITV2I01
MDS1I01
Front Face of Dipole Magnet
ITV1I02
MBH1I02 H&V
MFB1I02
MHB1I03 H&V
ITV1I03
MWF1I04 (entrance)
5±1”

## Slide 4: Table of Element Names and Lengths
Name | Type | Length (inches)
MBH2I01 H&V | Steering Coil | 4.25
IPM2I01 | Beam Position Monitor | 0
MBH2I02 H&V | Steering Coil | 4.25
MFH2I01 | Solenoid | 3
MBH2I03 H&V | Steering Coil | 4.25
IPM2I02 | Beam Position Monitor | 0
VBV2I02 | Valve | 0
ITV2I01 | Viewer | 0
MDS1I01 | Dipole | 4.25
ITV1I02 | Viewer | 0
MBH1I03 H&V | Steering Coil | 4.25
MFB1I02 | Solenoid | 3
MHB1I03 H&V (not MBH1I03) | Steering Coil | 2.94
ITV1I03 | Viewer | 0
MWF1I04 | Entrance to Vertical Wien Filter | 0