## Slide 1: Gamma Flux Bubble Chamber Expected Rates – Sept 2015
January 20, 2016

## Slide 2: Outline
GEANT Model
Gamma Flux vs Electron Kinetic Energy
Expected Natural N2O Rate
Expected Rates of:
  18O(g,a)14C
  17O(g,n)16O
  14N(g,p)13C
Remarks

## Slide 3: Geant4 Model
Gap between radiator and collimator = 0.59 inches
Distance between radiator and center of glass cell = 14.02 inches

## Slide 4
Total Nγ =
9.3 108 /(μA s)
Total Nγ =
1.1 109 /(μA s)
GEANT4 Cut = 1 keV
Forward flux from radiator
Flux entering glass cell

## Slide 5
Total Nγ =
1.2 109 /(μA s)
Total Nγ =
1.3 109 /(μA s)

## Slide 6
Total Nγ =
1.5 109 /(μA s)
Total Nγ =
1.7 109 /(μA s)

## Slide 7
Total Nγ =
1.9 109 /(μA s)
Total Nγ =
2.1 109 /(μA s)

## Slide 8
Total Nγ =
2.3 109 /(μA s)
Total Nγ =
2.5 109 /(μA s)

## Slide 9
Total Nγ =
2.7 109 /(μA s)
Total Nγ =
3.0 109 /(μA s)

## Slide 10
Total Nγ =
3.2 109 /(μA s)
Total Nγ =
3.5 109 /(μA s)

## Slide 11
Total Nγ =
3.8 109 /(μA s)
Total Nγ =
4.1 109 /(μA s)

## Slide 12
Total Nγ =
4.4 109 /(μA s)
Total Nγ =
4.5 109 /(μA s)

## Slide 13
Total Nγ =
5.1 109 /(μA s)
Total Nγ =
5.5 109 /(μA s)

## Slide 14
Total Nγ =
5.9 109 /(μA s)
Total Nγ =
6.3 109 /(μA s)

## Slide 15
Total Nγ =
6.7 109 /(μA s)
Total Nγ =
7.1 109 /(μA s)

## Slide 16
Total Nγ =
7.5 109 /(μA s)
Total Nγ =
8.0 109 /(μA s)

## Slide 17
Total Nγ =
8.4 109 /(μA s)
Total Nγ =
8.9 109 /(μA s)

## Slide 18
Total Nγ =
9.4 109 /(μA s)
Total Nγ =
9.9 109 /(μA s)

## Slide 19
For natural N2O, most events are γ-α from 18O
Expected Natural N2O Rates
No Threshold Cut

## Slide 20
Chamber threshold = 130 keV
Elastic neutron scattering – 16O(n,n) and 14N(n,n) – is not included
Expected 17O(g,n)16O Rate

## Slide 21
Expected rate from 14N(γ,p)13C with lower operational pressure (Chamber threshold = 50 keV)
Expected 14N(g,p)13C Rate

## Slide 22: Conclusions
  Design new radiator to match lower electron energy for 19F(g,a)15N
Must reduce distance between radiator and chamber to increase flux by at least a factor of 10
Use silver (or even gold) radiator?
Use silver collimator