## Slide 1: Electric field with NEGs in Gun Chamber
Y. Wang
9/13/2016

## Slide 2: Gun Chamber and NEGs
No NEG
With NEG
Different NEG Configuration

## Slide 3: E field with Different Configuration
1.5MV/m
0.5MV/m
1.4MV/m
0.45M/m
0.9MV/m
2.5MV/m
1.25MV/m

## Slide 4: Mesh
Mesh wire diameter = 1mm
Mesh size = 10 mm x 10mm