## Slide 1: Injector DAQ Projects require support from Fast Electronics Group - Updates
Compton Transmission Polarimeter Portable DAQ
Helicity Decoder Board
Mott Polarimeter DAQ at UITF
Riad Suleiman

## Slide 2: Upgraded Injector Test Facility – Mott data acquisition
BU-012-050-100
TI
Right (120˚)
Detector
Left (120˚)
Detector
142A
Preamp
VXS crate
SBC
E Out
570 Amp
Amp
Out
Fanout
T Out
OR
Integ.
fADC
SCA
Out
Mott Trigger
Counting
fADC
4 Helicity Signals
Helicity
Trigger
BU-013-050-1000-S
Right (50˚)
Detector
Left (50˚)
Detector
E Out
590A
Amp/Disc
142B
Preamp
4 Helicity Signals,
1 FC, 2 BPMs (X±, Y±)

## Slide 3: Remaining Tasks: DAQ Hardware
Cable NIM Crate and VXS Crate
Cables from detectors to NIM Crate
  We are reusing old cables from CEBAF
Helicity signals from Helicity Board to VXS Crate
  Need Fiber-to-Electrical card

## Slide 4: Remaining Tasks: DAQ Firmware and Analysis Software
CODA and Firmware: Installed on DAQ server (itfmdaq0) – need to be tested
Data Decoding
Data Analysis
DAQ tests