## Slide 1: Description of Hardware of UITF 200 keV Mott DAQ
Riad Suleiman

## Slide 2: Upgraded Injector Test Facility – Mott data acquisition
BU-012-050-100
TI
Right (120˚)
Detector
Left (120˚)
Detector
142A
Preamp
VXS crate
SBC
E Out
570 Amp
Amp
Out
Fanout
T Out
OR
Integ.
fADC
SCA
Out
Mott Trigger
Counting
fADC
4 Helicity Signals
Helicity
Trigger
BU-013-050-1000-S
Right (50˚)
Detector
Left (50˚)
Detector
E Out
590A
Amp/Disc
142B
Preamp
4 Helicity Signals,
1 FC, 2 BPMs (X±, Y±)

## Slide 3: DAQ Hardware
Cable NIM Crate and VXS Crate
Cables from detectors to NIM Crate
Helicity signals from Helicity Board to VXS Crate

## Slide 4
Mott DAQ
Hardware | Rack
itfmdaq0 | ITF 07
Mott VXS Crate | 
Mott NIM Crate | 

## Slide 5
Mott DAQ crates
Slot | Board
1 | Linux SBC
2 | Empty
3 | TID
4 | Empty
5 | Empty
6 | Empty
7 | Mott FADC
8 | Empty
9 | Empty
10 | Empty
11 | Empty
12 | Empty
13 | Distribution Board
14 | Empty
15 | Empty
16 | PEPPo FADC
17 | Empty
18 | Empty
19 | Empty
20 | Empty
21 | FT
Slot | Board
1 | 570 Amplifier
2 | 570 Amplifier
3 | Empty
4-5 | ORTEC QUAD BIAS SUPPLY
6 | Empty
7 | 590A Amplifier
8 | 590A Amplifier
9 | Empty
10 | Empty
11 | QUAD GATE/DELAY GENERATOR PS794
12 | LOGIC FAN IN/OUT LeCroy 429A
VXS Crate
Mott NIM Crate

## Slide 6: VXS CRATE
VME SBC – iocmdaq1 | TID |  | CAEN V538A |  |  | Mott FADC |  |  | DB 1 | PEPPO FADC |  |  |  |  |  |  |  |  |  |  | FT
Opsmdaq0
L1A
LEMO
4
TRG IN
TRG IN
1
1
nT_Settle
LN1
L1A
ECL
4
INH

## Slide 7: Mott NIM Crate
VtoF 1 MHz 0–10 V |  | VtoF 2 MHz - 7 – +7 V | LT1 726 | LT2 726 | LT3 726 | FAN 429A | LT4 726 | QD 794 | DISC 708 | LIN 740 | VtoF 2 MHz 0 – +10 V
→ BCM 0L02 Output2 ← VtoF LT2 – Ch1 |  | → LEMO Patch Panel ← LT1 |  | ← S1 Ch1 –CH16 ← S2 Ch1 –CH8 |  | → Delayed Helicity |  | → nT_Settle ← 428 ns nT_Settle Trigger | → BMF -145 mV ← LT4 – Ch1 | → BFM -140 mV ← Ch8 FADC ← DISC | → BPM Ch1 – 16 ← S1 Ch17 – 32
 |  |  |  |  |  | → T_Settle |  | → nT_Settle ← 180 ns S1 LNE |  |  | 
 |  |  |  |  |  | → Pattern Sync |  | → 4 MHz Clock 8.16 us ← 121.2 kHz Clock LT2 Ch4 |  |  | 
 |  |  |  |  |  | → Pair Sync |  | → Mott DetTr ← 322 ns LT4 – Ch15 |  |  |