## Slide 1: Description of Hardware of UITF 200 keV Mott DAQ
Riad Suleiman

## Slide 2: Upgraded Injector Test Facility – Mott data acquisition
BU-012-050-100
TID
Right (120˚)
Detector
Left (120˚)
Detector
142A
Preamp
VXS crate
SBC
E Out
570 Amp
Amp
Out
Fanout
T Out
OR
Integ.
fADC
SCA
Out
Mott Trigger
Counting
fADC
4 Helicity Signals
Helicity
Trigger
BU-013-050-1000-S
Right (50˚)
Detector
Left (50˚)
Detector
E Out
590A
Amp/Disc
142B
Preamp
4 Helicity Signals,
1 FC, 2 BPMs (X±, Y±)

## Slide 3: DAQ Hardware
Cable NIM Crate and VXS Crate
Cables from detectors to NIM Crate
Helicity signals from Helicity Board to VXS Crate

## Slide 4
Mott DAQ
Hardware | Rack
itfmdaq0 | ITF 07
Mott VXS Crate | 
Mott NIM Crate | 

## Slide 5
Mott DAQ crates
Slot | Board
1 | Linux SBC
2 | Empty
3 | TID
4 | Empty
5 | Empty
6 | Empty
7 | Mott FADC
8 | Empty
9 | Empty
10 | Empty
11 | Empty
12 | Empty
13 | Distribution Board
14 | Empty
15 | Empty
16 | PEPPo FADC
17 | Empty
18 | Empty
19 | Empty
20 | Empty
21 | FT
Slot | Board
1 | 570 Amplifier
2 | 570 Amplifier
3 | Empty
4-5 | ORTEC QUAD BIAS SUPPLY
6 | Empty
7 | 590A Amplifier
8 | 590A Amplifier
9 | Empty
10 | Empty
11 | QUAD GATE/DELAY GENERATOR PS794
12 | LOGIC FAN IN/OUT LeCroy 429A
VXS Crate
Mott NIM Crate

## Slide 6: VXS CRATE
Itfsbcmdaq0 |  | TID |  |  |  | Mott FADC |  |  |  |  |  | Distribution Board |  |  | PEPPo FADC |  |  |  |  | FT
itfmdaq0
TRG OUTPUTS
1
LN1
Delayed Helicity
T_Settle
Pattern Sync
Pair Sync
TM1
TRG
INPUTS
dECL-2
T_Settle

## Slide 7: Mott NIM Crate
570 Amp (120°) RIGHT | 570 Amp (120°) LEFT |  | ORTEC QUAD BIAS SUPPLY |  | 590A Amp (50°) RIGHT | 590A Amp (50°) LEFT |  |  | QD 794 | FAN 429A
→ IN E ← OUT E | → IN E ← OUT E |  |  |  | → IN E ← OUT E | → IN E ← OUT E |  |  | → nT_Settle ← 428 ns nT_Settle Trigger | → Delayed Helicity
 |  |  |  |  |  |  |  |  |  | → T_Settle
 |  |  |  |  |  |  |  |  |  | → Pattern Sync
 |  |  |  |  |  |  |  |  |  | → Pair Sync