## Slide 1
Mott Polarimeter at CEBAF

## Slide 2
Exploring gold at KE=5.0MeV
X. Roca-Maza

## Slide 3
Target Thickness
Effective Sherman Function
Target thickness dependence of elastically scattered e-
Precise single-atom Sherman function (theoretical calculations)
Measure asymmetry with small instrumental uncertainty (beam systematics)
AccurateTest of MeV Mott (DP/P)
Expected Range of Uncertainty | 
Theory | 0.5 – 1.0%
Target Thickness | 0.2 – 0.5%
Instrumental | 0.2 – 0.3%
BUDGET | 0.6 – 1.2%

## Slide 4
January 2015 - Run 1
Used our apparatus design energy of KE=5.0 MeV
Systematics of asymmetry vs …
  Beam position
  Beam size
  Beam energy spread
  Dump background
  DAQ dead time
  Detector rate
Target thickness extrapolation of
  11 foils from 0.05 to 1 micron thick
  Precision statistics (1-3 hours for 0.25%)

## Slide 5
FESEM of “0.75 micron” gold target

## Slide 7
Precision Test of Mott Polarimetry
in the MeV Energy Range
P.A. Adderley1, T. Gay2, J. Grames1, J. Hansknecht1,
C. Horowitz3, A. Mamun4, M.J. McHugh5, A.K. Opper5,
M. Poelker1, X. Roca-Maza6, C. Sinclair7, M. Stutzman1,
R. Suleiman1
1Jefferson Lab
2University of Nebraska
3Indiana University
4Old Dominion University
5The George Washington University
6University of Milan
7Cornell University