## Slide 1
Mott Polarimeter at CEBAF

## Slide 2
Exploring gold at KE=5.0MeV
X. Roca-Maza

## Slide 3
Target Thickness
Effective Sherman Function
Target thickness dependence of elastically scattered e-
Precise single-atom Sherman function (theoretical calculations)
Measure asymmetry with small instrumental uncertainty (beam systematics)
AccurateTest of MeV Mott (DP/P)
Expected Range of Uncertainty | 
Theory | 0.5 – 1.0%
Target Thickness | 0.2 – 0.5%
Instrumental | 0.2 – 0.3%
BUDGET | 0.6 – 1.2%

## Slide 4
January 2015 - Run 1
Polarimeter design optimized for KE=5.0 MeV
Studied systematics of measured asymmetry vs …
  Beam position
  Beam size
  Beam energy spread
  Dump background
  DAQ dead time
  Detector rate
Measured asymmetry vs. targets of gold …
  11 foils from 0.05 to 1 micron thick
  High <0.25% statistical precision (1-3 hours/foil)
Measure target thickness “off-line”

## Slide 5
FESEM of “0.75 micron” gold target

## Slide 6
Preliminary on-line analysis of target thickness extrapolation

## Slide 7
The “Mott experiment” is coming at the end of a two year effort for a precision test of the polarimeter…
  Form collaboration with theorists to improve and assess Sherman function
  Building fast 250 MHz DAQ to record energy and time of all events
  Install a new Be+Cu dump for reduced background and higher current (70uA)
  Tested different methods to produce 31 MHz e- beam
  Re-build higher energy resolution detectors
  “Opening” polarimeter for internal survey of critical components
  Develop a Geant4 model of detectors response and single/double scattering
  Build improved target ladder+controls
  Better tools for operational use
Run 1 provided a basis to study systematics of upgraded polarimeter and test precision of Geant4 model to reproduce target thickness extrapolation.
Run 2 will measure the same polarization for three beam energies (KE= 3, 5, 8 MeV) to test the precision of the polarimeter and the accuracy of the theory.
High Level Summary

## Slide 8
Precision Test of Mott Polarimetry
in the MeV Energy Range
P.A. Adderley1, T. Gay2, J. Grames1, J. Hansknecht1,
C. Horowitz3, A. Mamun4, M.J. McHugh5, A.K. Opper5,
M. Poelker1, X. Roca-Maza6, C. Sinclair7, M. Stutzman1,
R. Suleiman1
1Jefferson Lab
2University of Nebraska
3Indiana University
4Old Dominion University
5The George Washington University
6University of Milan
7Cornell University