## Slide 1
1 mm radius blend in
5.5 mm diameter hole

## Slide 3: Cathode with Pierce geometry
-350 kV
10.8 MV/m
12 MV/m
10 MV/m
13 MV/m

## Slide 4: Flat cathode front
-350 kV
10 MV/m
12 MV/m
9.3 MV/m
12 MV/m
Hole diameter: 5.5 mm
Blend radius: 1 mm

## Slide 5: Flat cathode front
-350 kV
10 MV/m
11.5 MV/m
9.2 MV/m
11.4 MV/m
Hole diameter: 5.5 mm
Blend radius: 2 mm

## Slide 6: Flat cathode front
-350 kV
9.6 MV/m
11.3 MV/m
9.4 MV/m
11.4 MV/m
Hole diameter: 3.5 mm
Blend radius: 1 mm

## Slide 7: Flat cathode front
-350 kV
9.0 MV/m
10.5 MV/m
9.3 MV/m
11.3 MV/m
Hole diameter: 3.5 mm
Blend radius: 2 mm

## Slide 8: Flat cathode front
-350 kV
9.2 MV/m
10.9 MV/m
9.4 MV/m
10.5 MV/m
Hole diameter: 3.5 mm
Blend radius: 2.5 mm