## Slide 1: 19F(g,a)15N Measurement at JLab Injector
March 9, 2016

## Slide 2: Outline
Measuring 19F(g,a)15N at HIGS
GEANT4 Model
Gamma Flux
Expected Rate with C2F6
Expected Number of Bubbles
Penfold-Leiss Unfolding
Expected Cross Section Measurement
Remarks

## Slide 3: Measuring 19F(g,a)15N at HIGS
MeV

## Slide 5: Geant4 Model
Gap between radiator and collimator = 0.6 inches
Distance between radiator and center of glass cell = 14.0 inches

## Slide 6: Gamma Flux
Forward flux from radiator
Flux entering glass cell

## Slide 7: Expected Rate for C2F6

## Slide 8
Cosmic background rate in chamber fiducial volume at JLab Injector is about 10-3 Hz (or 1 event every 15 minutes)
Expected Number of Bubbles
Electron Beam K. E. | Eγ (MeV) | Beam Current (µA) | Time (hour) | yi | yi (bg) | dyi/yi (with bg, %)
4.75 | 4.70 | 50 | 100 | 371 | 400 | 8.9
4.85 | 4.80 | 20 | 50 | 568 | 200 | 5.4
4.95 | 4.90 | 10 | 20 | 795 | 80 | 3.9
5.05 | 5.00 | 5 | 10 | 1124 | 40 | 3.1
5.15 | 5.10 | 1 | 5 | 662 | 20 | 4.0
5.25 | 5.20 | 0.2 | 2 | 374 | 8 | 5.3

## Slide 9
Penfold-Leiss Unfolding
Eγ (MeV) | Cross Section (nb) | Stat Error (with bg, %)
4.7 | 0.37 | 8.9
4.8 | 2.35 | 6.3
4.9 | 16.6 | 4.6
5.0 | 91 | 3.9
5.1 | 555 | 5.1
5.2 | 4217 | 6.5

## Slide 11: Remarks
  Calculate systematic error: energy, …
  We are only approved to 10 μA, we will need 50 μA.
Beam Current, δI/I | 3%
Photon Flux, δφ/φ | 5%
Radiator Thickness, δR/R | 3%
Bubble Chamber Thickness, δT/T | 3%
Bubble Chamber Efficiency, ε | 5%