## main log
				columns for special tasks
				Mott UP/DOWN On-Line Full Analysis Result					Mott Left/Right On-Line Full Analysis Result		Mott Right/Left On-Line Full Analysis Result
				Physics Asy.		Instr Detector Asy.		Inst Beam Asy.		Physics Asy.		Instr Detector Asy.		Inst Beam Asy.
Run / Number	User / Comment	Beam / Destination	foil number	Mott Foil Thickness	Beam Mode or / CW Current	IHWP / State	Recent / Save #	Charge / Asymmetry (ppm)	uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Value	Uncer	Mott Asym (%)	Uncertainty (%)	Average for Foil	# of Elastic Events	Run time (s)	Elastic Rate/uA (Hz)	Avg. Rate for Foil	target ladder position	PITA	Delay	deadtime
7900	BCM – no good data?
7901	first run looking for aperture	Mott	15	1	0.5	in	15186	222.3	26.1	33.5332	0.469106	-5.14372	0.52714	-0.659227	0.528516					-103000
7902	aperture check	Mott	15	1	0.5	out	15186	61.83	32.87	-33.8812	0.47091	-6.0948	0.530001	0.532765	0.531962					-103000
7903	Remove 5 ns delay	Mott	15	1	0.5	out	15186	-159.9	72.7	-31.6844	0.888468	-6.01501	0.984041	0.332215	0.987603					-103000
7904	Remove 1 more ns	Mott	15	1	0.5	out	15186	101	78.7	-33.3494	0.905724	-6.04827	1.01534	-2.3232	1.01851					-103000
7905	Remove 1 more ns	Mott	15	1	0.5	out	15186	-110.6	140.3	-32.8564	0.74989	-5.03859	0.838506	0.486074	0.840621					-103000
7906	adjust PMT HV (E->83000	Mott	15	1	0.5	out	15186	231.7	100.6	-34.2341	0.908745	-5.70225	1.02604	-0.257787	1.02938					-103000
7907	finishing adjusting E HV	Mott	15	1	0.5	out	15186	70.64	75.84	-32.7649	0.788298	-5.45748	0.880472	-0.460799	0.883083					-103000
7908	working on dE HV for PMT	Mott	15	1	0.5	out	15186	141.1	83.6	-35.038	0.903341	-7.40154	1.02412	0.799092	1.02969					-103000
7909	working on dE HV for PMT	Mott	15	1	0.5	out	15186	458.4	107.4	-33.4239	0.911762	-6.38412	1.02225	-0.923631	1.02634					-103000
7910	working on dE HV for PMT	Mott	15	1	0.5	out	15186	40.22	81.62	-34.1657	0.93112	-6.33524	1.04994	0.316922	1.05416					-103000
7911	working on dE HV for PMT	Mott	15	1	0.5	out	15186	42.33	171.42	-34.1233	0.865111	-5.00544	0.976666	-1.7477	0.97882					-103000
7912	moving on target ladder offset = 0	Mott	15	1	0.5	out	15188	-292	33.2	-33.2931	0.420824	-5.59094	0.471805	-0.143978	0.473284			-1.58587	0.439443	-0.31422	0.439549					-103000
7913	correction = 0 again, slight steer	Mott	15	1	0.5	out	15188	59.16	27.92	-34.0445	0.415989	-5.00296	0.469346	-1.57496	0.470407	2.27284	0.439942	0.0782002	0.440169	-0.648856	0.440151					-103000
7914	Nominal + correction – sigma	Mott	15	1	0.5	out	15188	-441.5	101.7	-33.0552	0.400259	-1.69311	0.449229	0.0795786	0.449357	2.56714	0.427748	-0.719057	0.428008	-0.840426	0.428					-102690
7915	Nominal + correction	Mott	15	1	0.5	out	15188	331.5	31.4	-34.0061	0.368395	1.17155	0.41651	-0.0700363	0.416567	2.68461	0.400803	0.464373	0.401084	0.351657	0.401087					-102457
7916	Nominal + correction + sigma	Mott	15	1	0.5	out	15188			-33.7303	0.396627	2.77249	0.30469			2.00766					-102224
new target ladder positions determined
7917	fixed nominal ladder pos	Mott	15	1	0.5	out	15188	557.8	90.2	-33.7852	0.360064	1.00605	0.406418	-0.461353	0.406451	2.77193	0.391822	0.545405	0.392112	0.0550642	0.392123					-102526
7918	fixed nominal ladder pos	Mott	15	1	0.5	in	15189	-172	25.9	33.8765	0.362464	-0.0141109	0.409453	0.0634892	0.409453	-2.0011	0.393049	0.438592	0.393199	-0.29314	0.393203					-102526
shift end
7919	pita scanning – no mott	BCM			3	IN	15190	-215.9	5.4					0	0
7920	pita scanning – no mott	BCM			3	OUT	15190	81.66	2.95					0	0
7921	pita scanning – no mott	BCM			3	OUT	15190	81.18	2.81					0	8
7922	pita scanning – no mott	BCM			3	IN	15190	-226.1	5.4					0	8
7923	pita scanning – no mott, PC = Off	BCM			3	IN	15190	5.285	2.45					0	0
7924	pita scanning – no mott, PC = On	BCM			3	IN	15190	-192	13.7					0	0
7925	pita scanning – no mott	BCM			3	IN	15190	154.4	8.4					1000	0
7926	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	IN	15190	-565.68	21.46					-1000	0
7927	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	468.42	19.44					-1000	0
7928	pita scanning – no mott	BCM			3	OUT	15190	87.12	5.1					0	0
7929	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			3	OUT	15190	-258.8	11.1					1000	0
7930	pita scanning – no mott	BCM			3	OUT	15190	-61.75	2.71					400	0
7931	pita scanning – no mott	BCM			3	IN	15190	-63.69	2.75					400	0
7932	pita scanning – no mott, Two Peaks in Charge Asymmetry	BCM			0.5	IN	15190	-69.4	3.19					400	0
7933	pita scanning – no mott	BCM			0.5	OUT	15190	-65.1	3.21					400	0
7934	Mott Run	BCM	15	1	0.5	OUT	15190	24.2	29.1	-33.3503	0.317122	-0.6603	0.356792	0.317516	0.356804	2.41091	0.342773	-0.0595601	0.342973	0.406497	0.342967					400	0
7935	Mott Run	BCM	15	1	0.5	IN	15190	-54.1	28.4	33.5692	0.302533	0.0531791	0.340955	-0.0935505	0.340955	-2.70394	0.326866	0.618073	0.327093	-0.359907	0.327101					400	0
7936	Mott Run, lowered dE Hvs	BCM	15	1	0.5	IN	15190	-20.53	40.09	33.6047	0.445185	-0.30901	0.501854	0.423417	0.50185	-2.61237	0.48167	1.06055	0.481944	-0.522145	0.481985					400	0
7937	Mott Run, lowered dE Hvs and scalers	BCM	15	1	0.5	IN	15190	-154.3	37	33.1338	0.37495	-1.05589	0.421144	-0.389334	0.421184	-3.05532	0.399057	1.50467	0.39934	-1.11195	0.399381					400	0
7938	Mott Run	BCM	15	1	0.5	IN	15190	46.15	47.49	34.0771	0.494784	-1.20028	0.559708	-0.320403	0.559783	-3.36471	0.529044	-0.105237	0.529643	-0.453183	0.529632					400	0
7939	Mott Run	BCM	15	1	0.5	IN	15190	118.7	28.8	34.1876	0.334155	-0.658923	0.378363	-0.363078	0.378375	-1.78361	0.358291	1.34334	0.358341	0.2662	0.358403					400	0
7940	Mott Run, Right Fit Fail	BCM	15	1	0.05	IN	15190	-67.6	8	42.5459	0.750775	-1.11586	0.9166	-0.584851	0.916683	-2.82613	1.07956	-37.745	0.926498	-2.4728	1.07976					400	0
	SHIFT CHANGE DAY
7941	check before spin dance	Mott	15	1	0.5	OUT	15190	-25.7	32.8	-33.5422	0.361573	-0.210976	0.407408	0.383053	0.407404	2.50433	0.387029	1.74103	0.387154	0.115524	0.387271					400	0
7942	check before spin dance	Mott	15	1	0.5	IN	15190	-35.56	30.7	34.1763	0.354226	-0.0246773	0.401072	-0.12209	0.401071	-2.23918	0.38044	0.627479	0.380616	-0.0864512	0.380631
7943	solenoids to vertical pol.	Mott	15	1	0.5	OUT	15190			1.2712	0.38459	0.369969	0.384647	0.127486	0.384652	33.3426	0.366159	1.63773	0.411847	0.497807	0.411947
7944	solenoids vertical, IHWP IN	Mott	15	1	0.5	IN	15190			-1.03967	0.326813	-0.329239	0.326844	0.434955	0.326842	-33.4919	0.310333	-0.241539	0.34954	0.792435	0.34952
7945	sols vert, V Wien to 75 deg	Mott	15	1	0.5	OUT	15190			1.50965	0.37826	-0.208976	0.378345	0.0927307	0.378346	32.3334	0.358322	1.0734	0.40011	0.473225	0.400147
7946	same as 7945, IHWP in	Mott	15	1	0.5	IN	15190			-1.46523	0.382807	0.710318	0.38287	-0.565873	0.382877	-32.4097	0.361806	0.858278	0.40424	-0.0894945	0.40427
7947	sols vert, V Wien to 60 deg	Mott	15	1	0.5	OUT	15190			1.78662	0.384291	0.202389	0.384412	-0.412965	0.384407	28.8157	0.36912	1.27713	0.402479	0.467547	0.402536
7948	same as 7947, IHWP in	Mott	15	1	0.5	iN	15190			-0.495366	0.383465	0.0827049	0.383474	0.224574	0.383472	-28.6157	0.368215	0.985781	0.401017	-0.0650278	0.401056
7949	sols vert, V Wien to 93 deg	Mott	15	1	0.5	OUT	15190			0.968376	0.380886	0.685518	0.380904	0.527464	0.380911	33.5089	0.358873	1.28451	0.404199	-0.0410072	0.404265
7950	same as 7949, IHWP in	Mott	15	1	0.5	IN	15190			-1.2194	0.362865	-0.0238043	0.362919	-0.20778	0.362917	-33.6457	0.342234	0.272353	0.385918	0.105156	0.385921
7951	Restore V Wien to 90, sols vert	Mott	15	1	0.5	OUT	15190			1.76711	0.378946	1.16191	0.379013	-1.29056	0.379002	33.1082	0.361098	0.250908	0.40555	0.156292	0.405552
7952	same as 7951, IHWP in	Mott	15	1	0.5	IN	15190			-1.47479	0.36922	-0.322093	0.369296	-0.164325	0.369299	-33.4381	0.351039	0.768066	0.395207	0.105267	0.395229
7953	V Wien 90 deg, sols horiz	Mott	15	1	0.5	OUT	15190			-33.277	0.34738	-0.301241	0.390634	-0.0856626	0.390637	2.70717	0.370985	0.395391	0.371251	0.207655	0.371255
7954	Same as 7953, IHWP IN	Mott	15	1	0.5	IN	15190			33.3973	0.339089	-0.439963	0.381651	-0.247877	0.381656	-2.14545	0.360801	1.09127	0.360924	-0.792973	0.360944
7955	Both Sols at -878	Mott	15	1	0.5	OUT	15190			-32.2981	0.34993	-0.70652	0.390665	0.0204009	0.390685	8.1545	0.369459	0.679268	0.371915	0.32608	0.371928
7956	Same as 7955, IHWP IN	Mott	15	1	0.5	IN	15190			32.7059	0.360368	0.307739	0.403529	-0.437394	0.403526	-8.09561	0.38079	1.27986	0.383239	-0.288946	0.383298
7957	Both Sols at -1078	Mott	15	1	0.5	OUT	15190			-34.0528	0.355917	-0.646475	0.402585	0.526764	0.402591	-2.39909	0.380555	1.15983	0.380722	0.390888	0.380768
7958	Same as 7957, IHWP IN	Mott	15	1	0.5	IN	15190			33.3354	0.355439	0.0767554	0.399874	0.196143	0.399873	2.29252	0.378906	0.785871	0.379082	-1.05339	0.379063
7959	Both Sols at -1028	Mott	15	1	0.5	OUT	15190			-34.1396	0.314529	-0.759543	0.356004	0.906445	0.355995	0.725746	0.335478	0.573539	0.335485	0.560131	0.335485
7960	Same as 7959, IHWP IN	Mott	15	1	0.5	IN	15190			33.1626	0.344865	-0.636235	0.387462	-0.375344	0.387473	-0.57851	0.367424	0.337988	0.367432	-1.02247	0.367398
7961	Both Sols at -928	Mott	15	1	0.5	OUT	15190			-33.2128	0.354316	-0.32525	0.398242	-0.375955	0.39824	5.40682	0.378437	1.07421	0.379503	0.371163	0.379542
7962	Same as 7960m IHWP IN	Mott	15	1	0.5	IN	15190			33.612	0.344687	-0.170293	0.388587	0.529407	0.388577	-5.80864	0.365788	1.06821	0.366985	-0.804336	0.367003
7963	“Perfect” V Wien, Sols	Mott	15	1	0.5	OUT	15190			-32.8173	0.359609	-0.235114	0.40301	0.424973	0.403005	-0.195615	0.380952	1.23523	0.380895	-0.212814	0.380952
7964	As 7963, IHWP IN	Mott	15	1	0.5	IN	15190			33.7087	0.364544	0.328764	0.411272	0.526106	0.411265	0.242936	0.388139	0.523738	0.38813	-0.212648	0.388139
7965	INVALID	Mott	13	0.05	0.5	OUT	15190					1/sigma^2
7966	Dump fraction on 0.05u	Mott	13	0.05	1	OUT	15190					5.0539221895
7967	Dump fraction on 0.5u	Mott	5	0.5	0.75	OUT	15190	-76.86	21.97
	Start 0.245 uA deadtime
7968	Asy. vs. Dead Time Study	Mott	15	1	0.245	OUT	15190	53.13	166.06	-33.7726	0.279346	-0.264095	0.315308	-0.250795	0.315308	-0.715518	0.297722	0.898601	0.297713	0.270112	0.297735	33.7726	3.62635179334483E-005					2
7969	Same as 7968, IHWP IN	Mott	15	1	0.245	IN	15190	112.3	19.1	33.3384	0.276428	0.277911	0.310991	0.421037	0.310988	0.632009	0.293963	1.17472	0.293935	-0.33474	0.293972	33.3384	0.0027411529					2
7970	Same as 7969, IHWP OUT	Mott	15	1	0.245	OUT	15190	0.8842	11.089	-33.2134	0.279828	-0.413122	0.314519	-0.0704947	0.314524	-0.469651	0.297888	1.3648	0.297839	0.690918	0.297881	33.2134	0.0081323345					2
7971	Same as 7970, IHWP IN	Mott	15	1	0.245	IN	15190	581.7	34	33.3643	0.276122	-0.558778	0.3107	-0.713157	0.310694	0.163427	0.2953	1.41825	0.295241	-0.648052	0.295288	33.3643	0.0008650519					2
7972	same as 7971, IHWP OUT	Mott	15	1	0.245	OUT	15190	-51.9	11.5	-33.8103	0.278465	-0.0597733	0.314405	0.228579	0.314404	-0.160923	0.297266	0.90202	0.297243	0.0860251	0.297267	33.8103	0.0075614367					2
7973	same as 7972, IHWP IN: L dE getting buggy	Mott	15	1	0.245	IN	15190	-223.3	151.8	33.68	0.309776	-0.398581	0.349406	-0.283608	0.349409	-0.190696	0.32989	1.57732	0.329809	-0.432762	0.329885	33.68	4.3396675120339E-005					2
shift change to swing
7974	short run, diagnosing left dE	Mott	15	1	0.245	IN	15190			33.6829	1.02472	1.13924	1.15571	0.217934	1.15585	1.04331	1.09371	3.29565	1.09264	-0.252423	1.09382	33.6829
7975	asym vs dead time, IHWP OUT	Mott	15	1	0.245	OUT	15190	-5.375	9.722	-33.8461	0.274611	-0.706629	0.310124	0.467397	0.310132	-0.597321	0.292308	2.10135	0.292189	1.32131	0.292267	33.8461	0.0105800755					2
7976	dead time run	Mott	15	1	0.245	IN	15190	-711.6	15.4	33.8605	0.279558	0.0585139	0.315761	-0.199987	0.315759	0.36776	0.296309	1.81633	0.296215	0.338451	0.296309	33.8605	0.0042165627					2
7977	dead time run	Mott	15	1	0.245	OUT	15191	-70.26	14.28	-33.518	0.281138	-0.272068	0.316718	0.0386574	0.316721	-0.461216	0.298388	1.73803	0.298304	0.452157	0.298388	33.518	0.0049039224					2
7978	dead time run	Mott	15	1	0.245	IN	15191	-56.23	118.84	33.4651	0.336573	0.266637	0.379018	0.358393	0.379016	0.472471	0.357593	1.91977	0.357469	0.507587	0.357591	33.4651	7.08067586127358E-005					2
	end deadtime runs 0.245 uA
7979	ramping current	adjusting
7980	dummy test after fixing orbit, current	mott	15	1	3	IN	15191	-52.44	61.9	32.8676	0.594641	-1.30776	0.666545	-0.168239	0.666657	0.466606	0.634737	1.36395	0.634632	-0.344089	0.634743
	Start 3 uA deadtime
7981	3 uA deadtime	Mott	15	1	3	IN	15191	-45.84	16.39	33.9439	0.196678	-0.0779831	0.22229	0.0819543	0.22229	0.911307	0.210661	1.24434	0.210646	-0.332562	0.210676	33.9439					35
7982	3 uA deadtime	Mott	15	1	3	out	15192	-70.71	15.78	-33.4428	0.194955	-0.218269	0.219503	-0.0536727	0.219504	-0.625724	0.208748	1.07803	0.208732	0.19935	0.208755	33.4428					37
7983	3 uA deadtime	Mott	15	1	3	in	15192	-37.26	15.74	33.3851	0.196349	0.10511	0.220978	-0.0334632	0.220978	0.818094	0.209904	1.33548	0.20988	-0.722546	0.209907	33.3851					36
7984	3 uA deadtime	Mott	15	1	3	out	15192	-35.54	14.53	-33.7588	0.188693	-0.586021	0.212956	0.277798	0.212962	-0.693877	0.20225	1.66076	0.202204	0.179869	0.202259	33.7588					37
7985	3 uA deadtime	Mott	15	1	3	in	15192	-40.47	16.05	33.8823	0.196436	-0.150376	0.221911	-0.424522	0.221908	0.18668	0.210246	1.66549	0.210188	-0.492262	0.210241	33.8823					36
7986	3 uA deadtime	Mott	15	1	3	out	15192	-123.9	22.6	-34.4085	0.397453	-0.0442987	0.450828	0.092291	0.450828	-0.784515	0.427341	1.01884	0.427323	0.24949	0.427365	34.4085					35
	Start 2 uA deadtimes
7987	2 uA deadtime	Mott	15	1	3	in	15192	-7.305	17.164	33.5803	0.194978	-0.128701	0.219758	-0.361573	0.219755	0.43099	0.208171	1.63267	0.208119	-0.349952	0.208172	33.5803					26
7988	2 uA deadtime	Mott	15	1	3	out	15192	-73.63	16.8	-33.8331	0.191306	-0.254536	0.216033	-0.0196833	0.216035	-0.574286	0.205062	1.19554	0.20504	-0.0299911	0.205069	33.8331					27
7989	2 uA deadtime	Mott	15	1	3	in	15192	-52.85	16.26	33.2746	0.190449	0.625301	0.214153	0.154638	0.214161	0.606413	0.203682	1.36132	0.203652	-0.215323	0.203689	33.2746					27
7990	2 uA deadtime	Mott	15	1	3	out	15192	-34.8	17.1	-33.4504	0.196467	-0.00545496	0.22122	-0.315012	0.221217	-0.369595	0.210147	1.0861	0.210125	0.162457	0.210149	33.4504					26
7991	2 uA deadtime	Mott	15	1	3	in	15192	-57.23	17.39	33.8728	0.195624	-0.321326	0.220976	0.101679	0.220978	0.724282	0.209065	1.19678	0.209046	0.081654	0.209076	33.8728					26
7992	2 uA deadtime	Mott	15	1	3	out	15192	-67.33	16.15	-33.8253	0.184292	-0.706346	0.208092	0.223201	0.208101	-0.233517	0.197539	1.5185	0.197494	0.113882	0.197539	33.8253					27
	Start 4 uA deadtime runs
7993	4 uA deadtime	Mott	15	1	4.1	in	15192	-62.38	14.82	33.6821	0.188916	0.0626825	0.213091	0.180125	0.21309	0.120255	0.201878	0.989385	0.201859	-0.037116	0.201878	33.6821					42
7994	4 uA deadtime	Mott	15	1	4.1	out	15192	-65.03	15.34	-33.7379	0.197025	-0.619323	0.222323	0.240047	0.222331	-0.487433	0.210981	0.955875	0.210967	0.0416313	0.210986	33.7379					42
7995	4 uA deadtime	Mott	15	1	4.1	in	15192	-19.95	16.07	33.4458	0.197864	0.202588	0.222785	0.135201	0.222785	0.352468	0.211532	0.821569	0.211521	0.150101	0.211534	33.4458					42
7996	4 uA deadtime	Mott	15	1	4.1	out	15192	-66.41	15.09	-33.3764	0.197747	0.0938817	0.222537	-0.277326	0.222536	-0.669654	0.211169	1.24622	0.211146	0.39695	0.21117	33.3764					42
7997	4 uA deadtime	Mott	15	1	4.1	in	15192	-25.79	14.8	33.8493	0.192256	-0.0592691	0.217135	-0.0505364	0.217135	0.405668	0.20551	1.32363	0.205478	-0.361163	0.205511	33.8493					42
7998	4 uA deadtime	Mott	15	1	4.1	out	15192	-74.86	14.35	-33.4486	0.189502	-0.18072	0.213373	-0.0774336	0.213374	-0.449747	0.20254	1.03205	0.202522	0.537611	0.202538	33.4486					42
	Start 1 uA deadtime runs
7999	1 uA deadtime	Mott	15	1	1	in	15192	-25.58	17.46	33.4964	0.185936	0.0831854	0.209435	0.103021	0.209435	0.541636	0.198437	1.60143	0.198392	-0.3728	0.19844	33.4964					14
8000	1 uA deadtime	Mott	15	1	1	out	15192	-39.37	20	-33.755	0.197103	-0.703316	0.222438	0.174271	0.222448	-0.582562	0.210312	1.22944	0.210287	0.458086	0.210315	33.755					14
8001	1 uA deadtime	Mott	15	1	1	in	15192	-29.59	20.12	33.587	0.195828	-0.353129	0.220725	-0.0295638	0.220728	0.562983	0.208911	1.62259	0.208863	-0.181544	0.208917	33.587					14
8002	1 uA deadtime	Mott	15	1	1	out	15192	-27.32	19.11	-33.9466	0.197144	-0.379924	0.222818	0.0257424	0.222821	-0.310673	0.211035	1.31873	0.211	0.347674	0.211035	33.9466					14
8003	1 uA deadtime	Mott	15	1	1	in	15192	-74.87	19.35	33.7598	0.196349	-0.517124	0.2216	-0.144993	0.221605	0.368709	0.20927	1.54509	0.209223	-0.478106	0.209268	33.7598					14
8004	1 uA deadtime	Mott	15	1	1	out	15192	-84.74	19.5	-34.0924	0.195229	-0.540489	0.220898	0.429213	0.220901	-0.703585	0.209461	1.22702	0.209439	0.434439	0.2094	34.0924					14
	start data runs on next foil
8005	data runs -test	Mott	16	1	0.33	out	15192			-32.3459	0.754228	-1.47441	0.842178	-0.704533	0.842319	-1.15613	0.642901	63.1635	0.386459	-1.24443	0.642887
8006	steering on 10 mm 1 micron foil (+70,0)	Mott	16	1	0.33	out	15192			-32.4966	1.33723	49.1585	1.13381	-1.47213	1.49479	-0.821895	1.01727	-8.18273	1.01053	-1.13535	1.01721
8007	steering on 10 mm 1 micron foil (-70,0)	Mott	16	1	0.33	out	15192			-32.9602	0.790928	1.21884	0.887193	-0.0999987	0.887324	-0.128314	0.68851	60.9321	0.432886	0.219861	0.688508
8008	steering on 10 mm 1 micron foil (-140,0)	Mott	16	1	0.33	out	15192
8009	steering on 10 mm 1 micron foil (0,70)	Mott	16	1	0.33	out	15192
8010	steering on 10 mm 1 micron foil (0,-70)	Mott	16	1	0.33	out	15192
8011	steering on 10 mm 1 micron foil (-35,-35)	Mott	16	1	0.33	out	15192			-33.465	0.726837	-2.44769	0.818011	-1.0537	0.818411	-0.459125	0.748168	9.2766	0.741745	0.434657	0.748169

8012	Foil 3, large 0.87, short test run	Mott	3	0.87	0.81	out	15192	-104.3	29.6	-34.8808	0.344597	-1.57159	0.392234	-0.0397759	0.392331	-0.25429	0.372969	0.538932	0.372961	0.307435	0.372968
8013	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-87.02	17.09	-34.4868	0.198455	-0.355387	0.225242	0.167262	0.225244	-0.791204	0.212633	0.763995	0.212634	0.298236	0.212645	34.4868
8014	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-47.4	17	34.9576	0.197426	-0.352888	0.224908	-0.0949436	0.224911	0.566735	0.211729	0.877212	0.211719	-0.0882686	0.211735	34.9576
8015	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-66.77	16.9	-34.4954	0.200845	-0.108199	0.227972	-0.270363	0.227971	-0.743612	0.215481	1.15224	0.215464	0.0146459	0.215492	34.4954
8016	Nada – daq fouled (disk space full)
8017	Nada – daq fouled (disk space full)
8018	Nada – daq fouled (disk space full)
8019	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-42.72	15.89	34.3532	0.185475	0.0101659	0.210293	-0.0862169	0.210292	0.843418	0.19873	0.70191	0.198735	-0.0829429	0.198744	34.3532
8020	target thickness extrap. Runs	Mott	3	0.87	0.9	out	15193	-70.32	15.36	-34.5948	0.178848	0.104304	0.203162	0.0587504	0.203162	-0.391398	0.191528	0.682738	0.191522	0.535438	0.191526	34.5948
8021	target thickness extrap. Runs	Mott	3	0.87	0.9	in	15193	-57.2	15.5	34.7544	0.181496	-0.321447	0.206428	-0.226361	0.206429	0.911031	0.195004	0.710778	0.195011	-0.495101	0.195016	34.7544

8022	1 micron foil 15 stability test	Mott	3	1	1	in	15193	-57.75	17.77	33.9635	0.183985	-0.602615	0.207968	-0.159902	0.207975	0.335957	0.196774	1.25764	0.196745	-0.283419	0.196774
8023	1 micron foil 15 stability test	Mott	3	1	1	out	15193	-91.77	17.96	-33.7745	0.186226	-0.997497	0.210184	-0.220872	0.210204	-0.101137	0.19984	1.42191	0.199799	0.300414	0.199838
	End of Swing
8024	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-74.87	14.75	-36.0668	0.195597	-0.258127	0.224844	-0.101288	0.224845	-0.867636	0.210952	1.05973	0.210944	-0.0750531	0.210968	36.0668	0.195597		452106	675	669.79
8025	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-1.75	15.455	35.6517	0.19874	-0.0782062	0.227679	-0.226977	0.227678	0.60323	0.214147	1.03108	0.214132	-0.11117	0.214154	35.6517	0.19874		439076	691	635.42
8026	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-68.57	14.95	-35.5544	0.199317	-0.869285	0.228142	0.022591	0.228159	-0.28819	0.214157	0.673191	0.214149	0.177377	0.214158	35.5544	0.199317		437961	664	659.58
8027	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-40.5	15.2	35.6046	0.199123	-0.20698	0.228029	0.0983931	0.228029	0.359675	0.213917	1.19457	0.213889	-0.149438	0.213919	35.6046	0.199123		438795	695	631.36
8028	Foil 4, 0.75 um	Mott	4	0.75	1	OUT	15193	-54.45	15.14	-35.7	0.1987	-0.6466	0.2277	0.2657	0.2278	-0.8773	0.2138	1.262	0.2138	-0.04764	0.2138	35.7	0.1987		439723	652	674.42
8029	Foil 4, 0.75 um	Mott	4	0.75	1	IN	15193	-71.96	14.22	35.0839	0.199511	-0.445988	0.227511	0.164899	0.227515	0.665897	0.214672	0.742727	0.214669	-0.43376	0.214677	35.0839	0.199511	35.61	437310	679	644.05	652.44

8030	Foil 15, 1 um Stability	Mott	15	1	1	IN	15193	-32.11	18.92	33.8922	0.196725	-0.587357	0.222248	-0.0753357	0.222255	0.446197	0.210282	1.77765	0.21022	-0.0654494	0.210286	33.8922	0.196725		454935	535	850.35
8031	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15193	-65.01	18.76	-33.3373	0.191181	-0.322286	0.215083	0.153907	0.215084	-0.498328	0.204142	1.48746	0.204102	0.167583	0.204146	33.3373	0.191181	33.61	483199	546	884.98	867.66

8032	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-56.28	11.05	-37.1513	0.193398	-0.32709	0.224363	0.118915	0.224365	-0.420157	0.210125	0.247226	0.210127	0.426353	0.210125	37.1513	0.193398		456950	801	475.40
8033	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-76.33	11.87	37.0637	0.208276	-0.752846	0.241429	-0.0029746	0.241443	0.126628	0.225883	0.531037	0.225877	-0.0784112	0.225883	37.0637	0.208276		394866	720	457.02
8034	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-47.19	11.7	-37.6819	0.20669	-0.564376	0.240888	0.272911	0.240893	-0.435066	0.224489	0.453283	0.224489	0.408742	0.224489	37.6819	0.20669		399284	701	474.66
8035	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-56.69	12.23	37.2801	0.203456	0.0762552	0.236297	0.0678503	0.236297	0.852604	0.219655	0.0670458	0.21967	-0.00280598	0.219671	37.2801	0.203456		415251	764	452.94
8036	Foil 2, 0.625 um	Mott	2	0.625	1.2	OUT	15194	-63.27	11.83	-37.047	0.207205	-0.535351	0.24016	0.0843757	0.24016	-0.70075	0.224638	0.376172	0.224646	0.185089	0.224648	37.047	0.207205		399117	696	477.87
8037	Foil 2, 0.625 um	Mott	2	0.625	1.2	IN	15194	-58.55	11.75	37.0594	0.207683	-0.362862	0.240744	-0.0549772	0.240747	0.736418	0.225103	0.47928	0.22511	-0.286317	0.225113	37.0594	0.207683	37.21	437310	679	536.71	479.10

8038	Foil 15, 1 um Stability	Mott	15	1	1	IN	15194	-17.75	19.75	33.779	0.189089	-0.407739	0.213439	-0.168806	0.213442	0.525648	0.201973	1.413	0.201938	-0.351893	0.201976	33.779	0.189089		492962	579	851.40
8039	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15194	-83.84	19.66	-33.4179	0.195513	0.0720287	0.220092	-0.379069	0.220089	-0.285323	0.208326	1.41224	0.208286	0.351342	0.208325	33.4179	0.195513	33.60	462858	573	807.78	829.59

8040	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-70.06	8.15	-38.586	0.17846	0.00862231	0.209679	0.113421	0.209679	-0.786416	0.19482	0.799406	0.194819	0.660927	0.194823	38.586	0.17846		530726	1077	365.02
8041	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-49.11	9.75	38.4379	0.215997	0.0160156	0.253443	0.337894	0.25344	0.823422	0.235649	0.262162	0.235663	-0.264401	0.235663	38.4379	0.215997		362746	761	353.09
8042	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-59.96	9.62	-38.9017	0.215923	-0.143272	0.254426	0.0293656	0.254427	-0.702871	0.235873	0.636068	0.235875	0.0589549	0.235885	38.9017	0.215923		361766	740	362.13
8043	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-39.1	10.2	38.8226	0.214681	0.0524266	0.25278	-0.0187189	0.25278	0.786957	0.234514	0.342838	0.234526	-0.1854	0.234528	38.8226	0.214681		366094	794	341.54
8044	Foil 5, 0.5 um	Mott	5	0.5	1.35	OUT	15195	-64.25	7.93	-38.3373	0.177801	-0.0710644	0.208435	0.246267	0.208434	-0.464826	0.193763	0.367476	0.193765	0.501001	0.193763	38.3373	0.177801		536192	1083	366.74
8045	Foil 5, 0.5 um	Mott	5	0.5	1.35	IN	15195	-54.42	9.89	38.5501	0.215936	-0.154584	0.253627	0.224101	0.253626	0.629653	0.235973	0.141699	0.235982	-0.489129	0.235977	38.5501	0.215936	38.61	362176	772	347.51	356.00

8046	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-42.25	19.59	33.8445	0.196513	-0.419748	0.221931	-0.160379	0.221934	0.634052	0.210002	1.67002	0.209952	-0.498642	0.210005	33.8445	0.196513		456107	517	882.22
8047	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-91.68	19.24	-33.2173	0.197308	-0.421641	0.221775	0.168063	0.221778	-0.602815	0.210646	1.22515	0.210622	0.33601	0.210652	33.2173	0.197308	33.53	453926	493	920.74	901.48

8048	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-59.65	9.37	-38.8614	0.226666	-0.0542339	0.266986	0.0803823	0.266986	-0.507282	0.248326	0.583857	0.248324	0.143801	0.248332	38.8614	0.226666		327410	640	300.93
8049	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-42.28	8.86	39.039	0.226	0.089	0.266	0.388	0.266	0.49	0.248	-0.038	0.248	-0.393	0.248	39.039	0.226		329642	674	287.70
8050	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-57.05	7.96	-39.08	0.19	-0.038	0.224	-0.18	0.224	-0.734	0.208	0.684	0.208	0.717	0.208	39.08	0.19		466422	935	293.44
8051	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-48.1	9.6	39.459	0.226	-0.227	0.267	-0.012	0.267	0.498	0.248	0.315	0.248	-0.206	0.248	39.459	0.226		328502	699	276.45
8052	Foil 14, 0.35 um	Mott	14	0.35	1.7	OUT	15195	-49.1	9.4	-39.349	0.226	-0.021	0.267	-0.307	0.267	-0.759	0.247	-0.096	0.247	0.444	0.247	39.349	0.226		329384	649	298.54
8053	Foil 14, 0.35 um	Mott	14	0.35	1.7	IN	15195	-53.11	9.04	39.253	0.223	-0.002	0.264	0.183	0.264	0.301	0.245	0.168	0.245	-0.625	0.245	39.253	0.223	39.17	336834	694	285.50	290.43

8054	Foil 15, 1 um Stability	Mott	15	1	1	IN	15195	-39.59	19.56	33.403	0.197	-0.982	0.222	-0.029	0.222	0.768	0.211	1.284	0.211	-0.211	0.211	33.403	0.197		454827	488	932.02
8055	Foil 15, 1 um Stability	Mott	15	1	1	OUT	15195	-70.05	19.15	-33.619	0.193	-0.463	0.218	0.187	0.218	-0.502	0.206	1.845	0.206	0.43	0.206	33.619	0.193	33.51	474379	485	978.10	955.06

8056	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	OUT	15195			-33.728	0.189	-0.442	0.213	0.024	0.213	-0.574	0.202	1.487	0.202	0.145	0.202	33.728	0.189		493962	494	909.02
8057	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	IN	15195	-30.36	20.81	33.778	0.211	0.173	0.238	0.346	0.238	0.897	0.226	1.562	0.226	-0.233	0.226	33.778	0.211	33.75	396216	414	870.04
	End of Owl
8058	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	OUT	15195
8059	Foil 15, 1 um New Threshold Test	Mott	15	1	1.1	IN	15195
3 micron foil
run
phys asym