## Summary
BH
| Inner | Outer
Current (A) | BdL (G-cm) | BdL (G-cm)
-0.0019761 | 24.0569 | 24.1519
0.50498 | 90.3144 | 71.8463
1.0042 | 178.5991 | 143.1214

## B Vs. I
B Vs. I
BH
|  |  |  | Inner | Outer
| Set I | Act. V (mV) | Act. I | BY (G) | BX (G)
| 0 | 0 | 0 | 0.5 | 0.5
| 0.1 | 3.362 | 0.10086 | 2.65 | 2.15
| 0.2 | 6.718 | 0.20154 | 4.7 | 3.7
| 0.3 | 10.093 | 0.30279 | 6.75 | 5.35
| 0.4 | 13.451 | 0.40353 | 8.8 | 6.95
| 0.5 | 16.811 | 0.50433 | 10.85 | 8.5
| 0.6 | 20.169 | 0.60507 | 12.9 | 10.1
| 0.7 | 23.487 | 0.70461 | 14.95 | 11.7
| 0.8 | 26.807 | 0.80421 | 17 | 13.25
| 0.9 | 30.128 | 0.90384 | 19 | 14.85
| 1 | 33.451 | 1.0035 | 21.05 | 16.4

## Inner Coils 1.0A
! begin File Header
BH_028.stp | ! data file
2015-12-07 | ! date
9:50 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral,inner coils, I=1A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  |  |  | Current: | 1.0042 | A
0 | ! actual current at end of step |  |  |  |  | BdL: | 178.5991 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 1A | B (G) @ 0A | Corrected B (G)
8.196 | 71.693 | 0.42 | 0.033475 | -25.007 | 0.25 | 0.42 | 0.5 | -0.08
8.196 | 72.193 | 0.43 | 0.033477 | -24.507 | 0.499 | 0.43 | 0.5 | -0.07
8.196 | 72.691 | 0.41 | 0.033475 | -24.009 | 0.497 | 0.41 | 0.49 | -0.08
8.196 | 73.187 | 0.42 | 0.033478 | -23.513 | 0.5005 | 0.42 | 0.49 | -0.07
8.196 | 73.692 | 0.42 | 0.033478 | -23.008 | 0.5015 | 0.42 | 0.49 | -0.07
8.196 | 74.19 | 0.41 | 0.033477 | -22.51 | 0.4995 | 0.41 | 0.51 | -0.1
8.196 | 74.691 | 0.4 | 0.03348 | -22.009 | 0.501 | 0.4 | 0.51 | -0.11
8.196 | 75.192 | 0.39 | 0.033479 | -21.508 | 0.4985 | 0.39 | 0.5 | -0.11
8.196 | 75.688 | 0.38 | 0.033475 | -21.012 | 0.5 | 0.38 | 0.49 | -0.11
8.196 | 76.192 | 0.37 | 0.033473 | -20.508 | 0.502 | 0.37 | 0.49 | -0.12
8.196 | 76.692 | 0.36 | 0.033478 | -20.008 | 0.499 | 0.36 | 0.5 | -0.14
8.196 | 77.19 | 0.37 | 0.033476 | -19.51 | 0.5005 | 0.37 | 0.5 | -0.13
8.196 | 77.693 | 0.34 | 0.033472 | -19.007 | 0.4995 | 0.34 | 0.5 | -0.16
8.196 | 78.189 | 0.33 | 0.033473 | -18.511 | 0.499 | 0.33 | 0.49 | -0.16
8.196 | 78.691 | 0.33 | 0.033478 | -18.009 | 0.5015 | 0.33 | 0.5 | -0.17
8.196 | 79.192 | 0.32 | 0.033476 | -17.508 | 0.4995 | 0.32 | 0.5 | -0.18
8.196 | 79.69 | 0.28 | 0.033475 | -17.01 | 0.5005 | 0.28 | 0.51 | -0.23
8.196 | 80.193 | 0.27 | 0.033474 | -16.507 | 0.5 | 0.27 | 0.5 | -0.23
8.196 | 80.69 | 0.26 | 0.033475 | -16.01 | 0.4985 | 0.26 | 0.49 | -0.23
8.196 | 81.19 | 0.23 | 0.033477 | -15.51 | 0.501 | 0.23 | 0.49 | -0.26
8.196 | 81.692 | 0.21 | 0.033475 | -15.008 | 0.5005 | 0.21 | 0.51 | -0.3
8.196 | 82.191 | 0.17 | 0.033476 | -14.509 | 0.5 | 0.17 | 0.48 | -0.31
8.196 | 82.692 | 0.15 | 0.033474 | -14.008 | 0.5005 | 0.15 | 0.5 | -0.35
8.196 | 83.192 | 0.14 | 0.033474 | -13.508 | 0.499 | 0.14 | 0.49 | -0.35
8.196 | 83.69 | 0.09 | 0.033478 | -13.01 | 0.5005 | 0.09 | 0.48 | -0.39
8.196 | 84.193 | 0.03 | 0.033476 | -12.507 | 0.501 | 0.03 | 0.51 | -0.48
8.196 | 84.692 | 0 | 0.033476 | -12.008 | 0.499 | 0 | 0.49 | -0.49
8.196 | 85.191 | -0.04 | 0.033474 | -11.509 | 0.5 | -0.04 | 0.49 | -0.53
8.196 | 85.692 | -0.07 | 0.033475 | -11.008 | 0.5 | -0.07 | 0.5 | -0.57
8.196 | 86.191 | -0.11 | 0.033472 | -10.509 | 0.5 | -0.11 | 0.49 | -0.6
8.196 | 86.692 | -0.14 | 0.033473 | -10.008 | 0.501 | -0.14 | 0.51 | -0.65
8.196 | 87.193 | -0.14 | 0.033473 | -9.507 | 0.4985 | -0.14 | 0.51 | -0.65
8.196 | 87.689 | -0.1 | 0.033475 | -9.011 | 0.4995 | -0.1 | 0.49 | -0.59
8.196 | 88.192 | 0 | 0.033476 | -8.508 | 0.501 | 0 | 0.49 | -0.49
8.196 | 88.691 | 0.22 | 0.033475 | -8.009 | 0.499 | 0.22 | 0.5 | -0.28
8.196 | 89.19 | 0.59 | 0.033476 | -7.51 | 0.501 | 0.59 | 0.5 | 0.09
8.196 | 89.693 | 1.24 | 0.033476 | -7.007 | 0.5005 | 1.24 | 0.49 | 0.75
8.196 | 90.191 | 2.19 | 0.033476 | -6.509 | 0.4995 | 2.19 | 0.48 | 1.71
8.196 | 90.692 | 3.64 | 0.033474 | -6.008 | 0.5005 | 3.64 | 0.47 | 3.17
8.196 | 91.192 | 5.59 | 0.033476 | -5.508 | 0.499 | 5.59 | 0.49 | 5.1
8.196 | 91.69 | 7.97 | 0.033477 | -5.01 | 0.5005 | 7.97 | 0.49 | 7.48
8.196 | 92.193 | 10.61 | 0.033474 | -4.507 | 0.5005 | 10.61 | 0.5 | 10.11
8.196 | 92.691 | 13.2 | 0.033475 | -4.009 | 0.4985 | 13.2 | 0.5 | 12.7
8.196 | 93.19 | 15.49 | 0.033476 | -3.51 | 0.5005 | 15.49 | 0.49 | 15
8.196 | 93.692 | 17.36 | 0.033476 | -3.008 | 0.5 | 17.36 | 0.5 | 16.86
8.196 | 94.19 | 18.73 | 0.033478 | -2.51 | 0.5 | 18.73 | 0.48 | 18.25
8.196 | 94.692 | 19.67 | 0.033475 | -2.008 | 0.5005 | 19.67 | 0.48 | 19.19
8.196 | 95.191 | 20.32 | 0.033475 | -1.509 | 0.4985 | 20.32 | 0.48 | 19.84
8.196 | 95.689 | 20.68 | 0.033477 | -1.011 | 0.5005 | 20.68 | 0.48 | 20.2
8.196 | 96.192 | 20.94 | 0.033475 | -0.508 | 0.501 | 20.94 | 0.47 | 20.47
8.196 | 96.691 | 21.04 | 0.033474 | -0.009 | 0.4995 | 21.04 | 0.49 | 20.55
8.196 | 97.191 | 21.04 | 0.033473 | 0.491 | 0.5005 | 21.04 | 0.47 | 20.57
8.196 | 97.692 | 20.92 | 0.033475 | 0.992 | 0.4995 | 20.92 | 0.49 | 20.43
8.196 | 98.19 | 20.7 | 0.033472 | 1.49 | 0.5 | 20.7 | 0.49 | 20.21
8.196 | 98.692 | 20.25 | 0.033479 | 1.992 | 0.501 | 20.25 | 0.48 | 19.77
8.196 | 99.192 | 19.55 | 0.033476 | 2.492 | 0.499 | 19.55 | 0.47 | 19.08
8.196 | 99.69 | 18.48 | 0.033473 | 2.99 | 0.5005 | 18.48 | 0.49 | 17.99
8.196 | 100.193 | 16.93 | 0.033472 | 3.493 | 0.5005 | 16.93 | 0.47 | 16.46
8.196 | 100.691 | 14.91 | 0.033472 | 3.991 | 0.4985 | 14.91 | 0.48 | 14.43
8.196 | 101.19 | 12.45 | 0.033474 | 4.49 | 0.501 | 12.45 | 0.48 | 11.97
8.196 | 101.693 | 9.74 | 0.033473 | 4.993 | 0.5 | 9.74 | 0.49 | 9.25
8.196 | 102.19 | 7.13 | 0.033471 | 5.49 | 0.4995 | 7.13 | 0.48 | 6.65
8.196 | 102.692 | 4.84 | 0.033472 | 5.992 | 0.5005 | 4.84 | 0.49 | 4.35
8.196 | 103.191 | 3.06 | 0.033469 | 6.491 | 0.4985 | 3.06 | 0.48 | 2.58
8.196 | 103.689 | 1.8 | 0.033474 | 6.989 | 0.501 | 1.8 | 0.48 | 1.32
8.196 | 104.193 | 0.93 | 0.033471 | 7.493 | 0.501 | 0.93 | 0.48 | 0.45
8.196 | 104.691 | 0.39 | 0.033474 | 7.991 | 0.499 | 0.39 | 0.49 | -0.1
8.196 | 105.191 | 0.09 | 0.033471 | 8.491 | 0.5005 | 0.09 | 0.48 | -0.39
8.196 | 105.692 | -0.08 | 0.033472 | 8.992 | 0.499 | -0.08 | 0.49 | -0.57
8.196 | 106.189 | -0.15 | 0.033472 | 9.489 | 0.5005 | -0.15 | 0.47 | -0.62
8.196 | 106.693 | -0.17 | 0.033474 | 9.993 | 0.5015 | -0.17 | 0.47 | -0.64
8.196 | 107.192 | -0.14 | 0.033474 | 10.492 | 0.4985 | -0.14 | 0.49 | -0.63
8.196 | 107.69 | -0.12 | 0.033473 | 10.99 | 0.5005 | -0.12 | 0.47 | -0.59
8.196 | 108.193 | -0.07 | 0.033474 | 11.493 | 0.5 | -0.07 | 0.48 | -0.55
8.196 | 108.69 | -0.04 | 0.033473 | 11.99 | 0.499 | -0.04 | 0.47 | -0.51
8.196 | 109.191 | 0 | 0.033472 | 12.491 | 0.5015 | 0 | 0.48 | -0.48
8.196 | 109.693 | 0.03 | 0.033474 | 12.993 | 0.4995 | 0.03 | 0.46 | -0.43
8.196 | 110.19 | 0.07 | 0.033473 | 13.49 | 0.4995 | 0.07 | 0.46 | -0.39
8.196 | 110.692 | 0.09 | 0.033472 | 13.992 | 0.5 | 0.09 | 0.48 | -0.39
8.196 | 111.19 | 0.12 | 0.033475 | 14.49 | 0.499 | 0.12 | 0.47 | -0.35
8.196 | 111.69 | 0.14 | 0.033473 | 14.99 | 0.5015 | 0.14 | 0.47 | -0.33
8.196 | 112.193 | 0.15 | 0.03347 | 15.493 | 0.5 | 0.15 | 0.47 | -0.32
8.196 | 112.69 | 0.19 | 0.033472 | 15.99 | 0.4985 | 0.19 | 0.45 | -0.26
8.196 | 113.19 | 0.23 | 0.033476 | 16.49 | 0.5005 | 0.23 | 0.45 | -0.22
8.196 | 113.691 | 0.23 | 0.03347 | 16.991 | 0.4995 | 0.23 | 0.46 | -0.23
8.196 | 114.189 | 0.25 | 0.033469 | 17.489 | 0.5 | 0.25 | 0.46 | -0.21
8.196 | 114.691 | 0.28 | 0.033471 | 17.991 | 0.5005 | 0.28 | 0.46 | -0.18
8.196 | 115.19 | 0.28 | 0.033468 | 18.49 | 0.499 | 0.28 | 0.46 | -0.18
8.196 | 115.689 | 0.3 | 0.033469 | 18.989 | 0.5005 | 0.3 | 0.46 | -0.16
8.196 | 116.191 | 0.3 | 0.033474 | 19.491 | 0.5 | 0.3 | 0.45 | -0.15
8.196 | 116.689 | 0.32 | 0.033473 | 19.989 | 0.499 | 0.32 | 0.45 | -0.13
8.196 | 117.189 | 0.31 | 0.033472 | 20.489 | 0.501 | 0.31 | 0.46 | -0.15
8.196 | 117.691 | 0.31 | 0.033468 | 20.991 | 0.5 | 0.31 | 0.45 | -0.14
8.196 | 118.189 | 0.35 | 0.033472 | 21.489 | 0.5 | 0.35 | 0.44 | -0.09
8.196 | 118.691 | 0.34 | 0.033472 | 21.991 | 0.5005 | 0.34 | 0.44 | -0.1
8.196 | 119.19 | 0.35 | 0.033471 | 22.49 | 0.499 | 0.35 | 0.46 | -0.11
8.196 | 119.689 | 0.36 | 0.03347 | 22.989 | 0.501 | 0.36 | 0.46 | -0.1
8.196 | 120.192 | 0.34 | 0.033475 | 23.492 | 0.5005 | 0.34 | 0.45 | -0.11
8.196 | 120.69 | 0.38 | 0.033467 | 23.99 | 0.499 | 0.38 | 0.45 | -0.07
8.196 | 121.19 | 0.37 | 0.033472 | 24.49 | 0.5005 | 0.37 | 0.44 | -0.07
8.196 | 121.691 | 0.37 | 0.03347 | 24.991 | 0.2505 | 0.37 | 0.43 | -0.06

## Inner Coils 0.5A
! begin File Header
BH_029.stp | ! data file
2015-12-07 | ! date
9:59 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral,inner coils, I=.5A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  |  |  | Current: | 0.50498 | A
0 | ! actual current at end of step |  |  |  |  | BdL: | 90.3144 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 0.5A | B (G) @ 0A | Corrected B (G)
8.196 | 71.693 | 0.45 | 0.016834 | -25.007 | 0.25 | 0.45 | 0.5 | -0.05
8.196 | 72.193 | 0.48 | 0.016831 | -24.507 | 0.4985 | 0.48 | 0.5 | -0.02
8.196 | 72.69 | 0.46 | 0.016834 | -24.01 | 0.4975 | 0.46 | 0.49 | -0.03
8.196 | 73.188 | 0.47 | 0.016834 | -23.512 | 0.501 | 0.47 | 0.49 | -0.02
8.196 | 73.692 | 0.45 | 0.016833 | -23.008 | 0.501 | 0.45 | 0.49 | -0.04
8.196 | 74.19 | 0.46 | 0.016832 | -22.51 | 0.499 | 0.46 | 0.51 | -0.05
8.196 | 74.69 | 0.45 | 0.016835 | -22.01 | 0.501 | 0.45 | 0.51 | -0.06
8.196 | 75.192 | 0.45 | 0.016834 | -21.508 | 0.4995 | 0.45 | 0.5 | -0.05
8.196 | 75.689 | 0.45 | 0.016831 | -21.011 | 0.4995 | 0.45 | 0.49 | -0.04
8.196 | 76.191 | 0.45 | 0.016831 | -20.509 | 0.501 | 0.45 | 0.49 | -0.04
8.196 | 76.691 | 0.43 | 0.016835 | -20.009 | 0.4995 | 0.43 | 0.5 | -0.07
8.196 | 77.19 | 0.44 | 0.016836 | -19.51 | 0.5005 | 0.44 | 0.5 | -0.06
8.196 | 77.692 | 0.43 | 0.016835 | -19.008 | 0.4995 | 0.43 | 0.5 | -0.07
8.196 | 78.189 | 0.42 | 0.016833 | -18.511 | 0.499 | 0.42 | 0.49 | -0.07
8.196 | 78.69 | 0.42 | 0.016835 | -18.01 | 0.502 | 0.42 | 0.5 | -0.08
8.196 | 79.193 | 0.41 | 0.016832 | -17.507 | 0.5 | 0.41 | 0.5 | -0.09
8.196 | 79.69 | 0.4 | 0.016833 | -17.01 | 0.4995 | 0.4 | 0.51 | -0.11
8.196 | 80.192 | 0.39 | 0.016834 | -16.508 | 0.5005 | 0.39 | 0.5 | -0.11
8.196 | 80.691 | 0.39 | 0.016834 | -16.009 | 0.499 | 0.39 | 0.49 | -0.1
8.196 | 81.19 | 0.38 | 0.01683 | -15.51 | 0.5005 | 0.38 | 0.49 | -0.11
8.196 | 81.692 | 0.35 | 0.016834 | -15.008 | 0.5005 | 0.35 | 0.51 | -0.16
8.196 | 82.191 | 0.35 | 0.016831 | -14.509 | 0.4995 | 0.35 | 0.48 | -0.13
8.196 | 82.691 | 0.32 | 0.016832 | -14.009 | 0.5 | 0.32 | 0.5 | -0.18
8.196 | 83.191 | 0.32 | 0.016834 | -13.509 | 0.4995 | 0.32 | 0.49 | -0.17
8.196 | 83.69 | 0.3 | 0.016835 | -13.01 | 0.501 | 0.3 | 0.48 | -0.18
8.196 | 84.193 | 0.27 | 0.016835 | -12.507 | 0.501 | 0.27 | 0.51 | -0.24
8.196 | 84.692 | 0.25 | 0.016833 | -12.008 | 0.4985 | 0.25 | 0.49 | -0.24
8.196 | 85.19 | 0.24 | 0.01683 | -11.51 | 0.5005 | 0.24 | 0.49 | -0.25
8.196 | 85.693 | 0.22 | 0.016832 | -11.007 | 0.5005 | 0.22 | 0.5 | -0.28
8.196 | 86.191 | 0.2 | 0.016835 | -10.509 | 0.4995 | 0.2 | 0.49 | -0.29
8.196 | 86.692 | 0.2 | 0.016834 | -10.008 | 0.5005 | 0.2 | 0.51 | -0.31
8.196 | 87.192 | 0.19 | 0.016831 | -9.508 | 0.499 | 0.19 | 0.51 | -0.32
8.196 | 87.69 | 0.2 | 0.016831 | -9.01 | 0.5 | 0.2 | 0.49 | -0.29
8.196 | 88.192 | 0.25 | 0.016833 | -8.508 | 0.5 | 0.25 | 0.49 | -0.24
8.196 | 88.69 | 0.37 | 0.016833 | -8.01 | 0.499 | 0.37 | 0.5 | -0.13
8.196 | 89.19 | 0.56 | 0.016831 | -7.51 | 0.5015 | 0.56 | 0.5 | 0.06
8.196 | 89.693 | 0.85 | 0.016832 | -7.007 | 0.5 | 0.85 | 0.49 | 0.36
8.196 | 90.19 | 1.35 | 0.016833 | -6.51 | 0.4995 | 1.35 | 0.48 | 0.87
8.196 | 90.692 | 2.08 | 0.016833 | -6.008 | 0.501 | 2.08 | 0.47 | 1.61
8.196 | 91.192 | 3.05 | 0.016835 | -5.508 | 0.499 | 3.05 | 0.49 | 2.56
8.196 | 91.69 | 4.26 | 0.016836 | -5.01 | 0.5005 | 4.26 | 0.49 | 3.77
8.196 | 92.193 | 5.6 | 0.016833 | -4.507 | 0.5005 | 5.6 | 0.5 | 5.1
8.196 | 92.691 | 6.9 | 0.016831 | -4.009 | 0.498 | 6.9 | 0.5 | 6.4
8.196 | 93.189 | 8.05 | 0.016835 | -3.511 | 0.5005 | 8.05 | 0.49 | 7.56
8.196 | 93.692 | 9 | 0.016835 | -3.008 | 0.5005 | 9 | 0.5 | 8.5
8.196 | 94.19 | 9.67 | 0.01683 | -2.51 | 0.5 | 9.67 | 0.48 | 9.19
8.196 | 94.692 | 10.17 | 0.016834 | -2.008 | 0.5005 | 10.17 | 0.48 | 9.69
8.196 | 95.191 | 10.48 | 0.016835 | -1.509 | 0.4985 | 10.48 | 0.48 | 10
8.196 | 95.689 | 10.68 | 0.01683 | -1.011 | 0.5 | 10.68 | 0.48 | 10.2
8.196 | 96.191 | 10.79 | 0.016835 | -0.509 | 0.501 | 10.79 | 0.47 | 10.32
8.196 | 96.691 | 10.84 | 0.016835 | -0.009 | 0.4995 | 10.84 | 0.49 | 10.35
8.196 | 97.19 | 10.85 | 0.016833 | 0.49 | 0.5005 | 10.85 | 0.47 | 10.38
8.196 | 97.692 | 10.8 | 0.016836 | 0.992 | 0.4995 | 10.8 | 0.49 | 10.31
8.196 | 98.189 | 10.67 | 0.016834 | 1.489 | 0.5 | 10.67 | 0.49 | 10.18
8.196 | 98.692 | 10.46 | 0.016831 | 1.992 | 0.5015 | 10.46 | 0.48 | 9.98
8.196 | 99.192 | 10.09 | 0.016833 | 2.492 | 0.499 | 10.09 | 0.47 | 9.62
8.196 | 99.69 | 9.55 | 0.01683 | 2.99 | 0.5005 | 9.55 | 0.49 | 9.06
8.196 | 100.193 | 8.78 | 0.016834 | 3.493 | 0.5005 | 8.78 | 0.47 | 8.31
8.196 | 100.691 | 7.75 | 0.01683 | 3.991 | 0.498 | 7.75 | 0.48 | 7.27
8.196 | 101.189 | 6.51 | 0.016832 | 4.489 | 0.501 | 6.51 | 0.48 | 6.03
8.196 | 101.693 | 5.16 | 0.016835 | 4.993 | 0.5005 | 5.16 | 0.49 | 4.67
8.196 | 102.19 | 3.84 | 0.016834 | 5.49 | 0.4995 | 3.84 | 0.48 | 3.36
8.196 | 102.692 | 2.68 | 0.016832 | 5.992 | 0.5005 | 2.68 | 0.49 | 2.19
8.196 | 103.191 | 1.79 | 0.016835 | 6.491 | 0.4985 | 1.79 | 0.48 | 1.31
8.196 | 103.689 | 1.14 | 0.016831 | 6.989 | 0.5005 | 1.14 | 0.48 | 0.66
8.196 | 104.192 | 0.72 | 0.016833 | 7.492 | 0.5005 | 0.72 | 0.48 | 0.24
8.196 | 104.69 | 0.44 | 0.016832 | 7.99 | 0.499 | 0.44 | 0.49 | -0.05
8.196 | 105.19 | 0.31 | 0.016832 | 8.49 | 0.501 | 0.31 | 0.48 | -0.17
8.196 | 105.692 | 0.2 | 0.016834 | 8.992 | 0.4995 | 0.2 | 0.49 | -0.29
8.196 | 106.189 | 0.17 | 0.016831 | 9.489 | 0.5005 | 0.17 | 0.47 | -0.3
8.196 | 106.693 | 0.18 | 0.016831 | 9.993 | 0.501 | 0.18 | 0.47 | -0.29
8.196 | 107.191 | 0.18 | 0.016831 | 10.491 | 0.498 | 0.18 | 0.49 | -0.31
8.196 | 107.689 | 0.19 | 0.016832 | 10.989 | 0.5005 | 0.19 | 0.47 | -0.28
8.196 | 108.192 | 0.2 | 0.016831 | 11.492 | 0.5 | 0.2 | 0.48 | -0.28
8.196 | 108.689 | 0.21 | 0.016833 | 11.989 | 0.4995 | 0.21 | 0.47 | -0.26
8.196 | 109.191 | 0.23 | 0.016833 | 12.491 | 0.5015 | 0.23 | 0.48 | -0.25
8.196 | 109.692 | 0.25 | 0.016829 | 12.992 | 0.4995 | 0.25 | 0.46 | -0.21
8.196 | 110.19 | 0.26 | 0.016832 | 13.49 | 0.4995 | 0.26 | 0.46 | -0.2
8.196 | 110.691 | 0.28 | 0.01683 | 13.991 | 0.5005 | 0.28 | 0.48 | -0.2
8.196 | 111.191 | 0.29 | 0.016833 | 14.491 | 0.4995 | 0.29 | 0.47 | -0.18
8.196 | 111.69 | 0.32 | 0.01683 | 14.99 | 0.5005 | 0.32 | 0.47 | -0.15
8.196 | 112.192 | 0.32 | 0.016828 | 15.492 | 0.4995 | 0.32 | 0.47 | -0.15
8.196 | 112.689 | 0.33 | 0.016831 | 15.989 | 0.499 | 0.33 | 0.45 | -0.12
8.196 | 113.19 | 0.34 | 0.016828 | 16.49 | 0.5005 | 0.34 | 0.45 | -0.11
8.196 | 113.69 | 0.35 | 0.016829 | 16.99 | 0.499 | 0.35 | 0.46 | -0.11
8.196 | 114.188 | 0.36 | 0.016833 | 17.488 | 0.5005 | 0.36 | 0.46 | -0.1
8.196 | 114.691 | 0.37 | 0.016831 | 17.991 | 0.501 | 0.37 | 0.46 | -0.09
8.196 | 115.19 | 0.38 | 0.016833 | 18.49 | 0.499 | 0.38 | 0.46 | -0.08
8.196 | 115.689 | 0.37 | 0.016832 | 18.989 | 0.5005 | 0.37 | 0.46 | -0.09
8.196 | 116.191 | 0.4 | 0.016833 | 19.491 | 0.5 | 0.4 | 0.45 | -0.05
8.196 | 116.689 | 0.4 | 0.016831 | 19.989 | 0.499 | 0.4 | 0.45 | -0.05
8.196 | 117.189 | 0.39 | 0.016833 | 20.489 | 0.501 | 0.39 | 0.46 | -0.07
8.196 | 117.691 | 0.39 | 0.016833 | 20.991 | 0.5 | 0.39 | 0.45 | -0.06
8.196 | 118.189 | 0.41 | 0.016831 | 21.489 | 0.5 | 0.41 | 0.44 | -0.03
8.196 | 118.691 | 0.4 | 0.01683 | 21.991 | 0.5005 | 0.4 | 0.44 | -0.04
8.196 | 119.19 | 0.4 | 0.016832 | 22.49 | 0.4985 | 0.4 | 0.46 | -0.06
8.196 | 119.688 | 0.41 | 0.016833 | 22.988 | 0.5005 | 0.41 | 0.46 | -0.05
8.196 | 120.191 | 0.4 | 0.016836 | 23.491 | 0.5005 | 0.4 | 0.45 | -0.05
8.196 | 120.689 | 0.41 | 0.016833 | 23.989 | 0.4995 | 0.41 | 0.45 | -0.04
8.196 | 121.19 | 0.4 | 0.016829 | 24.49 | 0.501 | 0.4 | 0.44 | -0.04
8.196 | 121.691 | 0.4 | 0.016833 | 24.991 | 0.2505 | 0.4 | 0.43 | -0.03

## Inner Coils 0.0A
! begin File Header
BH_027.stp | ! data file
2015-12-07 | ! date
9:40 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral,inner coils, I=0A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  | Current: | -0.0019761 | A
0 | ! actual current at end of step |  |  | BdL: | 24.0569 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 0A
8.196 | 71.693 | 0.5 | -6.6e-05 | -25.007 | 0.25 | 0.5
8.196 | 72.193 | 0.5 | -6.6e-05 | -24.507 | 0.499 | 0.5
8.196 | 72.691 | 0.49 | -6.8e-05 | -24.009 | 0.4975 | 0.49
8.196 | 73.188 | 0.49 | -6.5e-05 | -23.512 | 0.501 | 0.49
8.196 | 73.693 | 0.49 | -6.6e-05 | -23.007 | 0.501 | 0.49
8.196 | 74.19 | 0.51 | -6.5e-05 | -22.51 | 0.499 | 0.51
8.196 | 74.691 | 0.51 | -6.7e-05 | -22.009 | 0.501 | 0.51
8.196 | 75.192 | 0.5 | -6.7e-05 | -21.508 | 0.4985 | 0.5
8.196 | 75.688 | 0.49 | -6.6e-05 | -21.012 | 0.5005 | 0.49
8.196 | 76.193 | 0.49 | -6.5e-05 | -20.507 | 0.502 | 0.49
8.196 | 76.692 | 0.5 | -6.4e-05 | -20.008 | 0.4985 | 0.5
8.196 | 77.19 | 0.5 | -6.7e-05 | -19.51 | 0.5005 | 0.5
8.196 | 77.693 | 0.5 | -6.4e-05 | -19.007 | 0.5 | 0.5
8.196 | 78.19 | 0.49 | -6.2e-05 | -18.51 | 0.499 | 0.49
8.196 | 78.691 | 0.5 | -6.4e-05 | -18.009 | 0.501 | 0.5
8.196 | 79.192 | 0.5 | -6.6e-05 | -17.508 | 0.5 | 0.5
8.196 | 79.691 | 0.51 | -6.7e-05 | -17.009 | 0.5005 | 0.51
8.196 | 80.193 | 0.5 | -6.6e-05 | -16.507 | 0.5 | 0.5
8.196 | 80.691 | 0.49 | -6.6e-05 | -16.009 | 0.4985 | 0.49
8.196 | 81.19 | 0.49 | -6.7e-05 | -15.51 | 0.5015 | 0.49
8.196 | 81.694 | 0.51 | -6.6e-05 | -15.006 | 0.5005 | 0.51
8.196 | 82.191 | 0.48 | -6.7e-05 | -14.509 | 0.499 | 0.48
8.196 | 82.692 | 0.5 | -6.7e-05 | -14.008 | 0.5005 | 0.5
8.196 | 83.192 | 0.49 | -6.4e-05 | -13.508 | 0.4995 | 0.49
8.196 | 83.691 | 0.48 | -6.6e-05 | -13.009 | 0.5005 | 0.48
8.196 | 84.193 | 0.51 | -6.7e-05 | -12.507 | 0.5005 | 0.51
8.196 | 84.692 | 0.49 | -6.5e-05 | -12.008 | 0.499 | 0.49
8.196 | 85.191 | 0.49 | -6.6e-05 | -11.509 | 0.5005 | 0.49
8.196 | 85.693 | 0.5 | -6.7e-05 | -11.007 | 0.5 | 0.5
8.196 | 86.191 | 0.49 | -6.6e-05 | -10.509 | 0.4995 | 0.49
8.196 | 86.692 | 0.51 | -6.5e-05 | -10.008 | 0.501 | 0.51
8.196 | 87.193 | 0.51 | -6.7e-05 | -9.507 | 0.499 | 0.51
8.196 | 87.69 | 0.49 | -6.6e-05 | -9.01 | 0.4995 | 0.49
8.196 | 88.192 | 0.49 | -6.6e-05 | -8.508 | 0.501 | 0.49
8.196 | 88.692 | 0.5 | -6.5e-05 | -8.008 | 0.4995 | 0.5
8.196 | 89.191 | 0.5 | -6.6e-05 | -7.509 | 0.5005 | 0.5
8.196 | 89.693 | 0.49 | -6.7e-05 | -7.007 | 0.5 | 0.49
8.196 | 90.191 | 0.48 | -6.6e-05 | -6.509 | 0.4995 | 0.48
8.196 | 90.692 | 0.47 | -6.7e-05 | -6.008 | 0.5005 | 0.47
8.196 | 91.192 | 0.49 | -6.6e-05 | -5.508 | 0.499 | 0.49
8.196 | 91.69 | 0.49 | -6.5e-05 | -5.01 | 0.5005 | 0.49
8.196 | 92.193 | 0.5 | -6.7e-05 | -4.507 | 0.5005 | 0.5
8.196 | 92.691 | 0.5 | -6.5e-05 | -4.009 | 0.4985 | 0.5
8.196 | 93.19 | 0.49 | -6.7e-05 | -3.51 | 0.5005 | 0.49
8.196 | 93.692 | 0.5 | -6.5e-05 | -3.008 | 0.5005 | 0.5
8.196 | 94.191 | 0.48 | -6.4e-05 | -2.509 | 0.5005 | 0.48
8.196 | 94.693 | 0.48 | -6.7e-05 | -2.007 | 0.5005 | 0.48
8.196 | 95.192 | 0.48 | -6.6e-05 | -1.508 | 0.498 | 0.48
8.196 | 95.689 | 0.48 | -6.6e-05 | -1.011 | 0.5005 | 0.48
8.196 | 96.193 | 0.47 | -6.4e-05 | -0.507 | 0.501 | 0.47
8.196 | 96.691 | 0.49 | -6.7e-05 | -0.009 | 0.4985 | 0.49
8.196 | 97.19 | 0.47 | -6.5e-05 | 0.49 | 0.501 | 0.47
8.196 | 97.693 | 0.49 | -6.3e-05 | 0.993 | 0.5 | 0.49
8.196 | 98.19 | 0.49 | -6.6e-05 | 1.49 | 0.4995 | 0.49
8.196 | 98.692 | 0.48 | -6.4e-05 | 1.992 | 0.501 | 0.48
8.196 | 99.192 | 0.47 | -6.6e-05 | 2.492 | 0.499 | 0.47
8.196 | 99.69 | 0.49 | -6.7e-05 | 2.99 | 0.5005 | 0.49
8.196 | 100.193 | 0.47 | -6.6e-05 | 3.493 | 0.5005 | 0.47
8.196 | 100.691 | 0.48 | -6.6e-05 | 3.991 | 0.4985 | 0.48
8.196 | 101.19 | 0.48 | -6.5e-05 | 4.49 | 0.501 | 0.48
8.196 | 101.693 | 0.49 | -6.4e-05 | 4.993 | 0.5 | 0.49
8.196 | 102.19 | 0.48 | -6.5e-05 | 5.49 | 0.5 | 0.48
8.196 | 102.693 | 0.49 | -6.5e-05 | 5.993 | 0.501 | 0.49
8.196 | 103.192 | 0.48 | -6.6e-05 | 6.492 | 0.498 | 0.48
8.196 | 103.689 | 0.48 | -6.5e-05 | 6.989 | 0.5005 | 0.48
8.196 | 104.193 | 0.48 | -6.5e-05 | 7.493 | 0.501 | 0.48
8.196 | 104.691 | 0.49 | -6.6e-05 | 7.991 | 0.499 | 0.49
8.196 | 105.191 | 0.48 | -6.6e-05 | 8.491 | 0.501 | 0.48
8.196 | 105.693 | 0.49 | -6.6e-05 | 8.993 | 0.4995 | 0.49
8.196 | 106.19 | 0.47 | -6.7e-05 | 9.49 | 0.5 | 0.47
8.196 | 106.693 | 0.47 | -6.5e-05 | 9.993 | 0.501 | 0.47
8.196 | 107.192 | 0.49 | -6.7e-05 | 10.492 | 0.4985 | 0.49
8.196 | 107.69 | 0.47 | -6.6e-05 | 10.99 | 0.5005 | 0.47
8.196 | 108.193 | 0.48 | -6.6e-05 | 11.493 | 0.5 | 0.48
8.196 | 108.69 | 0.47 | -6.6e-05 | 11.99 | 0.499 | 0.47
8.196 | 109.191 | 0.48 | -6.8e-05 | 12.491 | 0.5015 | 0.48
8.196 | 109.693 | 0.46 | -6.7e-05 | 12.993 | 0.5 | 0.46
8.196 | 110.191 | 0.46 | -6.6e-05 | 13.491 | 0.5 | 0.46
8.196 | 110.693 | 0.48 | -6.6e-05 | 13.993 | 0.5 | 0.48
8.196 | 111.191 | 0.47 | -6.6e-05 | 14.491 | 0.4985 | 0.47
8.196 | 111.69 | 0.47 | -6.6e-05 | 14.99 | 0.501 | 0.47
8.196 | 112.193 | 0.47 | -6.8e-05 | 15.493 | 0.5 | 0.47
8.196 | 112.69 | 0.45 | -6.4e-05 | 15.99 | 0.499 | 0.45
8.196 | 113.191 | 0.45 | -6.6e-05 | 16.491 | 0.5005 | 0.45
8.196 | 113.691 | 0.46 | -6.5e-05 | 16.991 | 0.499 | 0.46
8.196 | 114.189 | 0.46 | -6.7e-05 | 17.489 | 0.5005 | 0.46
8.196 | 114.692 | 0.46 | -6.4e-05 | 17.992 | 0.501 | 0.46
8.196 | 115.191 | 0.46 | -6.5e-05 | 18.491 | 0.4985 | 0.46
8.196 | 115.689 | 0.46 | -6.7e-05 | 18.989 | 0.5005 | 0.46
8.196 | 116.192 | 0.45 | -6.6e-05 | 19.492 | 0.5005 | 0.45
8.196 | 116.69 | 0.45 | -6.5e-05 | 19.99 | 0.499 | 0.45
8.196 | 117.19 | 0.46 | -6.6e-05 | 20.49 | 0.5005 | 0.46
8.196 | 117.691 | 0.45 | -6.4e-05 | 20.991 | 0.4995 | 0.45
8.196 | 118.189 | 0.44 | -6.6e-05 | 21.489 | 0.5005 | 0.44
8.196 | 118.692 | 0.44 | -6.8e-05 | 21.992 | 0.5005 | 0.44
8.196 | 119.19 | 0.46 | -6.6e-05 | 22.49 | 0.4985 | 0.46
8.196 | 119.689 | 0.46 | -6.9e-05 | 22.989 | 0.501 | 0.46
8.196 | 120.192 | 0.45 | -6.6e-05 | 23.492 | 0.5005 | 0.45
8.196 | 120.69 | 0.45 | -6.7e-05 | 23.99 | 0.499 | 0.45
8.196 | 121.19 | 0.44 | -6.7e-05 | 24.49 | 0.501 | 0.44
8.196 | 121.692 | 0.43 | -6.6e-05 | 24.992 | 0.251 | 0.43

## Outer Coils 1.0A
! begin File Header
BH_025.stp | ! data file
2015-12-07 | ! date
9:12 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral, outer coils, I=1A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  |  |  | Current: | 1.0044 | A
0 | ! actual current at end of step |  |  |  |  | BdL: | 143.1214 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 1A | B (G) @ 0A | Corrected B (G)
8.196 | 71.693 | 0.4 | 0.033491 | -25.007 | 0.25 | 0.4 | 0.49 | -0.09
8.196 | 72.193 | 0.38 | 0.033488 | -24.507 | 0.499 | 0.38 | 0.49 | -0.11
8.196 | 72.691 | 0.39 | 0.033485 | -24.009 | 0.4975 | 0.39 | 0.52 | -0.13
8.196 | 73.188 | 0.38 | 0.033485 | -23.512 | 0.501 | 0.38 | 0.5 | -0.12
8.196 | 73.693 | 0.37 | 0.033485 | -23.007 | 0.5015 | 0.37 | 0.5 | -0.13
8.196 | 74.191 | 0.38 | 0.033487 | -22.509 | 0.499 | 0.38 | 0.51 | -0.13
8.196 | 74.691 | 0.37 | 0.033487 | -22.009 | 0.501 | 0.37 | 0.51 | -0.14
8.196 | 75.193 | 0.35 | 0.033487 | -21.507 | 0.499 | 0.35 | 0.5 | -0.15
8.196 | 75.689 | 0.33 | 0.033485 | -21.011 | 0.4995 | 0.33 | 0.51 | -0.18
8.196 | 76.192 | 0.34 | 0.033486 | -20.508 | 0.5015 | 0.34 | 0.5 | -0.16
8.196 | 76.692 | 0.33 | 0.033483 | -20.008 | 0.499 | 0.33 | 0.51 | -0.18
8.196 | 77.19 | 0.33 | 0.033485 | -19.51 | 0.5005 | 0.33 | 0.51 | -0.18
8.196 | 77.693 | 0.31 | 0.033482 | -19.007 | 0.5 | 0.31 | 0.5 | -0.19
8.196 | 78.19 | 0.29 | 0.033484 | -18.51 | 0.499 | 0.29 | 0.51 | -0.22
8.196 | 78.691 | 0.28 | 0.033482 | -18.009 | 0.501 | 0.28 | 0.52 | -0.24
8.196 | 79.192 | 0.26 | 0.033483 | -17.508 | 0.5 | 0.26 | 0.52 | -0.26
8.196 | 79.691 | 0.24 | 0.033483 | -17.009 | 0.5005 | 0.24 | 0.5 | -0.26
8.196 | 80.193 | 0.23 | 0.033483 | -16.507 | 0.5 | 0.23 | 0.49 | -0.26
8.196 | 80.691 | 0.22 | 0.033478 | -16.009 | 0.499 | 0.22 | 0.49 | -0.27
8.196 | 81.191 | 0.21 | 0.033484 | -15.509 | 0.501 | 0.21 | 0.5 | -0.29
8.196 | 81.693 | 0.19 | 0.033485 | -15.007 | 0.5 | 0.19 | 0.5 | -0.31
8.196 | 82.191 | 0.17 | 0.033487 | -14.509 | 0.4995 | 0.17 | 0.51 | -0.34
8.196 | 82.692 | 0.12 | 0.033485 | -14.008 | 0.5005 | 0.12 | 0.49 | -0.37
8.196 | 83.192 | 0.1 | 0.033485 | -13.508 | 0.499 | 0.1 | 0.49 | -0.39
8.196 | 83.69 | 0.09 | 0.033484 | -13.01 | 0.5005 | 0.09 | 0.5 | -0.41
8.196 | 84.193 | 0.07 | 0.033486 | -12.507 | 0.5015 | 0.07 | 0.49 | -0.42
8.196 | 84.693 | 0.06 | 0.033482 | -12.007 | 0.499 | 0.06 | 0.52 | -0.46
8.196 | 85.191 | 0.06 | 0.033482 | -11.509 | 0.5 | 0.06 | 0.51 | -0.45
8.196 | 85.693 | 0.05 | 0.033485 | -11.007 | 0.5005 | 0.05 | 0.5 | -0.45
8.196 | 86.192 | 0.1 | 0.033482 | -10.508 | 0.5 | 0.1 | 0.51 | -0.41
8.196 | 86.693 | 0.12 | 0.033481 | -10.007 | 0.5005 | 0.12 | 0.51 | -0.39
8.196 | 87.193 | 0.21 | 0.033483 | -9.507 | 0.4985 | 0.21 | 0.48 | -0.27
8.196 | 87.69 | 0.36 | 0.033481 | -9.01 | 0.5 | 0.36 | 0.49 | -0.13
8.196 | 88.193 | 0.59 | 0.033479 | -8.507 | 0.5005 | 0.59 | 0.51 | 0.08
8.196 | 88.691 | 0.93 | 0.033482 | -8.009 | 0.4985 | 0.93 | 0.5 | 0.43
8.196 | 89.19 | 1.42 | 0.033482 | -7.51 | 0.5015 | 1.42 | 0.48 | 0.94
8.196 | 89.694 | 2.11 | 0.03348 | -7.006 | 0.5005 | 2.11 | 0.51 | 1.6
8.196 | 90.191 | 3.03 | 0.033481 | -6.509 | 0.499 | 3.03 | 0.5 | 2.53
8.196 | 90.692 | 4.19 | 0.033486 | -6.008 | 0.501 | 4.19 | 0.48 | 3.71
8.196 | 91.193 | 5.59 | 0.033483 | -5.507 | 0.4995 | 5.59 | 0.49 | 5.1
8.196 | 91.691 | 7.13 | 0.033483 | -5.009 | 0.5005 | 7.13 | 0.48 | 6.65
8.196 | 92.194 | 8.79 | 0.033481 | -4.506 | 0.5 | 8.79 | 0.49 | 8.3
8.196 | 92.691 | 10.39 | 0.033482 | -4.009 | 0.498 | 10.39 | 0.49 | 9.9
8.196 | 93.19 | 11.86 | 0.03348 | -3.51 | 0.501 | 11.86 | 0.49 | 11.37
8.196 | 93.693 | 13.15 | 0.033483 | -3.007 | 0.5005 | 13.15 | 0.5 | 12.65
8.196 | 94.191 | 14.2 | 0.033482 | -2.509 | 0.5 | 14.2 | 0.48 | 13.72
8.196 | 94.693 | 15.01 | 0.033482 | -2.007 | 0.5005 | 15.01 | 0.48 | 14.53
8.196 | 95.192 | 15.6 | 0.033481 | -1.508 | 0.4985 | 15.6 | 0.49 | 15.11
8.196 | 95.69 | 16.03 | 0.03348 | -1.01 | 0.5 | 16.03 | 0.48 | 15.55
8.196 | 96.192 | 16.3 | 0.033485 | -0.508 | 0.501 | 16.3 | 0.48 | 15.82
8.196 | 96.692 | 16.4 | 0.033482 | -0.008 | 0.4995 | 16.4 | 0.5 | 15.9
8.196 | 97.191 | 16.4 | 0.033483 | 0.491 | 0.5005 | 16.4 | 0.49 | 15.91
8.196 | 97.693 | 16.26 | 0.033479 | 0.993 | 0.4995 | 16.26 | 0.5 | 15.76
8.196 | 98.19 | 15.98 | 0.033483 | 1.49 | 0.4995 | 15.98 | 0.49 | 15.49
8.196 | 98.692 | 15.54 | 0.033483 | 1.992 | 0.5015 | 15.54 | 0.48 | 15.06
8.196 | 99.193 | 14.89 | 0.033484 | 2.493 | 0.499 | 14.89 | 0.48 | 14.41
8.196 | 99.69 | 13.97 | 0.03348 | 2.99 | 0.5 | 13.97 | 0.5 | 13.47
8.196 | 100.193 | 12.85 | 0.033483 | 3.493 | 0.501 | 12.85 | 0.5 | 12.35
8.196 | 100.692 | 11.46 | 0.033481 | 3.992 | 0.4985 | 11.46 | 0.51 | 10.95
8.196 | 101.19 | 9.9 | 0.033483 | 4.49 | 0.5005 | 9.9 | 0.47 | 9.43
8.196 | 101.693 | 8.23 | 0.033483 | 4.993 | 0.5005 | 8.23 | 0.48 | 7.75
8.196 | 102.191 | 6.56 | 0.033481 | 5.491 | 0.4995 | 6.56 | 0.49 | 6.07
8.196 | 102.692 | 5.05 | 0.03348 | 5.992 | 0.5005 | 5.05 | 0.49 | 4.56
8.196 | 103.192 | 3.73 | 0.033479 | 6.492 | 0.499 | 3.73 | 0.46 | 3.27
8.196 | 103.69 | 2.63 | 0.033479 | 6.99 | 0.5005 | 2.63 | 0.48 | 2.15
8.196 | 104.193 | 1.81 | 0.033482 | 7.493 | 0.5005 | 1.81 | 0.48 | 1.33
8.196 | 104.691 | 1.21 | 0.03348 | 7.991 | 0.499 | 1.21 | 0.48 | 0.73
8.196 | 105.191 | 0.78 | 0.033483 | 8.491 | 0.501 | 0.78 | 0.47 | 0.31
8.196 | 105.693 | 0.46 | 0.033482 | 8.993 | 0.4995 | 0.46 | 0.48 | -0.02
8.196 | 106.19 | 0.27 | 0.033484 | 9.49 | 0.5005 | 0.27 | 0.48 | -0.21
8.196 | 106.694 | 0.14 | 0.033483 | 9.994 | 0.501 | 0.14 | 0.47 | -0.33
8.196 | 107.192 | 0.09 | 0.03348 | 10.492 | 0.498 | 0.09 | 0.46 | -0.37
8.196 | 107.69 | 0.02 | 0.033482 | 10.99 | 0.5005 | 0.02 | 0.48 | -0.46
8.196 | 108.193 | 0.02 | 0.033483 | 11.493 | 0.5 | 0.02 | 0.48 | -0.46
8.196 | 108.69 | 0.02 | 0.033478 | 11.99 | 0.499 | 0.02 | 0.49 | -0.47
8.196 | 109.191 | 0.03 | 0.033477 | 12.491 | 0.5015 | 0.03 | 0.47 | -0.44
8.196 | 109.693 | 0.04 | 0.033476 | 12.993 | 0.5 | 0.04 | 0.47 | -0.43
8.196 | 110.191 | 0.07 | 0.033478 | 13.491 | 0.5 | 0.07 | 0.48 | -0.41
8.196 | 110.693 | 0.08 | 0.033479 | 13.993 | 0.5 | 0.08 | 0.46 | -0.38
8.196 | 111.191 | 0.1 | 0.033479 | 14.491 | 0.4985 | 0.1 | 0.46 | -0.36
8.196 | 111.69 | 0.13 | 0.033478 | 14.99 | 0.501 | 0.13 | 0.44 | -0.31
8.196 | 112.193 | 0.16 | 0.03348 | 15.493 | 0.5 | 0.16 | 0.45 | -0.29
8.196 | 112.69 | 0.17 | 0.033479 | 15.99 | 0.499 | 0.17 | 0.44 | -0.27
8.196 | 113.191 | 0.18 | 0.033476 | 16.491 | 0.5005 | 0.18 | 0.46 | -0.28
8.196 | 113.691 | 0.2 | 0.033477 | 16.991 | 0.4995 | 0.2 | 0.46 | -0.26
8.196 | 114.19 | 0.2 | 0.033477 | 17.49 | 0.5005 | 0.2 | 0.46 | -0.26
8.196 | 114.692 | 0.24 | 0.033477 | 17.992 | 0.5005 | 0.24 | 0.45 | -0.21
8.196 | 115.191 | 0.25 | 0.033481 | 18.491 | 0.4985 | 0.25 | 0.46 | -0.21
8.196 | 115.689 | 0.25 | 0.033481 | 18.989 | 0.5005 | 0.25 | 0.45 | -0.2
8.196 | 116.192 | 0.27 | 0.033476 | 19.492 | 0.5005 | 0.27 | 0.45 | -0.18
8.196 | 116.69 | 0.29 | 0.033477 | 19.99 | 0.499 | 0.29 | 0.46 | -0.17
8.196 | 117.19 | 0.28 | 0.033476 | 20.49 | 0.501 | 0.28 | 0.46 | -0.18
8.196 | 117.692 | 0.29 | 0.033476 | 20.992 | 0.5 | 0.29 | 0.46 | -0.17
8.196 | 118.19 | 0.31 | 0.033479 | 21.49 | 0.5 | 0.31 | 0.44 | -0.13
8.196 | 118.692 | 0.31 | 0.033477 | 21.992 | 0.5005 | 0.31 | 0.45 | -0.14
8.196 | 119.191 | 0.32 | 0.033477 | 22.491 | 0.4985 | 0.32 | 0.45 | -0.13
8.196 | 119.689 | 0.31 | 0.033481 | 22.989 | 0.5005 | 0.31 | 0.44 | -0.13
8.196 | 120.192 | 0.33 | 0.033477 | 23.492 | 0.5005 | 0.33 | 0.44 | -0.11
8.196 | 120.69 | 0.34 | 0.033477 | 23.99 | 0.4995 | 0.34 | 0.43 | -0.09
8.196 | 121.191 | 0.35 | 0.033475 | 24.491 | 0.501 | 0.35 | 0.44 | -0.09
8.196 | 121.692 | 0.35 | 0.033478 | 24.992 | 0.2505 | 0.35 | 0.44 | -0.09

## Outer Coils 0.5A
! begin File Header
BH_026.stp | ! data file
2015-12-07 | ! date
9:21 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral, outer coils, I=0.5A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  |  |  | Current: | 0.50512 | A
0 | ! actual current at end of step |  |  |  |  | BdL: | 71.8463 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 0.5A | B (G) @ 0A | Corrected B (G)
8.196 | 71.693 | 0.44 | 0.016836 | -25.007 | 0.25 | 0.44 | 0.49 | -0.05
8.196 | 72.193 | 0.44 | 0.016838 | -24.507 | 0.499 | 0.44 | 0.49 | -0.05
8.196 | 72.691 | 0.43 | 0.016839 | -24.009 | 0.498 | 0.43 | 0.52 | -0.09
8.196 | 73.189 | 0.45 | 0.016836 | -23.511 | 0.501 | 0.45 | 0.5 | -0.05
8.196 | 73.693 | 0.45 | 0.01684 | -23.007 | 0.501 | 0.45 | 0.5 | -0.05
8.196 | 74.191 | 0.44 | 0.016839 | -22.509 | 0.499 | 0.44 | 0.51 | -0.07
8.196 | 74.691 | 0.44 | 0.01684 | -22.009 | 0.501 | 0.44 | 0.51 | -0.07
8.196 | 75.193 | 0.42 | 0.016837 | -21.507 | 0.499 | 0.42 | 0.5 | -0.08
8.196 | 75.689 | 0.42 | 0.016839 | -21.011 | 0.4995 | 0.42 | 0.51 | -0.09
8.196 | 76.192 | 0.45 | 0.016836 | -20.508 | 0.5015 | 0.45 | 0.5 | -0.05
8.196 | 76.692 | 0.4 | 0.016842 | -20.008 | 0.499 | 0.4 | 0.51 | -0.11
8.196 | 77.19 | 0.41 | 0.016839 | -19.51 | 0.5005 | 0.41 | 0.51 | -0.1
8.196 | 77.693 | 0.39 | 0.016841 | -19.007 | 0.5 | 0.39 | 0.5 | -0.11
8.196 | 78.19 | 0.4 | 0.016837 | -18.51 | 0.499 | 0.4 | 0.51 | -0.11
8.196 | 78.691 | 0.38 | 0.016839 | -18.009 | 0.5015 | 0.38 | 0.52 | -0.14
8.196 | 79.193 | 0.38 | 0.016838 | -17.507 | 0.5 | 0.38 | 0.52 | -0.14
8.196 | 79.691 | 0.37 | 0.016838 | -17.009 | 0.5 | 0.37 | 0.5 | -0.13
8.196 | 80.193 | 0.38 | 0.016838 | -16.507 | 0.5 | 0.38 | 0.49 | -0.11
8.196 | 80.691 | 0.37 | 0.016836 | -16.009 | 0.499 | 0.37 | 0.49 | -0.12
8.196 | 81.191 | 0.33 | 0.016836 | -15.509 | 0.5015 | 0.33 | 0.5 | -0.17
8.196 | 81.694 | 0.34 | 0.016839 | -15.006 | 0.5 | 0.34 | 0.5 | -0.16
8.196 | 82.191 | 0.32 | 0.016838 | -14.509 | 0.499 | 0.32 | 0.51 | -0.19
8.196 | 82.692 | 0.29 | 0.016837 | -14.008 | 0.501 | 0.29 | 0.49 | -0.2
8.196 | 83.193 | 0.3 | 0.016836 | -13.507 | 0.499 | 0.3 | 0.49 | -0.19
8.196 | 83.69 | 0.29 | 0.016836 | -13.01 | 0.5005 | 0.29 | 0.5 | -0.21
8.196 | 84.194 | 0.29 | 0.016843 | -12.506 | 0.501 | 0.29 | 0.49 | -0.2
8.196 | 84.692 | 0.27 | 0.01684 | -12.008 | 0.499 | 0.27 | 0.52 | -0.25
8.196 | 85.192 | 0.27 | 0.016839 | -11.508 | 0.5005 | 0.27 | 0.51 | -0.24
8.196 | 85.693 | 0.28 | 0.016838 | -11.007 | 0.5 | 0.28 | 0.5 | -0.22
8.196 | 86.192 | 0.3 | 0.016837 | -10.508 | 0.5 | 0.3 | 0.51 | -0.21
8.196 | 86.693 | 0.31 | 0.01684 | -10.007 | 0.5005 | 0.31 | 0.51 | -0.2
8.196 | 87.193 | 0.35 | 0.016837 | -9.507 | 0.4985 | 0.35 | 0.48 | -0.13
8.196 | 87.69 | 0.43 | 0.016838 | -9.01 | 0.5 | 0.43 | 0.49 | -0.06
8.196 | 88.193 | 0.53 | 0.016836 | -8.507 | 0.501 | 0.53 | 0.51 | 0.02
8.196 | 88.692 | 0.69 | 0.01684 | -8.008 | 0.4985 | 0.69 | 0.5 | 0.19
8.196 | 89.19 | 0.96 | 0.016838 | -7.51 | 0.501 | 0.96 | 0.48 | 0.48
8.196 | 89.694 | 1.3 | 0.016838 | -7.006 | 0.5005 | 1.3 | 0.51 | 0.79
8.196 | 90.191 | 1.77 | 0.016838 | -6.509 | 0.499 | 1.77 | 0.5 | 1.27
8.196 | 90.692 | 2.36 | 0.016834 | -6.008 | 0.501 | 2.36 | 0.48 | 1.88
8.196 | 91.193 | 3.05 | 0.016835 | -5.507 | 0.4995 | 3.05 | 0.49 | 2.56
8.196 | 91.691 | 3.83 | 0.01684 | -5.009 | 0.5005 | 3.83 | 0.48 | 3.35
8.196 | 92.194 | 4.65 | 0.016834 | -4.506 | 0.5005 | 4.65 | 0.49 | 4.16
8.196 | 92.692 | 5.48 | 0.016835 | -4.008 | 0.4985 | 5.48 | 0.49 | 4.99
8.196 | 93.191 | 6.21 | 0.016834 | -3.509 | 0.5005 | 6.21 | 0.49 | 5.72
8.196 | 93.693 | 6.88 | 0.016839 | -3.007 | 0.5 | 6.88 | 0.5 | 6.38
8.196 | 94.191 | 7.39 | 0.016836 | -2.509 | 0.5 | 7.39 | 0.48 | 6.91
8.196 | 94.693 | 7.79 | 0.016836 | -2.007 | 0.5005 | 7.79 | 0.48 | 7.31
8.196 | 95.192 | 8.11 | 0.016835 | -1.508 | 0.498 | 8.11 | 0.49 | 7.62
8.196 | 95.689 | 8.3 | 0.016837 | -1.011 | 0.5005 | 8.3 | 0.48 | 7.82
8.196 | 96.193 | 8.42 | 0.016837 | -0.507 | 0.5015 | 8.42 | 0.48 | 7.94
8.196 | 96.692 | 8.5 | 0.016835 | -0.008 | 0.499 | 8.5 | 0.5 | 8
8.196 | 97.191 | 8.5 | 0.016838 | 0.491 | 0.5005 | 8.5 | 0.49 | 8.01
8.196 | 97.693 | 8.43 | 0.016838 | 0.993 | 0.4995 | 8.43 | 0.5 | 7.93
8.196 | 98.19 | 8.27 | 0.016837 | 1.49 | 0.4995 | 8.27 | 0.49 | 7.78
8.196 | 98.692 | 8.05 | 0.016835 | 1.992 | 0.5015 | 8.05 | 0.48 | 7.57
8.196 | 99.193 | 7.74 | 0.016839 | 2.493 | 0.4995 | 7.74 | 0.48 | 7.26
8.196 | 99.691 | 7.28 | 0.016836 | 2.991 | 0.5 | 7.28 | 0.5 | 6.78
8.196 | 100.193 | 6.72 | 0.016837 | 3.493 | 0.5005 | 6.72 | 0.5 | 6.22
8.196 | 100.692 | 6 | 0.01684 | 3.992 | 0.4985 | 6 | 0.51 | 5.49
8.196 | 101.19 | 5.23 | 0.016838 | 4.49 | 0.501 | 5.23 | 0.47 | 4.76
8.196 | 101.694 | 4.38 | 0.016838 | 4.994 | 0.5005 | 4.38 | 0.48 | 3.9
8.196 | 102.191 | 3.55 | 0.016835 | 5.491 | 0.4995 | 3.55 | 0.49 | 3.06
8.196 | 102.693 | 2.76 | 0.016836 | 5.993 | 0.5005 | 2.76 | 0.49 | 2.27
8.196 | 103.192 | 2.12 | 0.016835 | 6.492 | 0.4985 | 2.12 | 0.46 | 1.66
8.196 | 103.69 | 1.56 | 0.016834 | 6.99 | 0.5005 | 1.56 | 0.48 | 1.08
8.196 | 104.193 | 1.16 | 0.016837 | 7.493 | 0.5005 | 1.16 | 0.48 | 0.68
8.196 | 104.691 | 0.84 | 0.016838 | 7.991 | 0.499 | 0.84 | 0.48 | 0.36
8.196 | 105.191 | 0.62 | 0.016837 | 8.491 | 0.501 | 0.62 | 0.47 | 0.15
8.196 | 105.693 | 0.46 | 0.016836 | 8.993 | 0.4995 | 0.46 | 0.48 | -0.02
8.196 | 106.19 | 0.38 | 0.016835 | 9.49 | 0.5005 | 0.38 | 0.48 | -0.1
8.196 | 106.694 | 0.31 | 0.016835 | 9.994 | 0.501 | 0.31 | 0.47 | -0.16
8.196 | 107.192 | 0.27 | 0.016838 | 10.492 | 0.498 | 0.27 | 0.46 | -0.19
8.196 | 107.69 | 0.25 | 0.016839 | 10.99 | 0.5005 | 0.25 | 0.48 | -0.23
8.196 | 108.193 | 0.23 | 0.016837 | 11.493 | 0.5005 | 0.23 | 0.48 | -0.25
8.196 | 108.691 | 0.23 | 0.016838 | 11.991 | 0.499 | 0.23 | 0.49 | -0.26
8.196 | 109.191 | 0.25 | 0.016838 | 12.491 | 0.501 | 0.25 | 0.47 | -0.22
8.196 | 109.693 | 0.26 | 0.016837 | 12.993 | 0.5 | 0.26 | 0.47 | -0.21
8.196 | 110.191 | 0.26 | 0.016838 | 13.491 | 0.4995 | 0.26 | 0.48 | -0.22
8.196 | 110.692 | 0.27 | 0.016837 | 13.992 | 0.5005 | 0.27 | 0.46 | -0.19
8.196 | 111.192 | 0.26 | 0.016839 | 14.492 | 0.499 | 0.26 | 0.46 | -0.2
8.196 | 111.69 | 0.28 | 0.016837 | 14.99 | 0.5005 | 0.28 | 0.44 | -0.16
8.196 | 112.193 | 0.3 | 0.016835 | 15.493 | 0.5 | 0.3 | 0.45 | -0.15
8.196 | 112.69 | 0.3 | 0.01684 | 15.99 | 0.499 | 0.3 | 0.44 | -0.14
8.196 | 113.191 | 0.3 | 0.016839 | 16.491 | 0.5005 | 0.3 | 0.46 | -0.16
8.196 | 113.691 | 0.33 | 0.016841 | 16.991 | 0.4995 | 0.33 | 0.46 | -0.13
8.196 | 114.19 | 0.32 | 0.016838 | 17.49 | 0.5005 | 0.32 | 0.46 | -0.14
8.196 | 114.692 | 0.33 | 0.016836 | 17.992 | 0.5005 | 0.33 | 0.45 | -0.12
8.196 | 115.191 | 0.34 | 0.016837 | 18.491 | 0.4985 | 0.34 | 0.46 | -0.12
8.196 | 115.689 | 0.34 | 0.016837 | 18.989 | 0.5005 | 0.34 | 0.45 | -0.11
8.196 | 116.192 | 0.34 | 0.016838 | 19.492 | 0.5005 | 0.34 | 0.45 | -0.11
8.196 | 116.69 | 0.36 | 0.016838 | 19.99 | 0.499 | 0.36 | 0.46 | -0.1
8.196 | 117.19 | 0.35 | 0.016841 | 20.49 | 0.501 | 0.35 | 0.46 | -0.11
8.196 | 117.692 | 0.36 | 0.016837 | 20.992 | 0.4995 | 0.36 | 0.46 | -0.1
8.196 | 118.189 | 0.38 | 0.016838 | 21.489 | 0.4995 | 0.38 | 0.44 | -0.06
8.196 | 118.691 | 0.37 | 0.016834 | 21.991 | 0.501 | 0.37 | 0.45 | -0.08
8.196 | 119.191 | 0.37 | 0.016837 | 22.491 | 0.499 | 0.37 | 0.45 | -0.08
8.196 | 119.689 | 0.38 | 0.016836 | 22.989 | 0.5005 | 0.38 | 0.44 | -0.06
8.196 | 120.192 | 0.4 | 0.016838 | 23.492 | 0.5005 | 0.4 | 0.44 | -0.04
8.196 | 120.69 | 0.39 | 0.016839 | 23.99 | 0.4995 | 0.39 | 0.43 | -0.04
8.196 | 121.191 | 0.39 | 0.016834 | 24.491 | 0.501 | 0.39 | 0.44 | -0.05
8.196 | 121.692 | 0.4 | 0.016837 | 24.992 | 0.2505 | 0.4 | 0.44 | -0.04

## Outer Coils 0.0A
! begin File Header
BH_024.stp | ! data file
2015-12-07 | ! date
8:57 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
101 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Centerline integral, outer coils, I=0A |  |  |  | Z Center: | 96.7
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step |  |  | Current: | -0.0019001 | A
0 | ! actual current at end of step |  |  | BdL: | 24.1519 | G-cm
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter | Z Pos. (cm) | ∆Z (cm) | B (G) @ 0A
8.196 | 71.693 | 0.49 | -6.6e-05 | -25.007 | 0.25 | 0.49
8.196 | 72.193 | 0.49 | -6.4e-05 | -24.507 | 0.499 | 0.49
8.196 | 72.691 | 0.52 | -6.4e-05 | -24.009 | 0.4975 | 0.52
8.196 | 73.188 | 0.5 | -6.5e-05 | -23.512 | 0.5005 | 0.5
8.196 | 73.692 | 0.5 | -6.4e-05 | -23.008 | 0.501 | 0.5
8.196 | 74.19 | 0.51 | -6.5e-05 | -22.51 | 0.499 | 0.51
8.196 | 74.69 | 0.51 | -6.4e-05 | -22.01 | 0.501 | 0.51
8.196 | 75.192 | 0.5 | -6.5e-05 | -21.508 | 0.499 | 0.5
8.196 | 75.688 | 0.51 | -6.4e-05 | -21.012 | 0.5 | 0.51
8.196 | 76.192 | 0.5 | -6.6e-05 | -20.508 | 0.502 | 0.5
8.196 | 76.692 | 0.51 | -6.3e-05 | -20.008 | 0.499 | 0.51
8.196 | 77.19 | 0.51 | -6.4e-05 | -19.51 | 0.5005 | 0.51
8.196 | 77.693 | 0.5 | -6.4e-05 | -19.007 | 0.5 | 0.5
8.196 | 78.19 | 0.51 | -6.3e-05 | -18.51 | 0.499 | 0.51
8.196 | 78.691 | 0.52 | -6.5e-05 | -18.009 | 0.5015 | 0.52
8.196 | 79.193 | 0.52 | -6.4e-05 | -17.507 | 0.5 | 0.52
8.196 | 79.691 | 0.5 | -6.7e-05 | -17.009 | 0.5 | 0.5
8.196 | 80.193 | 0.49 | -6.5e-05 | -16.507 | 0.5 | 0.49
8.196 | 80.691 | 0.49 | -6.5e-05 | -16.009 | 0.4985 | 0.49
8.196 | 81.19 | 0.5 | -6.6e-05 | -15.51 | 0.501 | 0.5
8.196 | 81.693 | 0.5 | -6.5e-05 | -15.007 | 0.5005 | 0.5
8.196 | 82.191 | 0.51 | -6.4e-05 | -14.509 | 0.4995 | 0.51
8.196 | 82.692 | 0.49 | -6.5e-05 | -14.008 | 0.5005 | 0.49
8.196 | 83.192 | 0.49 | -6.3e-05 | -13.508 | 0.499 | 0.49
8.196 | 83.69 | 0.5 | -6.6e-05 | -13.01 | 0.5005 | 0.5
8.196 | 84.193 | 0.49 | -6.4e-05 | -12.507 | 0.5015 | 0.49
8.196 | 84.693 | 0.52 | -6.2e-05 | -12.007 | 0.499 | 0.52
8.196 | 85.191 | 0.51 | -6.4e-05 | -11.509 | 0.4995 | 0.51
8.196 | 85.692 | 0.5 | -6.5e-05 | -11.008 | 0.5 | 0.5
8.196 | 86.191 | 0.51 | -6.6e-05 | -10.509 | 0.5 | 0.51
8.196 | 86.692 | 0.51 | -6.4e-05 | -10.008 | 0.501 | 0.51
8.196 | 87.193 | 0.48 | -6.4e-05 | -9.507 | 0.4985 | 0.48
8.196 | 87.689 | 0.49 | -6.4e-05 | -9.011 | 0.5 | 0.49
8.196 | 88.193 | 0.51 | -6.4e-05 | -8.507 | 0.501 | 0.51
8.196 | 88.691 | 0.5 | -6.4e-05 | -8.009 | 0.4985 | 0.5
8.196 | 89.19 | 0.48 | -6.3e-05 | -7.51 | 0.5015 | 0.48
8.196 | 89.694 | 0.51 | -6.5e-05 | -7.006 | 0.5005 | 0.51
8.196 | 90.191 | 0.5 | -6.7e-05 | -6.509 | 0.499 | 0.5
8.196 | 90.692 | 0.48 | -6.5e-05 | -6.008 | 0.5005 | 0.48
8.196 | 91.192 | 0.49 | -6.4e-05 | -5.508 | 0.499 | 0.49
8.196 | 91.69 | 0.48 | -6.6e-05 | -5.01 | 0.5005 | 0.48
8.196 | 92.193 | 0.49 | -6.3e-05 | -4.507 | 0.5005 | 0.49
8.196 | 92.691 | 0.49 | -6.5e-05 | -4.009 | 0.4985 | 0.49
8.196 | 93.19 | 0.49 | -6.3e-05 | -3.51 | 0.501 | 0.49
8.196 | 93.693 | 0.5 | -6.3e-05 | -3.007 | 0.5005 | 0.5
8.196 | 94.191 | 0.48 | -6.5e-05 | -2.509 | 0.4995 | 0.48
8.196 | 94.692 | 0.48 | -6.4e-05 | -2.008 | 0.5005 | 0.48
8.196 | 95.192 | 0.49 | -6.4e-05 | -1.508 | 0.499 | 0.49
8.196 | 95.69 | 0.48 | -6.4e-05 | -1.01 | 0.5 | 0.48
8.196 | 96.192 | 0.48 | -6.3e-05 | -0.508 | 0.5005 | 0.48
8.196 | 96.691 | 0.5 | -6.3e-05 | -0.009 | 0.4995 | 0.5
8.196 | 97.191 | 0.49 | -6.2e-05 | 0.491 | 0.501 | 0.49
8.196 | 97.693 | 0.5 | -6.2e-05 | 0.993 | 0.4995 | 0.5
8.196 | 98.19 | 0.49 | -6.3e-05 | 1.49 | 0.4995 | 0.49
8.196 | 98.692 | 0.48 | -6.1e-05 | 1.992 | 0.501 | 0.48
8.196 | 99.192 | 0.48 | -6.4e-05 | 2.492 | 0.499 | 0.48
8.196 | 99.69 | 0.5 | -6.5e-05 | 2.99 | 0.5005 | 0.5
8.196 | 100.193 | 0.5 | -6.3e-05 | 3.493 | 0.5005 | 0.5
8.196 | 100.691 | 0.51 | -6.2e-05 | 3.991 | 0.4985 | 0.51
8.196 | 101.19 | 0.47 | -6.2e-05 | 4.49 | 0.501 | 0.47
8.196 | 101.693 | 0.48 | -6.3e-05 | 4.993 | 0.5 | 0.48
8.196 | 102.19 | 0.49 | -6.2e-05 | 5.49 | 0.4995 | 0.49
8.196 | 102.692 | 0.49 | -6.1e-05 | 5.992 | 0.501 | 0.49
8.196 | 103.192 | 0.46 | -6.2e-05 | 6.492 | 0.499 | 0.46
8.196 | 103.69 | 0.48 | -6.3e-05 | 6.99 | 0.5005 | 0.48
8.196 | 104.193 | 0.48 | -6.3e-05 | 7.493 | 0.5005 | 0.48
8.196 | 104.691 | 0.48 | -6.5e-05 | 7.991 | 0.499 | 0.48
8.196 | 105.191 | 0.47 | -6.4e-05 | 8.491 | 0.501 | 0.47
8.196 | 105.693 | 0.48 | -6.3e-05 | 8.993 | 0.4995 | 0.48
8.196 | 106.19 | 0.48 | -6.2e-05 | 9.49 | 0.5 | 0.48
8.196 | 106.693 | 0.47 | -6.3e-05 | 9.993 | 0.501 | 0.47
8.196 | 107.192 | 0.46 | -6.4e-05 | 10.492 | 0.4985 | 0.46
8.196 | 107.69 | 0.48 | -6.3e-05 | 10.99 | 0.5005 | 0.48
8.196 | 108.193 | 0.48 | -6.4e-05 | 11.493 | 0.5 | 0.48
8.196 | 108.69 | 0.49 | -6.2e-05 | 11.99 | 0.499 | 0.49
8.196 | 109.191 | 0.47 | -6.6e-05 | 12.491 | 0.5015 | 0.47
8.196 | 109.693 | 0.47 | -6.2e-05 | 12.993 | 0.5 | 0.47
8.196 | 110.191 | 0.48 | -6.1e-05 | 13.491 | 0.5 | 0.48
8.196 | 110.693 | 0.46 | -6.2e-05 | 13.993 | 0.5 | 0.46
8.196 | 111.191 | 0.46 | -6.1e-05 | 14.491 | 0.4985 | 0.46
8.196 | 111.69 | 0.44 | -6.1e-05 | 14.99 | 0.501 | 0.44
8.196 | 112.193 | 0.45 | -6.3e-05 | 15.493 | 0.5 | 0.45
8.196 | 112.69 | 0.44 | -6.1e-05 | 15.99 | 0.499 | 0.44
8.196 | 113.191 | 0.46 | -6.2e-05 | 16.491 | 0.5005 | 0.46
8.196 | 113.691 | 0.46 | -6.2e-05 | 16.991 | 0.499 | 0.46
8.196 | 114.189 | 0.46 | -6.2e-05 | 17.489 | 0.5005 | 0.46
8.196 | 114.692 | 0.45 | -6.3e-05 | 17.992 | 0.501 | 0.45
8.196 | 115.191 | 0.46 | -6.3e-05 | 18.491 | 0.4985 | 0.46
8.196 | 115.689 | 0.45 | -6e-05 | 18.989 | 0.5005 | 0.45
8.196 | 116.192 | 0.45 | -6.1e-05 | 19.492 | 0.5005 | 0.45
8.196 | 116.69 | 0.46 | -6.2e-05 | 19.99 | 0.499 | 0.46
8.196 | 117.19 | 0.46 | -6.2e-05 | 20.49 | 0.501 | 0.46
8.196 | 117.692 | 0.46 | -5.9e-05 | 20.992 | 0.4995 | 0.46
8.196 | 118.189 | 0.44 | -6.2e-05 | 21.489 | 0.5 | 0.44
8.196 | 118.692 | 0.45 | -6.1e-05 | 21.992 | 0.501 | 0.45
8.196 | 119.191 | 0.45 | -6.2e-05 | 22.491 | 0.4985 | 0.45
8.196 | 119.689 | 0.44 | -6.3e-05 | 22.989 | 0.5005 | 0.44
8.196 | 120.192 | 0.44 | -6.1e-05 | 23.492 | 0.5005 | 0.44
8.196 | 120.69 | 0.43 | -6.1e-05 | 23.99 | 0.4995 | 0.43
8.196 | 121.191 | 0.44 | -6e-05 | 24.491 | 0.501 | 0.44
8.196 | 121.692 | 0.44 | -6.2e-05 | 24.992 | 0.2505 | 0.44