## Sheet1
SCU |  | PEM controller
AC coupling: in | Time Constant: | retardation: | system status:
| out | 2.407 rad | LOC
1
LA 1
2F (84.03 kHz) | Time Constant: | sensitivity: | Channel one: | Channel two:
| 3x1 s | 5x10 mV nA | X | Theta
| signal input: | reserve: | X | Y
| A | Normal
| AC | Filters:
| FLOAT | N/A
LA 2
1F (42.0 kHz) | Time Constant: | sensitivity: | Channel one: | Channel two: | ref in: | 2f
| 3x1 s | -27 10 mV (rms) | X | Theta | 50 Ohms | External
| Filters: |  | display | Display
6 dB/Octave
signal input:
50 Ohms
wide reserve:
Normal