## elastics_all
run | runtime(s) | Triggers | AcceptedTriggers | AvgCurr(uA) | current (manual) | dump | target | accepted events | dump rate | elastic rate | nominal thickness | measured thickness | thickness from rate
Foil | 13 | [11 empty] | threshold | foil number | average elastic | nominal thickness | measured thickness | predicted thickness nominal fit
8086 | 1676.48 | 1058323 | 1007798 | 4.0876 | 4.1 | 595252 | 403977 | 0.95226 | 90.9418 | 61.907 | 0.05 | 0.053 | high | 13 | 61.8992 | 0.05 | 0.053 | 0.052991
8087 | 1741.82 | 1074888 | 1024782 | 3.968 | 4.1 | 606452 | 409712 | 0.95338 | 92.0346 | 62.1775 | 0.05 | 0.053 | high | 12 | 60.4346 | 0.05 |  | 0.051895
8088 | 1667.61 | 1065310 | 1013915 | 4.0895 | 4.1 | 600594 | 404523 | 0.95176 | 92.5315 | 62.3235 | 0.05 | 0.053 | high | 1 | 286.3417 | 0.225 |  | 0.22087
8089 | 1745.91 | 1070451 | 1021501 | 3.9442 | 4.1 | 603611 | 409378 | 0.95427 | 91.8551 | 62.2975 | 0.05 | 0.053 | high | 8 | 509.6887 | 0.35 | 0.388 | 0.38794
8090 | 1995.92 | 1290300 | 1227117 | 4.1492 | 4.1 | 728899 | 487769 | 0.95103 | 92.5475 | 61.9315 | 0.05 | 0.053 | low | 14 | 619.1381 | 0.35 | 0.388 | 0.40011
8091 | 1668.36 | 1016028 | 969210 | 3.9298 | 4.1 | 575505 | 385660 | 0.95392 | 92.0181 | 61.6636 | 0.05 | 0.053 | low | 5 | 718.2446 | 0.5 | 0.491 | 0.45611
8092 | 1672.43 | 1062134 | 1011280 | 4.0812 | 4.1 | 604281 | 398771 | 0.95212 | 92.9839 | 61.361 | 0.05 | 0.053 | low | 2 | 949.0157 | 0.625 | 0.552 | 0.58649
8093 | 1752.85 | 1083820 | 1033124 | 3.9823 | 4.1 | 615360 | 409426 | 0.95322 | 92.4816 | 61.5321 | 0.05 | 0.053 | low | 4 | 1288.034 | 0.75 | 0.79 | 0.77804
[13 empty] | low | 3 | 1532.6997 | 0.87 |  | 0.91618
Foil | 12 | [11 empty] | low | 15 | 1883.7476 | 1 |  | 1.1145
8074 | 1622.88 | 1056408 | 1004877 | 4.2432 | 4.4 | 599749 | 395996 | 0.95122 | 91.5612 | 60.4551 | 0.05
8075 | 1653.68 | 1057751 | 1006086 | 4.2081 | 4.4 | 597514 | 399988 | 0.95116 | 90.2743 | 60.4314 | 0.05
8078 | 1745.47 | 1055937 | 1007692 | 3.9775 | 4.1 | 600764 | 398779 | 0.95431 | 90.677 | 60.1901 | 0.05
8079 | 1912.29 | 1048102 | 1004214 | 3.6267 | 4.1 | 594146 | 402299 | 0.95813 | 89.4144 | 60.5429 | 0.05
8080 | 1771.38 | 1054418 | 1007107 | 3.9187 | 4.1 | 597817 | 401202 | 0.95513 | 90.1669 | 60.5121 | 0.05
8081 | 1743.18 | 1075849 | 1025592 | 4.046 | 4.1 | 610670 | 406681 | 0.95329 | 90.8282 | 60.4878 | 0.05
8082 | 1690.67 | 1056532 | 1006873 | 4.1106 | 4.1 | 598467 | 400164 | 0.953 | 90.3623 | 60.4206 | 0.05
8083 | 1709.88 | 1053572 | 1004628 | 4.0484 | 4.1 | 597608 | 398925 | 0.95354 | 90.5375 | 60.4371 | 0.05
Foil | 1
8066 | 747.498 | 1143607 | 1020418 | 4.2458 | 4.2 | 196531 | 808817 | 0.89228 | 69.3996 | 285.6119 | 0.225
8067 | 805.241 | 1133247 | 1019592 | 3.9093 | 4.2 | 194880 | 809997 | 0.89971 | 68.809 | 285.9968 | 0.225
8068 | 764.975 | 1134724 | 1015218 | 4.1085 | 4.2 | 194309 | 806249 | 0.89468 | 69.1029 | 286.7298 | 0.225
8069 | 839.842 | 1209446 | 1085784 | 4.0005 | 4.2 | 207893 | 862576 | 0.89775 | 68.9237 | 285.9739 | 0.225
8070 | 742.12 | 1131463 | 1009773 | 4.218 | 4.2 | 193566 | 801583 | 0.89245 | 69.2898 | 286.9383 | 0.225
8071 | 807.584 | 1116251 | 1006152 | 3.828 | 4.2 | 192551 | 799177 | 0.90137 | 69.1005 | 286.7994 | 0.225
Foil | 8
8060 | 619.273 | 1207276 | 1043046 | 3.4224 | 4.1 | 94071 | 933887 | 0.86397 | 51.374 | 510.0139 | 0.35 | 0.388
8061 | 661.633 | 1273174 | 1105062 | 3.388 | 4.1 | 98599 | 990475 | 0.86796 | 50.678 | 509.0852 | 0.35 | 0.388
8062 | 566.941 | 1179063 | 1012398 | 3.6577 | 4.1 | 90919 | 906637 | 0.85865 | 51.0622 | 509.1878 | 0.35 | 0.388
8063 | 622.623 | 1228660 | 1062786 | 3.4632 | 4.1 | 95389 | 952092 | 0.865 | 51.1432 | 510.4678 | 0.35 | 0.388
Foil | 14
8048 | 638.766 | 1152576 | 1007822 | 1.7823 | 1.7 | 337507 | 616285 | 0.87441 | 339.0323 | 619.0701 | 0.35 | 0.388
8049 | 673.236 | 1146008 | 1009661 | 1.6854 | 1.7 | 335801 | 619915 | 0.88102 | 335.9166 | 620.1284 | 0.35 | 0.388
8050 | 933.846 | 1627980 | 1429764 | 1.7276 | 1.7 | 478318 | 875211 | 0.87824 | 337.5868 | 617.7056 | 0.35 | 0.388
8051 | 698.939 | 1136948 | 1007539 | 1.6132 | 1.7 | 335515 | 618340 | 0.88618 | 335.7927 | 618.8518 | 0.35 | 0.388
8052 | 648.715 | 1149309 | 1007715 | 1.7537 | 1.7 | 335710 | 618216 | 0.8768 | 336.5516 | 619.7658 | 0.35 | 0.388
8053 | 693.544 | 1167900 | 1030021 | 1.6698 | 1.7 | 342882 | 632528 | 0.88194 | 335.7152 | 619.3071 | 0.35 | 0.388
Foil | 5
8040 | 1075.95 | 1650333 | 1471946 | 1.3893 | 1.35 | 428995 | 957080 | 0.89191 | 321.771 | 717.8653 | 0.5 | 0.491
8041 | 760.337 | 1124390 | 1005849 | 1.3374 | 1.35 | 293097 | 654487 | 0.89457 | 322.2019 | 719.4784 | 0.5 | 0.491
8042 | 738.774 | 1126666 | 1005257 | 1.3797 | 1.35 | 292541 | 654347 | 0.89224 | 321.6662 | 719.4933 | 0.5 | 0.491
8043 | 792.78 | 1131288 | 1015794 | 1.2921 | 1.35 | 296111 | 660735 | 0.89791 | 321.9288 | 718.3442 | 0.5 | 0.491
8044 | 1082.13 | 1669599 | 1487878 | 1.4008 | 1.35 | 434320 | 966861 | 0.89116 | 321.5088 | 715.7265 | 0.5 | 0.491
8045 | 771.112 | 1120134 | 1004304 | 1.3163 | 1.35 | 292324 | 653924 | 0.89659 | 321.2183 | 718.56 | 0.5 | 0.491
Foil | 2
8032 | 797.708 | 1310105 | 1159453 | 1.2337 | 1.2 | 261999 | 824148 | 0.88501 | 300.805 | 946.2166 | 0.625 | 0.552
8033 | 718.999 | 1129979 | 1005076 | 1.179 | 1.2 | 226990 | 714478 | 0.88946 | 301.0355 | 947.545 | 0.625 | 0.552
8034 | 699.544 | 1145556 | 1013512 | 1.225 | 1.2 | 227875 | 721451 | 0.88473 | 300.5686 | 951.5986 | 0.625 | 0.552
8035 | 763.063 | 1178690 | 1049598 | 1.1565 | 1.2 | 236264 | 74724 | 0.89048 | 300.6652 |  | 0.625 | 0.552
8036 | 695.151 | 1144676 | 1012382 | 1.2329 | 1.2 | 228701 | 719499 | 0.88443 | 301.7142 | 949.2002 | 0.625 | 0.552
8037 | 723.598 | 1134821 | 1009333 | 1.1727 | 1.2 | 227585 | 717366 | 0.88942 | 301.5528 | 950.5184 | 0.625 | 0.552
Foil | 4
8024 | 674.629 | 1184230 | 1039376 | 1.044 | 1 | 171152 | 796602 | 0.87768 | 276.8619 | 1288.6133 | 0.75 | 0.79
8025 | 690.263 | 1139234 | 1007403 | 0.97873 | 1 | 166006 | 772226 | 0.88428 | 277.8783 | 1292.6332 | 0.75 | 0.79
8026 | 662.187 | 1145356 | 1006665 | 1.03 | 1 | 166086 | 770921 | 0.87891 | 277.058 | 1286.0194 | 0.75 | 0.79
8027 | 694.734 | 1142904 | 1010321 | 0.97884 | 1 | 167596 | 772872 | 0.88399 | 278.7939 | 1285.6633 | 0.75 | 0.79
8028 | 651.416 | 1152089 | 1011349 | 1.0518 | 1 | 167443 | 773769 | 0.87784 | 278.4023 | 1286.5217 | 0.75 | 0.79
8029 | 677.994 | 1137722 | 1004784 | 0.9973 | 1 | 165754 | 769585 | 0.88315 | 277.5729 | 1288.753 | 0.75 | 0.79
Foil | 3
8013 | 664.505 | 1139588 | 1003593 | 0.88117 | 0.9 | 141708 | 789754 | 0.88066 | 274.8069 | 1531.5286 | 0.87
8014 | 694.086 | 1145273 | 1013180 | 0.84782 | 0.9 | 142207 | 798028 | 0.88466 | 273.1662 | 1532.9363 | 0.87
8015 | 656.136 | 1136911 | 978597 | 0.88978 | 0.9 | 137991 | 771202 | 0.86075 | 274.5989 | 1534.6742 | 0.87
8019 | 796.738 | 1296011 | 1148222 | 0.83823 | 0.9 | 161771 | 904377 | 0.88597 | 273.4036 | 1528.4565 | 0.87
8020 | 815.131 | 1402933 | 1234240 | 0.88493 | 0.9 | 173647 | 972547 | 0.87976 | 273.6323 | 1532.5357 | 0.87
8021 | 835.183 | 1345350 | 1192881 | 0.82639 | 0.9 | 167733 | 940028 | 0.88667 | 274.0866 | 1536.067 | 0.87
Foil | 3???
8022 | 608.472 | 1365169 | 1159400 | 0.99247 | 1 | 124549 | 959131 | 0.84927 | 242.8477 | 1870.1298 | 1
8023 | 559.472 | 1339851 | 1125526 | 1.0624 | 1 | 120657 | 931435 | 0.84004 | 241.6547 | 1865.5001 | 1
Foil | 15
8046 | 516.446 | 1198853 | 1012830 | 1.0184 | 1 | 108437 | 838032 | 0.84483 | 244.051 | 1886.0957 | 1
8047 | 492.491 | 1204126 | 1008975 | 1.0737 | 1 | 108896 | 833594 | 0.83793 | 245.7754 | 1881.3996 | 1
8064 | 640.093 | 1158761 | 1013732 | 1.1278 | 1.1 | 18614 | 98083 | 0.87484 |  |  | 1
8065 | 671.645 | 1147583 | 1010169 | 1.0603 | 1.1 | 18437 | 977824 | 0.88026 |  | 1559.8625 | 1