## Slide 1: Cooler e-source Magnetized Beam LDRD Progress Report
Abdullah Mamun
August 17, 2017

## Slide 2
Magnetized Electron Source at GTS
Beamline
Gun Solenoid
Photocathode
Preparation
Chamber
Gun HV Chamber
Slit
Viewer Screen
Shield Tube
Viewer 3 Screen
Beam Dump
Chart: z, m
Chart: z, m

## Slide 4: Magnetized Beams on Viewers
Magnetic field on the gun solenoid was varied with solenoid current varying from 0-400 A (0-1511 G on photocathode).
All other beamline lenses were turned off.
The rms beam sizes on 3 viewers were measured and compared with simulation using ASTRA.

## Slide 5: Measurement of Rotation Angles
Beamlets through slit 1 was imaged on viewers 2 & 3
Beamlets through slit 2 was imaged on viewers 3
The beamlet images were analyzed for rotation angle with respect to x (+ve) axis as function of gun solenoid field
A linear least square fit was used for rotation angle evaluation
Sign convention used:
  a clockwise rotation w.r.t. x-axis is +ve angle
  a counter clockwise w.r.t. x-axis is -ve angle

## Slide 6: 0 A
Viewer 1
Viewer 2
Viewer 3
Slit 1
Slit 2
Viewer 1
(z=1.5 m)
Viewer 2
(z=2.0 m)
Viewer 3
(z=3.8 m)
Beam
Beamlet

## Slide 7: 0 A
Viewer 1
Viewer 2
Viewer 3
Slit 1
Slit 2
Viewer 1
Viewer 2
Viewer 3
Beam
Beamlet

## Slide 8: 400 A
Viewer 1
Viewer 2
Viewer 3
Slit 1
Slit 2
Viewer 1
Viewer 2
Viewer 3
Beam
Beamlet

## Slide 9: 400 A
Viewer 1
Viewer 2
Viewer 3
Slit 1
Slit 2
Viewer 1
Viewer 2
Viewer 3
Beam
Beamlet

## Slide 10: Rotation Measurement
Captured Image
Post-analysis

## Slide 11: Experimental Results: Beam Size and Rotation Angle

## Slide 12: ASTRA Simulation
Bz, T
Lens 1
Lens 2
Viewer 1
At 400 A
Sajini’s work
Beam size on viewers depends on the initial beam size and the angular momentum at the exit of the solenoid field.

## Slide 13: Beam Sizes on Viewer 1 (measurement vs. simulation)
Beam Size (rms), mm
Gun solenoid current, A
Sajini’s work

## Slide 14: Summary
Beam sizes and rotation angles were measured for different gun solenoid fields up to 1511 G on photocathode.
Simulation for beam sizes is underway and shows reasonable agreement with the measurement.
Simulation for beam rotation will be performed soon.
Demonstrated 0.5 mA magnetized beam(>1 h) with 1511 G on photocathode.
Next priority will be to run high current magnetized beam of 5mA.