## Sheet1
Item description | Part Number | Vendor | Price | Qty Ordered | Extended Price
Items necessary for adding a 4th laser to LLRF Systems:
[6 empty] | Subtotal of this group: | ?
Items necessary for stable laser seed operation
Rack mount chiller and spare |  | Thermotek | 2820 | 2 | 5640
2U chassis for each seed |  |  | 150 | 4 | 600
Machining of thermal block |  |  | 750 | 4 | 3000
Add fourth PM fiber to existing 3 |  |  | 200 | 1 | 200 | Subtotal of this group: | 9440
Items associated with Laser Amplifier, and PPLN for frequency doubling from 1560nm to 780nm for the one (1) new Hall D laser.
5 Watt Er-Yb fiber laser amplifier | EAM-5K-C-LP-P-JL | IPG Photonics | 19000 | 1 | 19000
PPLN crystal (10 cm length) | SHG5-10 | Thorlabs | 2800 | 1 | 2800
Crystal Oven for PPLN | PV10 | Thorlabs | 1200 | 1 | 1200
Oven controller | TC200 | Thorlabs | 400 | 1 | 400
Baud Rate converter for Crystal oven controller. EPICS can't do 115kbs. | 232BRC | B&B electronics | 248.97 | 1 | 248.97
780R/ 1560 pass dichroic mirror | LWP-45-RS780-TS1560-PW-1025C | CVI | 410 | 2 | 820
Muliple Optics components from Thorlabs | Invoice | Thorlabs | 1117.6 | 1 | 1117.6
NewFocus pan-tilt stage and LineTool XYZ |  |  | 5000 | 1 | 5000
Laser current and temperature controllers |  |  | 2000 | 1 | 2000
[6 empty] | Subtotal of this group: | 32586.57
Items necessary for combining a 4th laser beam on the laser table:
Rotary stepper stage for attenuator |  | Thorlabs/ Velmex | 2400 | 1 | 2400
Mounted zero-order half-wave plate |  | Thorlabs | 410 | 1 | 410
Mounted linear polarizer in holder |  | Thorlabs | 630 | 1 | 630
DEI switch for Tune mode generator |  | Directed Energy | 5000 | 1 | 5000
RTP cell for tune mode generator |  | Fastpulse labs | 7050 | 1 | 7050
Hall D shutter and controls |  | NM laser | 650 | 1 | 650
Tune mode controls on table |  | Jlab built | 2000 | 1 | 2000
NO IA HELICITY CORRECTION SYSTEM FOR HALL D (add $5K if desired)
General mirror optics and mounts and beam combining |  | Thorlabs | 2000 | 1 | 2000
[6 empty] | Subtotal of this group: | 20140
Items necessary for adding a 4th laser to EPICS and PSS:
REPLACEMENT of all control associated with beam mode control. Existing Mizar controls are only for three halls. A new system would need to be designed, built, and programmed. | This is only an educated guess of hardware + labor | Jlab | 15000 | 1 | 15000
PSS and FSD should be the same as today, but who knows if SSG wants to charge us for something new…. |  | Jlab | 15000 | 1 | 15000 | Subtotal of this group: | 30000
[6 empty] | Grand Total | 92166.57