## Asym+Rate
06/01/17

		Run I
		PMT Threshold	Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Uncertainty	Asymmetry	Asymmetry Uncertainty	Average Rate	Average Rate Uncertainty
		low/high	#	T_o [nm]	T [nm]	dT [nm]	A [%]	dA [%]	R [Hz/uA]	dR [Hz/uA]

		low	15	1000	943.7	59.8	33.963	0.092	186.769	3.441
		low	3	870	836.8	44.2	34.846	0.089	159.211	3.051
		low	4	750	774.6	41.9	35.720	0.093	135.752	2.497
		low	2	625	561.2	31	37.352	0.096	97.702	1.738
		low	5	500	482	27.7	38.786	0.095	74.123	1.294
		low	14	350	389.4	22.1	39.255	0.103	61.497	1.045
		high	8	350	389.4	22.1	39.233	0.096	61.530	1.007
		high	1	225	215.2	11.7	40.973	0.084	34.650	0.565
		high	12	50	50	5	43.298	0.103	7.240	0.118
		high	13	50	52	4.7	43.533	0.101	7.420	0.121
		low	15	1000	943.7	59.8	33.780	0.070	188.245	3.450
		high	15	1000	943.7	59.8	33.844	0.060	189.740	3.452

			Run II
			Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Uncertainty	Asymmetry	Asymmetry Uncertainty	Average Rate	Average Rate Uncertainty
			#	T_o [nm]	T [nm]	dT [nm]	A [%]	dA [%]	R [Hz/uA]	dR [Hz/uA]

			15	1000	943.7	59.8	33.972	0.083	179.708	3.169
			3	870	836.8	44.2	34.954	0.102	152.667	2.695
			4	750	774.6	41.9	35.910	0.104	129.469	2.284
			2	625	561.2	31	37.167	0.087	94.607	1.670
			5	500	482	27.7	38.771	0.105	70.454	1.246
			14	350	389.4	22.1	39.156	0.108	58.046	1.027
			8	350	389.4	22.1	39.360	0.107	60.092	1.061
			1	225	215.2	11.7	40.933	0.106	33.813	0.597
			12	50	50	5	43.446	0.120	7.057	0.112
			13	50	52	4.7	43.432	0.119	7.084	0.113
			15	1000	943.7	59.8	34.005	0.051	179.840	3.174

## All Asym
06/01/17

		Run I
					Up/Down Detectors					Left/Right Detectors
		PMT Threshold	Foil Number	Nominal Thickness	FESEM Thickness		Physics Asymmetry		Detector Asymmetry		Beam Asymmetry		Physics Asymmetry		Detector Asymmetry		Beam Asymmetry
		low/high	#	T_o [nm]	T [nm]	dT [nm]	A [%]	dA [%]	Instr-1 [%]	d(Instr-1) [%]	Instr-2 [%]	d(Instr-2) [%]	A [%]	dA [%]	Instr-1 [%]	d(Instr-1) [%]	Instr-2 [%]	d(Instr-2) [%]

		Low	15	1000	943.7	59.8	33.963	0.092	-0.546	0.104	-0.082	0.104	0.521	0.097	0.464	0.097	-0.206	0.100
		Low	3	870	836.8	44.2	34.846	0.089	-0.023	0.101	-0.058	0.101	0.603	0.096	0.533	0.096	0.000	0.031
		Low	4	750	774.6	41.9	35.720	0.093	-0.773	0.107	0.041	0.107	0.604	0.100	0.299	0.100	-0.114	0.054
		Low	2	625	561.2	31.0	37.352	0.096	-0.385	0.112	-0.093	0.112	0.574	0.104	0.253	0.104	-0.061	0.068
		Low	5	500	482.0	27.7	38.786	0.095	-0.542	0.111	0.016	0.111	0.701	0.103	0.217	0.103	-0.129	0.060
		Low	14	350	389.4	22.1	39.255	0.103	-0.454	0.122	0.105	0.122	0.656	0.112	0.605	0.112	-0.055	0.034
		High	8	350	389.4	22.1	39.233	0.194	-0.726	0.229	0.064	0.229	0.655	0.211	0.719	0.211	-0.251	0.198
		High	1	225	215.2	11.7	40.973	0.084	0.357	0.101	0.144	0.101	0.565	0.092	0.944	0.092	0.007	0.013
		High	12	50	50.0	5.0	43.298	0.103	0.771	0.127	-0.027	0.127	0.696	0.114	1.081	0.114	-0.023	0.018
		High	13	50	52.0	4.7	43.533	0.101	-0.144	0.125	0.041	0.125	0.675	0.113	0.993	0.113	-0.200	0.094
		Low	15 – stability	1000	943.7	59.8	33.780	0.070	-0.803	0.079	-0.027	0.079	0.473	0.075	0.798	0.075	-0.025	0.017
		High	15 – stability	1000	943.7	59.8	33.844	0.060	0.141	0.067	-0.029	0.067	0.532	0.063	1.055	0.063	-0.015	0.012

			Run II
					Up/Down Detectors					Left/Right Detectors
			Foil Number	Nominal Thickness	FESEM Thickness		Physics Asymmetry		Detector Asymmetry		Beam Asymmetry		Physics Asymmetry		Detector Asymmetry		Beam Asymmetry
			#	T_o [nm]	T [nm]	dT [nm]	A [%]	dA [%]	Instr-1 [%]	d(Instr-1) [%]	Instr-2 [%]	d(Instr-2) [%]	A [%]	dA [%]	Instr-1 [%]	d(Instr-1) [%]	Instr-2 [%]	d(Instr-2) [%]

			15	1000	943.7	59.8	-0.260	0.087	0.790	0.087	-1.237	0.087	33.972	0.083	1.482	0.094	-0.170	0.074
			3	870	836.8	44.2	-0.224	0.214	0.884	0.214	-1.049	0.214	34.954	0.205	-0.275	0.233	-0.164	0.302
			4	750	774.6	41.9	-0.191	0.215	0.289	0.215	-0.938	0.215	35.910	0.202	-0.330	0.232	0.022	0.420
			2	625	561.2	31.0	-0.023	0.184	0.754	0.184	-1.477	0.184	37.167	0.174	0.599	0.202	-0.037	0.270
			5	500	482.0	27.7	-0.008	0.225	0.571	0.225	-0.972	0.225	38.771	0.211	0.562	0.248	-0.025	0.283
			14	350	389.4	22.1	0.000	0.232	0.312	0.232	-0.975	0.232	39.156	0.216	0.361	0.255	0.163	0.392
			8	350	389.4	22.1	-0.097	0.230	-0.030	0.230	-0.983	0.230	39.360	0.213	-0.825	0.253	-0.024	0.393
			1	225	215.2	11.7	0.131	0.232	0.794	0.232	-1.289	0.231	40.933	0.213	-0.157	0.256	0.005	0.365
			12	50	50.0	5.0	0.026	0.267	-0.218	0.267	-1.023	0.267	43.446	0.243	-0.231	0.301	0.080	0.219
			13	50	52.0	4.7	-0.188	0.130	1.089	0.130	-1.587	0.130	43.432	0.119	0.007	0.146	0.241	0.166
			15 – stability	1000	943.7	59.8	-0.040	0.058	0.355	0.058	-0.824	0.058	34.005	0.055	0.353	0.063	0.000	0.000

## All Rates
06/01/17

		Run I
		PMT Threshold	Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Drift of Stability Corrected Norm. Rate / SYST	Sensitivity to Choice of Energy and ToF Cuts SYST	Arithmetic Average of Fractional Uncertainty in Beam Current / SYST	Left Rate	Uncertainty	Right Rate	Uncertainty	Up Rate	Uncertainty	Down Rate	Uncertainty	Average Rate (copied over)	Uncertainty
		low/high	#	T_o [nm]	T [nm]	dT [nm]	|Δ/Σ|		< dI / I >	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]

		low	15	1000	943.7	59.8	0.0155		0.009962	186.168	3.434	187.843	3.465	187.535	3.459	185.501	3.422	186.769	3.441
		low	3	870	836.8	44.2	0.0155		0.011279	157.534	3.021	159.200	3.053	160.033	3.069	160.010	3.068	159.211	3.051
		low	4	750	774.6	41.9	0.0155		0.009914	135.110	2.487	135.897	2.502	137.110	2.524	134.841	2.482	135.752	2.497
		low	2	625	561.2	31	0.0155		0.008742	97.106	1.729	97.603	1.737	98.412	1.752	97.656	1.738	97.702	1.738
		low	5	500	482	27.7	0.0155		0.008048	73.976	1.292	74.265	1.297	74.519	1.302	73.684	1.287	74.123	1.294
		low	14	350	389.4	22.1	0.0155		0.006974	60.953	1.036	61.650	1.048	62.053	1.055	61.301	1.042	61.497	1.045
		high	8	350	389.4	22.1	0.0155		0.005241	61.320	1.012	62.099	1.018	61.867	1.014	60.855	0.997	61.530	1.007
		high	1	225	215.2	11.7	0.0155		0.005070	34.340	0.560	34.929	0.570	34.601	0.564	34.721	0.566	34.650	0.565
		high	12	50	50	5	0.0155		0.005078	7.162	0.117	7.304	0.119	7.197	0.117	7.293	0.119	7.240	0.118
		high	13	50	52	4.7	0.0155		0.005074	7.325	0.119	7.461	0.122	7.467	0.122	7.423	0.121	7.420	0.121
		low	15	1000	943.7	59.8	0.0155		0.009791	186.379	3.419	189.383	3.474	190.131	3.487	186.962	3.429	188.245	3.450
		high	15	1000	943.7	59.8	0.0155		0.009539	187.682	3.416	191.630	3.488	189.550	3.450	190.000	3.458	189.740	3.452

			Run II
			Foil Number	Nominal Thickness	FESEM Thickness	FESEM Thickness Error	Drift of Stability Corrected Norm. Rate / SYST	Sensitivity to Choice of Energy and ToF Cuts SYST	Arithmetic Average of Fractional Uncertainty in Beam Current / SYST	Left Rate	Uncertainty	Right Rate	Uncertainty	Up Rate	Uncertainty	Down Rate	Uncertainty	Average Rate (copied over)	Uncertainty
			#	T_o [nm]	T [nm]	dT [nm]	|Δ/Σ|		< dI / I >	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]	[Hz/uA]

			15	1000	943.7	59.8	0.0151		0.008963	174.619	3.082	180.216	3.181	180.321	3.183	183.194	3.234	179.708	3.238
			3	870	836.8	44.2	0.0151		0.009103	151.070	2.679	150.403	2.658	153.325	2.709	155.808	2.753	152.667	2.754
			4	750	774.6	41.9	0.0151		0.009076	128.418	2.273	127.621	2.253	130.639	2.306	131.186	2.316	129.469	2.333
			2	625	561.2	31	0.0151		0.008978	92.381	1.652	93.517	1.651	95.584	1.688	96.915	1.711	94.607	1.707
			5	500	482	27.7	0.0151		0.009167	69.264	1.226	70.000	1.238	70.872	1.254	71.643	1.267	70.454	1.273
			14	350	389.4	22.1	0.0151		0.009186	57.258	1.014	57.571	1.019	58.520	1.036	58.816	1.041	58.046	1.049
			8	350	389.4	22.1	0.0151		0.009114	59.796	1.057	58.915	1.040	60.863	1.075	60.767	1.073	60.092	1.084
			1	225	215.2	11.7	0.0151		0.009096	33.648	0.594	33.512	0.591	33.795	0.596	34.293	0.605	33.813	0.610
			12	50	50	5	0.0151		0.004993	7.007	0.112	6.976	0.111	7.148	0.114	7.095	0.113	7.057	0.115
			13	50	52	4.7	0.0151		0.005000	7.085	0.113	6.945	0.111	7.100	0.113	7.208	0.115	7.084	0.116
			15	1000	943.7	59.8	0.0151		0.009102	177.505	3.134	178.535	3.152	181.227	3.200	182.186	3.217	179.840	3.243