## JLamp
SURA/CEBAF CONSTRUCTION-PLANT ENGINEERING
MATERIAL AND LABOR COST ESTIMATE for
prepared by | FEL - JLamp
plp | 2009-12-04 | [8 empty] | sheet 1 of 2
|  |  |  | MATERIAL |  | LABOR |  | EQUIPMENT |  | TOTAL
LINE # | ITEM DESCRIPTION | QTY | U/M | UNIT | TOTAL | UNIT | TOTAL | UNIT | TOTAL | COST |  | Notes:
1 |  | 0 | ls | 150000 | 0 | 100000 | 0 |  | 0 |  | 1
2 |  | 0 | ls | 130000 | 0 | 50000 | 0 | 0 | 0 |  | 2
3 | 480 V Substation - for JLamp | 1 | ls | 200000 | 200000 | 150000 | 150000 | 0 | 0 |  | 3 | Includes 1, 1,500 kVA transformers for Jlamp
4 | Re-Feed Existing 2000 kVA transformer | 1 | ls | 50000 | 50000 | 25000 | 25000 |  | 0 |  | 4
5 | Metering | 1 | ls | 10000 | 10000 | 3000 | 3000 |  | 0 |  | 5 | Metering of all water and energy
6 | Filtering | 1 | ls | 100000 | 100000 | 50000 | 50000 |  | 0 |  | 6 | Filtering for harmonic loads
7 | JLamp Distribution | 1 | ls | 75000 | 75000 | 25000 | 25000 |  | 0 |  | 7 | Includes distribution limited to the switchboard level
8 |  | 0 | ls | 25000 | 0 | 15000 | 0 |  | 0 |  | 8
9 |  | 0 | ls | 350000 | 0 | 175000 | 0 |  | 0 |  | 9
10 | Tunnel Power and Ltg | 1 | ls | 25000 | 25000 | 20000 | 20000 |  | 0 |  | 10 | Includes a limited amount of domestic loads in the underground chamber.
11 |  |  | ls |  | 0 |  | 0 |  | 0 |  | 11
12 | Safety Training | 12 | ea |  |  | 1500 | 18000 |  | 0 |  | 12
13 |  |  | lf |  |  |  | 0 |  | 0 |  | 13
14 |  |  | ea |  |  |  | 0 |  | 0 |  | 14
15 | [6 empty] | 0 |  | 0 |  | 15
16 | [6 empty] | 0 |  | 0 |  | 16
17 |  |  | ea |  |  |  | 0 |  | 0 |  | 17
18 |  |  | ea |  |  |  | 0 |  | 0 |  | 18
19 |  |  | ea |  |  |  | 0 |  | 0 |  | 19
20 |  |  | ls |  |  |  | 0 |  | 0 |  | 20
21 |  |  | ls |  |  |  | 0 |  | 0 |  | 21
22 | [6 empty] | 0 |  | 0 |  | 22
23 |  |  | mth |  |  |  | 0 |  | 0 |  | 23
24 |  |  | ea |  |  |  | 0 |  | 0 |  | 24
25 |  |  | ea |  |  |  | 0 |  | 0 |  | 25
26 | SUBTOTAL: |  |  |  | 460000 |  | 291000 |  | 0 |  | 26
27 | OVERHEAD AND PROFIT: |  |  |  | 0 |  | 0 |  | 0 |  | 27
28 | TOTAL: |  |  |  | 460000 |  | 291000 |  | 0 | 751000 | 28
[9 empty] | 0.05 | 37550
788550

## LCW
SURA/CEBAF CONSTRUCTION-PLANT ENGINEERING
MATERIAL AND LABOR COST ESTIMATE for
prepared by | Accelerator Technical Lab - Electrical
plp | 2010-12-17 | [8 empty] | sheet 1 of 2
|  |  |  | MATERIAL |  | LABOR |  | EQUIPMENT |  | TOTAL
LINE # | ITEM DESCRIPTION | QTY | U/M | UNIT | TOTAL | UNIT | TOTAL | UNIT | TOTAL | COST |  | Notes:
1 | Bertha Receptacle | 1 | ea | 450 | 450 | 250 | 250 |  | 0 |  | 1
2 | Bertha Feeder | 80 | lf | 6 | 480 | 10 | 800 |  | 0 |  | 2
3 | 60 A Bertha Breaker in IPC | 1 | ea | 515 | 515 | 78 | 78 |  | 0 |  | 3
4 | 60 A Feeder | 100 | lf | 6 | 600 | 10 | 1000 |  | 0 |  | 4
5 | Move IPC | 1 | ea |  | 0 | 9000 | 9000 |  | 0 |  | 5
6 | 600 A Feeder | 75 | lf | 30 | 2250 | 25 | 1875 |  | 0 |  | 6
7 | Pad For IPC | 1 | ea | 600 | 600 | 200 | 200 |  | 0 |  | 7
8 |  |  | ea |  | 0 |  | 0 |  | 0 |  | 8
9 | 75 kVA XFMR | 1 | ea |  | 0 |  | 0 |  | 0 |  | 9
10 | 225 A Panelboard | 1 | ea | 1400 | 1400 | 1300 | 1300 |  | 0 |  | 10
11 | 100 A Ckt Breaker for IPC | 1 | ea | 625 | 625 | 103 | 103 |  | 0 |  | 11
12 | 100 A Feeder | 60 | lf | 11 | 660 | 15 | 900 |  | 0 |  | 12
13 | 225 A Ckt Brkr | 1 | ea | 1600 | 1600 | 300 | 300 |  | 0 |  | 13
14 | Roots Pump Stand Breaker in IPC 30 A | 1 | ea | 515 | 515 | 78 | 78 |  | 0 |  | 14
15 | 30 A Feeder | 60 | lf | 3 | 180 | 10 | 600 |  | 0 |  | 15
16 | Connections |  | ea |  | 0 |  | 0 |  | 0 |  | 16
17 |  |  | ea |  | 0 |  | 0 |  | 0 |  | 17
18 | RF Power Supply Feeder (200 A) | 100 | lf | 22 | 2200 | 20 | 2000 |  | 0 |  | 18
19 | 200 A breaker | 1 | ea | 745 | 745 | 129 | 129 |  | 0 |  | 19
20 |  |  | ls |  | 0 |  | 0 |  | 0 |  | 20
21 | 20 A 120 V Branch Circuits | 3000 | lf | 2 | 6000 | 7 | 21000 |  | 0 |  | 21
22 | Feeders to P2 Panels (60 A) | 600 | lf | 6 | 3600 | 10 | 6000 |  | 0 |  | 22
23 | load Center for PSS | 1 | ea | 268 | 268 | 345 | 345 |  | 0 |  | 23
24 | 60 A Feeder | 100 | lf | 6 | 600 | 10 | 1000 |  | 0 |  | 24
25 | 60 A Breaker | 1 | ea | 22 | 22 | 52 | 52 |  | 0 |  | 25
26 | SUBTOTAL: |  |  |  | 23310 |  | 47010 |  | 0 |  | 26
27 | OVERHEAD AND PROFIT: |  |  | 0.44 | 10256.4 | 0.54 | 25385.4 |  | 0 |  | 27
28 | TOTAL: |  |  |  | 33566.4 |  | 72395.4 |  | 0 | 105961.8 | 28
[9 empty] | 0.5 | 52980.9
158942.7