## Slide 1
Field emission
Add R28 spring
Hi-Pot 130keV
130keV demo
Beam to ILD
First ramp 150kV
Vac burp @ 150kV
Data 90-150kV
Noisy anode @140kV
Recover @100kV
Ops setup
@130kV
New oil
tank R28
9/17 Vwien
9/21 Hwien
10/12 Vac burp
QE loss
X-ray detector
Hi-pot 150kV
Vac burp @150kV
1 hour soak
Run the program
Need to check performance
Glassman 150kV HVPS fails
End of beam 2010
Restore at 100kV
New 150kV HVPS
Restore 130kV and go…
Gun2: hi-potting to 150kV, transition to 130keV operations, Glassman 150kV HVPS failure