## Slide 1: Cooler e-source Magnetized Beam LDRD Progress Report
March 9, 2017

## Slide 2
Magnetized Beam at GTS
K2CsSb photocathode was made – QE ~ 4%
Gun HV operating at 300 kV with magnet at 400 A (Bz=1.4 kG with standard molybdenum photocathode holder and Bz=2.0 kG with steel holder)
Beamline under vacuum with slits installed
Generated magnetized beam on March 8
Sajini Wijethunga, student from ODU (advisor: Jean Delayen, funded by 75% JLab + 25% ODU) started her Ph.D. thesis on magnetized beam
Plan to submit LDRD proposal for 3rd year funding

## Slide 3
Magnetized Electron Source at GTS
Beamline
Solenoid
Magnet
Photocathode
Preparation
Chamber
HV Chamber

## Slide 4
0 A

## Slide 5
50 A

## Slide 6
100 A

## Slide 7
150 A

## Slide 8
200 A

## Slide 9
250 A

## Slide 10
300 A

## Slide 11
350 A

## Slide 12
400 A

## Slide 13
Thanks to hard work of: Yan, Mamun, Bubba, Phil, John, Carlos, Fay, Shukui, Geoff, Sajini

## Slide 14
Measuring Magnetization with RF Cavity

## Slide 15
Measuring Magnetized Beam – I
Use slit and viewscreens to measure mechanical angular momentum:

## Slide 16
Measuring Magnetized Beam – II
Having a non-invasive technique to measure beam magnetization is very critical for JLEIC e-cooler. An RF cavity could be right device. Cavities distributed around e-cooler will monitor magnetization and others installed inside cooling solenoid will ensure magnetization is completely removed during cooling process. Once beam exists solenoid, cavities will measure whether magnetization is fully restored.
RF field will be excited by rotating bunched beam producing an easily detectable signal – beam will deposit energy into cavity, but not angular momentum
Coupling to both electric and magnetic fields – expect main contribution to signal from electric field

## Slide 17: TE011 Mode in Pill-box Cavity

## Slide 18
Magnetic Moment of Magnetized Beam
Magnetic moment along beam axis:
at photocathode
at cavity
For cylindrically symmetric Gaussian beam with sigma of a0, and average canonical angular momentum for electron beam is = 200 (neV s) at the photocathode and = 200 (neV s) = 3x108 ħ after existing solenoid

## Slide 19
Can We Generate Magnetized Beam with TE011 Cavity?
Axially-symmetric electric field mode cannot create angular momentum for a passing e-beam – one must take into account presence of associated RF magnetic field – due to conservation of canonical angular momentum before and after cavity
Plan to build and install a cavity at GTS to measure beam magnetization in collaboration with Brock and SRF Institute – good project for a student